## Supplementary Table2
Method | Sample number | Per-sample cost and required item |  |  | Processing time for 92-96 samples |  |  | Advantage (+), disadvantage (-), and note
|  | Total cost (US$) | Items required | Cost (US$) | Total processing time | Procedure | Processing time
SequalPrep | 96 | 0.91 |  |  | 1h30min |  |  | (+) Relatively low cost and short processing time. Simple library pooling after SequalPrep.
(-) At least 250 ng DNA required from each library. Libraries may not be normalised when the DNA concentration is too low.
Note: The total cost and processing time defined in the references 3 and 7
BeNUS | 96 | 1.04 | AMPure XP beads | 0.6 | 1h30min | Sample preparation | 10min | (+) Relatively low cost and short processing time. Simple library pooling after BeNUS.
|  |  | Consumables | 0.44 |  | First SPRI | 40min | (-) Libraries may not be normalised when the DNA concentration is too low.
[6 empty] | Second SPRI | 40min
qMiSeq | 93 | ~10 |  |  | c. 1 day | Pooling and SPRI | 45 min | (+) High accuracy. A larger sample number (e.g. 384) can be simultaneously processed.
[6 empty] | Library characterisation | 30 min | (-) High cost and long processing time, especially for a small sample number. Re-pooling required after quantification.
[6 empty] | Sample loading on MiSeq | 30 min | Note: The total cost defined in the reference 10
[6 empty] | MiSeq run | 5h30min
[6 empty] | Data analysis | 60min
TapeStation | 96 | 2.75 | TapeStation tape and reagent | 2.67 | 2h15min | Sample preparation | 15min | (+) High size-specificity. Suitable for a small sample number (e.g. less than 20).
|  |  | Consumables | 0.08 |  | TapeStation run | 110min | (-) Relatively high cost
[6 empty] | Data analysis | 10min
SPRI + real-time PCR | 92 | 1.41 | AMPure XP beads | 0.12 | 4h50min | SPRI | 40min | (+) Library specificity
| (46 samples x 2 runs) |  | Reagents for real-time PCR | 0.67 |  | qPCR (2 runs) | 4h | (-) Long processing time
|  |  | Consumables for SPRI | 0.32 |  | Data analysis | 10min | Note: 2 replications for each sample. Positive and negative control samples included in each run. Cost and processing time on a 96-well format instrument. The cost for real-time PCR reagents defined in the reference 1.
|  |  | Consumables for real time PCR | 0.3
SPRI + NanoDrop | 96 | 0.48 | AMPure XP beads | 0.12 | 1h50min | SPRI | 40min | (+) Low cost. Suitable for a small sample number (e.g. less than 20).
|  |  | Consumables | 0.36 |  | NanoDrop | 60min | (-) 'Over-estimation issue' of the NanoDrop-based quantification
[6 empty] | Data analysis | 10min
MC assay | 96 | 0.15 | SYBR Green I | 0.01 | 40min | Sample preparation | 15min | (+) Low cost and short processing time.
|  |  | Consumables | 0.14 |  | MC assay | 15min | (-) Relatively large volume of PCR products (20 µl) required
[6 empty] | Data analysis | 10min | Note: Cost and processing time on a 96-well format instrument