## FARM1
FARM1
|  |  | DBO5 (mgO2/L) |  |  |  | ammonium (mgN/L) |  |  |  | nitrite (mgN/L) |  |  |  | Total Oxidised Nitrogen(N) (mgN/L) |  |  |  | orthophosphate (mgP/L) |  |  |  | pH (-) |  |  |  | TSS (mg/L) |  |  |  | temperature (˚C) |  |  |  | turbidity (NTU) |  |  |  | DO (mgO2/L)
|  |  | LOQ = 0.1-2 mgO2/L |  |  |  | LOQ = 0.062-0.078 mgN/L |  |  |  | LOQ = 0.01-0.06 mgN/L |  |  |  | LOQ = 0.7 mgN/L |  |  |  | LOQ = 0.01 mgP/L |  |  |  | NA |  |  |  | LOQ = 1 mg/L |  |  |  | NA |  |  |  | LOQ = 1 NTU |  |  |  | NA
|  |  | inlet | outlet | R (%) | Δ (mg/L) | inlet | outlet | R (%) | Δ (mg/L) | inlet | outlet | R (%) | Δ (mg/L) | inlet | outlet | R (%) | Δ (mg/L) | inlet | outlet | R (%) | Δ (mg/L) | inlet | outlet | R (%) | Δ | inlet | outlet | R (%) | Δ (mg/L) | inlet | outlet | R (%) | Δ (˚C) | inlet | outlet | R (%) | Δ (NTU) | inlet | outlet | R (%) | Δ (mg/L)
2008-03-01 | 3 |  | 2 | 2 | 0 | 0 | 0.078 | 0.11 | -41.0256 | 0.032 | 0.06 | 0.06 | 0 | 0 | 1.7 | 1.7 | 0 | 0 | 0.01 | 0.02 | -100 | 0.01 | 7.4 | 7.1 | - | -0.3 | 2 | 6 | -200 | 4 | 6 | 7 | - | 1 | 11 | 14 | -27.2727 | 3 | 14.3 | 13.5 | 5.5944 | -0.8
2008-06-01 | 6 |  | 2 | 2 | 0 | 0 | 0.078 | 0.132 | -69.2308 | 0.054 | 0.06 | 0.06 | 0 | 0 | 1.7 | 1.7 | 0 | 0 | 0.03 | 0.03 | 0 | 0 | 7.1 | 6.9 | - | -0.2 | 2 | 1 | 50 | -1 | 13 | 13 | - | 0 | 2 | 2 | 0 | 0 | 9.3 | 9.1 | 2.1505 | -0.2
2008-09-01 | 9 |  | 5 | 5 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1 | 1 | 0 | 0 | 0.01 | 0.02 | -100 | 0.01 | 6.8 | 6.8 | - | 0 | 4 | 6 | -50 | 2 | 13 | 13 | - | 0 | 3 | 7 | -133.3333 | 4 | 10.4 | 8.8 | 15.3846 | -1.6
2008-12-01 | 12
2009-03-01 | 3 |  | 2 | 3 | -50 | 1 | 0.078 | 0.132 | -69.2308 | 0.054 | 0.06 | 0.06 | 0 | 0 | 1.6 | 1.6 | 0 | 0 | 0.01 | 0.01 | 0 | 0 | 7.1 | 7 | - | -0.1 | 3 | 2 | 33.3333 | -1 | 4 | 4 | - | 0 | 4 | 2 | 50 | -2 | 8 | 6.8 | 15 | -1.2
2009-06-15 | 6 |  | 2 | 2 | 0 | 0 | 0.078 | 0.085 | -8.9744 | 0.007 | 0.06 | 0.06 | 0 | 0 | 1.4 | 1.5 | -7.1429 | 0.1 | 0.01 | 0.01 | 0 | 0 | 6.7 | 6.5 | - | -0.2 | 17 | 35 | -105.8824 | 18 | 14 | 14 | - | 0 | 20 | 39 | -95 | 19 | 10.6 | 8.5 | 19.8113 | -2.1
2009-09-18 | 9 |  | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.7 | 0.88 | 48.2353 | -0.82 | 0.01 | 0.01 | 0 | 0 | 7.2 | 7.1 | - | -0.1 | 1 | 2 | -100 | 1 | 12 | 12 | - | 0 | 1.7 | 1.4 | 17.6471 | -0.3 | 10.4 | 9.8 | 5.7692 | -0.6
2011-01-25 | 1 |  | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.3 | 2 | -53.8462 | 0.7 | 0.01 | 0.01 | 0 | 0 | 6.9 | 6.6 | - | -0.3 | 2 | 2 | 0 | 0 | 7 | 7 | - | 0 | 2 | 2 | 0 | 0 | 11.5 | 10.2 | 11.3043 | -1.3
2011-04-27 | 4 |  | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.6 | 1.6 | 0 | 0 | 0.02 | 0.02 | 0 | 0 | 7 | 6.9 | - | -0.1 | 1 | 2 | -100 | 1 | 11 | 12 | - | 1 | 2 | 2 | 0 | 0 | 10.8 | 10.3 | 4.6296 | -0.5
2011-07-26 | 6 |  | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.2 | 1.2 | 0 | 0 | 0.01 | 0.03 | -200 | 0.02 | 7.1 | 6.7 | - | -0.4 | 2 | 2 | 0 | 0 | 15 | 15 | - | 0 | 2 | 2 | 0 | 0 | 9.6 | 8.3 | 13.5417 | -1.3
2011-10-19 | 10 |  | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.1 | 1.1 | 0 | 0 | 0.01 | 0.02 | -100 | 0.01 | 6.8 | 6.6 | - | -0.2 | 4 | 2 | 50 | -2 | 8 | 8 | - | 0 | 2 | 2 | 0 | 0 | 10.6 | 9.7 | 8.4906 | -0.9
2012-01-05 | 1 |  | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.1 | 1.1 | 0 | 0 | 0.01 | 0.01 | 0 | 0 | 6.6 | 6.6 | - | 0 | 3 | 2 | 33.3333 | -1 | 7 | 7 | - | 0 | 2 | 2 | 0 | 0 | 10.4 | 9.9 | 4.8077 | -0.5
2012-04-18 | 4 |  | 3 | 3 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 0.7 | 0.7 | 0 | 0 | 0.01 | 0.01 | 0 | 0 | 6.7 | 6.5 | - | -0.2 | 11 | 18 | -63.6364 | 7 | 9 | 9 | - | 0 | 26 | 33 | -26.9231 | 7 | 10.6 | 9.3 | 12.2642 | -1.3
2012-07-16 | 6 |  | 0.1 | 2 | -1900 | 1.9 | 0.078 | 0.109 | -39.7436 | 0.031 | 0.06 | 0.06 | 0 | 0 | 1 | 1.2 | -20 | 0.2 | 0.01 | 0.01 | 0 | 0 | 6.8 | 6.6 | - | -0.2 | 13 | 12 | 7.6923 | -1 | 13 | 13 | - | 0 | 11 | 15 | -36.3636 | 4 | 9.7 | 9.4 | 3.0928 | -0.3
2012-11-06 | 11 |  | 2 | 9 | -350 | 7 | 0.078 | 0.24 | -207.6923 | 0.162 | 0.06 | 0.06 | 0 | 0 | 1.4 | 1.4 | 0 | 0 | 0.01 | 0.01 | 0 | 0 | 6.6 | 6.7 | - | 0.1 | 1 | 1 | 0 | 0 | 13 | 13 | - | 0 | 2 | 3 | -50 | 1 | 9.6 | 9.6 | 0 | 0
2013-01-29 | 1 |  | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.8 | 1.8 | 0 | 0 | 0.01 | 0.02 | -100 | 0.01 | 7.3 | 6.6 | - | -0.7 | 2 | 3 | -50 | 1 | 9 | 9 | - | 0 | 2 | 2 | 0 | 0 | 9.4 | 9.3 | 1.0638 | -0.1
2013-04-19 | 4 |  | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.4 | 1.4 | 0 | 0 | 0.01 | 0.01 | 0 | 0 | 6.8 | 6.6 | - | -0.2 | 1 | 1 | 0 | 0 | 9 | 9 | - | 0 | 2 | 2 | 0 | 0 | 10.4 | 9.5 | 8.6538 | -0.9
2013-10-02 | 10 |  | 1 | 2 | -100 | 1 | 0.062 | 0.217 | -250 | 0.155 | 0.01 | 0.02 | -100 | 0.01 | - | - | #VALUE! | #VALUE! | 0.05 | 0.03 | 40 | -0.02 | 7.7 | 7.5 | - | -0.2 | 4 | 7 | -75 | 3 | 13.5 | 13.6 | - | 0.1 | 3.43 | 4.34 | -26.5306 | 0.91 | 10.7 | 8.3 | 22.4299 | -2.4
LOQ: limit of quantification
NA: not applicable
Note on D5: Alexandre Tahar: < 2
Note on E5: Alexandre Tahar: < 2
Note on H5: Alexandre Tahar: <0.078
Note on L5: Alexandre Tahar: <0.06
Note on M5: Alexandre Tahar: <0.06
Note on T5: Alexandre Tahar: <0.01
Note on D6: Alexandre Tahar: < 2
Note on E6: Alexandre Tahar: < 2
Note on H6: Alexandre Tahar: <0.078
Note on L6: Alexandre Tahar: <0.06
Note on M6: Alexandre Tahar: <0.06
Note on P6: Alexandre Tahar: <1.7
Note on Q6: Alexandre Tahar: <1.7
Note on T6: Alexandre Tahar: <0.03
Note on D7: Alexandre Tahar: <5
Note on E7: Alexandre Tahar: <5
Note on H7: Alexandre Tahar: <0.078
Note on I7: Alexandre Tahar: <0.078
Note on L7: Alexandre Tahar: <0.06
Note on M7: Alexandre Tahar: <0.06
Note on T7: Alexandre Tahar: <0.01
Note on A8: Alexandre Tahar: 2 aughrim outlets… data ignored
Note on D9: Alexandre Tahar: <2
Note on E9: Alexandre Tahar: <3
Note on H9: Alexandre Tahar: <0.078
Note on L9: Alexandre Tahar: <0.06
Note on M9: Alexandre Tahar: <0.06
Note on T9: Alexandre Tahar: <0.01
Note on U9: Alexandre Tahar: <0.01
Note on AB9: Alexandre Tahar: <3
Note on D10: Alexandre Tahar: < 2
Note on E10: Alexandre Tahar: < 2
Note on L10: Alexandre Tahar: <0.06
Note on M10: Alexandre Tahar: <0.06
Note on T10: Alexandre Tahar: <0.01
Note on D11: Alexandre Tahar: < 2
Note on E11: Alexandre Tahar: < 2
Note on L11: Alexandre Tahar: <0.06
Note on M11: Alexandre Tahar: <0.06
Note on T11: Alexandre Tahar: <0.01
Note on U11: Alexandre Tahar: <0.01
Note on D12: Alexandre Tahar: < 2
Note on E12: Alexandre Tahar: < 2
Note on L12: Alexandre Tahar: <0.06
Note on M12: Alexandre Tahar: <0.06
Note on AB12: Alexandre Tahar: <2
Note on AJ12: Alexandre Tahar: <2
Note on AK12: Alexandre Tahar: <2
Note on D13: Alexandre Tahar: < 2
Note on E13: Alexandre Tahar: < 2
Note on I13: Alexandre Tahar: <0.078
Note on L13: Alexandre Tahar: <0.06
Note on M13: Alexandre Tahar: <0.06
Note on AJ13: Alexandre Tahar: <2
Note on AK13: Alexandre Tahar: <2
Note on D14: Alexandre Tahar: < 2
Note on E14: Alexandre Tahar: < 2
Note on H14: Alexandre Tahar: <0.078
Note on I14: Alexandre Tahar: <0.078
Note on L14: Alexandre Tahar: <0.06
Note on M14: Alexandre Tahar: <0.06
Note on T14: Alexandre Tahar: <0.01
Note on AJ14: Alexandre Tahar: <2
Note on AK14: Alexandre Tahar: <2
Note on D15: Alexandre Tahar: < 2
Note on E15: Alexandre Tahar: < 2
Note on H15: Alexandre Tahar: <0.078
Note on I15: Alexandre Tahar: <0.078
Note on L15: Alexandre Tahar: <0.06
Note on M15: Alexandre Tahar: <0.06
Note on AJ15: Alexandre Tahar: <2
Note on AK15: Alexandre Tahar: <2
Note on A16: Alexandre Tahar: 2 aughrim outlets… data ignored
Note on D16: Alexandre Tahar: < 2
Note on E16: Alexandre Tahar: < 2
Note on H16: Alexandre Tahar: <0.078
Note on I16: Alexandre Tahar: <0.078
Note on L16: Alexandre Tahar: <0.06
Note on M16: Alexandre Tahar: <0.06
Note on T16: Alexandre Tahar: <0.01
Note on AJ16: Alexandre Tahar: <2
Note on AK16: Alexandre Tahar: <2
Note on D17: Alexandre Tahar: <3
Note on E17: Alexandre Tahar: <3
Note on H17: Alexandre Tahar: <0.078
Note on I17: Alexandre Tahar: <0.078
Note on L17: Alexandre Tahar: <0.06
Note on M17: Alexandre Tahar: <0.06
Note on D18: Alexandre Tahar: <0.1
Note on E18: Alexandre Tahar: <2
Note on H18: Alexandre Tahar: <0.078
Note on L18: Alexandre Tahar: <0.06
Note on M18: Alexandre Tahar: <0.06
Note on T18: Alexandre Tahar: <0.01
Note on D19: Alexandre Tahar: < 2
Note on H19: Alexandre Tahar: <0.078
Note on L19: Alexandre Tahar: <0.06
Note on T19: Alexandre Tahar: <0.01
Note on AB19: Alexandre Tahar: <1
Note on AC19: Alexandre Tahar: <1
Note on D20: Alexandre Tahar: < 2
Note on E20: Alexandre Tahar: < 2
Note on H20: Alexandre Tahar: <0.078
Note on L20: Alexandre Tahar: <0.06
Note on M20: Alexandre Tahar: <0.06
Note on AB20: Alexandre Tahar: <2
Note on AC20: Alexandre Tahar: <3
Note on AJ20: Alexandre Tahar: <2
Note on D21: Alexandre Tahar: < 2
Note on E21: Alexandre Tahar: < 2
Note on H21: Alexandre Tahar: <0.078
Note on I21: Alexandre Tahar: <0.078
Note on L21: Alexandre Tahar: <0.06
Note on M21: Alexandre Tahar: <0.06
Note on T21: Alexandre Tahar: <0.01
Note on AB21: Alexandre Tahar: <1
Note on AJ21: Alexandre Tahar: <2

## FARM2
FARM2
|  | DBO5 (mgO2/L) |  |  |  | ammonium (mgN/L) |  |  |  | nitrite (mgN/L) |  |  |  | Total Oxidised Nitrogen(N) (mgN/L) |  |  |  | orthophosphate (mgP/L) |  |  |  | pH (-) |  |  |  | TSS (mg/L) |  |  |  | temperature (˚C) |  |  |  | turbidity (NTU) |  |  |  | DO (mgO2/L)
|  | LOQ = 0.1-2 mgO2/L |  |  |  | LOQ = 0.005-0.078 mgN/L |  |  |  | LOQ = 0.002-0.06 mgN/L |  |  |  | LOQ = 0.7-1 mgN/L |  |  |  | LOQ = 0.006-0.01 mgP/L |  |  |  | NA |  |  |  | LOQ = 0.2-1 mg/L |  |  |  | NA |  |  |  | LOQ = 0.5-1 NTU |  |  |  | NA
|  | inlet | outlet | R (%) | Δ (mg/L) | inlet | outlet | R (%) | Δ (mg/L) | inlet | outlet | R (%) | Δ (mg/L) | inlet | outlet | R (%) | Δ (mg/L) | inlet | outlet | R (%) | Δ (mg/L) | inlet | outlet | R (%) | Δ | inlet | outlet | R (%) | Δ (mg/L) | inlet | outlet | R (%) | Δ (˚C) | inlet | outlet | R (%) | Δ (NTU) | inlet | outlet | R (%) | Δ (mg/L)
2005-08-18 | 8 | 2 | 2 | 0 | 0 | 0.049 | 0.156 | -218.3673 | 0.107 | 0.0204 | 0.0264 | -29.4118 | 0.006 | 1.74 | 1.74 | 0 | 0 | 0.022 | 0.039 | -77.2727 | 0.017 | 6.87 | 6.86 | - | -0.01 | 5 | 5 | 0 | 0 | 15.1 | 15.2 | - | 0.1 | - | - | #VALUE! | #VALUE! | 10 | 8.3 | 17 | -1.7
2006-07-14 | 7 | 0.86 | 1.16 | -34.8837 | 0.3 | 0.062 | 0.173 | -179.0323 | 0.111 | 0.017 | 0.024 | -41.1765 | 0.007 | 2.16 | 2.14 | 0.92593 | -0.02 | 0.018 | 0.054 | -200 | 0.036 | 6.87 | 6.95 | - | 0.08 | 5 | 5 | 0 | 0 | 13.7 | 13.6 | - | -0.1 | - | - | #VALUE! | #VALUE! | 10.63 | 9.22 | 13.2643 | -1.41
2006-11-23 | 11 | 2 | 2.7 | -35 | 0.7 | 0.02 | 0.09 | -350 | 0.07 | 0.01 | 0.01 | 0 | 0 | 1.34 | 1.34 | 0 | 0 | 0.0175 | 0.039 | -122.8571 | 0.0215 | 6.43 | 6.46 | - | 0.03 | 11 | 12.5 | -13.6364 | 1.5 | - | - | - | #VALUE! | - | - | #VALUE! | #VALUE! | - | - | #VALUE! | #VALUE!
2007-04-05 | 4 | 1.7 | 2 | -17.6471 | 0.3 | 0.021 | 0.087 | -314.2857 | 0.066 | 0.004 | 0.006 | -50 | 0.002 | 2.28 | 2.24 | 1.7544 | -0.04 | 0.01 | 0.013 | -30 | 0.003 | 6.78 | 6.94 | - | 0.16 | 0 | 3.5 | #DIV/0! | 3.5 | - | 7.2 | - | #VALUE! | - | 2.5 | #VALUE! | #VALUE! | - | 11.89 | #VALUE! | #VALUE!
2007-07-07 | 7 | 1.4 | 3.4 | -142.8571 | 2 | 0.005 | 0.248 | -4860 | 0.243 | 0.007 | 0.011 | -57.1429 | 0.004 | 1.58 | 1.6 | -1.2658 | 0.02 | 0.016 | 0.051 | -218.75 | 0.035 | 6.48 | 6.43 | - | -0.05 | 0 | 0 | #DIV/0! | 0 | 14 | 14 | - | 0 | 3.8 | 2.9 | 23.6842 | -0.9 | 10.7 | 7.37 | 31.1215 | -3.33
2007-08-02 | 8 | 1 | 6.6 | -560 | 5.6 | 0.016 | 0.22 | -1275 | 0.204 | 0.005 | 0.01 | -100 | 0.005 | 2.01 | 2.04 | -1.4925 | 0.03 | 0.011 | 0.038 | -245.4545 | 0.027 | 6.52 | 6.4 | - | -0.12 | 0 | 4.5 | #DIV/0! | 4.5 | 12.8 | 13 | - | 0.2 | 2.3 | 10.8 | -369.5652 | 8.5 | 10.44 | 4.91 | 52.9693 | -5.53
2007-10-04 | 10 | 0.9 | 1.4 | -55.5556 | 0.5 | 0.107 | 0.145 | -35.514 | 0.038 | 0.008 | 0.01 | -25 | 0.002 | 0.91 | 0.87 | 4.3956 | -0.04 | 0.013 | 0.016 | -23.0769 | 0.003 | 6.93 | 6.91 | - | -0.02 | 2 | 0 | 100 | -2 | - | - | - | #VALUE! | - | - | #VALUE! | #VALUE! | - | - | #VALUE! | #VALUE!
2008-02-28 | 2 | 2.2 | 3.6 | -63.6364 | 1.4 | 0.021 | 0.127 | -504.7619 | 0.106 | 0.003 | 0.007 | -133.3333 | 0.004 | 2.45 | 2.41 | 1.6327 | -0.04 | 0.024 | 0.026 | -8.3333 | 0.002 | 6.15 | 6.29 | - | 0.14 | 1 | 6 | -500 | 5 | 6.3 | 6.4 | - | 0.1 | - | - | #VALUE! | #VALUE! | 12.13 | 10.27 | 15.3339 | -1.86
2008-03-07 | 3 | 2 | 2 | 0 | 0 | 0.078 | 0.085 | -8.9744 | 0.007 | 0.06 | 0.06 | 0 | 0 | 1.9 | 1.8 | 5.2632 | -0.1 | 0.01 | 0.01 | 0 | 0 | 7.1 | 7.2 | - | 0.1 | 5 | 2 | 60 | -3 | 7 | 7 | - | 0 | 3 | 3 | 0 | 0 | 14.1 | 13.4 | 4.9645 | -0.7
2008-06-12 | 6 | 2 | 2 | 0 | 0 | 0.43 | 0.26 | 39.5349 | -0.17 | 0.16 | 0.18 | -12.5 | 0.02 | 1.8 | 1.8 | 0 | 0 | 0.3 | 0.15 | 50 | -0.15 | 7.3 | 7.1 | - | -0.2 | 5 | 7 | -40 | 2 | 13 | 13 | - | 0 | 4 | 4 | 0 | 0 | - | - | #VALUE! | #VALUE!
2008-09-15 | 9 | 3 | 5 | -66.6667 | 2 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.2 | 1.2 | 0 | 0 | 0.01 | 0.02 | -100 | 0.01 | 7 | 6.7 | - | -0.3 | 9 | 10 | -11.1111 | 1 | 13 | 13 | - | 0 | 6 | 4 | 33.3333 | -2 | - | - | #VALUE! | #VALUE!
2008-12-03 | 12 | 2 | 2 | 0 | 0 | 0.078 | 0.225 | -188.4615 | 0.147 | 0.06 | 0.06 | 0 | 0 | 2.2 | 2.2 | 0 | 0 | 0.01 | 0.01 | 0 | 0 | 6.9 | 6.8 | - | -0.1 | 1 | 3 | -200 | 2 | 6 | 6 | - | 0 | 7 | 7 | 0 | 0 | - | - | #VALUE! | #VALUE!
2009-03-09 | 3 | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.7 | 1.7 | 0 | 0 | 0.01 | 0.01 | 0 | 0 | 7.4 | 7.1 | - | -0.3 | 3 | 4 | -33.3333 | 1 | 5 | 5 | - | 0 | 2 | 3 | -50 | 1 | - | - | #VALUE! | #VALUE!
2009-06-15 | 6 | 2 | 5 | -150 | 3 | 0.078 | 0.225 | -188.4615 | 0.147 | 0.06 | 0.06 | 0 | 0 | 1.6 | 1.7 | -6.25 | 0.1 | 0.01 | 0.09 | -800 | 0.08 | 6.9 | 6.5 | - | -0.4 | 73 | 35 | 52.0548 | -38 | 13 | 14 | - | 1 | 88 | 30 | 65.9091 | -58 | - | - | #VALUE! | #VALUE!
2009-09-18 | 9 | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.9 | 1.5 | 21.0526 | -0.4 | 0.01 | 0.02 | -100 | 0.01 | 7.3 | 7.1 | - | -0.2 | 2 | 1 | 50 | -1 | 12 | 12 | - | 0 | 1.5 | 1.7 | -13.3333 | 0.2 | - | - | #VALUE! | #VALUE!
|  |  |  | #DIV/0! |  |  |  | #DIV/0! |  |  |  | #DIV/0! |  |  |  | #DIV/0! |  |  |  | #DIV/0! |  |  |  | - |  |  |  | #DIV/0! |  |  |  | - |  |  |  | #DIV/0! | 0 |  |  | #DIV/0! | 0
2011-07-26 | 7 | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.3 | 1.3 | 0 | 0 | 0.02 | 0.04 | -100 | 0.02 | 7.2 | 6.9 | - | -0.3 | 2 | 5 | -150 | 3 | 15 | 15 | - | 0 | - | - | #VALUE! | #VALUE! | 9.4 | 8.7 | 7.4468 | -0.7
2011-10-11 | 10 | 0.8 | 2.1 | -162.5 | 1.3 | 0.024 | 0.232 | -866.6667 | 0.208 | 0.006 | 0.016 | -166.6667 | 0.01 | 0.93 | 0.93 | 0 | 0 | 0.01 | 0.027 | -170 | 0.017 | 6.56 | 6.62 | - | 0.06 | 0 | 3 | #DIV/0! | 3 | 13.5 | 13.6 | - | 0.1 | - | - | #VALUE! | #VALUE! | 10.11 | 8.65 | 14.4411 | -1.46
2011-10-19 | 10 | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.2 | 1.2 | 0 | 0 | 0.01 | 0.01 | 0 | 0 | 6.8 | 6.8 | - | 0 | 4 | 2 | 50 | -2 | 9 | 9 | - | 0 | 2 | 2 | 0 | 0 | - | - | #VALUE! | #VALUE!
2012-01-05 | 1 | 2 | 3 | -50 | 1 | 0.078 | 0.248 | -217.9487 | 0.17 | 0.06 | 0.06 | 0 | 0 | 1.2 | 1.1 | 8.3333 | -0.1 | 0.01 | 0.06 | -500 | 0.05 | 6.7 | 6.4 | - | -0.3 | 2 | 4 | -100 | 2 | 7 | 7 | - | 0 | 2 | 2 | 0 | 0 | 10.4 | 8.7 | 16.3462 | -1.7
2012-02-16 | 2 | 0.5 | 1.7 | -240 | 1.2 | 0.035 | 0.179 | -411.4286 | 0.144 | 0 | 0.005 | #DIV/0! | 0.005 | 2 | 2 | 0 | 0 | 0.009 | 0.029 | -222.2222 | 0.02 | 7.14 | 6.8 | - | -0.34 | 2 | 3 | -50 | 1 | 7 | 7 | - | 0 | 1.25 | 2.11 | -68.8 | 0.86 | 12.03 | 8.65 | 28.0964 | -3.38
2012-04-18 | 4 | 3 | 3 | 0 | 0 | 0.078 | 0.085 | -8.9744 | 0.007 | 0.06 | 0.06 | 0 | 0 | 0.7 | 0.7 | 0 | 0 | 0.01 | 0.02 | -100 | 0.01 | 6.8 | 6.8 | - | 0 | 9 | 5 | 44.4444 | -4 | 9 | 9 | - | 0 | 28 | 27 | 3.5714 | -1 | 10.5 | 10.3 | 1.9048 | -0.2
2012-07-16 | 7 | 3 | 2 | 33.3333 | -1 | 0.1 | 0.1 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.2 | 1.5 | -25 | 0.3 | 0.01 | 0.02 | -100 | 0.01 | 7.5 | 6.9 | - | -0.6 | 16 | 8 | 50 | -8 | 13 | 13 | - | 0 | 13 | 8 | 38.4615 | -5 | 9.7 | 8.7 | 10.3093 | -1
2012-11-06 | 11 | 2 | 2 | 0 | 0 | 0.078 | 0.155 | -98.7179 | 0.077 | 0.06 | 0.06 | 0 | 0 | 1.5 | 1.5 | 0 | 0 | 0.01 | 0.02 | -100 | 0.01 | 7 | 6.6 | - | -0.4 | 1 | 2 | -100 | 1 | 12 | 12 | - | 0 | - | - | #VALUE! | #VALUE! | - | - | #VALUE! | #VALUE!
2013-01-29 | 1 | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 2.4 | 2.4 | 0 | 0 | 0.01 | 0.01 | 0 | 0 | 7.1 | 7 | - | -0.1 | 6 | 5 | 16.6667 | -1 | 10 | 10 | - | 0 | 3 | 3 | 0 | 0 | 9.4 | 9.4 | 0 | 0
2013-04-19 | 4 | 2 | 2 | 0 | 0 | 0.078 | 0.109 | -39.7436 | 0.031 | 0.06 | 0.06 | 0 | 0 | 1.4 | 1.4 | 0 | 0 | 0.01 | 0.01 | 0 | 0 | 6.9 | 6.7 | - | -0.2 | 1 | 2 | -100 | 1 | 10 | 10 | - | 0 | 2 | 2 | 0 | 0 | - | 9.7 | #VALUE! | #VALUE!
2013-06-12 | 6 | 1.3 | 1.8 | -38.4615 | 0.5 | 0.022 | 0.083 | -277.2727 | 0.061 | 0.004 | 0.009 | -125 | 0.005 | 1.641 | 1.643 | -0.12188 | 0.002 | 0.011 | 0.018 | -63.6364 | 0.007 | 6.29 | 6.04 | - | -0.25 | 1 | 4 | -300 | 3 | 12.7 | 12.8 | - | 0.1 | 2.62 | 2.56 | 2.2901 | -0.06 | 10.93 | 9.43 | 13.7237 | -1.5
2013-08-21 | 8 | 1.4 | 2.1 | -50 | 0.7 | 0.058 | 0.128 | -120.6897 | 0.07 | 0.017 | 0.019 | -11.7647 | 0.002 | 1.47 | 1.406 | 4.3537 | -0.064 | 0.037 | 0.069 | -86.4865 | 0.032 | 6.81 | 6.46 | - | -0.35 | 0 | 0 | #DIV/0! | 0 | - | - | - | #VALUE! | 0.637 | 0.753 | -18.2104 | 0.116 | - | - | #VALUE! | #VALUE!
2013-10-02 | 10 | 2 | 1 | 50 | -1 | 0.093 | 0.303 | -225.8065 | 0.21 | 0.04 | 0.04 | 0 | 0 |  |  | #DIV/0! |  | 0.03 | 0.05 | -66.6667 | 0.02 | 7.6 | 7.4 | - | -0.2 | 3 | 1 | 66.6667 | -2 | 14.1 | 13.8 | - | -0.3 | 2.42 | 1.94 | 19.8347 | -0.48 | 10.8 | 8.8 | 18.5185 | -2
2014-04-10 | 4 | 1.1 | 1.3 | -18.1818 | 0.2 | 0.012 | 0.115 | -858.3333 | 0.103 | 0.002 | 0.004 | -100 | 0.002 | 2.1 | 1.91 | 9.0476 | -0.19 | 0.01 | 0.02 | -100 | 0.01 | 6.59 | 6.39 | - | -0.2 | 2 | 3 | -50 | 1 | - | - | - | #VALUE! | 2 | 3.3 | -65 | 1.3 | - | - | #VALUE! | #VALUE!
2014-10-23 | 10 | 0.7 | 2.3 | -228.5714 | 1.6 | 0.035 | 0.189 | -440 | 0.154 | 0.005 | 0.009 | -80 | 0.004 | 1.59 | 1.53 | 3.7736 | -0.06 | 0.006 | 0.026 | -333.3333 | 0.02 | 6.13 | 5.95 | - | -0.18 | 4 | 1 | 75 | -3 | 10.6 | 10.9 | - | 0.3 | 1.36 | 5.06 | -272.0588 | 3.7 | 10.85 | 8.92 | 17.788 | -1.93
2015-02-12 | 2 | 0.9 | 1.7 | -88.8889 | 0.8 | 0.042 | 0.182 | -333.3333 | 0.14 | 0.004 | 0.007 | -75 | 0.003 | 2.1 | 2.14 | -1.9048 | 0.04 | 0.009 | 0.026 | -188.8889 | 0.017 | 6.68 | 6.45 | - | -0.23 | 3 | 7 | -133.3333 | 4 | 5.7 | 5.7 | - | 0 | 3.21 | 4.37 | -36.1371 | 1.16 | 12.53 | 11.17 | 10.854 | -1.36
[20 empty] | #DIV/0! | 0 |  |  | - | 0 |  |  | #DIV/0! | 0 |  |  | - | 0 |  |  | #DIV/0! | 0 |  |  | #DIV/0! | 0
LOQ: limit of quantification
NA: not applicable
Note on C5: Alexandre Tahar: < 2
Note on D5: Alexandre Tahar: < 2
Note on G5: Alexandre Tahar: <0.078
Note on K5: Alexandre Tahar: <0.06
Note on L5: Alexandre Tahar: <0.06
Note on S5: Alexandre Tahar: <0.01
Note on AA5: Alexandre Tahar: <5
Note on AB5: Alexandre Tahar: <5
Note on AA6: Alexandre Tahar: <5
Note on AB6: Alexandre Tahar: <5
Note on C7: Alexandre Tahar: <2
Note on G7: Alexandre Tahar: <0.02
Note on K7: Alexandre Tahar: <0.01
Note on L7: Alexandre Tahar: <0.01
Note on AB10: Alexandre Tahar: <4.5
Note on C13: Alexandre Tahar: <2
Note on D13: Alexandre Tahar: <2
Note on G13: Alexandre Tahar: <0.078
Note on K13: Alexandre Taha<0.06
Note on L13: Alexandre Taha<0.06
Note on S13: Alexandre Tahar: <0.01
Note on T13: Alexandre Tahar: <0.01
Note on D14: Alexandre Tahar: <2
Note on C15: Alexandre Tahar: <
Note on D15: Alexandre Tahar:<
Note on G15: Alexandre Tahar: <
Note on H15: Alexandre Tahar: <
Note on K15: Alexandre Taha<0.06
Note on L15: Alexandre Taha<0.06
Note on S15: Alexandre Tahar: <0.01
Note on C16: Alexandre Tahar: <
Note on G16: Alexandre Tahar: <
Note on K16: Alexandre Tahar: <
Note on L16: Alexandre Tahar: <
Note on S16: Alexandre Tahar: <
Note on C17: Alexandre Tahar: <2
Note on D17: Alexandre Tahar: <2
Note on G17: Alexandre Tahar: <
Note on H17: Alexandre Tahar: <
Note on K17: Alexandre Taha<0.06
Note on L17: Alexandre Taha<0.06
Note on S17: Alexandre Tahar: <0.01
Note on T17: Alexandre Tahar: <0.01
Note on G18: Alexandre Tahar: <
Note on K18: Alexandre Tahar: <
Note on L18: Alexandre Tahar: <
Note on S18: Alexandre Tahar: <
Note on C19: Alexandre Tahar: <2
Note on D19: Alexandre Tahar: <2
Note on G19: Alexandre Tahar: <
Note on H19: Alexandre Tahar: <
Note on K19: Alexandre Taha<0.06
Note on L19: Alexandre Taha<0.06
Note on C21: Alexandre Tahar: <2
Note on D21: Alexandre Tahar: <2
Note on G21: Alexandre Tahar: <
Note on H21: Alexandre Tahar: <
Note on K21: Alexandre Taha<0.06
Note on L21: Alexandre Taha<0.06
Note on C22: Alexandre Tahar: <
Note on AB22: Alexandre Tahar: <
Note on C23: Alexandre Tahar: <2
Note on D23: Alexandre Tahar: <2
Note on G23: Alexandre Tahar: <
Note on H23: Alexandre Tahar: <
Note on K23: Alexandre Taha<0.06
Note on L23: Alexandre Taha<0.06
Note on S23: Alexandre Tahar: <
Note on AI23: Alexandre Tahar: <
Note on C24: Alexandre Tahar: <
Note on G24: Alexandre Tahar: <
Note on K24: Alexandre Tahar: <
Note on L24: Alexandre Tahar: <
Note on S24: Alexandre Tahar: <
Note on AJ24: Alexandre Tahar: <
Note on C25: Alexandre Tahar: <
Note on D25: Alexandre Tahar: <
Note on S25: Alexandre Tahar: <
Note on AA25: Alexandre Tahar: <
Note on AB25: Alexandre Tahar: <
Note on C26: Alexandre Tahar: <
Note on D26: Alexandre Tahar: <
Note on G26: Alexandre Tahar: <
Note on K26: Alexandre Tahar: <
Note on L26: Alexandre Tahar: <
Note on C27: Alexandre Tahar: <
Note on D27: Alexandre Tahar: <
Note on G27: Alexandre Tahar: <
Note on H27: Alexandre Tahar: <
Note on K27: Alexandre Taha<0.06
Note on L27: Alexandre Taha<0.06
Note on C28: Alexandre Tahar: <
Note on D28: Alexandre Tahar: <
Note on G28: Alexandre Tahar: <
Note on K28: Alexandre Tahar: <
Note on L28: Alexandre Tahar: <
Note on AA28: Alexandre Tahar: <
Note on AB28: Alexandre Tahar: <
Note on C29: Alexandre Tahar: <
Note on D29: Alexandre Tahar: <
Note on G29: Alexandre Tahar: <
Note on H29: Alexandre Tahar: <
Note on K29: Alexandre Taha<0.06
Note on L29: Alexandre Taha<0.06
Note on S29: Alexandre Tahar: <
Note on C30: Alexandre Tahar: <
Note on D30: Alexandre Tahar: <
Note on G30: Alexandre Tahar: <
Note on K30: Alexandre Tahar: <
Note on L30: Alexandre Tahar: <
Note on S30: Alexandre Tahar: <
Note on T30: Alexandre Tahar: <
Note on AB30: Alexandre Tahar: <
Note on AI30: Alexandre Tahar: <
Note on AJ30: Alexandre Tahar: <
Note on C31: Alexandre Tahar: <
Note on D31: Alexandre Tahar: <
Note on K31: Alexandre Tahar: <
Note on AA31: Alexandre Tahar: <
Note on AB31: Alexandre Tahar: <
Note on C32: Alexandre Tahar: <
Note on G34: Alexandre Tahar: <
Note on K34: Alexandre Tahar: <
Note on L34: Alexandre Tahar: <
Note on AA34: Alexandre Tahar: <
Note on AB34: Alexandre Tahar: <
Note on C35: Alexandre Tahar: <
Note on K35: Alexandre Tahar: <
Note on S35: Alexandre Tahar: <
Note on AA35: Alexandre Tahar: <
Note on AB35: Alexandre Tahar: <
Note on C36: Alexandre Tahar: <
Note on D36: Alexandre Tahar: <
Note on K36: Alexandre Tahar: <
Note on S36: Alexandre Tahar: <
Note on AA36: Alexandre Tahar: <

## FARM3
FARM3
|  | DBO5 (mgO2/L) |  |  |  | ammonium (mgN/L) |  |  |  | nitrite (mgN/L) |  |  |  | Total Oxidised Nitrogen(N) (mgN/L) |  |  |  | orthophosphate (mgP/L) |  |  |  | pH (-) |  |  |  | TSS (mg/L) |  |  |  | temperature (˚C) |  |  |  | turbidity (NTU) |  |  |  | DO (mgO2/L)
|  | LOQ = 0.1-2 mgO2/L |  |  |  | LOQ = 0.005-0.078 mgN/L |  |  |  | LOQ = 0.002-0.06 mgN/L |  |  |  | LOQ = 0.7-1 mgN/L |  |  |  | LOQ = 0.006-0.01 mgP/L |  |  |  | NA |  |  |  | LOQ = 0.2-1 mg/L |  |  |  | NA |  |  |  | LOQ = 0.5-1 NTU |  |  |  | NA
|  | inlet | outlet | R (%) | Δ (mg/L) | inlet | outlet | R (%) | Δ (mg/L) | inlet | outlet | R (%) | Δ (mg/L) | inlet | outlet | R (%) | Δ (mg/L) | inlet | outlet | R (%) | Δ (mg/L) | inlet | outlet | R (%) | Δ | inlet | outlet | R (%) | Δ (mg/L) | inlet | outlet | R (%) | Δ (˚C) | inlet | outlet | R (%) | Δ (NTU) | inlet | outlet | R (%) | Δ (mg/L)
2005-07-06 | 7 | 1.58 | 2.11 | -33.5443 | 0.53 | 0.087 | 0.325 | -273.5632 | 0.238 | - | - | #VALUE! | #VALUE! | 1.83 | 1.49 | 18.5792 | -0.34 | 0.041 | 0.104 | -153.6585 | 0.063 | 6.76 | 6.72 | - | -0.04 | 5 | 5 | 0 | 0 | 13 | 13.6 | - | 0.6 | - | - | #VALUE! | #VALUE! | 11.12 | 6.36 | 42.8058 | -4.76
2005-08-18 | 8 | 2 | 2.66 | -33 | 0.66 | 0.0658 | 0.245 | -272.3404 | 0.1792 | 0.0279 | 0.0435 | -55.914 | 0.0156 | 1.9 | 1.91 | -0.52632 | 0.01 | 0.032 | 0.072 | -125 | 0.04 | 6.86 | 6.85 | - | -0.01 | 5 | 5 | 0 | 0 | 15.2 | 15.5 | - | 0.3 | - | - | #VALUE! | #VALUE! | 9.4 | 7 | 25.5319 | -2.4
2006-07-14 | 7 | 0.78 | 0.88 | -12.8205 | 0.1 | 0.045 | 0.131 | -191.1111 | 0.086 | 0.027 | 0.032 | -18.5185 | 0.005 | 2.37 | 2.35 | 0.84388 | -0.02 | 0.023 | 0.038 | -65.2174 | 0.015 | 7 | 6.83 | - | -0.17 | 5 | 5 | 0 | 0 | 13 | 14 | - | 1 | - | - | #VALUE! | #VALUE! | - | - | #VALUE! | #VALUE!
2006-11-23 | 11 | 2 | 3.1 | -55 | 1.1 | 0.02 | 0.165 | -725 | 0.145 | 0.01 | 0.014 | -40 | 0.004 | 1.77 | 1.41 | 20.339 | -0.36 | 0.02 | 0.073 | -265 | 0.053 | 6.48 | 6.23 | - | -0.25 | 9.5 | 30 | -215.7895 | 20.5 | 8.3 | 8.2 | - | -0.1 | - | - | #VALUE! | #VALUE! | - | - | #VALUE! | #VALUE!
2007-04-05 | 4 | 1.5 | 2.6 | -73.3333 | 1.1 | 0.037 | 0.2 | -440.5405 | 0.163 | 0.01 | 0.009 | 10 | -0.001 | 2.42 | 2.44 | -0.82645 | 0.02 | 0.013 | 0.024 | -84.6154 | 0.011 | 6.93 | 6.87 | - | -0.06 | 1.5 | 4 | -166.6667 | 2.5 | 7.1 | 7.8 | - | 0.7 | 2.2 | 4.4 | -100 | 2.2 | - | - | #VALUE! | #VALUE!
2007-06-07 | 6 | 1.4 | 2.5 | -78.5714 | 1.1 | 0.035 | 0.277 | -691.4286 | 0.242 | 0.015 | 0.029 | -93.3333 | 0.014 | 1.8 | 1.8 | 0 | 0 | 0.027 | 0.061 | -125.9259 | 0.034 | 6.42 | 6.52 | - | 0.1 | 2 | 2 | 0 | 0 | 13.5 | 14.2 | - | 0.7 | 2.8 | 5 | -78.5714 | 2.2 | 10.45 | 7.47 | 28.5167 | -2.98
2007-08-02 | 8 | 1 | 1.6 | -60 | 0.6 | 0.029 | 0.148 | -410.3448 | 0.119 | 0.008 | 0.012 | -50 | 0.004 | 2.35 | 2.13 | 9.3617 | -0.22 | 0.014 | 0.024 | -71.4286 | 0.01 | 6.41 | 6.54 | - | 0.13 | 0.5 | 1.5 | -200 | 1 | 13 | 13.5 | - | 0.5 | 4.7 | 5.3 | -12.766 | 0.6 | 10.29 | 7.94 | 22.8377 | -2.35
2007-10-04 | 10 | 2.3 | 2.1 | 8.6957 | -0.2 | 0.081 | 0.219 | -170.3704 | 0.138 | 0.01 | 0.012 | -20 | 0.002 | 0.95 | 0.87 | 8.4211 | -0.08 | 0.016 | 0.032 | -100 | 0.016 | 6.9 | 6.87 | - | -0.03 | 3 | 13 | -333.3333 | 10 | 10.5 | 10.9 | - | 0.4 | - | - | #VALUE! | #VALUE! | - | - | #VALUE! | #VALUE!
2008-02-28 | 2 | 2.1 | 3.7 | -76.1905 | 1.6 | 0.021 | 0.19 | -804.7619 | 0.169 | 0.004 | 0.006 | -50 | 0.002 | 2.63 | 2.57 | 2.2814 | -0.06 | 0.011 | 0.037 | -236.3636 | 0.026 | 6.22 | 6.43 | - | 0.21 | - | 5 | #VALUE! | #VALUE! | 6.3 | 6.7 | - | 0.4 | - | - | #VALUE! | #VALUE! | 12.2 | 9.21 | 24.5082 | -2.99
2008-03-07 | 3 | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 2.1 | 2.2 | -4.7619 | 0.1 | 0.06 | 0.01 | 83.3333 | -0.05 | 7.4 | 7.4 | - | 0 | 5 | 5 | 0 | 0 | 7 | 7 | - | 0 | 3 | 4 | -33.3333 | 1 | 13.5 | 13.6 | -0.74074 | 0.1
2008-05-07 | 5 | 1.2 | 1.9 | -58.3333 | 0.7 | 0.039 | 0.129 | -230.7692 | 0.09 | 0.011 | 0.01 | 9.0909 | -0.001 | 2.1 | 2.08 | 0.95238 | -0.02 | 0.006 | 0.018 | -200 | 0.012 | 6.72 | 6.66 | - | -0.06 | 5 | 9 | -80 | 4 | 12.2 | 12.8 | - | 0.6 | - | - | #VALUE! | #VALUE! | - | - | #VALUE! | #VALUE!
2008-06-12 | 6 | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.12 | 0.09 | 25 | -0.03 | 1.9 | 2 | -5.2632 | 0.1 | 0.05 | 0.05 | 0 | 0 | 7.4 | 7.6 | - | 0.2 | 3 | 4 | -33.3333 | 1 | 13 | 13 | - | 0 | 3 | 2 | 33.3333 | -1 | 9.1 | 9.2 | -1.0989 | 0.1
2008-08-06 | 8 | 1.5 | 1.9 | -26.6667 | 0.4 | 0.035 | 0.176 | -402.8571 | 0.141 | 0.005 | 0.005 | 0 | 0 | 2.16 | 1.93 | 10.6481 | -0.23 | 0.019 | 0.049 | -157.8947 | 0.03 | 7.29 | 6.95 | - | -0.34 | 11 | 3 | 72.7273 | -8 | 13.7 | 14 | - | 0.3 | - | - | #VALUE! | #VALUE! | 10 | 7.5 | 25 | -2.5
2008-09-15 | 9 | 5 | 3 | 40 | -2 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.04 | 33.3333 | -0.02 | 1.4 | 1.4 | 0 | 0 | 0.01 | 0.02 | -100 | 0.01 | 7 | 6.9 | - | -0.1 | 7 | 7 | 0 | 0 | 13 | 13 | - | 0 | 5 | 7 | -40 | 2 | 10.5 | 10.5 | 0 | 0
2008-11-05 | 11 | 1.2 | 1.9 | -58.3333 | 0.7 | 0.019 | 0.165 | -768.4211 | 0.146 | 0.004 | 0.008 | -100 | 0.004 | 2.57 | 2.33 | 9.3385 | -0.24 | 0.01 | 0.028 | -180 | 0.018 | 6.54 | 6.53 | - | -0.01 | 5 | 2 | 60 | -3 | 9.4 | 9.4 | - | 0 | - | - | #VALUE! | #VALUE! | 11.06 | 8.97 | 18.8969 | -2.09
2008-12-03 | 12 | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 2.4 | 2.4 | 0 | 0 | 0.01 | 0.01 | 0 | 0 | 7.1 | 7.2 | - | 0.1 | 2 | 2 | 0 | 0 | 6 | 6 | - | 0 | 5 | 2 | 60 | -3 | 8.3 | 7.9 | 4.8193 | -0.4
2009-02-19 | 2 | 0.9 | 1.8 | -100 | 0.9 | 0.018 | 0.137 | -661.1111 | 0.119 | 0.003 | 0.005 | -66.6667 | 0.002 | 2.57 | 2.54 | 1.1673 | -0.03 | 0.008 | 0.035 | -337.5 | 0.027 | 7.3 | 6.99 | - | -0.31 | 5 | 7 | -40 | 2 | 6.6 | 6.6 | - | 0 | 3.4 | 4.77 | -40.2941 | 1.37 | 12.71 | 9.85 | 22.502 | -2.86
2009-03-09 | 3 | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.9 | 1.8 | 5.2632 | -0.1 | 0.01 | 0.01 | 0 | 0 | 7.5 | 7.3 | - | -0.2 | 2 | 1 | 50 | -1 | 5 | 5 | - | 0 | 3 | 2 | 33.3333 | -1 | 8.2 | 7.8 | 4.878 | -0.4
2009-05-15 | 5 | 1.2 | 2.2 | -83.3333 | 1 | 0.028 | 0.153 | -446.4286 | 0.125 | 0.005 | 0.008 | -60 | 0.003 | 2.44 | 2.17 | 11.0656 | -0.27 | 0.009 | 0.036 | -300 | 0.027 | 6.76 | 6.61 | - | -0.15 | 2 | 7 | -250 | 5 | 9.7 | 10 | - | 0.3 | 2.34 | 2.7 | -15.3846 | 0.36 | 11.6 | 9.18 | 20.8621 | -2.42
2009-06-15 | 6 | 2 | 2 | 0 | 0 | 0.078 | 0.24 | -207.6923 | 0.162 | 0.06 | 0.06 | 0 | 0 | 2 | 2 | 0 | 0 | 0.01 | 0.01 | 0 | 0 | 7 | 7 | - | 0 | 5 | 6 | -20 | 1 | 13 | 13 | - | 0 | 6 | 9 | -50 | 3 | 10.1 | 10.5 | -3.9604 | 0.4
2009-09-18 | 9 | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.7 | 2.1 | -23.5294 | 0.4 | 0.01 | 0.01 | 0 | 0 | 7.3 | 7.4 | - | 0.1 | 1 | 1 | 0 | 0 | 13 | 13 | - | 0 | 1.3 | 1.4 | -7.6923 | 0.1 | 10.6 | 10.4 | 1.8868 | -0.2
2009-11-12 | 11 | 1.4 | 3.3 | -135.7143 | 1.9 | 0.018 | 0.161 | -794.4444 | 0.143 | 0.007 | 0.011 | -57.1429 | 0.004 | 1.31 | 1.08 | 17.5573 | -0.23 | 0.036 | 0.074 | -105.5556 | 0.038 | 6.76 | 6.47 | - | -0.29 | 17 | 39 | -129.4118 | 22 | 8.5 | 8.5 | - | 0 | 11.8 | 28.5 | -141.5254 | 16.7 | 11.4 | 8.11 | 28.8596 | -3.29
2010-04-15 | 4 | 1.4 | 1.8 | -28.5714 | 0.4 | 0.016 | 0.073 | -356.25 | 0.057 | 0.003 | 0.001 | 66.6667 | -0.002 | 2.18 | 2.07 | 5.0459 | -0.11 | 0.008 | 0.016 | -100 | 0.008 | 7.1 | 7.6 | - | 0.5 | 3 | 9 | -200 | 6 | 7.1 | 7.6 | - | 0.5 | - | - | #VALUE! | #VALUE! | 12.28 | 9.92 | 19.2182 | -2.36
2010-10-28 | 10 | 1.6 | 2.2 | -37.5 | 0.6 | 0.016 | 0.222 | -1287.5 | 0.206 | 0.004 | 0.009 | -125 | 0.005 | 1.11 | 1.15 | -3.6036 | 0.04 | 0.009 | 0.027 | -200 | 0.018 | 6.6 | 6.53 | - | -0.07 | 3 | 5 | -66.6667 | 2 | 10.9 | 10.9 | - | 0 | 2.43 | 4.8 | -97.5309 | 2.37 | 11.19 | 9.04 | 19.2136 | -2.15
2011-01-25 | 1 | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.8 | 2.3 | -27.7778 | 0.5 | 0.01 | 0.01 | 0 | 0 | 7 | 7.1 | - | 0.1 | 2 | 1 | 50 | -1 | 7 | 7 | - | 0 | 2 | 2 | 0 | 0 | 10.9 | 11.6 | -6.422 | 0.7
2011-04-27 | 4 | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.8 | 1.6 | 11.1111 | -0.2 | 0.02 | 0.04 | -100 | 0.02 | 7.4 | 6.6 | - | -0.8 | 2 | 4 | -100 | 2 | 13 | 16 | - | 3 | 2 | 3 | -50 | 1 | 11.3 | 8.7 | 23.0088 | -2.6
2011-07-26 | 7 | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.4 | 1.3 | 7.1429 | -0.1 | 0.03 | 0.05 | -66.6667 | 0.02 | 7.2 | 6.9 | - | -0.3 | 7 | 5 | 28.5714 | -2 | 15 | 15 | - | 0 | 2 | 3 | -50 | 1 | 9.5 | 8.8 | 7.3684 | -0.7
2011-10-11 | 10 | 1.2 | 2.4 | -100 | 1.2 | 0.027 | 0.136 | -403.7037 | 0.109 | 0.007 | 0.01 | -42.8571 | 0.003 | 0.93 | 0.97 | -4.3011 | 0.04 | 0.014 | 0.024 | -71.4286 | 0.01 | 6.94 | 6.58 | - | -0.36 | 2 | 0 | 100 | -2 | 13.6 | 13.8 | - | 0.2 | - | - | #VALUE! | #VALUE! | 10.13 | 7.38 | 27.1471 | -2.75
2011-10-19 | 10 | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.2 | 1.2 | 0 | 0 | 0.01 | 0.01 | 0 | 0 | 7 | 7 | - | 0 | 4 | 4 | 0 | 0 | 9 | 9 | - | 0 | 2 | 2 | 0 | 0 | 10.4 | 10.5 | -0.96154 | 0.1
2012-01-05 | 1 | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.4 | 1.3 | 7.1429 | -0.1 | 0.01 | 0.01 | 0 | 0 | 6.8 | 6.9 | - | 0.1 | 3 | 5 | -66.6667 | 2 | 7 | 7 | - | 0 | 2 | 2 | 0 | 0 | 10.8 | 10.4 | 3.7037 | -0.4
2012-02-16 | 2 | 0.6 | 1.1 | -83.3333 | 0.5 | 0.042 | 0.135 | -221.4286 | 0.093 | 0.001 | 0.005 | -400 | 0.004 | 2.23 | 2.1 | 5.8296 | -0.13 | 0.011 | 0.015 | -36.3636 | 0.004 | 7.15 | 6.92 | - | -0.23 | 4 | 6 | -50 | 2 | 7.2 | 7.2 | - | 0 | 1.52 | 3.58 | -135.5263 | 2.06 | 12.06 | 10.5 | 12.9353 | -1.56
2012-04-18 | 4 | 3 | 3 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 0.8 | 0.7 | 12.5 | -0.1 | 0.01 | 0.01 | 0 | 0 | 6.8 | 6.8 | - | 0 | 17 | 13 | 23.5294 | -4 | 9 | 9 | - | 0 | 32 | 32 | 0 | 0 | 10.6 | 10.6 | 0 | 0
2012-07-16 | 7 | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.6 | 1.7 | -6.25 | 0.1 | 0.01 | 0.02 | -100 | 0.01 | 7.6 | 7.4 | - | -0.2 | 12 | 8 | 33.3333 | -4 | 13 | 13 | - | 0 | 12 | 9 | 25 | -3 | 9.7 | 9.6 | 1.0309 | -0.1
2012-11-06 | 11 | 2 | 3 | -50 | 1 | 0.078 | 0.186 | -138.4615 | 0.108 | 0.06 | 0.06 | 0 | 0 | 1.7 | 1.7 | 0 | 0 | 0.01 | 0.02 | -100 | 0.01 | 7 | 6.7 | - | -0.3 | 2 | 4 | -100 | 2 | 13 | 13 | - | 0 | 3 | 2 | 33.3333 | -1 | 9.6 | 9.5 | 1.0417 | -0.1
2013-01-29 | 1 | 2 | 2 | 0 | 0 | 0.078 | 0.16 | -105.1282 | 0.082 | 0.06 | 0.06 | 0 | 0 | 2.4 | 2.1 | 12.5 | -0.3 | 0.01 | 0.02 | -100 | 0.01 | 7.1 | 6.8 | - | -0.3 | 6 | 10 | -66.6667 | 4 | 10 | 10 | - | 0 | 3 | 3 | 0 | 0 | 9.4 | 9.2 | 2.1277 | -0.2
2013-04-19 | 4 | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.7 | 1.6 | 5.8824 | -0.1 | 0.01 | 0.01 | 0 | 0 | 7.2 | 7 | - | -0.2 | 3 | 2 | 33.3333 | -1 | 10 | 10 | - | 0 | 3 | 3 | 0 | 0 | 9.7 | 11.1 | -14.433 | 1.4
2013-06-12 | 6 | 1.2 | 3.5 | -191.6667 | 2.3 | 0.039 | 0.242 | -520.5128 | 0.203 | 0.008 | 0.018 | -125 | 0.01 | 1.71 | 1.71 | 0 | 0 | 0.013 | 0.036 | -176.9231 | 0.023 | 6.4 | 6.1 | - | -0.3 | 0 | 4 | #DIV/0! | 4 | 12.8 | 13.3 | - | 0.5 | 1.09 | 1.2 | -10.0917 | 0.11 | 10.8 | 8.57 | 20.6481 | -2.23
2013-08-21 | 8 | 0.9 | 2.6 | -188.8889 | 1.7 | 0.04 | 0.321 | -702.5 | 0.281 | 0.023 | 0.057 | -147.8261 | 0.034 | 1.5 | 1.61 | -7.3333 | 0.11 | 0.017 | 0.06 | -252.9412 | 0.043 | 6.76 | 6.45 | - | -0.31 | 0 | 0 | #DIV/0! | 0 | - | - | - | #VALUE! | 0.526 | 1.14 | -116.73 | 0.614 | - | - | #VALUE! | #VALUE!
2013-10-02 | 10 | 1 | 2 | -100 | 1 | 0.047 | 0.248 | -427.6596 | 0.201 | 0.04 | 0.04 | 0 | 0 | - | - | #VALUE! | #VALUE! | 0.09 | 0.35 | -288.8889 | 0.26 | 7.6 | 7.4 | - | -0.2 | 1 | 1 | 0 | 0 | 13.8 | 14 | - | 0.2 | 0.4 | 0.41 | -2.5 | 0.01 | 11.3 | 8.1 | 28.3186 | -3.2
2014-04-10 | 4 | 0.9 | 1.4 | -55.5556 | 0.5 | 0.019 | 0.137 | -621.0526 | 0.118 | 0.002 | 0.004 | -100 | 0.002 | 2.16 | 2 | 7.4074 | -0.16 | 0.014 | 0.026 | -85.7143 | 0.012 | 6.61 | 6.41 | - | -0.2 | 0 | 3 | #DIV/0! | 3 | - | - | - | #VALUE! | 2.52 | 3.11 | -23.4127 | 0.59 | - | - | #VALUE! | #VALUE!
2014-10-23 | 10 | 0.8 | 2.2 | -175 | 1.4 | 0.035 | 0.203 | -480 | 0.168 | 0.006 | 0.007 | -16.6667 | 0.001 | 1.85 | 1.75 | 5.4054 | -0.1 | 0.006 | 0.023 | -283.3333 | 0.017 | 6.22 | 6.05 | - | -0.17 | 3 | 9 | -200 | 6 | 10.9 | 10.8 | - | -0.1 | 1.82 | 3.7 | -103.2967 | 1.88 | 10.84 | 7.25 | 33.1181 | -3.59
2015-02-12 | 2 | 1.3 | 2.5 | -92.3077 | 1.2 | 0.081 | 0.297 | -266.6667 | 0.216 | 0.01 | 0.012 | -20 | 0.002 | 2.1 | 2 | 4.7619 | -0.1 | 0.016 | 0.036 | -125 | 0.02 | 6.65 | 6.43 | - | -0.22 | 4 | 4 | 0 | 0 | 5.7 | 5.5 | - | -0.2 | 4.1 | 3.26 | 20.4878 | -0.84 | 12.62 | 10.59 | 16.0856 | -2.03
LOQ: limit of quantification
NA: not applicable
Note on C5: Alexandre Tahar: <
Note on AA5: Alexandre Tahar: <
Note on AB5: Alexandre Tahar: <
Note on C6: Alexandre Tahar: <
Note on AA6: Alexandre Tahar: <
Note on AA7: Alexandre Tahar: <
Note on AB7: Alexandre Tahar: <
Note on C8: Alexandre Tahar: <
Note on K8: Alexandre Tahar: <
Note on AA11: Alexandre Tahar: <
Note on AB11: Alexandre Tahar: <
Note on C14: Alexandre Tahar: <
Note on D14: Alexandre Tahar: <
Note on G14: Alexandre Tahar: <
Note on H14: Alexandre Tahar: <
Note on K14: Alexandre Tahar: <
Note on L14: Alexandre Tahar: <
Note on S14: Alexandre Tahar: <
Note on C16: Alexandre Tahar: <
Note on D16: Alexandre Tahar: <
Note on AA16: Alexandre Tahar: <
Note on C18: Alexandre Tahar: <
Note on D18: Alexandre Tahar: <
Note on K18: Alexandre Tahar: <
Note on L18: Alexandre Tahar: <
Note on C20: Alexandre Tahar: <
Note on D20: Alexandre Tahar: <
Note on G20: Alexandre Tahar: <
Note on H20: Alexandre Tahar: <
Note on K20: Alexandre Tahar: <
Note on L20: Alexandre Tahar: <
Note on S20: Alexandre Tahar: <
Note on T20: Alexandre Tahar: <
Note on AA20: Alexandre Tahar: <
Note on C21: Alexandre Tahar: <
Note on D21: Alexandre Tahar: <
Note on G21: Alexandre Tahar: <
Note on K21: Alexandre Tahar: <
Note on S21: Alexandre Tahar: <
Note on C22: Alexandre Tahar: <
Note on D22: Alexandre Tahar: <
Note on G22: Alexandre Tahar: <
Note on H22: Alexandre Tahar: <
Note on K22: Alexandre Tahar: <
Note on L22: Alexandre Tahar: <
Note on S22: Alexandre Tahar: <
Note on T22: Alexandre Tahar: <
Note on AB22: Alexandre Tahar: <
Note on C23: Alexandre Tahar: <
Note on S23: Alexandre Tahar: <
Note on AA23: Alexandre Tahar: <
Note on C24: Alexandre Tahar: <
Note on D24: Alexandre Tahar: <
Note on G24: Alexandre Tahar: <
Note on K24: Alexandre Tahar: <
Note on L24: Alexandre Tahar: <
Note on S24: Alexandre Tahar: <
Note on C25: Alexandre Tahar: <
Note on D25: Alexandre Tahar: <
Note on G25: Alexandre Tahar: <
Note on H25: Alexandre Tahar: <
Note on K25: Alexandre Tahar: <
Note on L25: Alexandre Tahar: <
Note on S25: Alexandre Tahar: <
Note on T25: Alexandre Tahar: <
Note on C26: Alexandre Tahar: <
Note on G26: Alexandre Tahar: <
Note on C27: Alexandre Tahar: <
Note on D27: Alexandre Tahar: <
Note on G27: Alexandre Tahar: <
Note on K27: Alexandre Tahar: <
Note on L27: Alexandre Tahar: <
Note on S27: Alexandre Tahar: <
Note on AA27: Alexandre Tahar: <
Note on C28: Alexandre Tahar: <
Note on G28: Alexandre Tahar: <
Note on K28: Alexandre Tahar: <
Note on S28: Alexandre Tahar: <
Note on AA28: Alexandre Tahar: <
Note on C29: Alexandre Tahar: <
Note on D29: Alexandre Tahar: <
Note on G29: Alexandre Tahar: <
Note on H29: Alexandre Tahar: <
Note on K29: Alexandre Tahar: <
Note on L29: Alexandre Tahar: <
Note on S29: Alexandre Tahar: <
Note on AI29: Alexandre Tahar: <
Note on AJ29: Alexandre Tahar: <
Note on C30: Alexandre Tahar: <
Note on D30: Alexandre Tahar: <
Note on G30: Alexandre Tahar: <
Note on H30: Alexandre Tahar: <
Note on K30: Alexandre Tahar: <
Note on L30: Alexandre Tahar: <
Note on AA30: Alexandre Tahar: <
Note on AB30: Alexandre Tahar: <
Note on C31: Alexandre Tahar: <
Note on D31: Alexandre Tahar: <
Note on G31: Alexandre Tahar: <
Note on H31: Alexandre Tahar: <
Note on K31: Alexandre Tahar: <
Note on L31: Alexandre Tahar: <
Note on C32: Alexandre Tahar: <
Note on AA32: Alexandre Tahar: <
Note on C33: Alexandre Tahar: <
Note on D33: Alexandre Tahar: <
Note on G33: Alexandre Tahar: <
Note on H33: Alexandre Tahar: <
Note on K33: Alexandre Tahar: <
Note on L33: Alexandre Tahar: <
Note on AI33: Alexandre Tahar: <
Note on AJ33: Alexandre Tahar: <
Note on C34: Alexandre Tahar: <
Note on D34: Alexandre Tahar: <
Note on G34: Alexandre Tahar: <
Note on H34: Alexandre Tahar: <
Note on K34: Alexandre Tahar: <
Note on L34: Alexandre Tahar: <
Note on S34: Alexandre Tahar: <
Note on T34: Alexandre Tahar: <
Note on AI34: Alexandre Tahar: <
Note on C35: Alexandre Tahar: <
Note on D35: Alexandre Tahar: <
Note on K35: Alexandre Tahar: <
Note on AA35: Alexandre Tahar: <
Note on C36: Alexandre Tahar: <
Note on D36: Alexandre Tahar: <
Note on G36: Alexandre Tahar: <
Note on H36: Alexandre Tahar: <
Note on K36: Alexandre Tahar: <
Note on L36: Alexandre Tahar: <
Note on C37: Alexandre Tahar: <
Note on D37: Alexandre Tahar: <
Note on G37: Alexandre Tahar: <
Note on H37: Alexandre Tahar: <
Note on K37: Alexandre Tahar: <
Note on L37: Alexandre Tahar: <
Note on C38: Alexandre Tahar: <
Note on G38: Alexandre Tahar: <
Note on K38: Alexandre Tahar: <
Note on S38: Alexandre Tahar: <
Note on AA38: Alexandre Tahar: <
Note on AB38: Alexandre Tahar: <
Note on C39: Alexandre Tahar: <
Note on D39: Alexandre Tahar: <
Note on G39: Alexandre Tahar: <
Note on L39: Alexandre Tahar: <
Note on C40: Alexandre Tahar: <
Note on D40: Alexandre Tahar: <
Note on G40: Alexandre Tahar: <
Note on H40: Alexandre Tahar: <
Note on K40: Alexandre Tahar: <
Note on L40: Alexandre Tahar: <
Note on S40: Alexandre Tahar: <
Note on T40: Alexandre Tahar: <
Note on AA40: Alexandre Tahar: <
Note on AB40: Alexandre Tahar: <
Note on C41: Alexandre Tahar: <
Note on AB41: Alexandre Tahar: <
Note on C44: Alexandre Tahar: <
Note on G44: Alexandre Tahar: <
Note on K44: Alexandre Tahar: <
Note on L44: Alexandre Tahar: <
Note on C45: Alexandre Tahar: <
Note on S45: Alexandre Tahar: <
Note on AA45: Alexandre Tahar: <
Note on C46: Alexandre Tahar: <
Note on AA46: Alexandre Tahar: <
Note on AB46: Alexandre Tahar: <

## FARM4
FARM4
|  | DBO5 (mgO2/L) |  |  |  | ammonium (mgN/L) |  |  |  | nitrite (mgN/L) |  |  |  | Total Oxidised Nitrogen(N) (mgN/L) |  |  |  | orthophosphate (mgP/L) |  |  |  | pH (-) |  |  |  | TSS (mg/L) |  |  |  | temperature (˚C) |  |  |  | turbidity (NTU) |  |  |  | DO (mgO2/L)
|  | LOQ = 0.1-2 mgO2/L |  |  |  | LOQ = 0.005-0.078 mgN/L |  |  |  | LOQ = 0.002-0.06 mgN/L |  |  |  | LOQ = 0.7-1 mgN/L |  |  |  | LOQ = 0.006-0.01 mgP/L |  |  |  | NA |  |  |  | LOQ = 0.2-1 mg/L |  |  |  | NA |  |  |  | LOQ = 0.5-1 NTU |  |  |  | NA
|  | inlet | outlet | R (%) | Δ (mg/L) | inlet | outlet | R (%) | Δ (mg/L) | inlet | outlet | R (%) | Δ (mg/L) | inlet | outlet | R (%) | Δ (mg/L) | inlet | outlet | R (%) | Δ (mg/L) | inlet | outlet | R (%) | Δ | inlet | outlet | R (%) | Δ (mg/L) | inlet | outlet | R (%) | Δ (˚C) | inlet | outlet | R (%) | Δ (NTU) | inlet | outlet | R (%) | Δ (mg/L)
2005-07-06 | 7 | 2 | 2.94 | -47 | 0.94 | 0.141 | 0.357 | -153.1915 | 0.216 | - | - | #VALUE! | #VALUE! | 1.8 | 1.32 | 26.6667 | -0.48 | 0.051 | 0.104 | -103.9216 | 0.053 | 6.78 | 6.75 | - | -0.03 | 5 | 7 | -40 | 2 | 13.4 | 13.7 | - | 0.3 | - | - | #VALUE! | #VALUE! | 9.65 | 7.53 | 21.9689 | -2.12
2005-08-18 | 8 | 2 | 2.14 | -7 | 0.14 | 0.095 | 0.28 | -194.7368 | 0.185 | 0.033 | 0.0443 | -34.2424 | 0.0113 | 1.96 | 2.07 | -5.6122 | 0.11 | 0.043 | 0.071 | -65.1163 | 0.028 | 6.8 | 6.83 | - | 0.03 | 5 | 5 | 0 | 0 | 15.3 | 15.6 | - | 0.3 | - | - | #VALUE! | #VALUE! | 9 | 6.5 | 27.7778 | -2.5
2006-07-14 | 7 | 1.22 | 1.28 | -4.918 | 0.06 | 0.087 | 0.209 | -140.2299 | 0.122 | 0.031 | 0.039 | -25.8065 | 0.008 | 2.42 | 2.24 | 7.438 | -0.18 | 0.034 | 0.051 | -50 | 0.017 | 6.8 | 6.52 | - | -0.28 | 5 | 5 | 0 | 0 | 14 | 14.1 | - | 0.1 | 1.7 | 0.04 | 97.6471 | -1.66 | - | 8.61 | #VALUE! | #VALUE!
2006-11-23 | 11 | 2 | 3.3 | -65 | 1.3 | 0.024 | 0.096 | -300 | 0.072 | 0.01 | 0.014 | -40 | 0.004 | 1.5 | 1.35 | 10 | -0.15 | 0.0198 | 0.047 | -137.3737 | 0.0272 | 6.58 | 6.54 | - | -0.04 | 14 | 34.5 | -146.4286 | 20.5 | 8.4 | 8.2 | - | -0.2 | - | - | #VALUE! | #VALUE! | - | - | #VALUE! | #VALUE!
2007-04-05 | 4 | 2.5 | 2.6 | -4 | 0.1 | 0.064 | 0.143 | -123.4375 | 0.079 | 0.011 | 0.0106 | 3.6364 | -0.0004 | 2.63 | 2.49 | 5.3232 | -0.14 | 0.021 | 0.024 | -14.2857 | 0.003 | 6.9 | 6.7 | - | -0.2 | 31.5 | 9.5 | 69.8413 | -22 | 7.8 | 7.9 | - | 0.1 | 14.2 | 5.5 | 61.2676 | -8.7 | - | - | #VALUE! | #VALUE!
2007-07-07 | 7 | 1.6 | 1.3 | 18.75 | -0.3 | 0.135 | 0.314 | -132.5926 | 0.179 | 0.024 | 0.029 | -20.8333 | 0.005 | 1.89 | 1.8 | 4.7619 | -0.09 | 0.041 | 0.065 | -58.5366 | 0.024 | 6.51 | 6.47 | - | -0.04 | 3 | 2 | 33.3333 | -1 | 14.4 | 14.9 | - | 0.5 | 3.2 | 9.7 | -203.125 | 6.5 | 9.55 | 7.1 | 25.6545 | -2.45
2007-08-02 | 8 | 1.3 | 2 | -53.8462 | 0.7 | 0.05 | 0.169 | -238 | 0.119 | 0.01 | 0.015 | -50 | 0.005 | 2.34 | 2.19 | 6.4103 | -0.15 | 0.017 | 0.026 | -52.9412 | 0.009 | 6.61 | 6.6 | - | -0.01 | 1 | 4.5 | -350 | 3.5 | 13.3 | 13.5 | - | 0.2 | 3.1 | 6.1 | -96.7742 | 3 | 10.05 | 8.65 | 13.9303 | -1.4
2007-10-04 | 10 | 1.5 | 2.1 | -40 | 0.6 | 0.094 | 0.249 | -164.8936 | 0.155 | 0.01 | 0.015 | -50 | 0.005 | 0.96 | 0.88 | 8.3333 | -0.08 | 0.017 | 0.029 | -70.5882 | 0.012 | 6.77 | 6.75 | - | -0.02 | 2 | 4 | -100 | 2 | 10.8 | 11.1 | - | 0.3 | - | - | #VALUE! | #VALUE! | - | - | #VALUE! | #VALUE!
2008-02-28 | 2 | 2.1 | 2.8 | -33.3333 | 0.7 | 0.071 | 0.239 | -236.6197 | 0.168 | 0.005 | 0.008 | -60 | 0.003 | 2.56 | 2.57 | -0.39062 | 0.01 | 0.019 | 0.043 | -126.3158 | 0.024 | 9.47 | 6.45 | - | -3.02 | 2 | - | #VALUE! | #VALUE! | 6.5 | 6.6 | - | 0.1 | - | - | #VALUE! | #VALUE! | 11.39 | 7.9 | 30.6409 | -3.49
2008-03-07 | 3 | 2 | 2 | 0 | 0 | 0.27 | 0.078 | 71.1111 | -0.192 | 0.06 | 0.06 | 0 | 0 | 2.3 | 11 | -378.2609 | 8.7 | 0.05 | 0.01 | 80 | -0.04 | 7.2 | 7.2 | - | 0 | 11 | 5 | 54.5455 | -6 | - | - | - | #VALUE! | 5 | 6 | -20 | 1 | 12.2 | 13,3 | #VALUE! | #VALUE!
2008-05-07 | 5 | 1.4 | 1.8 | -28.5714 | 0.4 | 0.064 | 0.123 | -92.1875 | 0.059 | 0.011 | 0.015 | -36.3636 | 0.004 | 2.17 | 20.6 | -849.3088 | 18.43 | 0.012 | 0.02 | -66.6667 | 0.008 | 6.78 | 6.78 | - | 0 | 4 | 11 | -175 | 7 | 12.9 | 13.3 | - | 0.4 | - | - | #VALUE! | #VALUE! | - | - | #VALUE! | #VALUE!
2008-06-12 | 6 | 2 | 2 | 0 | 0 | 0.116 | 0.116 | 0 | 0 | 0.1 | 0.26 | -160 | 0.16 | 1.8 | 2 | -11.1111 | 0.2 | 0.05 | 0.16 | -220 | 0.11 | 6.9 | 7.1 | - | 0.2 | 2 | 9 | -350 | 7 | 13 | 13 | - | 0 | 3 | 3 | 0 | 0 | 8.2 | 8.4 | -2.439 | 0.2
2008-08-06 | 8 | 1.6 | 2.4 | -50 | 0.8 | 0.06 | 0.185 | -208.3333 | 0.125 | 0.006 | 0.009 | -50 | 0.003 | 1.81 | 1.77 | 2.2099 | -0.04 | 0.022 | 0.052 | -136.3636 | 0.03 | 7.25 | 6.96 | - | -0.29 | 3 | 1 | 66.6667 | -2 | 14.1 | 14.2 | - | 0.1 | - | - | #VALUE! | #VALUE! | 9.7 | 8.14 | 16.0825 | -1.56
2008-09-15 | 9 | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.1 | 1.1 | 0 | 0 | 0.01 | 0.03 | -200 | 0.02 | 6.9 | 6.8 | - | -0.1 | 5 | 8 | -60 | 3 | 13 | 13 | - | 0 | 11 | 10 | 9.0909 | -1 | 10.2 | 8.6 | 15.6863 | -1.6
2008-11-05 | 11 | 1.4 | 2.8 | -100 | 1.4 | 0.041 | 0.257 | -526.8293 | 0.216 | 0.005 | 0.01 | -100 | 0.005 | 2.42 | 2.24 | 7.438 | -0.18 | 0.012 | 0.039 | -225 | 0.027 | 6.56 | 6.46 | - | -0.1 | 3 | 4 | -33.3333 | 1 | 9.4 | 9.4 | - | 0 | - | - | #VALUE! | #VALUE! | 11.06 | 8.63 | 21.9711 | -2.43
2008-12-03 | 12 | 4 | 3 | 25 | -1 | 0.078 | 0.225 | -188.4615 | 0.147 | 0.06 | 0.06 | 0 | 0 | 2.3 | 2.3 | 0 | 0 | 0.01 | 0.03 | -200 | 0.02 | 7 | 7 | - | 0 | 2 | 7 | -250 | 5 | 6 | 6 | - | 0 | 2 | 3 | -50 | 1 | 7.8 | 6.7 | 14.1026 | -1.1
2009-02-19 | 2 | 1.2 | 3 | -150 | 1.8 | 0.036 | 0.118 | -227.7778 | 0.082 | 0.004 | 0.007 | -75 | 0.003 | 2.54 | 2.51 | 1.1811 | -0.03 | 0.01 | 0.031 | -210 | 0.021 | 7.21 | 6.99 | - | -0.22 | 1 | 4 | -300 | 3 | 6.6 | 6.7 | - | 0.1 | 2.75 | 3.73 | -35.6364 | 0.98 | 12.44 | 10.06 | 19.1318 | -2.38
2009-03-09 | 3 | 2 | 2 | 0 | 0 | 0.14 | 0.116 | 17.1429 | -0.024 | 0.06 | 0.06 | 0 | 0 | 1.8 | 1.8 | 0 | 0 | 0.02 | 0.02 | 0 | 0 | 7.2 | 7.1 | - | -0.1 | 3 | 2 | 33.3333 | -1 | 6 | 6 | - | 0 | 2 | 3 | -50 | 1 | 7.6 | 7 | 7.8947 | -0.6
2009-05-13 | 5 | 1.8 | 2.5 | -38.8889 | 0.7 | 0.069 | 0.213 | -208.6957 | 0.144 | 0.007 | 0.011 | -57.1429 | 0.004 | 2.33 | 2.1 | 9.8712 | -0.23 | 0.018 | 0.054 | -200 | 0.036 | 6.76 | 6.41 | - | -0.35 | 3 | 4 | -33.3333 | 1 | 9.9 | 10.1 | - | 0.2 | 2.91 | 2.95 | -1.3746 | 0.04 | 11.25 | 8.13 | 27.7333 | -3.12
2009-06-15 | 6 | 2 | 2 | 0 | 0 | 0.078 | 0.225 | -188.4615 | 0.147 | 0.06 | 0.06 | 0 | 0 | 1.5 | 1.9 | -26.6667 | 0.4 | 0.05 | 0.05 | 0 | 0 | 6.4 | 6.6 | - | 0.2 | 5 | 5 | 0 | 0 | 14 | 13 | - | -1 | 9 | 9 | 0 | 0 | 7.4 | 8.6 | -16.2162 | 1.2
2009-09-18 | 9 | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.6 | 1.3 | 18.75 | -0.3 | 0.01 | 0.03 | -200 | 0.02 | 7.2 | 7.2 | - | 0 | 2 | 5 | -150 | 3 | 12 | 12 | - | 0 | 1.6 | 2.3 | -43.75 | 0.7 | 10.2 | 9.5 | 6.8627 | -0.7
2009-11-12 | 11 | 1.7 | 6.1 | -258.8235 | 4.4 | 0.031 | 0.225 | -625.8065 | 0.194 | 0.008 | 0.013 | -62.5 | 0.005 | 1.15 | 1.11 | 3.4783 | -0.04 | 0.046 | 0.097 | -110.8696 | 0.051 | 6.76 | 6.5 | - | -0.26 | 42 | 55 | -30.9524 | 13 | 8.6 | 8.6 | - | 0 | 22.1 | 31.2 | -41.1765 | 9.1 | 11.16 | 9.22 | 17.3835 | -1.94
2010-04-15 | 4 | 1.3 | 1.6 | -23.0769 | 0.3 | 0.036 | 0.08 | -122.2222 | 0.044 | 0.009 | 0.002 | 77.7778 | -0.007 | 2.09 | 2.17 | -3.8278 | 0.08 | 0.008 | 0.014 | -75 | 0.006 | 6.97 | 6.91 | - | -0.06 | 5 | 3 | 40 | -2 | 7.6 | 7.9 | - | 0.3 | - | - | #VALUE! | #VALUE! | 11.66 | 10.45 | 10.3774 | -1.21
2010-10-28 | 10 | - | 2.4 | #VALUE! | #VALUE! | - | 0.144 | #VALUE! | #VALUE! | - | 0.009 | #VALUE! | #VALUE! | - | 1.12 | #VALUE! | #VALUE! | - | 0.025 | #VALUE! | #VALUE! | - | 6.59 | - | #VALUE! | - | 3 | #VALUE! | #VALUE! | - | 9.3 | - | #VALUE! | - | 3.41 | #VALUE! | #VALUE! | - | 8.99 | #VALUE! | #VALUE!
2011-01-25 | 1 | 2 | 2 | 0 | 0 | 0.078 | 0.1 | -28.2051 | 0.022 | 0.06 | 0.06 | 0 | 0 | 1.2 | 2 | -66.6667 | 0.8 | 0.01 | 0.01 | 0 | 0 | 6.8 | 6.8 | - | 0 | 1 | 4 | -300 | 3 | 7 | 6 | - | -1 | 2 | 2 | 0 | 0 | 10.4 | 10.2 | 1.9231 | -0.2
2011-04-27 | 4 | 2 | 2 | 0 | 0 | 0.14 | 0.078 | 44.2857 | -0.062 | 0.06 | 0.06 | 0 | 0 | 1.7 | 1.8 | -5.8824 | 0.1 | 0.04 | 0.08 | -100 | 0.04 | 7.2 | 7.1 | - | -0.1 | 4 | 8 | -100 | 4 | 13 | 14 | - | 1 | 2 | 3 | -50 | 1 | 9.8 | 10.3 | -5.102 | 0.5
2011-07-26 | 7 | 6 | 2 | 66.6667 | -4 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.4 | 1.4 | 0 | 0 | 0.02 | 0.04 | -100 | 0.02 | 7 | 6.9 | - | -0.1 | 5 | 4 | 20 | -1 | 15 | 15 | - | 0 | 3 | 3 | 0 | 0 | 9 | 8.1 | 10 | -0.9
2011-10-11 | 10 | 1 | 3.2 | -220 | 2.2 | 0.046 | 0.232 | -404.3478 | 0.186 | 0.007 | 0.013 | -85.7143 | 0.006 | 0.95 | 0.97 | -2.1053 | 0.02 | 0.015 | 0.035 | -133.3333 | 0.02 | 6.76 | 6.53 | - | -0.23 | 2 | 4 | -100 | 2 | 13.8 | 13.9 | - | 0.1 | - | - | #VALUE! | #VALUE! | 9.68 | 6.3 | 34.9174 | -3.38
2011-10-19 | 10 | 5 | 3 | 40 | -2 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.1 | 1.2 | -9.0909 | 0.1 | 0.01 | 0.01 | 0 | 0 | 6.8 | 6.7 | - | -0.1 | 4 | 2 | 50 | -2 | 9 | 9 | - | 0 | 2 | 2 | 0 | 0 | 10.1 | 9.2 | 8.9109 | -0.9
2012-01-05 | 1 | 2 | 2 | 0 | 0 | 0.078 | 0.109 | -39.7436 | 0.031 | 0.06 | 0.06 | 0 | 0 | 1.3 | 1.2 | 7.6923 | -0.1 | 0.01 | 0.02 | -100 | 0.01 | 6.8 | 6.5 | - | -0.3 | 2 | 6 | -200 | 4 | 7 | 7 | - | 0 | 2 | 2 | 0 | 0 | 10.6 | 8.8 | 16.9811 | -1.8
2012-02-16 | 2 | 0.5 | 1.2 | -140 | 0.7 | 0.054 | 0.116 | -114.8148 | 0.062 | 0.001 | 0.004 | -300 | 0.003 | 2.23 | 2.21 | 0.89686 | -0.02 | 0.012 | 0.021 | -75 | 0.009 | 7.14 | 6.97 | - | -0.17 | 4 | 2 | 50 | -2 | 7.2 | 7.3 | - | 0.1 | 2.32 | 2.63 | -13.3621 | 0.31 | 11.84 | 9.97 | 15.7939 | -1.87
2012-04-18 | 4 | 2 | 3 | -50 | 1 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 0.9 | 0.7 | 22.2222 | -0.2 | 0.01 | 0.01 | 0 | 0 | 6.8 | 6.8 | - | 0 | 6 | 14 | -133.3333 | 8 | 10 | 9 | - | -1 | 25 | 34 | -36 | 9 | 10 | 9.5 | 5 | -0.5
2012-07-16 | 7 | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.8 | 1.8 | 0 | 0 | 0.01 | 0.03 | -200 | 0.02 | 7.6 | 7.2 | - | -0.4 | 2 | 7 | -250 | 5 | 13 | 13 | - | 0 | 4 | 4 | 0 | 0 | 9.6 | 8.9 | 7.2917 | -0.7
2012-11-06 | 11 | 2 | 2 | 0 | 0 | 0.078 | 0.116 | -48.7179 | 0.038 | 0.06 | 0.06 | 0 | 0 | 1.6 | 1.6 | 0 | 0 | 0.01 | 0.02 | -100 | 0.01 | 7 | 6.7 | - | -0.3 | 1 | 7 | -600 | 6 | 12 | 12 | - | 0 | 5 | 7 | -40 | 2 | 9.3 | 9.3 | 0 | 0
2013-01-29 | 1 | 2 | 2 | 0 | 0 | 0.078 | 0.148 | -89.7436 | 0.07 | 0.06 | 0.06 | 0 | 0 | 2 | 2 | 0 | 0 | 0.01 | 0.03 | -200 | 0.02 | 7.4 | 6.9 | - | -0.5 | 9 | 6 | 33.3333 | -3 | 10 | 10 | - | 0 | 4 | 3 | 25 | -1 | 9.5 | 9.2 | 3.1579 | -0.3
2013-04-19 | 4 | 2 | 2 | 0 | 0 | 0.078 | 0.078 | 0 | 0 | 0.06 | 0.06 | 0 | 0 | 1.6 | 1.6 | 0 | 0 | 0.01 | 0.01 | 0 | 0 | 7.1 | 7 | - | -0.1 | 4 | 2 | 50 | -2 | 10 | 10 | - | 0 | 2 | 2 | 0 | 0 | 11.5 | 11.1 | 3.4783 | -0.4
2013-06-12 | 6 | 2.8 | 3.2 | -14.2857 | 0.4 | 0.103 | 0.237 | -130.0971 | 0.134 | 0.014 | 0.019 | -35.7143 | 0.005 | 1.77 | 1.78 | -0.56497 | 0.01 | 0.02 | 0.036 | -80 | 0.016 | 6.4 | 6.59 | - | 0.19 | 1 | 6 | -500 | 5 | 13.2 | 13.4 | - | 0.2 | 1.36 | 1.27 | 6.6176 | -0.09 | 10.4 | 7.86 | 24.4231 | -2.54
2013-08-21 | 8 | 1.9 | 2.6 | -36.8421 | 0.7 | 0.212 | 0.332 | -56.6038 | 0.12 | 0.061 | 0.075 | -22.9508 | 0.014 | 1.71 | 1.69 | 1.1696 | -0.02 | 0.045 | 0.053 | -17.7778 | 0.008 | 6.55 | 6.47 | - | -0.08 | 0 | 2 | #DIV/0! | 2 | - | - | - | #VALUE! | 0.801 | 1.32 | -64.794 | 0.519 | - | - | #VALUE! | #VALUE!
2013-10-02 | 10 | 1 | 2 | -100 | 1 | 0.148 | 0.241 | -62.8378 | 0.093 | 0.04 | 0.05 | -25 | 0.01 | - | - | #VALUE! | #VALUE! | 0.05 | 0.05 | 0 | 0 | 7.6 | 7.6 | - | 0 | 1 | 1 | 0 | 0 | 13.9 | 13.9 | - | 0 | 0.33 | 0.4 | -21.2121 | 0.07 | 9.5 | 6.3 | 33.6842 | -3.2
2014-04-10 | 4 | 1.1 | 1.5 | -36.3636 | 0.4 | 0.035 | 0.143 | -308.5714 | 0.108 | 0.003 | 0.005 | -66.6667 | 0.002 | 1.98 | 2 | -1.0101 | 0.02 | 0.018 | 0.029 | -61.1111 | 0.011 | 6.58 | 6.47 | - | -0.11 | 0 | 3 | #DIV/0! | 3 | - | - | - | #VALUE! | 1.92 | 2.32 | -20.8333 | 0.4 | - | - | #VALUE! | #VALUE!
2014-10-23 | 10 | 1 | 1.8 | -80 | 0.8 | 0.052 | 0.195 | -275 | 0.143 | 0.006 | 0.009 | -50 | 0.003 | 1.88 | 1.81 | 3.7234 | -0.07 | 0.009 | 0.021 | -133.3333 | 0.012 | 6.19 | 5.95 | - | -0.24 | 3 | 5 | -66.6667 | 2 | 11 | 10.9 | - | -0.1 | 2.01 | 2.61 | -29.8507 | 0.6 | 10.55 | 7.39 | 29.9526 | -3.16
2015-02-12 | 2 | 1.4 | 2.3 | -64.2857 | 0.9 | 0.141 | 0.302 | -114.1844 | 0.161 | 0.013 | 0.012 | 7.6923 | -0.001 | 2.14 | 2.15 | -0.46729 | 0.01 | 0.026 | 0.034 | -30.7692 | 0.008 | 6.6 | 6.45 | - | -0.15 | 6 | 5 | 16.6667 | -1 | 5.5 | 5.5 | - | 0 | 2.57 | 3.1 | -20.6226 | 0.53 | 12.14 | 10.04 | 17.2982 | -2.1
LOQ: limit of quantification
NA: not applicable
Note on C5: Alexandre Tahar: <
Note on AA5: Alexandre Tahar: <
Note on C6: Alexandre Tahar: <
Note on AA6: Alexandre Tahar: <
Note on AB6: Alexandre Tahar: <
Note on AJ6: Alexandre Tahar: noted "BLD" in the Co.co report
Note on AA7: Alexandre Tahar: <
Note on AB7: Alexandre Tahar: <
Note on C8: Alexandre Tahar: <
Note on K8: Alexandre Tahar: <
Note on AA11: Alexandre Tahar: <
Note on AB11: Alexandre Tahar: <
Note on AB13: Alexandre Tahar: noted as "RNV" in the CO.co report
Note on C14: Alexandre Tahar: <
Note on D14: Alexandre Tahar: <
Note on H14: Alexandre Tahar: <
Note on K14: Alexandre Tahar: <
Note on L14: Alexandre Tahar: <
Note on P14: Alexandre Tahar: very high value! Could be related to the loss of ammonium and therefore to a nitrification
Note on T14: Alexandre Tahar: <
Note on AN14: Alexandre Tahar: here also a strange value with a production of O2...
Note on P15: Alexandre Tahar: again a strange value here and this time not associated to an ammonium loss… very strange
Note on C16: Alexandre Tahar: <
Note on D18: Alexandre Tahar: <
Note on G18: Alexandre Tahar: <
Note on K18: Alexandre Tahar: <
Note on L18: Alexandre Tahar: <
Note on S18: Alexandre Tahar: <
Note on G20: Alexandre Tahar: <
Note on K20: Alexandre Tahar: <
Note on L20: Alexandre Tahar: <
Note on C21: Alexandre Tahar: <
Note on K21: Alexandre Tahar: <
Note on AA21: Alexandre Tahar: <
Note on AB21: Alexandre Tahar: <
Note on C22: Alexandre Tahar: <
Note on L22: Alexandre Tahar: <
Note on AA22: Alexandre Tahar: <
Note on C23: Alexandre Tahar: <
Note on AA23: Alexandre Tahar: <
Note on AB23: Alexandre Tahar: <
Note on C24: Alexandre Tahar: <
Note on D24: Alexandre Tahar: <
Note on G24: Alexandre Tahar: <
Note on K24: Alexandre Tahar: <
Note on L24: Alexandre Tahar: <
Note on C25: Alexandre Tahar: <
Note on D25: Alexandre Tahar: <
Note on G25: Alexandre Tahar: <
Note on H25: Alexandre Tahar: <
Note on K25: Alexandre Tahar: <
Note on L25: Alexandre Tahar: <
Note on S25: Alexandre Tahar: <
Note on C26: Alexandre Tahar: <
Note on C27: Alexandre Tahar: <
Note on D27: Alexandre Tahar: <
Note on L27: Alexandre Tahar: <
Note on S27: Alexandre Tahar: <
Note on AB27: Alexandre Tahar: <
Note on A28: Alexandre Tahar: only the outlet concentrations available for this date
Note on AB28: Alexandre Tahar: <
Note on C29: Alexandre Tahar: <
Note on D29: Alexandre Tahar: <
Note on G29: Alexandre Tahar: <
Note on K29: Alexandre Tahar: <
Note on L29: Alexandre Tahar: <
Note on AB29: Alexandre Tahar: <
Note on AI29: Alexandre Tahar: <
Note on C30: Alexandre Tahar: <
Note on D30: Alexandre Tahar: <
Note on H30: Alexandre Tahar: <
Note on K30: Alexandre Tahar: <
Note on L30: Alexandre Tahar: <
Note on AA30: Alexandre Tahar: <
Note on D31: Alexandre Tahar: <
Note on G31: Alexandre Tahar: <
Note on H31: Alexandre Tahar: <
Note on K31: Alexandre Tahar: <
Note on L31: Alexandre Tahar: <
Note on C32: Alexandre Tahar: <
Note on AA32: Alexandre Tahar: <
Note on AB32: Alexandre Tahar: <
Note on C33: Alexandre Tahar: <
Note on D33: Alexandre Tahar: <
Note on G33: Alexandre Tahar: <
Note on H33: Alexandre Tahar: <
Note on K33: Alexandre Tahar: <
Note on L33: Alexandre Tahar: <
Note on AA33: Alexandre Tahar: <
Note on AB33: Alexandre Tahar: <
Note on AJ33: Alexandre Tahar: <
Note on C34: Alexandre Tahar: <
Note on D34: Alexandre Tahar: <
Note on G34: Alexandre Tahar: <
Note on K34: Alexandre Tahar: <
Note on L34: Alexandre Tahar: <
Note on AI34: Alexandre Tahar: <
Note on C35: Alexandre Tahar: <
Note on D35: Alexandre Tahar: <
Note on K35: Alexandre Tahar: <
Note on L35: Alexandre Tahar: <
Note on AA35: Alexandre Tahar: <
Note on AB35: Alexandre Tahar: <
Note on C36: Alexandre Tahar: <
Note on D36: Alexandre Tahar: <
Note on G36: Alexandre Tahar: <
Note on H36: Alexandre Tahar: <
Note on K36: Alexandre Tahar: <
Note on L36: Alexandre Tahar: <
Note on C37: Alexandre Tahar: <
Note on D37: Alexandre Tahar: <
Note on G37: Alexandre Tahar: <
Note on H37: Alexandre Tahar: <
Note on K37: Alexandre Tahar: <
Note on L37: Alexandre Tahar: <
Note on AA37: Alexandre Tahar: <
Note on C38: Alexandre Tahar: <
Note on D38: Alexandre Tahar: <
Note on G38: Alexandre Tahar: <
Note on AA38: Alexandre Tahar: <
Note on C39: Alexandre Tahar: <
Note on D39: Alexandre Tahar: <
Note on G39: Alexandre Tahar: <
Note on K39: Alexandre Tahar: <
Note on L39: Alexandre Tahar: <
Note on C40: Alexandre Tahar: <
Note on D40: Alexandre Tahar: <
Note on G40: Alexandre Tahar: <
Note on H40: Alexandre Tahar: <
Note on S40: Alexandre Tahar: <
Note on T40: Alexandre Tahar: <
Note on AA40: Alexandre Tahar: <
Note on AB40: Alexandre Tahar: <
Note on AI40: Alexandre Tahar: <
Note on AA41: Alexandre Tahar: <
Note on K44: Alexandre Tahar: <
Note on D45: Alexandre Tahar: <
Note on S45: Alexandre Tahar: <
Note on AA45: Alexandre Tahar: <