## Raw-18sr
Quantitation Report
Experiment Information
Run Name | Three Step with Melt 2016-07-11 (N&L cell 18sr)
Run Start | 206-07-11오후 4:17:45
Run Finish | 2016-07-11 오후 5:38:32
Operator
Notes
Run On Software Version | Rotor-Gene 6.1.93
Run Signature | The Run Signature is valid.
Gain FAM | 10
Quantitation Information
Threshold | 0.22344
Left Threshold | 1
Standard Curve Imported | No
Standard Curve (1) | N/A
Standard Curve (2) | N/A
Start normalising from cycle | 1
Noise Slope Correction | No
No Template Control Threshold | 0%
Reaction Efficiency Threshold | Disabled
Normalisation Method | Standard
Digital Filter | Light
Sample Page | Page 1
Imported Analysis Settings
Messages
Message
Profile
Cycle | Cycle Point
Hold @ 95°c, 10 min 0 secs
Cycling (40 repeats) | Step 1 @ 95°c, hold 10 secs
Step 2 @ 63°c, hold 15 secs
Step 3 @ 72°c, hold 20 secs, acquiring to Cycling A(FAM)
Melt (72-95°c) , hold 45 secs on the 1st step, hold 5 secs on next steps, Melt A(FAM)
Raw Data For Cycling A.FAM
No. | Colour | Name | Type | Ct | Ct2
1 |  | N24 | Unknown | 29.25 | 29.21
2 |  | N48 | Unknown | 28.84 | 28.72
3 |  | N72 | Unknown | 28.91 | 29.29
4 |  | N96 | Unknown | 29.14 | 29.15
5 |  | L24 | Unknown | 29.22 | 29.22
6 |  | L48 | Unknown | 29.23 | 29.36
7 |  | L72 | Unknown | 29.21 | 29.33
8 |  | L96 | Unknown | 29.57 | 29.35

## Raw-MMP-2
Quantitation Report
Experiment Information
Run Name | Three Step with Melt 2016-07-12 (N&Lcell-MMP2)
Run Start | 2010-07-12 오후 8:14:38
Run Finish | 2010-07-12 오후 9:32:30
Operator
Notes
Run On Software Version | Rotor-Gene 6.1.93
Run Signature | The Run Signature is valid.
Gain FAM | 10
Quantitation Information
Threshold | 0.13767
Left Threshold | 1
Standard Curve Imported | No
Standard Curve (1) | N/A
Standard Curve (2) | N/A
Start normalising from cycle | 1
Noise Slope Correction | No
No Template Control Threshold | 0%
Reaction Efficiency Threshold | Disabled
Normalisation Method | Standard
Digital Filter | Light
Sample Page | Page 1
Imported Analysis Settings
Messages
Message
Profile
Cycle | Cycle Point
Hold @ 95°c, 10 min 0 secs
Cycling (40 repeats) | Step 1 @ 95°c, hold 10 secs
Step 2 @ 66°c, hold 15 secs
Step 3 @ 72°c, hold 20 secs, acquiring to Cycling A(FAM)
Melt (72-95°c) , hold 45 secs on the 1st step, hold 5 secs on next steps, Melt A(FAM)
Raw Data For Cycling A.FAM
No. | Colour | Name | Type | Ct | Ct2
1 |  | N24 | Unknown | 32.8 | 31.73
2 |  | N48 | Unknown | 32.55 | 32.39
3 |  | N72 | Unknown | 32.44 | 31.91
4 |  | N96 | Unknown | 32.26 | 31.39
5 |  | L24 | Unknown | 32.6 | 33.27
6 |  | L48 | Unknown | 31.89 | 32.34
7 |  | L72 | Unknown | 31.23 | 31.99
8 |  | L96 | Unknown | 31.11 | 31.15

## Raw-TIMP-2
Quantitation Report
Experiment Information
Run Name | Three Step with Melt 2016-07-12 (N&Lcell TIMP2)
Run Start | 2016-07-12 오후 4:57:07
Run Finish | 2016-07-12 오후 6:25:00
Operator
Notes
Run On Software Version | Rotor-Gene 6.1.93
Run Signature | The Run Signature is valid.
Gain FAM | 10
Quantitation Information
Threshold | 0.18127
Left Threshold | 1
Standard Curve Imported | No
Standard Curve (1) | N/A
Standard Curve (2) | N/A
Start normalising from cycle | 1
Noise Slope Correction | No
No Template Control Threshold | 0%
Reaction Efficiency Threshold | Disabled
Normalisation Method | Standard
Digital Filter | Light
Sample Page | Page 1
Imported Analysis Settings
Messages
Message
Profile
Cycle | Cycle Point
Hold @ 95°c, 10 min 0 secs
Cycling (40 repeats) | Step 1 @ 95°c, hold 10 secs
Step 2 @ 58.2°c, hold 15 secs
Step 3 @ 72°c, hold 20 secs, acquiring to Cycling A(FAM)
Melt (72-95°c) , hold 45 secs on the 1st step, hold 5 secs on next steps, Melt A(FAM)
Raw Data For Cycling A.FAM
No. | Colour | Name | Type | Ct | Ct2
1 |  | N24 | Unknown | 25.79 | 26.94
2 |  | N48 | Unknown | 26.51 | 26.68
3 |  | N72 | Unknown | 26.51 | 26.54
4 |  | N96 | Unknown | 26.21 | 26.21
5 |  | L24 | Unknown | 25.74 | 24.98
6 |  | L48 | Unknown | 27.29 | 27.66
7 |  | L72 | Unknown | 28.54 | 28.66
8 |  | L96 | Unknown | 29.11 | 29.36

## Raw-MMP-9
Quantitation Report
Experiment Information
Run Name | Three Step with Melt 2010-07-12 (N&LcellMMP9)
Run Start | 2010-07-12 오전 6:23:17
Run Finish | 2010-07-12 오전 7:43:27
Operator
Notes
Run On Software Version | Rotor-Gene 6.1.93
Run Signature | The Run Signature is valid.
Gain FAM | 10
Quantitation Information
Threshold | 0.1799
Left Threshold | 1
Standard Curve Imported | No
Standard Curve (1) | N/A
Standard Curve (2) | N/A
Start normalising from cycle | 1
Noise Slope Correction | No
No Template Control Threshold | 0%
Reaction Efficiency Threshold | Disabled
Normalisation Method | Standard
Digital Filter | Light
Sample Page | Page 1
Imported Analysis Settings
Messages
Message
Profile
Cycle | Cycle Point
Hold @ 95°c, 10 min 0 secs
Cycling (40 repeats) | Step 1 @ 95°c, hold 10 secs
Step 2 @ 64°c, hold 15 secs
Step 3 @ 72°c, hold 20 secs, acquiring to Cycling A(FAM)
Melt (72-95°c) , hold 45 secs on the 1st step, hold 5 secs on next steps, Melt A(FAM)
Raw Data For Cycling A.FAM
No. | Colour | Name | Type | Ct | Ct2
1 |  | N24 | Unknown | 32.55 | 32.52
2 |  | N48 | Unknown | 32.67 | 35.69
3 |  | N72 | Unknown | 35.47 | 35.57
4 |  | N96 | Unknown | 35.52 | 35.48
5 |  | L24 | Unknown | 29.88 | 29.85
6 |  | L48 | Unknown | 27.07 | 27.09
7 |  | L72 | Unknown | 32.58 | 32.57
8 |  | L96 | Unknown | 33.06 | 33.28

## Raw-TIMP-3
Quantitation Report
Experiment Information
Run Name | Three Step with Melt 2016-07-12 (N&LcellTIMP3)
Run Start | 2016-07-12 오전 8:23:17
Run Finish | 2010-07-12 오전 10:43:27
Operator
Notes
Run On Software Version | Rotor-Gene 6.1.93
Run Signature | The Run Signature is valid.
Gain FAM | 10
Quantitation Information
Threshold | 0.1799
Left Threshold | 1
Standard Curve Imported | No
Standard Curve (1) | N/A
Standard Curve (2) | N/A
Start normalising from cycle | 1
Noise Slope Correction | No
No Template Control Threshold | 0%
Reaction Efficiency Threshold | Disabled
Normalisation Method | Standard
Digital Filter | Light
Sample Page | Page 1
Imported Analysis Settings
Messages
Message
Profile
Cycle | Cycle Point
Hold @ 95°c, 10 min 0 secs
Cycling (40 repeats) | Step 1 @ 95°c, hold 10 secs
Step 2 @ 60°c, hold 15 secs
Step 3 @ 72°c, hold 20 secs, acquiring to Cycling A(FAM)
Melt (72-95°c) , hold 45 secs on the 1st step, hold 5 secs on next steps, Melt A(FAM)
Raw Data For Cycling A.FAM
No. | Colour | Name | Type | Ct | Ct2
1 |  | N24 | Unknown | 31.04 | 31.05
2 |  | N48 | Unknown | 29.2 | 31.04
3 |  | N72 | Unknown | 32.05 | 31.67
4 |  | N96 | Unknown | 32.39 | 32.01
5 |  | L24 | Unknown | 30.35 | 30.39
6 |  | L48 | Unknown | 30.92 | 30.05
7 |  | L72 | Unknown | 30.22 | 29.31
8 |  | L96 | Unknown | 30.22 | 30.32

## Raw-mTOR
Quantitation Report
Experiment Information
Run Name | Three Step with Melt 2016-0713 (N&LcellmTOR,)
Run Start | 2016-07-13 오후 11:57:09
Run Finish | 2016-07-14 오전 1:15:16
Operator
Notes
Run On Software Version | Rotor-Gene 6.1.93
Run Signature | The Run Signature is valid.
Gain FAM | 10
Quantitation Information
Threshold | 0.15263
Left Threshold | 1
Standard Curve Imported | No
Standard Curve (1) | N/A
Standard Curve (2) | N/A
Start normalising from cycle | 1
Noise Slope Correction | No
No Template Control Threshold | 0%
Reaction Efficiency Threshold | Disabled
Normalisation Method | Standard
Digital Filter | Light
Sample Page | Page 1
Imported Analysis Settings
Messages
Message
Profile
Cycle | Cycle Point
Hold @ 95°c, 10 min 0 secs
Cycling (40 repeats) | Step 1 @ 95°c, hold 10 secs
Step 2 @ 58°c, hold 15 secs
Step 3 @ 72°c, hold 20 secs, acquiring to Cycling A(FAM)
Melt (72-95°c) , hold 45 secs on the 1st step, hold 5 secs on next steps, Melt A(FAM)
Raw Data For Cycling A.FAM
No. | Colour | Name | Type | Ct | Ct2
1 |  | N24 | Unknown | 32.9 | 32.85
2 |  | N48 | Unknown | 33.45 | 34.34
3 |  | N72 | Unknown | 36.45 | 36.92
4 |  | N96 | Unknown | 37.25 | 37.35
5 |  | L24 | Unknown | 35.83 | 35.75
6 |  | L48 | Unknown | 36.35 | 36.22
7 |  | L72 | Unknown | 37.73 | 37.58
8 |  | L96 | Unknown | 38.62 | 38.52

## Raw-Casp-3
Quantitation Report
Experiment Information
Run Name | Three Step with Melt 2016-07-14 (N&Lcell-Casp)
Run Start | 2016-07-14 오후 9:15:16
Run Finish | 2016-07-15 오후 11:32:30
Operator
Notes
Run On Software Version | Rotor-Gene 6.1.93
Run Signature | The Run Signature is valid.
Gain FAM | 10
Quantitation Information
Threshold | 0.13767
Left Threshold | 1
Standard Curve Imported | No
Standard Curve (1) | N/A
Standard Curve (2) | N/A
Start normalising from cycle | 1
Noise Slope Correction | No
No Template Control Threshold | 0%
Reaction Efficiency Threshold | Disabled
Normalisation Method | Standard
Digital Filter | Light
Sample Page | Page 1
Imported Analysis Settings
Messages
Message
Profile
Cycle | Cycle Point
Hold @ 95°c, 10 min 0 secs
Cycling (40 repeats) | Step 1 @ 95°c, hold 10 secs
Step 2 @ 54°c, hold 15 secs
Step 3 @ 72°c, hold 20 secs, acquiring to Cycling A(FAM)
Melt (72-95°c) , hold 45 secs on the 1st step, hold 5 secs on next steps, Melt A(FAM)
Raw Data For Cycling A.FAM
No. | Colour | Name | Type | Ct | Ct2
1 |  | N24 | Casp-3 | 31.85 | 31.81
2 |  | N48 | casp-3 | 32.65 | 32.66
3 |  | N72 | Casp-3 | 32.44 | 31.91
4 |  | N96 | Casp-3 | 32.26 | 31.39
5 |  | L24 | Casp-3 | 31.65 | 32.27
6 |  | L48 | Casp-3 | 30.89 | 31.34
7 |  | L72 | Casp-3 | 30.23 | 30.89
8 |  | L96 | Casp-3 | 30.1 | 30.11

## Raw-HSD
Quantitation Report
Experiment Information
Run Name | Three Step with Melt 2016-07-14 (N&Lcell HSD)
Run Start | 2016-07-14 오전 9:15:16
Run Finish | 2016-07-14 오전 11:15:16
Operator
Notes
Run On Software Version | Rotor-Gene 6.1.93
Run Signature | The Run Signature is valid.
Gain FAM | 10
Quantitation Information
Threshold | 0.15263
Left Threshold | 1
Standard Curve Imported | No
Standard Curve (1) | N/A
Standard Curve (2) | N/A
Start normalising from cycle | 1
Noise Slope Correction | No
No Template Control Threshold | 0%
Reaction Efficiency Threshold | Disabled
Normalisation Method | Standard
Digital Filter | Light
Sample Page | Page 1
Imported Analysis Settings
Messages
Message
Profile
Cycle | Cycle Point
Hold @ 95°c, 10 min 0 secs
Cycling (40 repeats) | Step 1 @ 95°c, hold 10 secs
Step 2 @ 66°c, hold 15 secs
Step 3 @ 72°c, hold 20 secs, acquiring to Cycling A(FAM)
Melt (72-95°c) , hold 45 secs on the 1st step, hold 5 secs on next steps, Melt A(FAM)
Raw Data For Cycling A.FAM
No. | Colour | Name | Type | Ct | Ct2
1 |  | N24 | Unknown | 22.87 | 22.85
2 |  | N48 | Unknown | 22.78 | 22.88
3 |  | N72 | Unknown | 21.78 | 21.95
4 |  | N96 | Unknown | 21.11 | 21.22
5 |  | L24 | Unknown | 22.24 | 22.75
6 |  | L48 | Unknown | 22.85 | 22.22
7 |  | L72 | Unknown | 21.26 | 21.25
8 |  | L96 | Unknown | 21.22 | 21.52

## Raw-P4-r
Quantitation Report
Experiment Information
Run Name | Three Step with Melt 2016-07-14(N&LcellPAPP-A)
Run Start | 2016-07-14 오후 3:15:16
Run Finish | 2016-07-14 오후 5:32:30
Operator
Notes
Run On Software Version | Rotor-Gene 6.1.93
Run Signature | The Run Signature is valid.
Gain FAM | 10
Quantitation Information
Threshold | 0.1799
Left Threshold | 1
Standard Curve Imported | No
Standard Curve (1) | N/A
Standard Curve (2) | N/A
Start normalising from cycle | 1
Noise Slope Correction | No
No Template Control Threshold | 0%
Reaction Efficiency Threshold | Disabled
Normalisation Method | Standard
Digital Filter | Light
Sample Page | Page 1
Imported Analysis Settings
Messages
Message
Profile
Cycle | Cycle Point
Hold @ 95°c, 10 min 0 secs
Cycling (40 repeats) | Step 1 @ 95°c, hold 10 secs
Step 2 @ 64°c, hold 15 secs
Step 3 @ 72°c, hold 20 secs, acquiring to Cycling A(FAM)
Melt (72-95°c) , hold 45 secs on the 1st step, hold 5 secs on next steps, Melt A(FAM)
Raw Data For Cycling A.FAM
No. | Colour | Name | Type | Ct | Ct2
1 |  | N24 | Unknown | 32.55 | 32.52
2 |  | N48 | Unknown | 32.67 | 35.69
3 |  | N72 | Unknown | 35.47 | 35.57
4 |  | N96 | Unknown | 35.52 | 35.48
5 |  | L24 | Unknown | 29.88 | 29.85
6 |  | L48 | Unknown | 27.07 | 27.09
7 |  | L72 | Unknown | 32.58 | 32.57
8 |  | L96 | Unknown | 33.06 | 33.28