## Day 7
Software Version | 2.01.14
Experiment File Path:
Protocol File Path: | C:\Users\Public\Documents\Protocols\FITC-Dextran NL.prt
Plate Number | Plate 1
Date | 2018-03-13
Time | 17:21
Reader Type: | Synergy H1
Reader Serial Number: | 258595
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Read | FITC Medium Gain
Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 494, Emission: 521
Optics: Top, Gain: 75
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
FITC Medium Gain:494,521
Actual Temperature: | 23.2
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | Calibration Curve
Box 1 | A | 1: 525; 2: 537; 3: 538; 4: 474; 5: 597; 6: 514 | FITC Medium Gain:494,521 | FLU | ug/mL FD4
Box 2 | B | 1: 3063; 2: 2981; 3: 4521; 4: 12930; 5: 3805; 6: 2556 | FITC Medium Gain:494,521 | 12628 | 24.9896
Box 3 | C | 1: 5348; 2: 3231; 3: 3855; 4: 3137; 5: 4382; 6: 3111 | FITC Medium Gain:494,521 | 2140 | 3.5699
Box 4 | D | 1: 1185; 2: 950; 3: 1052; 4: 1482; 5: 1458; 6: 1344 | FITC Medium Gain:494,521 | 392 | 0
Box 5 | E | 1: 637; 2: 743; 3: 646; 4: 726; 5: 915; 6: 1980 | FITC Medium Gain:494,521
| F | [12 empty] | FITC Medium Gain:494,521
| G | [12 empty] | FITC Medium Gain:494,521
calibration | H | 1: OVRFLW; 2: OVRFLW; 3: 78583; 4: 12628; 5: 2140; 6: 392 | FITC Medium Gain:494,521
ug/ml FD4 | 60000 | 1: 8571.4286; 2: 1224.4898; 3: 174.9271; 4: 24.9896; 5: 3.5699; 6: 0
|  | raw FLU | FD4 ug/mL
| Box 1 (PBS) | 1: 525; 2: 0.27
|  | 537 | 0.29448
|  | 538 | 0.29652
|  | 474 | 0.16596
|  | 597 | 0.41688
|  | 514 | 0.24756
| Box 2 (7 Day) | 1: 3063; 2: 5.4475
|  | 2981 | 5.2802
|  | 4521 | 8.4218
|  | 12930 | 25.5762
|  | 3805 | 6.9612
|  | 2556 | 4.4132
| Box 3 (6 Day) | 1: 5348; 2: 10.1089
|  | 3231 | 5.7902
|  | 3855 | 7.0632
|  | 3137 | 5.5985
|  | 4382 | 8.1383
|  | 3111 | 5.5454
| Box 4 (5 Day) | 1: 1185; 2: 1.6164
|  | 950 | 1.137
|  | 1052 | 1.3451
|  | 1482 | 2.2223
|  | 1458 | 2.1733
|  | 1344 | 1.9408
| Box 5 (4 Day) | 1: 637; 2: 0.49848
|  | 743 | 0.71472
|  | 646 | 0.51684
|  | 726 | 0.68004
|  | 915 | 1.0656
|  | 1980 | 3.2382

## Day 10
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1: 956; 2: 525; 3: 756; 4: 877; 5: 790; 6: 681 | FITC Medium Gain:494,521 | Calibration Curve
| B | 1: 18527; 2: OVRFLW; 3: 209; 4: OVRFLW; 5: OVRFLW; 6: OVRFLW | FITC Medium Gain:494,521 | FLU | FD4 ug/mL
| C | 1: 5751; 2: 28208; 3: 2752; 4: 204; 5: 3816; 6: 651 | FITC Medium Gain:494,521 | 35366.5 | 60
| D | 1: 1510; 2: 1842; 3: 12941; 4: 3472; 5: 2705; 6: 2063 | FITC Medium Gain:494,521 | 4935.5 | 6
| E | 1: 1739; 2: 6568; 3: 2097; 4: 1788; 5: 3165; 6: 4118 | FITC Medium Gain:494,521 | 877.5 | 0.6
| F | [12 empty] | FITC Medium Gain:494,521 | 402.5 | 0
| G | 1: 4335; 2: 20855; 3: 178; 4: 45800; 5: 17716; 6: 20804; 7: <-- Serum from Box 2 (7 Day) diluted 10 fold and re-run | FITC Medium Gain:494,521
calibration | H | OVRFLW | OVRFLW | 34772 | 35961 | 5005 | 4866 | 899 | 856 | 373 | 427 | 395 | 415 | FITC Medium Gain:494,521
| mg/mL FD4 | 600 | 600 | 60 | 60 | 6 | 6 | 0.6 | 0.6 | 0 | 0 | 0 | 0
|  | raw FLU | FD4 ug/mL | Adjusted FD4 (7 Day only)
| Box 1 (PBS) | 1: 956; 2: 0.72348
|  | 525 | 0.15025
|  | 756 | 0.45748
|  | 877 | 0.61841
|  | 790 | 0.5027
|  | 681 | 0.35773
| Box 2 (7 Day) | 1: 4335; 2: 5.2176; 3: 52.1755
|  | 20855 | 27.1891 | 271.8915
|  | 45800 | 60.366 | 603.66
|  | 17716 | 23.0143 | 230.1428
|  | 20804 | 27.1213 | 271.2132
| Box 3 (6 Day) | 1: 5751; 2: 7.1008
|  | 28208 | 36.9686
|  | 2752 | 3.1122
|  | 3816 | 4.5273
|  | 651 | 0.31783
| Box 4 (5 Day) | 1: 1510; 2: 1.4603
|  | 1842 | 1.9019
|  | 12941 | 16.6635
|  | 3472 | 4.0698
|  | 2705 | 3.0497
|  | 2063 | 2.1958
| Box 5 (4 Day) | 1: 1739; 2: 1.7649
|  | 6568 | 8.1874
|  | 2097 | 2.241
|  | 1788 | 1.83
|  | 3165 | 3.6615
|  | 4118 | 4.9289

## Day 14
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | Calibration
| A | 1: 484; 2: 457; 3: 413; 4: 487; 5: 277; 6: 707 | FITC Medium Gain:494,521 | FLU | ug/mL FD4
| B | [12 empty] | FITC Medium Gain:494,521 | 3063 | 6
| C | 1: 556; 2: 574; 3: 873; 4: 372; 5: 659; 6: 1137 | FITC Medium Gain:494,521 | 686 | 0.6
| D | [12 empty] | FITC Medium Gain:494,521 | 373 | 0
| E | [12 empty] | FITC Medium Gain:494,521 | 395 | 0
| F | [12 empty] | FITC Medium Gain:494,521 | 323 | 0
| G | [12 empty] | FITC Medium Gain:494,521
calibration | H | OVRFLW | OVRFLW | 25874 | 3063 | 686 | 373 | 395 | 323 |  |  |  |  | FITC Medium Gain:494,521
ug/mL FD4 |  | 2: 600 ug/ml; 3: 60; 4: 6; 5: 0.6; 6: 0; 7: 0; 8: 0
|  | raw FLU | FD4 ug/mL
| Box 1 (PBS) | 1: 484; 2: 0.99572
|  | 457 | 0.93551
|  | 413 | 0.83739
|  | 487 | 1.0024
|  | 277 | 0.53411
|  | 707 | 1.493
| Box 1 (PBS) | 1: 556; 2: 1.1563
|  | 574 | 1.1964
|  | 873 | 1.8632
|  | 372 | 0.74596
|  | 659 | 1.386
|  | 1137 | 2.4519