## Sheet1
Data Set | Savinase (WT, PMSF)
HDX reaction details | 20 mM Bis-Tris, 10 mM CaCl2, pD = 7.0, 25 °C
HDX time course | 0.25, 1, 10, 60 min
HDX control sample | MaxD control: Savinase were incubated overnight in 8 M deuterated GndHCl (95% D2O)
Back-exchange (mean / IQR) | 39.7 % / 11.8 %
# of Peptides | 110
Sequence coverage | 97%
Average peptide length / Redundancy | 17.35 / 7.09
Replicates (biological or technical) | 3 (technical)
Repeatability | 0.144 (average standard deviation)
Significant differences in HDX (delta HDX > X D) | N/A