## Accur Precision Intra day 1
Intra day 1
Analyte | Concentration initial |  | 50 ng L-1 |  |  |  | Concentration final |  |  |  | 5 µg L-1
| Peak Area | [5 empty] | Analytical Curve parameters |  | Conc (ng L-1) | Conc medium (ng L-1) | % Accuracy | % Precision
| Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | medium | slope | intercept
4NP | 315.25 | 318.63 | 318.41 | 322.25 | 320.96 | 319.1 | 65.93 | 13.55 | 4.6345 | 4.6436 | 92.8724 | 0.88946
| 314.96 | 322.32 | 316.58 | 320.85 | 322.14 | 319.37 |  |  | 4.6386
| 321.52 | 319.08 | 319.05 | 318.36 | 325.2 | 320.642 |  |  | 4.6578
BP | 5042.6952 | 5370.2714 | 4756.5095 | 4510.8319 | 4840.2029 | 4904.1022 | 788.25 | 1219.251 | 4.6747 | 4.671 | 93.4208 | 4.7422
| 5239.7952 | 4905.6952 | 5010.8286 | 4728.6171 | 4897.2029 | 4956.4278 |  |  | 4.7411
| 4775.219 | 5173.1714 | 4858.8714 | 4785.6171 | 4622.4176 | 4843.0593 |  |  | 4.5973
BPA | 78.14 | 75.41 | 74.9757 | 71.2703 | 74.4973 | 74.8586 | 33.11 | -90.19 | 4.9849 | 4.9855 | 99.7109 | 3.5539
| 79.05 | 76.36 | 73.2486 | 70.9568 | 73.2514 | 74.5734 |  |  | 4.9762
| 79.65 | 75.98 | 75.2324 | 72.2297 | 72.9676 | 75.2119 |  |  | 4.9955
DEP | 21300.4573 | 23059.7647 | 22451.6533 | 20839.7867 | 19936.1533 | 21517.5631 | 2201.35 | 9873.7 | 5.2894 | 5.3684 | 107.3676 | 4.9336
| 21256.97 | 22016.9867 | 21745.22 | 20610.32 | 21710.2467 | 21467.9487 |  |  | 5.2669
| 23112.258 | 21310.5533 | 23494.4313 | 22352.8 | 20173.0867 | 22088.6259 |  |  | 5.5488
Intra day 1
Analyte | Concentration initial |  | 250 ng L-1 |  |  |  | Concentration final |  |  | 25 µg L-1
| Peak Area | [5 empty] | Analytical Curve parameters |  | Conc (ng L-1) | Conc medium (ng L-1) | % Accuracy | % Precision
| Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | medium | slope | intercept
4NP | 1541.25 | 1531.25 | 1604.08 | 1635.28 | 1525.92 | 1567.556 | 65.93 | 13.55 | 23.5705 | 23.923 | 95.6918 | 2.082
| 1625.14 | 1615.14 | 1595.31 | 1606.49 | 1609.81 | 1610.378 |  |  | 24.2201
| 1596.35 | 1586.35 | 1610.7533 | 1597.72 | 1581.02 | 1594.4387 |  |  | 23.9783
BP | 22148.65 | 23084.967 | 21439.049 | 19985.63 | 23547.14 | 22041.0872 | 788.25 | 1219.251 | 26.4153 | 26.6555 | 106.6222 | 5.9424
| 24578.2 | 22006.154 | 22241.207 | 22475.14 | 21023.2 | 22464.7802 |  |  | 26.9528
| 20478.22 | 22324.158 | 22048.992 | 24587.2 | 21489.3 | 22185.574 |  |  | 26.5986
BPA | 614.25 | 614.3 | 604.96 | 584.56 | 600.03 | 603.62 | 33.11 | -90.19 | 20.9547 | 21.0363 | 84.1451 | 3.9678
| 628.14 | 598.74 | 602.14 | 597.21 | 597.11 | 604.668 |  |  | 20.9863
| 601.28 | 682.34 | 597.25 | 591.25 | 581.25 | 610.674 |  |  | 21.1677
DEP | 54978.84 | 57408.691 | 59765.672 | 58522.02 | 58852.47 | 57905.5386 | 2201.35 | 9873.7 | 21.8193 | 21.2998 | 85.1993 | 4.6599
| 54336.703 | 53842.328 | 59887.848 | 57412.32 | 59630.14 | 57021.8678 |  |  | 21.4178
| 54186.797 | 53750.02 | 60048.324 | 52478.99 | 56330.01 | 55358.8282 |  |  | 20.6624
Intra day 1
Analyte | Concentration initial |  | 500 ng L-1 |  |  |  | Concentration final |  |  | 50 µg L-1
| Peak Area | [5 empty] | Analytical Curve parameters |  | Conc (ng L-1) | Conc medium (ng L-1) | % Accuracy | % Precision
| Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | medium | slope | intercept
4NP | 2956.57 | 2803 | 2630.96 | 2985.09 | 2635.06 | 2802.136 | 65.93 | 13.55 | 42.2962 | 41.2486 | 82.4973 | 4.6221
| 2745.96 | 2693.58 | 2572 | 2774.48 | 2778.21 | 2712.846 |  |  | 40.9418
| 2636.54 | 2836.73 | 2563.59 | 2665.06 | 2719.25 | 2684.234 |  |  | 40.5079
BP | 32785.41 | 36320.63 | 37320.15 | 37685.4 | 33150.66 | 35452.45 | 788.25 | 1219.251 | 43.4294 | 43.8549 | 87.7097 | 3.8715
| 36589.65 | 36205.8967 | 35590.13 | 35955.38 | 36954.9 | 36259.1913 |  |  | 44.4528
| 34859.63 | 36859.0589 | 35475.3967 | 35840.6467 | 35224.88 | 35651.9224 |  |  | 43.6824
BPA | 1258.47 | 1286.99 | 1201.14 | 1225.36 | 1423.58 | 1279.108 | 33.11 | -90.19 | 41.356 | 41.9653 | 83.9306 | 6.7023
| 1302.36 | 1330.88 | 1491.41 | 1325.63 | 1263.52 | 1342.76 |  |  | 43.2785
| 1355.23 | 1383.75 | 1245.36 | 1205.67 | 1189.87 | 1275.976 |  |  | 41.2614
DEP | 121363.2 | 117786.4 | 119509.95 | 116690.65 | 114245.2 | 117919.08 | 2201.35 | 9873.7 | 49.0814 | 49.0299 | 98.0599 | 1.3786
| 118414.2 | 117667.5167 | 117421.15 | 119144.7 | 118779.45 | 118285.4033 |  |  | 49.2478
| 116325.4 | 118443.0389 | 117302.2667 | 117055.9 | 116937.0167 | 117212.7244 |  |  | 48.7605

## Accur Precision Intra day 2
Intra day 2
Analyte | Concentration initial |  | 50 ng L-1 |  |  |  | Concentration final |  |  |  | 5 µg L-1
| Peak Area | [5 empty] | Analytical Curve parameters |  | Conc (ng L-1) | Conc medium (ng L-1) | % Accuracy | % Precision
| Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | medium | slope | intercept
4NP | 323.0755 | 321.298 | 311.476 | 324.3075 | 321.298 | 320.291 | 65.93 | 13.55 | 4.6525 | 4.642 | 92.8394 | 1.4602
| 321.0085 | 323.3875 | 309.969 | 320.7875 | 318.7755 | 318.7856 |  |  | 4.6297
| 320.41 | 324.307 | 313.0755 | 317.1255 | 323.6255 | 319.7087 |  |  | 4.6437
BP | 5617.5189 | 5607.8973 | 5788.0324 | 5869.4108 | 5753.9297 | 5727.3578 | 788.25 | 1219.251 | 5.7191 | 5.761 | 115.2203 | 1.8519
| 5640.7946 | 5731.173 | 5811.3081 | 5892.6865 | 5777.2054 | 5770.6335 |  |  | 5.774
| 5593.2811 | 5783.6595 | 5763.7946 | 5945.173 | 5829.6919 | 5783.12 |  |  | 5.7899
BPA | 68.3024 | 70.0322 | 66.5662 | 69.3388 | 70.0392 | 68.8558 | 33.11 | -90.19 | 4.8036 | 4.8259 | 96.5184 | 2.161
| 69.7616 | 71.5283 | 67.9882 | 70.8201 | 71.5355 | 70.3268 |  |  | 4.848
| 69.0469 | 70.7955 | 67.2917 | 70.0946 | 70.8026 | 69.6062 |  |  | 4.8262
DEP | 21015.7533 | 21166.3333 | 21316.9133 | 20836.1667 | 19975.72 | 20862.1773 | 2201.35 | 9873.7 | 4.9917 | 4.7007 | 94.0149 | 3.43
| 20406.6912 | 20557.2712 | 20707.8512 | 19768.2733 | 19163.4267 | 20120.7027 |  |  | 4.6549
| 19310.9 | 19461.48 | 19612.06 | 20009.5 | 20016.9067 | 19682.1693 |  |  | 4.4557
Intra day 2
Analyte | Concentration initial |  | 250 ng L-1 |  |  |  | Concentration final |  |  | 25 µg L-1
| Peak Area | [5 empty] | Analytical Curve parameters |  | Conc (ng L-1) | Conc medium (ng L-1) | % Accuracy | % Precision
| Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | medium | slope | intercept
4NP | 1425.63 | 1252.41 | 1492.59 | 1282.04 | 1346.31 | 1359.796 | 65.93 | 13.55 | 20.4193 | 20.763 | 83.052 | 5.5531
| 1325.41 | 1296.54 | 1378.7533 | 1326.17 | 1495 | 1364.3747 |  |  | 20.4888
| 1409.63 | 1445.23 | 1405.0811 | 1474.86 | 1381.1633 | 1423.1929 |  |  | 21.3809
BP | 18710.2275 | 18382.576 | 18979.2944 | 17756.7446 | 23547.14 | 17718.92 | 788.25 | 1219.251 | 20.932 | 20.873 | 83.4921 | 11.0166
| 16911.1853 | 18073.2984 | 17732.1098 | 19704.5337 | 21023.2 | 19662.56 |  |  | 23.3978
| 18766.2225 | 20055.8112 | 16774.1513 | 16417.5479 | 21489.3 | 15635.7599 |  |  | 18.2893
BPA | 625.36 | 623.05 | 625.14 | 621.25 | 641.25 | 627.21 | 33.11 | -90.19 | 21.6672 | 21.6533 | 86.6133 | 1.6362
| 641.52 | 617.63 | 638.64 | 608.47 | 624.53 | 626.158 |  |  | 21.6354
| 623.47 | 638.63 | 617.54 | 637.25 | 617.54 | 626.886 |  |  | 21.6574
DEP | 59636.58 | 60214.54 | 61232.25 | 60418.58 | 59536.4687 | 58852.47 | 2201.35 | 9873.7 | 22.2494 | 21.9852 | 87.9409 | 2.3172
| 60232.25 | 57454.85 | 60414.25 | 58254.74 | 57404.2208 | 59630.14 |  |  | 22.6027
| 58569.87 | 56474.58 | 58656.32 | 59023.47 | 58161.7273 | 56330.01 |  |  | 21.1036
Intra day 2
Analyte | Concentration initial |  | 500 ng L-1 |  |  |  | Concentration final |  |  | 50 µg L-1
| Peak Area | [5 empty] | Analytical Curve parameters |  | Conc (ng L-1) | Conc medium (ng L-1) | % Accuracy | % Precision
| Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | medium | slope | intercept
4NP | 3478.65 | 3109.02 | 3544.9 | 3161.68 | 3361.39 | 3331.128 | 65.93 | 13.55 | 50.3197 | 49.3954 | 98.7907 | 4.9228
| 3014.25 | 3419.91 | 3080.5 | 3093.0233 | 3308.93 | 3183.3227 |  |  | 48.0779
| 3325.14 | 3367.45 | 3391.39 | 3156.2811 | 3240.2733 | 3296.1069 |  |  | 49.7885
BP | 36414.177 | 35857.857 | 31801.8477 | 33622.1311 | 35300.897 | 34599.382 | 788.25 | 1219.251 | 42.3471 | 41.9474 | 83.8948 | 4.1059
| 34370.1611 | 33813.8411 | 34735.4111 | 33632.8053 | 33256.8811 | 33961.8199 |  |  | 41.5383
| 36779.427 | 32358.1677 | 34746.0853 | 34307.0278 | 33267.5553 | 34291.6526 |  |  | 41.9567
BPA | 1254.87 | 1214.58 | 1325.14 | 1147.58 | 1277.79 | 1243.992 | 33.11 | -90.19 | 40.2954 | 40.5076 | 81.0152 | 5.0041
| 1195.33 | 1296.54 | 1285.41 | 1236.54 | 1366.14 | 1275.992 |  |  | 41.2619
| 1219.33 | 1157.25 | 1251.36 | 1325.14 | 1212.25 | 1233.066 |  |  | 39.9654
DEP | 110478.2 | 118214.6 | 111000.22 | 115914.4 | 109112.95 | 112944.074 | 2201.35 | 9873.7 | 46.8214 | 46.9948 | 93.9896 | 2.726
| 112365.47 | 113524.81 | 117091.27 | 111224.61 | 111589.86 | 113159.204 |  |  | 46.9192
| 118456.52 | 109823.35 | 112123.55 | 116279.65 | 112686.0367 | 113873.8213 |  |  | 47.2438

## Accur Precision Inter day
Inter day
Analyte | Concentration initial |  | 50 ng L-1 |  |  |  | Concentration final |  |  |  | 5 µg L-1
| Peak Area | [5 empty] | Analytical Curve parameters |  | Conc (ng L-1) | Conc medium (ng L-1) | % Accuracy | % Precision
| Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | medium | slope | intercept
4NP | 323.0755 | 321.298 | 311.476 | 324.3075 | 321.298 | 320.291 | 65.93 | 13.55 | 4.6525 | 4.6428 | 92.8559 | 1.4602
| 321.0085 | 323.3875 | 309.969 | 320.7875 | 318.7755 | 318.7856 |  |  | 4.6297
| 320.41 | 324.307 | 313.0755 | 317.1255 | 323.6255 | 319.7087 |  |  | 4.6437
| 315.25 | 318.63 | 318.41 | 322.25 | 320.96 | 319.1 |  |  | 4.6345
| 314.96 | 322.32 | 316.58 | 320.85 | 322.14 | 319.37 |  |  | 4.6386
| 321.52 | 319.08 | 319.05 | 318.36 | 325.2 | 320.642 |  |  | 4.6578
BP | 5617.5189 | 5607.8973 | 5788.0324 | 5869.4108 | 5753.9297 | 5727.3578 | 788.25 | 1219.251 | 5.7191 | 5.216 | 104.3205 | 1.8519
| 5640.7946 | 5731.173 | 5811.3081 | 5892.6865 | 5777.2054 | 5770.6335 |  |  | 5.774
| 5593.2811 | 5783.6595 | 5763.7946 | 5945.173 | 5829.6919 | 5783.12 |  |  | 5.7899
| 5042.6952 | 5370.2714 | 4756.5095 | 4510.8319 | 4840.2029 | 4904.1022 |  |  | 4.6747
| 5239.7952 | 4905.6952 | 5010.8286 | 4728.6171 | 4897.2029 | 4956.4278 |  |  | 4.7411
| 4775.219 | 5173.1714 | 4858.8714 | 4785.6171 | 4622.4176 | 4843.0593 |  |  | 4.5973
BPA | 68.3024 | 70.0322 | 66.5662 | 69.3388 | 70.0392 | 68.8558 | 33.11 | -90.19 | 4.8036 | 4.9057 | 98.1146 | 2.161
| 69.7616 | 71.5283 | 67.9882 | 70.8201 | 71.5355 | 70.3268 |  |  | 4.848
| 69.0469 | 70.7955 | 67.2917 | 70.0946 | 70.8026 | 69.6062 |  |  | 4.8262
| 78.14 | 75.41 | 74.9757 | 71.2703 | 74.4973 | 74.8586 |  |  | 4.9849
| 79.05 | 76.36 | 73.2486 | 70.9568 | 73.2514 | 74.5734 |  |  | 4.9762
| 79.65 | 75.98 | 75.2324 | 72.2297 | 72.9676 | 75.2119 |  |  | 4.9955
DEP | 21300.4573 | 23059.7647 | 22451.6533 | 20839.7867 | 19936.1533 | 21517.5631 | 2201.35 | 9873.7 | 5.2894 | 5.0346 | 100.6912 | 3.43
| 21256.97 | 22016.9867 | 21745.22 | 20610.32 | 21710.2467 | 21467.9487 |  |  | 5.2669
| 23112.258 | 21310.5533 | 23494.4313 | 22352.8 | 20173.0867 | 22088.6259 |  |  | 5.5488
| 21015.7533 | 21166.3333 | 21316.9133 | 20836.1667 | 19975.72 | 20862.1773 |  |  | 4.9917
| 20406.6912 | 20557.2712 | 20707.8512 | 19768.2733 | 19163.4267 | 20120.7027 |  |  | 4.6549
| 19310.9 | 19461.48 | 19612.06 | 20009.5 | 20016.9067 | 19682.1693 |  |  | 4.4557
Inter day
Analyte | Concentration initial |  | 250 ng L-1 |  |  |  | Concentration final |  |  | 25 µg L-1
| Peak Area | [5 empty] | Analytical Curve parameters |  | Conc (ng L-1) | Conc medium (ng L-1) | % Accuracy | % Precision
| Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | medium | slope | intercept
4NP | 1425.63 | 1252.41 | 1492.59 | 1282.04 | 1346.31 | 1359.796 | 65.93 | 13.55 | 20.4193 | 22.343 | 89.3719 | 5.5531
| 1325.41 | 1296.54 | 1378.7533 | 1326.17 | 1495 | 1364.3747 |  |  | 20.4888
| 1409.63 | 1445.23 | 1405.0811 | 1474.86 | 1381.1633 | 1423.1929 |  |  | 21.3809
| 1541.25 | 1531.25 | 1604.08 | 1635.28 | 1525.92 | 1567.556 |  |  | 23.5705
| 1625.14 | 1615.14 | 1595.31 | 1606.49 | 1609.81 | 1610.378 |  |  | 24.2201
| 1596.35 | 1586.35 | 1610.7533 | 1597.72 | 1581.02 | 1594.4387 |  |  | 23.9783
BP | 18710.2275 | 18382.576 | 18979.2944 | 17756.7446 | 23547.14 | 19475.1965 | 788.25 | 1219.251 | 23.1601 | 24.5778 | 98.3111 | 10.2712
| 16911.1853 | 18073.2984 | 17732.1098 | 19704.5337 | 21023.2 | 18688.8654 |  |  | 22.1625
| 18766.2225 | 20055.8112 | 16774.1513 | 16417.5479 | 21489.3 | 18700.6066 |  |  | 22.1774
| 22148.65 | 23084.967 | 21439.049 | 19985.63 | 23547.14 | 22041.0872 |  |  | 26.4153
| 24578.2 | 22006.154 | 22241.207 | 22475.14 | 21023.2 | 22464.7802 |  |  | 26.9528
| 20478.22 | 22324.158 | 22048.992 | 24587.2 | 21489.3 | 22185.574 |  |  | 26.5986
BPA | 614.25 | 614.3 | 604.96 | 584.56 | 600.03 | 603.62 | 33.11 | -90.19 | 20.9547 | 21.3448 | 85.3792 | 1.6362
| 628.14 | 598.74 | 602.14 | 597.21 | 597.11 | 604.668 |  |  | 20.9863
| 601.28 | 682.34 | 597.25 | 591.25 | 581.25 | 610.674 |  |  | 21.1677
| 625.36 | 623.05 | 625.14 | 621.25 | 641.25 | 627.21 |  |  | 21.6672
| 641.52 | 617.63 | 638.64 | 608.47 | 624.53 | 626.158 |  |  | 21.6354
| 623.47 | 638.63 | 617.54 | 637.25 | 617.54 | 626.886 |  |  | 21.6574
DEP | 54978.84 | 57408.691 | 59765.672 | 58522.02 | 19936.1533 | 50122.2753 | 2201.35 | 9873.7 | 18.2836 | 20.1075 | 80.4301 | 2.2868
| 54336.703 | 53842.328 | 59887.848 | 57412.32 | 21710.2467 | 49437.8891 |  |  | 17.9727
| 54186.797 | 53750.02 | 60048.324 | 52478.99 | 20173.0867 | 48127.4435 |  |  | 17.3774
| 59636.58 | 60214.54 | 61232.25 | 60418.58 | 59536.4687 | 60207.6837 |  |  | 22.8651
| 60232.25 | 57454.85 | 60414.25 | 58254.74 | 57404.2208 | 58752.0622 |  |  | 22.2038
| 58569.87 | 56474.58 | 58656.32 | 59023.47 | 58161.7273 | 58177.1935 |  |  | 21.9427
Inter day
Analyte | Concentration initial |  | 500 ng L-1 |  |  |  | Concentration final |  |  | 50 µg L-1
| Peak Area | [5 empty] | Analytical Curve parameters |  | Conc (ng L-1) | Conc medium (ng L-1) | % Accuracy | % Precision
| Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | medium | slope | intercept
4NP | 3478.65 | 3109.02 | 3544.9 | 3161.68 | 3361.39 | 3331.128 | 65.93 | 13.55 | 50.3197 | 45.322 | 90.644 | 4.9228
| 3014.25 | 3419.91 | 3080.5 | 3093.0233 | 3308.93 | 3183.3227 |  |  | 48.0779
| 3325.14 | 3367.45 | 3391.39 | 3156.2811 | 3240.2733 | 3296.1069 |  |  | 49.7885
| 2956.57 | 2803 | 2630.96 | 2985.09 | 2635.06 | 2802.136 |  |  | 42.2962
| 2745.96 | 2693.58 | 2572 | 2774.48 | 2778.21 | 2712.846 |  |  | 40.9418
| 2636.54 | 2836.73 | 2563.59 | 2665.06 | 2719.25 | 2684.234 |  |  | 40.5079
BP | 32785.41 | 36320.63 | 37320.15 | 37685.4 | 33150.66 | 35452.45 | 788.25 | 1219.251 | 43.4294 | 42.9011 | 85.8023 | 4.1059
| 36589.65 | 36205.8967 | 35590.13 | 35955.38 | 36954.9 | 36259.1913 |  |  | 44.4528
| 34859.63 | 36859.0589 | 35475.3967 | 35840.6467 | 35224.88 | 35651.9224 |  |  | 43.6824
| 36414.177 | 35857.857 | 31801.8477 | 33622.1311 | 35300.897 | 34599.382 |  |  | 42.3471
| 34370.1611 | 33813.8411 | 34735.4111 | 33632.8053 | 33256.8811 | 33961.8199 |  |  | 41.5383
| 36779.427 | 32358.1677 | 34746.0853 | 34307.0278 | 33267.5553 | 34291.6526 |  |  | 41.9567
BPA | 1258.47 | 1286.99 | 1201.14 | 1225.36 | 1423.58 | 1279.108 | 33.11 | -90.19 | 41.356 | 41.2365 | 82.4729 | 5.0041
| 1302.36 | 1330.88 | 1491.41 | 1325.63 | 1263.52 | 1342.76 |  |  | 43.2785
| 1355.23 | 1383.75 | 1245.36 | 1205.67 | 1189.87 | 1275.976 |  |  | 41.2614
| 1254.87 | 1214.58 | 1325.14 | 1147.58 | 1277.79 | 1243.992 |  |  | 40.2954
| 1195.33 | 1296.54 | 1285.41 | 1236.54 | 1366.14 | 1275.992 |  |  | 41.2619
| 1219.33 | 1157.25 | 1251.36 | 1325.14 | 1212.25 | 1233.066 |  |  | 39.9654
DEP | 121363.2 | 117786.4 | 119509.95 | 116690.65 | 114245.2 | 117919.08 | 2201.35 | 9873.7 | 49.0814 | 48.0124 | 96.0247 | 2.726
| 118414.2 | 117667.5167 | 117421.15 | 119144.7 | 118779.45 | 118285.4033 |  |  | 49.2478
| 116325.4 | 118443.0389 | 117302.2667 | 117055.9 | 116937.0167 | 117212.7244 |  |  | 48.7605
| 110478.2 | 118214.6 | 111000.22 | 115914.4 | 109112.95 | 112944.074 |  |  | 46.8214
| 112365.47 | 113524.81 | 117091.27 | 111224.61 | 111589.86 | 113159.204 |  |  | 46.9192
| 118456.52 | 109823.35 | 112123.55 | 116279.65 | 112686.0367 | 113873.8213 |  |  | 47.2438

## Linearity Intra day 1
Intra day 1 | [6 empty] | Intra day 1 | [6 empty] | Intra day 1 | [6 empty] | Intra day 1
Analyte | Peak Area | [5 empty] | Analyte | Peak Area | [5 empty] | Analyte | Peak Area | [5 empty] | Analyte | Peak Area
| Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6 |  | Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6 |  | Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6 |  | Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6
| P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6
4NP | 78.41 | 618.41 | 1352.41 | 1623.47 | 2014.52 | 3285.63 | BP | 1954.587 | 9737.708 | 16589.69 | 19556.32 | 22365.22 | 34258.33 | BPA | 74.52 | 224.36 | 541.25 | 734.52 | 805.63 | 1428.63 | DEP | 20300.4573 | 32057.5727 | 48589.33 | 58541.22 | 73441.58 | 112145.96
| 75.54 | 621.25 | 1296.57 | 1547.52 | 1986.63 | 3364.25 |  | 1914.58 | 10045.78 | 15998.63 | 20558.44 | 21447.33 | 34856.22 |  | 72.63 | 228.33 | 539.78 | 739.25 | 802.41 | 1451.66 |  | 20956.97 | 33224.7273 | 47985.33 | 58697.41 | 72996.48 | 112963.87
| 80.25 | 614.23 | 1318.63 | 1596.07 | 2009.74 | 3341.87 |  | 1845.69 | 9173.33 | 16058.99 | 19985.58 | 20879.45 | 35258.69 |  | 73.25 | 226.66 | 537.54 | 738.41 | 803.69 | 1445.24 |  | 20812.258 | 32722.9345 | 48683.4915 | 59052.69 | 73214.69 | 113025.67
Legend | [6 empty] | Legend | [6 empty] | Legend | [6 empty] | Legend
For 4NP and BP, P1 = 10 ng L-1 | [6 empty] | For 4NP and BP, P1 = 10 ng L-1 | [6 empty] | For 4NP and BP, P1 = 10 ng L-1 | [6 empty] | For 4NP and BP, P1 = 10 ng L-1
For BPA and DEP, P1 = 50 ng L-1 | [6 empty] | For BPA and DEP, P1 = 50 ng L-1 | [6 empty] | For BPA and DEP, P1 = 50 ng L-1 | [6 empty] | For BPA and DEP, P1 = 50 ng L-1
P2 | Peak Area Test 1 P1: 100 ng L-1 | P2 | 100 ng L-1 | [5 empty] | P2 | 100 ng L-1 | [5 empty] | P2 | 100 ng L-1
P3 | Peak Area Test 1 P1: 200 ng L-1 | P3 | 200 ng L-1 | [5 empty] | P3 | 200 ng L-1 | [5 empty] | P3 | 200 ng L-1
P4 | Peak Area Test 1 P1: 250 ng L-1 | P4 | 250 ng L-1 | [5 empty] | P4 | 250 ng L-1 | [5 empty] | P4 | 250 ng L-1
P5 | Peak Area Test 1 P1: 300 ng L-1 | P5 | 300 ng L-1 | [5 empty] | P5 | 300 ng L-1 | [5 empty] | P5 | 300 ng L-1
P6 | Peak Area Test 1 P1: 500 ng L-1 | P6 | 500 ng L-1 | [5 empty] | P6 | 500 ng L-1 | [5 empty] | P6 | 500 ng L-1
Results of 4NP | [6 empty] | Results of BP | [6 empty] | Results of BPA | [6 empty] | Results of DEP
Regression Statistic | [6 empty] | Regression Statistic | [6 empty] | Regression Statistic | [6 empty] | Regression Statistic
Multiple R | Peak Area Test 1 P1: 0.99941 | Multiple R | 0.99633 | [5 empty] | Multiple R | 0.99889 | [5 empty] | Multiple R | 0.99782
R Square | Peak Area Test 1 P1: 0.99882 | R Square | 0.99267 | [5 empty] | R Square | 0.99777 | [5 empty] | R Square | 0.99565
Adjusted R Square | Peak Area Test 1 P1: 0.99875 | Adjusted R Square | 0.99227 | [5 empty] | Adjusted R Square | 0.99762 | [5 empty] | Adjusted R Square | 0.99536
Standard Error | Peak Area Test 1 P1: 37.3642 | Standard Error | 918.5843 | [5 empty] | Standard Error | 21.9428 | [5 empty] | Standard Error | 2056.2086
ANOVA | [6 empty] | ANOVA | [6 empty] | ANOVA | [6 empty] | ANOVA
| df | SS | MS | F | Significance F |  |  | df | SS | MS | F | Significance F |  |  | df | SS | MS | F | Significance F |  |  | df | SS | MS | F | Significance F
Regression | 1 | 21255262.2322 | 21255262.2322 | 15224.8841 | 8.2862e-28 |  | Regression | 1 | 2058156020.2534 | 2058156020.2534 | 2439.1596 | 1.1305e-20 |  | Regression | 1 | 3235350.5377 | 3235350.5377 | 6719.5124 | 2.603e-21 |  | Regression | 1 | 14505951981.536 | 14505951981.536 | 3430.9301 | 3.9663e-19
Residual | Peak Area Test 1 P1: 15; Peak Area Test 2 P2: 25129.5653; Peak Area Test 3 P3: 1396.087 | Residual | 15 | 15188349.1449 | 843797.1747 |  |  |  | Residual | 15 | 7222.2887 | 481.4859 |  |  |  | Residual | 15 | 63419910.1619 | 4227994.0108
Total | Peak Area Test 1 P1: 16; Peak Area Test 2 P2: 21280391.7975 | Total | 16 | 2073344369.3982 |  |  |  |  | Total | 16 | 3242572.8264 |  |  |  |  | Total | 16 | 14569371891.698
| Coefficients | Standard Error | t Stat | P-Value | Lower 95% | Upper 95% |  | Coefficients | Standard Error | t Stat | P-Value | Lower 95% | Upper 95% |  | Coefficients | Standard Error | t Stat | P-Value | Lower 95% | Upper 95% |  | Coefficients | Standard Error | t Stat | P-Value | Lower 95% | Upper 95%
Intercept | -27.5325 | 14.1675 | -1.9434 | 0.067779 | -57.2973 | 2.2323 | Intercept | 2413.0106 | 348.302 | 6.9279 | 1.784e-06 | 1681.2553 | 3144.766 | Intercept | -66.0587 | 10.5091 | -6.2858 | 1.4598e-05 | -88.4584 | -43.659 | Intercept | 10208.0332 | 984.7868 | 10.3657 | 3.1086e-08 | 8109.0098 | 12307.0565
10 | 66.9094 | 0.54226 | 123.3892 | 8.2862e-28 | 65.7701 | 68.0486 | 10 | 658.4047 | 13.3313 | 49.3878 | 1.1305e-20 | 630.3967 | 686.4128 | 50 | 30.4293 | 0.37121 | 81.9726 | 2.603e-21 | 29.6381 | 31.2205 | 50 | 2037.5316 | 34.7855 | 58.5741 | 3.9663e-19 | 1963.388 | 2111.6752

## Linearity Intra day 2
Intra day 2 | [6 empty] | Intra day 2 | [6 empty] | Intra day 2 | [6 empty] | Intra day 2
Analyte | Peak Area | [5 empty] | Analyte | Peak Area | [5 empty] | Analyte | Peak Area | [5 empty] | Analyte | Peak Area
| Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6 |  | Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6 |  | Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6 |  | Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6
| P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6
4NP | 78.52 | 604.14 | 1296.11 | 1556.74 | 1901.41 | 3159.87 | BP | 1985.63 | 9657.2314 | 16672.6384 | 18969.6304 | 22812.5244 | 34121.2967 | BPA | 87.45 | 244.325 | 521.47 | 748.52 | 856.96 | 1464.19 | DEP | 21015.7533 | 33052.52 | 48636.32 | 58967.54 | 73536.14 | 114524.24
| 76.23 | 596.52 | 1321.36 | 1609.61 | 1997.41 | 3014.25 |  | 2045.59 | 9800.7236 | 16798.5615 | 20147.2712 | 20803.9101 | 34716.7951 |  | 88.63 | 241.25 | 525.63 | 746.25 | 854.25 | 1478.09 |  | 20406.6912 | 31998.41 | 47969.54 | 61057.96 | 71052.85 | 112523.87
| 73.23 | 603.54 | 1271.09 | 1624.63 | 1873.14 | 3109.71 |  | 1725.36 | 8875.2903 | 16540.7597 | 19585.8684 | 20879.45 | 35117.6552 |  | 87.52 | 238.47 | 522.29 | 747.58 | 852.25 | 1423.08 |  | 19310.91 | 32636.65 | 49625.25 | 58661.41 | 69854.41 | 115748.97
Legend | [6 empty] | Legend | [6 empty] | Legend | [6 empty] | Legend
For 4NP and BP, P1 = 10 ng L-1 | [6 empty] | For 4NP and BP, P1 = 10 ng L-1 | [6 empty] | For 4NP and BP, P1 = 10 ng L-1 | [6 empty] | For 4NP and BP, P1 = 10 ng L-1
For BPA and DEP, P1 = 50 ng L-1 | [6 empty] | For BPA and DEP, P1 = 50 ng L-1 | [6 empty] | For BPA and DEP, P1 = 50 ng L-1 | [6 empty] | For BPA and DEP, P1 = 50 ng L-1
P2 | Peak Area Test 1 P1: 100 ng L-1 | P2 | 100 ng L-1 | [5 empty] | P2 | 100 ng L-1 | [5 empty] | P2 | 100 ng L-1
P3 | Peak Area Test 1 P1: 200 ng L-1 | P3 | 200 ng L-1 | [5 empty] | P3 | 200 ng L-1 | [5 empty] | P3 | 200 ng L-1
P4 | Peak Area Test 1 P1: 250 ng L-1 | P4 | 250 ng L-1 | [5 empty] | P4 | 250 ng L-1 | [5 empty] | P4 | 250 ng L-1
P5 | Peak Area Test 1 P1: 300 ng L-1 | P5 | 300 ng L-1 | [5 empty] | P5 | 300 ng L-1 | [5 empty] | P5 | 300 ng L-1
P6 | Peak Area Test 1 P1: 500 ng L-1 | P6 | 500 ng L-1 | [5 empty] | P6 | 500 ng L-1 | [5 empty] | P6 | 500 ng L-1
Results of 4NP | [6 empty] | Results of BP | [6 empty] | Results of BPA | [6 empty] | Results of DEP
Regression Statistic | [6 empty] | Regression Statistic | [6 empty] | Regression Statistic | [6 empty] | Regression Statistic
Multiple R | Peak Area Test 1 P1: 0.99896 | Multiple R | 0.99616 | [5 empty] | Multiple R | 0.99842 | [5 empty] | Multiple R | 0.99794
R Square | Peak Area Test 1 P1: 0.99792 | R Square | 0.99233 | [5 empty] | R Square | 0.99685 | [5 empty] | R Square | 0.99588
Adjusted R Square | Peak Area Test 1 P1: 0.99781 | Adjusted R Square | 0.99193 | [5 empty] | Adjusted R Square | 0.99664 | [5 empty] | Adjusted R Square | 0.99561
Standard Error | Peak Area Test 1 P1: 46.7079 | Standard Error | 945.9409 | [5 empty] | Standard Error | 26.1755 | [5 empty] | Standard Error | 2037.0329
ANOVA | [6 empty] | ANOVA | [6 empty] | ANOVA | [6 empty] | ANOVA
| df | SS | MS | F | Significance F |  |  | df | SS | MS | F | Significance F |  |  | df | SS | MS | F | Significance F |  |  | df | SS | MS | F | Significance F
Regression | 1 | 19909395.6739 | 19909395.6739 | 9125.9538 | 5.9456e-27 |  | Regression | 1 | 2199490953.6309 | 2199490953.6309 | 2458.0698 | 1.4592e-21 |  | Regression | 1 | 3250255.9149 | 3250255.9149 | 4743.8004 | 3.5214e-20 |  | Regression | 1 | 15047564863.814 | 15047564863.814 | 3626.3535 | 2.6222e-19
Residual | Peak Area Test 1 P1: 15; Peak Area Test 2 P2: 41450.8474; Peak Area Test 3 P3: 2181.6235 | Residual | 15 | 17001277.8057 | 894804.095 |  |  |  | Residual | 15 | 10277.3798 | 685.1587 |  |  |  | Residual | 15 | 62242545.6431 | 4149503.0429
Total | Peak Area Test 1 P1: 16; Peak Area Test 2 P2: 19950846.5213 | Total | 16 | 2216492231.4366 |  |  |  |  | Total | 16 | 3260533.2947 |  |  |  |  | Total | 16 | 15109807409.457
| Coefficients | Standard Error | t Stat | P-Value | Lower 95% | Upper 95% |  | Coefficients | Standard Error | t Stat | P-Value | Lower 95% | Upper 95% |  | Coefficients | Standard Error | t Stat | P-Value | Lower 95% | Upper 95% |  | Coefficients | Standard Error | t Stat | P-Value | Lower 95% | Upper 95%
Intercept | 17.986 | 16.6237 | 1.0819 | 0.29282 | -16.8078 | 52.7797 | Intercept | 2453.4583 | 336.6673 | 7.2875 | 6.5084e-07 | 1748.8057 | 3158.111 | Intercept | -59.7917 | 12.5363 | -4.7695 | 0.00024833 | -86.5123 | -33.0711 | Intercept | 9314.5272 | 975.6029 | 9.5475 | 9.1577e-08 | 7235.0789 | 11393.9756
10 | 62.2819 | 0.65196 | 95.5299 | 5.9456e-27 | 60.9173 | 63.6464 | 10 | 654.6265 | 13.2037 | 49.5789 | 1.4592e-21 | 626.9908 | 682.2622 | 50 | 30.4993 | 0.44282 | 68.8753 | 3.5214e-20 | 29.5555 | 31.4432 | 50 | 2075.221 | 34.4611 | 60.2192 | 2.6222e-19 | 2001.7689 | 2148.6731

## Linearity Inter day
Inter day | [6 empty] | Inter day | [6 empty] | Inter day | [6 empty] | Inter day
Analyte | Peak Area | [5 empty] | Analyte | Peak Area | [5 empty] | Analyte | Peak Area | [5 empty] | Analyte | Peak Area
| Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6 |  | Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6 |  | Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6 |  | Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6
| P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6
4NP | 78.52 | 604.14 | 1296.1 | 1556.74 | 1901.41 | 3159.87 | BP | 1985.63 | 9657.2314 | 16672.6384 | 18969.6304 | 22812.5244 | 34121.2967 | BPA | 87.45 | 244.325 | 521.47 | 748.52 | 856.96 | 1464.19 | DEP | 21015.7533 | 33052.52 | 48636.32 | 58967.54 | 73536.14 | 114524.24
| 76.23 | 596.52 | 1321.36 | 1609.61 | 1997.4 | 3014.25 |  | 2045.59 | 9800.7236 | 16798.5615 | 20147.2712 | 20803.9101 | 34716.7951 |  | 88.63 | 241.25 | 525.63 | 746.25 | 854.25 | 1478.09 |  | 20406.6912 | 31998.41 | 47969.54 | 61057.96 | 71052.85 | 112523.87
| 73.23 | 603.54 | 1271.09 | 1624.63 | 1873.14 | 3109.7 |  | 1725.36 | 8875.2903 | 16540.7597 | 19585.8684 | 20879.45 | 35117.6552 |  | 87.52 | 238.47 | 522.29 | 747.58 | 852.25 | 1423.08 |  | 19310.91 | 32636.65 | 49625.25 | 58661.41 | 69854.41 | 115748.97
| 78.41 | 618.41 | 1352.41 | 1623.47 | 2014.52 | 3285.63 |  | 1954.587 | 9737.708 | 16589.69 | 19556.32 | 22365.22 | 34258.33 |  | 74.52 | 224.36 | 541.25 | 734.52 | 805.63 | 1428.63 |  | 20300.4573 | 32057.5727 | 48589.33 | 58541.22 | 73441.58 | 112145.96
| 75.54 | 621.25 | 1296.57 | 1547.52 | 1986.63 | 3364.25 |  | 1914.58 | 10045.78 | 15998.63 | 20558.44 | 21447.33 | 34856.22 |  | 72.63 | 228.33 | 539.78 | 739.25 | 802.41 | 1451.66 |  | 20956.97 | 33224.7273 | 47985.33 | 58697.41 | 72996.48 | 112963.87
| 80.25 | 614.23 | 1318.63 | 1596.07 | 2009.74 | 3341.87 |  | 1845.69 | 9173.33 | 16058.99 | 19985.58 | 20879.45 | 35258.69 |  | 73.25 | 226.66 | 537.54 | 738.41 | 803.69 | 1445.24 |  | 20812.258 | 32722.9345 | 48683.4915 | 59052.69 | 73214.69 | 113025.67
Legend | [6 empty] | Legend | [6 empty] | Legend | [6 empty] | Legend
For 4NP and BP, P1 = 10 ng L-1 | [6 empty] | For 4NP and BP, P1 = 10 ng L-1 | [6 empty] | For 4NP and BP, P1 = 10 ng L-1 | [6 empty] | For 4NP and BP, P1 = 10 ng L-1
For BPA and DEP, P1 = 50 ng L-1 | [6 empty] | For BPA and DEP, P1 = 50 ng L-1 | [6 empty] | For BPA and DEP, P1 = 50 ng L-1 | [6 empty] | For BPA and DEP, P1 = 50 ng L-1
P2 | Peak Area Test 1 P1: 100 ng L-1 | P2 | 100 ng L-1 | [5 empty] | P2 | 100 ng L-1 | [5 empty] | P2 | 100 ng L-1
P3 | Peak Area Test 1 P1: 200 ng L-1 | P3 | 200 ng L-1 | [5 empty] | P3 | 200 ng L-1 | [5 empty] | P3 | 200 ng L-1
P4 | Peak Area Test 1 P1: 250 ng L-1 | P4 | 250 ng L-1 | [5 empty] | P4 | 250 ng L-1 | [5 empty] | P4 | 250 ng L-1
P5 | Peak Area Test 1 P1: 300 ng L-1 | P5 | 300 ng L-1 | [5 empty] | P5 | 300 ng L-1 | [5 empty] | P5 | 300 ng L-1
P6 | Peak Area Test 1 P1: 500 ng L-1 | P6 | 500 ng L-1 | [5 empty] | P6 | 500 ng L-1 | [5 empty] | P6 | 500 ng L-1
Results of 4NP | [6 empty] | Results of BP | [6 empty] | Results of BPA | [6 empty] | Results of DEP
Regression Statistic | [6 empty] | Regression Statistic | [6 empty] | Regression Statistic | [6 empty] | Regression Statistic
Multiple R | Peak Area Test 1 P1: 0.99825 | Multiple R | 0.99615 | [5 empty] | Multiple R | 0.99868 | [5 empty] | Multiple R | 0.99793
R Square | Peak Area Test 1 P1: 0.99649 | R Square | 0.99231 | [5 empty] | R Square | 0.99736 | [5 empty] | R Square | 0.99586
Adjusted R Square | Peak Area Test 1 P1: 0.9964 | Adjusted R Square | 0.99216 | [5 empty] | Adjusted R Square | 0.99728 | [5 empty] | Adjusted R Square | 0.99573
Standard Error | Peak Area Test 1 P1: 60.9695 | Standard Error | 888.6249 | [5 empty] | Standard Error | 23.389 | [5 empty] | Standard Error | 1977.3206
ANOVA | [6 empty] | ANOVA | [6 empty] | ANOVA | [6 empty] | ANOVA
| df | SS | MS | F | Significance F |  |  | df | SS | MS | F | Significance F |  |  | df | SS | MS | F | Significance F |  |  | df | SS | MS | F | Significance F
Regression | 1 | 41214156.3727 | 41214156.3727 | 11087.1631 | 1.6841e-49 |  | Regression | 1 | 5500420053.9308 | 5500420053.9308 | 6965.6058 | 9.1104e-59 |  | Regression | 1 | 6827556.0691 | 6827556.0691 | 12480.7879 | 3.877e-44 |  | Regression | 1 | 31023563157.7873 | 31023563157.7873 | 7934.8272 | 6.6622e-41
Residual | Peak Area Test 1 P1: 33; Peak Area Test 2 P2: 144974.1541; Peak Area Test 3 P3: 3717.286 | Residual | 33 | 42641328.0049 | 789654.2223 |  |  |  | Residual | 33 | 18052.4941 | 547.0453 |  |  |  | Residual | 33 | 129023298.5558 | 3909796.9259
Total | Peak Area Test 1 P1: 34; Peak Area Test 2 P2: 41359130.5268 | Total | 34 | 5543061381.9357 |  |  |  |  | Total | 34 | 6845608.5632 |  |  |  |  | Total | 34 | 31152586456.3431
| Coefficients | Standard Error | t Stat | P-Value | Lower 95% | Upper 95% |  | Coefficients | Standard Error | t Stat | P-Value | Lower 95% | Upper 95% |  | Coefficients | Standard Error | t Stat | P-Value | Lower 95% | Upper 95% |  | Coefficients | Standard Error | t Stat | P-Value | Lower 95% | Upper 95%
Intercept | -3.4391 | 15.8216 | -0.21737 | 0.82906 | -35.4412 | 28.5631 | Intercept | 2634.5781 | 210.7524 | 12.5008 | 1.4294e-17 | 2212.0451 | 3057.1112 | Intercept | -63.0999 | 7.6136 | -8.2878 | 1.4268e-09 | -78.5898 | -47.6099 | Intercept | 9848.5641 | 643.6581 | 15.3009 | 1.5176e-16 | 8539.0319 | 11158.0962
10 | 64.5551 | 0.61308 | 105.2956 | 1.6841e-49 | 63.315 | 65.7952 | 10 | 651.0142 | 7.8003 | 83.4602 | 9.1104e-59 | 635.3755 | 666.6528 | 50 | 30.4693 | 0.27274 | 111.7174 | 3.877e-44 | 29.9144 | 31.0242 | 50 | 2053.8825 | 23.0572 | 89.0776 | 6.6622e-41 | 2006.9722 | 2100.7927

## Matrix Effect - Ultrapure water
Matrix effect | [6 empty] | Matrix effect | [6 empty] | Matrix effect | [6 empty] | Matrix effect
Analyte | Peak Area | [5 empty] | Analyte | Peak Area | [5 empty] | Analyte | Peak Area | [5 empty] | Analyte | Peak Area
| Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6 |  | Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6 |  | Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6 |  | Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6
| P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6
4NP | 25.677 | 224.865 | 415.25 | 500.898 | 615.451 | 945.63 | BP | 2559.73 | 5585.723 | 10171.446 | 10054.3014 | 14139.0096 | 19595.775 | BPA | 95.875 | 194.829 | 345.58 | 387.41 | 433.8992 | 701.739 | DEP | 7654.54 | 11443.974 | 19101.795 | 22678.879 | 25922.387 | 37008.594
| 23.4556 | 203.63 | 398.41 | 559.792 | 640.858 | 956.36 |  | 2806.122 | 5952.586 | 11905.172 | 10714.6548 | 14496.384 | 21185.439 |  | 129.332 | 174.685 | 323.1673 | 415.24 | 465.0688 | 768.737 |  | 7596.65 | 11017.002 | 18966.559 | 22425.1 | 25910.5 | 37702.602
| 24.013 | 198.098 | 408.41 | 522.594 | 597.41 | 945.22 |  | 2531.007 | 5251.297 | 10502.594 | 9452.3346 | 14255.5716 | 21553.227 |  | 84.585 | 187.45 | 346.7825 | 399.292 | 447.207 | 742.13 |  | 7545.25 | 12279.034 | 18411.396 | 22192.607 | 26490.32 | 37675.191
| 20.9456 | 195.535 | 417.241 | 490.855 | 586.283 | 951.26 |  | 2558.599 | 5188.66 | 10577.32 | 9339.588 | 15241.9956 | 19997.52 |  | 71.316 | 195.922 | 362.4557 | 403.848 | 452.3098 | 710.29 |  | 7605.69 | 12055.19 | 18552.855 | 22407.152 | 25987.54 | 37297.371
| 23.0556 | 207.89 | 410.36 | 482.854 | 553.197 | 963.57 |  | 2835.74 | 5396.456 | 10892.912 | 9713.6208 | 15171.5784 | 20433.281 |  | 103.48 | 164.863 | 350.415 | 398.14 | 445.9168 | 696.453 |  | 7496.65 | 11728.373 | 18580.916 | 22821.727 | 25588.92 | 36778.93
Medium | 23.4294 | 206.0036 | 409.9342 | 511.3986 | 598.6398 | 952.408 | Medium | 2658.2396 | 5474.9444 | 10809.8888 | 9854.8999 | 14660.9078 | 20553.0484 | Medium | 96.9176 | 183.5498 | 345.6801 | 400.786 | 448.8803 | 723.8698 | Medium | 7579.756 | 11704.7146 | 18722.7042 | 22505.093 | 25979.9334 | 37292.5376
Calibration Factor (Fc) | 0.42681 | 0.48543 | 0.48788 | 0.48886 | 0.50114 | 0.52499 | Calibration Factor (Fc) | 0.0037619 | 0.018265 | 0.018502 | 0.025368 | 0.020463 | 0.024327 | Calibration Factor (Fc) | 0.5159 | 0.54481 | 0.57857 | 0.62377 | 0.66833 | 0.69073 | Calibration Factor (Fc) | 0.0065965 | 0.0085436 | 0.010682 | 0.011109 | 0.011547 | 0.013408
Standard Deviation (SD) Fc | Peak Area Test 1 P1: 0.032446 | Standard Deviation (SD) Fc | 0.0077747 | [5 empty] | Standard Deviation (SD) Fc | 0.069228 | [5 empty] | Standard Deviation (SD) Fc | 0.0024005
Legend | [6 empty] | Legend | [6 empty] | Legend | [6 empty] | Legend
For 4NP and BP, P1 = 10 ng L-1 | [6 empty] | For 4NP and BP, P1 = 10 ng L-1 | [6 empty] | For 4NP and BP, P1 = 10 ng L-1 | [6 empty] | For 4NP and BP, P1 = 10 ng L-1
For BPA and DEP, P1 = 50 ng L-1 | [6 empty] | For BPA and DEP, P1 = 50 ng L-1 | [6 empty] | For BPA and DEP, P1 = 50 ng L-1 | [6 empty] | For BPA and DEP, P1 = 50 ng L-1
P2 | Peak Area Test 1 P1: 100 ng L-1 | P2 | 100 ng L-1 | [5 empty] | P2 | 100 ng L-1 | [5 empty] | P2 | 100 ng L-1
P3 | Peak Area Test 1 P1: 200 ng L-1 | P3 | 200 ng L-1 | [5 empty] | P3 | 200 ng L-1 | [5 empty] | P3 | 200 ng L-1
P4 | Peak Area Test 1 P1: 250 ng L-1 | P4 | 250 ng L-1 | [5 empty] | P4 | 250 ng L-1 | [5 empty] | P4 | 250 ng L-1
P5 | Peak Area Test 1 P1: 300 ng L-1 | P5 | 300 ng L-1 | [5 empty] | P5 | 300 ng L-1 | [5 empty] | P5 | 300 ng L-1
P6 | Peak Area Test 1 P1: 500 ng L-1 | P6 | 500 ng L-1 | [5 empty] | P6 | 500 ng L-1 | [5 empty] | P6 | 500 ng L-1
Results of 4NP | [6 empty] | Results of BP | [6 empty] | Results of BPA | [6 empty] | Results of DEP
Regression Statistic | [6 empty] | Regression Statistic | [6 empty] | Regression Statistic | [6 empty] | Regression Statistic
Multiple R | Peak Area Test 1 P1: 0.99515 | Multiple R | 0.99526 | [5 empty] | Multiple R | 0.99589 | [5 empty] | Multiple R | 0.99626
R Square | Peak Area Test 1 P1: 0.99032 | R Square | 0.99054 | [5 empty] | R Square | 0.9918 | [5 empty] | R Square | 0.99254
Adjusted R Square | Peak Area Test 1 P1: 0.99007 | Adjusted R Square | 0.99033 | [5 empty] | Adjusted R Square | 0.99162 | [5 empty] | Adjusted R Square | 0.99235
Standard Error | Peak Area Test 1 P1: 27.4937 | Standard Error | 572.2029 | [5 empty] | Standard Error | 18.6574 | [5 empty] | Standard Error | 833.887
ANOVA | [6 empty] | ANOVA | [6 empty] | ANOVA | [6 empty] | ANOVA
| df | SS | MS | F | Significance F |  |  | df | SS | MS | F | Significance F |  |  | df | SS | MS | F | Significance F |  |  | df | SS | MS | F | Significance F
Regression | 1 | 3015143.3653 | 3015143.3653 | 3988.7884 | 6.8013e-41 |  | Regression | 1 | 1576721398.5285 | 1576721398.5285 | 4815.6491 | 3.293e-48 |  | Regression | 1 | 1937022.5671 | 1937022.5671 | 5564.5774 | 1.2195e-49 |  | Regression | 1 | 3517326421.8427 | 3517326421.8427 | 5058.2265 | 4.8854e-42
Residual | Peak Area Test 1 P1: 23; Peak Area Test 2 P2: 29480.2781; Peak Area Test 3 P3: 755.9046 | Residual | 23 | 15061143.9561 | 327416.173 |  |  |  | Residual | 23 | 16012.5436 | 348.0988 |  |  |  | Residual | 23 | 26423965.9109 | 695367.524
Total | Peak Area Test 1 P1: 24; Peak Area Test 2 P2: 3044623.6435 | Total | 24 | 1591782542.4845 |  |  |  |  | Total | 24 | 1953035.1106 |  |  |  |  | Total | 24 | 3543750387.7536
| Coefficients | Standard Error | t Stat | P-Value | Lower 95% | Upper 95% |  | Coefficients | Standard Error | t Stat | P-Value | Lower 95% | Upper 95% |  | Coefficients | Standard Error | t Stat | P-Value | Lower 95% | Upper 95% |  | Coefficients | Standard Error | t Stat | P-Value | Lower 95% | Upper 95%
Intercept | 21.5694 | 8.2413 | 2.6172 | 0.01255 | 4.8999 | 38.2389 | Intercept | 2248.6644 | 136.8549 | 16.431 | 7.1146e-21 | 1973.1898 | 2524.1389 | Intercept | 40.4826 | 4.7806 | 8.4682 | 6.0939e-11 | 30.8599 | 50.1054 | Intercept | 5357.5088 | 258.429 | 20.7311 | 2.5809e-22 | 4834.3467 | 5880.6708
10 | 18.6819 | 0.2958 | 63.1569 | 6.8013e-41 | 18.0836 | 19.2802 | 10 | 368.6486 | 5.3123 | 69.3949 | 3.293e-48 | 357.9554 | 379.3418 | 50 | 13.7645 | 0.18452 | 74.5961 | 1.2195e-49 | 13.3931 | 14.1359 | 50 | 651.8636 | 9.1655 | 71.1212 | 4.8854e-42 | 633.309 | 670.4183

## Matrix Effect - Surface water
Matrix effect | [6 empty] | Matrix effect | [6 empty] | Matrix effect | [6 empty] | Matrix effect | [6 empty] | Analyte
Analyte | Peak Area | [5 empty] | Analyte | Peak Area | [5 empty] | Analyte | Peak Area | [5 empty] | Analyte | Peak Area | [6 empty] | matrix |  | ultrapure water |  | Calculated F | Critical F
| Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6 |  | Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6 |  | Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6 |  | Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6 |  | SD | SD2 | SD | SD2
| P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 | 4NP | 0.013007 | 0.00016917 | 0.03244 | 0.0010524 | 6.2206 | 1.98
4NP | 80.52 | 632.54 | 1507.84 | 1625.34 | 1950.408 | 3415.74 | BP | 1014.52 | 9147.52 | 18295.04 | 21486.764 | 25784.1168 | 40256.32 | BPA | 95.875 | 194.829 | 345.58 | 387.41 | 433.8992 | 701.739 | DEP | 19635.41 | 35963.633 | 54525.36 | 62587.45 | 72552.36 | 121636.52 | BP | 0.0010938 | 1.1965e-06 | 0.00777 | 6.0373e-05 | 50.4592
| 82.63 | 621.24 | 1425.41 | 1614.25 | 1937.1 | 3256.47 |  | 1145.63 | 9363.52 | 18727.04 | 22365.41 | 26838.492 | 41254.89 |  | 129.332 | 174.685 | 323.1673 | 415.24 | 465.0688 | 768.737 |  | 19254.78 | 34525.47 | 52363.14 | 62236.57 | 74234.52 | 120595.04 | BPA | 0.069228 | 0.0047925 | 0.06922 | 0.0047914 | 1.0002
| 80.24 | 617.54 | 1387.69 | 1736.64 | 2083.968 | 3358.97 |  | 1048.59 | 9254.47 | 18508.94 | 21587.41 | 25904.892 | 41259.63 |  | 84.585 | 187.45 | 346.7825 | 399.292 | 447.207 | 742.13 |  | 20014.36 | 36323.47 | 55007.47 | 63725.133 | 73663.14 | 121252.47 | DEP | 0.00068884 | 4.745e-07 | 0.0024 | 5.76e-06 | 12.1391
| 78.23 | 641.25 | 1452.796 | 1552.796 | 1863.3552 | 3271.677 |  | 1089.51 | 9490.915 | 18981.83 | 20856.74 | 25028.088 | 40032.656 |  | 71.316 | 195.922 | 362.4557 | 403.848 | 452.3098 | 710.29 |  | 20256.69 | 35702.406 | 53696.47 | 64254.66 | 71965.14 | 120486.98
| 79.41 | 607.337 | 1350.954 | 1550.954 | 1861.1448 | 3339.011 |  | 1106.06 | 9458.78 | 18917.56 | 21985.961 | 26383.1532 | 37647.48 |  | 103.48 | 164.863 | 350.415 | 398.14 | 445.9168 | 696.453 |  | 19963.52 | 34830.078 | 54236.87 | 62029.039 | 74856.14 | 126478.69
Medium | 80.206 | 623.9814 | 1424.938 | 1615.996 | 1939.1952 | 3328.3736 | Medium | 1080.862 | 9343.041 | 18686.082 | 21656.457 | 25987.7484 | 40090.1952 | Medium | 96.9176 | 183.5498 | 345.6801 | 400.786 | 448.8803 | 723.8698 | Medium | 19824.952 | 35469.0114 | 53965.862 | 62966.5704 | 73454.26 | 122089.94
Calibration Factor (Fc) | 0.12468 | 0.16026 | 0.14036 | 0.1547 | 0.1547 | 0.15022 | Calibration Factor (Fc) | 0.0092519 | 0.010703 | 0.010703 | 0.011544 | 0.011544 | 0.012472 | Calibration Factor (Fc) | 0.5159 | 0.54481 | 0.57857 | 0.62377 | 0.66833 | 0.69073 | Calibration Factor (Fc) | 0.0025221 | 0.0028194 | 0.003706 | 0.0039704 | 0.0040842 | 0.0040953
Standard Deviation (SD) Fc | Peak Area Test 1 P1: 0.013007 | Standard Deviation (SD) Fc | 0.0010938 | [5 empty] | Standard Deviation (SD) Fc | 0.069228 | [5 empty] | Standard Deviation (SD) Fc | 0.00068884
Legend | [6 empty] | Legend | [6 empty] | Legend | [6 empty] | Legend
For 4NP and BP, P1 = 10 ng L-1 | [6 empty] | For 4NP and BP, P1 = 10 ng L-1 | [6 empty] | For 4NP and BP, P1 = 10 ng L-1 | [6 empty] | For 4NP and BP, P1 = 10 ng L-1
For BPA and DEP, P1 = 50 ng L-1 | [6 empty] | For BPA and DEP, P1 = 50 ng L-1 | [6 empty] | For BPA and DEP, P1 = 50 ng L-1 | [6 empty] | For BPA and DEP, P1 = 50 ng L-1
P2 | Peak Area Test 1 P1: 100 ng L-1 | P2 | 100 ng L-1 | [5 empty] | P2 | 100 ng L-1 | [5 empty] | P2 | 100 ng L-1
P3 | Peak Area Test 1 P1: 200 ng L-1 | P3 | 200 ng L-1 | [5 empty] | P3 | 200 ng L-1 | [5 empty] | P3 | 200 ng L-1
P4 | Peak Area Test 1 P1: 250 ng L-1 | P4 | 250 ng L-1 | [5 empty] | P4 | 250 ng L-1 | [5 empty] | P4 | 250 ng L-1
P5 | Peak Area Test 1 P1: 300 ng L-1 | P5 | 300 ng L-1 | [5 empty] | P5 | 300 ng L-1 | [5 empty] | P5 | 300 ng L-1
P6 | Peak Area Test 1 P1: 500 ng L-1 | P6 | 500 ng L-1 | [5 empty] | P6 | 500 ng L-1 | [5 empty] | P6 | 500 ng L-1
Results of 4NP | [6 empty] | Results of BP | [6 empty] | Results of BPA | [6 empty] | Results of DEP
Regression Statistic | [6 empty] | Regression Statistic | [6 empty] | Regression Statistic | [6 empty] | Regression Statistic
Multiple R | Peak Area Test 1 P1: 0.99783 | Multiple R | 0.99616 | [5 empty] | Multiple R | 0.99592 | [5 empty] | Multiple R | 0.99674
R Square | Peak Area Test 1 P1: 0.99566 | R Square | 0.99233 | [5 empty] | R Square | 0.99185 | [5 empty] | R Square | 0.99349
Adjusted R Square | Peak Area Test 1 P1: 0.99554 | Adjusted R Square | 0.9921 | [5 empty] | Adjusted R Square | 0.9916 | [5 empty] | Adjusted R Square | 0.99325
Standard Error | Peak Area Test 1 P1: 67.7316 | Standard Error | 1094.0185 | [5 empty] | Standard Error | 42.7121 | [5 empty] | Standard Error | 2585.5395
ANOVA | [6 empty] | ANOVA | [6 empty] | ANOVA | [6 empty] | ANOVA
| df | SS | MS | F | Significance F |  |  | df | SS | MS | F | Significance F |  |  | df | SS | MS | F | Significance F |  |  | df | SS | MS | F | Significance F
Regression | 1 | 35820175.1419 | 35820175.1419 | 7808.0934 | 9.1981e-42 |  | Regression | 1 | 5264515790.6633 | 5264515790.6633 | 4398.5457 | 1.5018e-37 |  | Regression | 1 | 7106517.3178 | 7106517.3178 | 3895.424 | 5.3005e-35 |  | Regression | 1 | 27529963411.8414 | 27529963411.8414 | 4118.1605 | 4.6791e-31
Residual | Peak Area Test 1 P1: 23; Peak Area Test 2 P2: 155977.3797; Peak Area Test 3 P3: 4587.57 | Residual | 23 | 40693799.6802 | 1196876.4612 |  |  |  | Residual | 23 | 58378.383 | 1824.3245 |  |  |  | Residual | 23 | 180495396.4824 | 6685014.6845
Total | Peak Area Test 1 P1: 24; Peak Area Test 2 P2: 35976152.5216 | Total | 24 | 5305209590.3435 |  |  |  |  | Total | 24 | 7164895.7007 |  |  |  |  | Total | 24 | 27710458808.3238
| Coefficients | Standard Error | t Stat | P-Value | Lower 95% | Upper 95% |  | Coefficients | Standard Error | t Stat | P-Value | Lower 95% | Upper 95% |  | Coefficients | Standard Error | t Stat | P-Value | Lower 95% | Upper 95% |  | Coefficients | Standard Error | t Stat | P-Value | Lower 95% | Upper 95%
Intercept | 4.6323 | 17.671 | 0.26214 | 0.79479 | -31.2794 | 40.5441 | Intercept | 1433.2724 | 285.426 | 5.0215 | 1.6109e-05 | 853.2169 | 2013.3278 | Intercept | -98.9392 | 12.8907 | -7.6753 | 9.5091e-09 | -125.1967 | -72.6818 | Intercept | 9873.7565 | 906.4649 | 10.8926 | 2.1988e-11 | 8013.8442 | 11733.6688
10 | 65.8258 | 0.74494 | 88.3634 | 9.1981e-42 | 64.3119 | 67.3398 | 10 | 798.0164 | 12.0325 | 66.3215 | 1.5018e-37 | 773.5633 | 822.4695 | 50 | 32.7405 | 0.52457 | 62.4133 | 5.3005e-35 | 31.6719 | 33.809 | 50 | 2201.35 | 34.3034 | 64.1729 | 4.6791e-31 | 2130.9652 | 2271.7348

## Robustness - Control
Robustness - Control | [6 empty] | Robustness - Control | [6 empty] | Robustness - Control | [6 empty] | Robustness - Control
Analyte | Peak Area | [5 empty] | Analyte | Peak Area | [5 empty] | Analyte | Peak Area | [5 empty] | Analyte | Peak Area
| Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6 |  | Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6 |  | Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6 |  | Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6
| P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6
4NP | 80.52 | 632.54 | 1507.84 | 1625.34 | 1950.408 | 3415.74 | BP | 1014.52 | 9147.52 | 18295.04 | 21486.764 | 25784.1168 | 40256.32 | BPA | 95.875 | 194.829 | 345.58 | 387.41 | 433.8992 | 701.739 | DEP | 19635.41 | 35963.633 | 54525.36 | 62587.45 | 72552.36 | 121636.52
| 82.63 | 621.24 | 1425.41 | 1614.25 | 1937.1 | 3256.47 |  | 1145.63 | 9363.52 | 18727.04 | 22365.41 | 26838.492 | 41254.89 |  | 129.332 | 174.685 | 323.1673 | 415.24 | 465.0688 | 768.737 |  | 19254.78 | 34525.47 | 52363.14 | 62236.57 | 74234.52 | 120595.04
| 80.24 | 617.54 | 1387.69 | 1736.64 | 2083.968 | 3358.97 |  | 1048.59 | 9254.47 | 18508.94 | 21587.41 | 25904.892 | 41259.63 |  | 84.585 | 187.45 | 346.7825 | 399.292 | 447.207 | 742.13 |  | 20014.36 | 36323.47 | 55007.47 | 63725.133 | 73663.14 | 121252.47
| 81.23 | 641.25 | 1452.796 | 1552.796 | 1863.3552 | 3271.677 |  | 1089.51 | 9490.915 | 18981.83 | 20856.74 | 25028.088 | 40032.656 |  | 71.316 | 195.922 | 362.4557 | 403.848 | 452.3098 | 710.29 |  | 20256.69 | 35702.406 | 53696.47 | 64254.66 | 71965.14 | 120486.98
| 82.41 | 607.337 | 1350.954 | 1550.954 | 1861.1448 | 3339.011 |  | 1106.06 | 9458.78 | 18917.56 | 21985.961 | 26383.1532 | 37647.48 |  | 103.48 | 164.863 | 350.415 | 398.14 | 445.9168 | 696.453 |  | 19963.52 | 34830.078 | 54236.87 | 62029.039 | 74856.14 | 126478.69
Medium | 81.406 | 623.9814 | 1424.938 | 1615.996 | 1939.1952 | 3328.3736 | Medium | 1080.862 | 9343.041 | 18686.082 | 21656.457 | 25987.7484 | 40090.1952 | Medium | 96.9176 | 183.5498 | 345.6801 | 400.786 | 448.8803 | 723.8698 | Medium | 19824.952 | 35469.0114 | 53965.862 | 62966.5704 | 73454.26 | 122089.94
Calibration Factor (Fc) | 0.12284 | 0.16026 | 0.14036 | 0.1547 | 0.1547 | 0.15022 | Calibration Factor (Fc) | 0.0092519 | 0.010703 | 0.010703 | 0.011544 | 0.011544 | 0.012472 | Calibration Factor (Fc) | 0.5159 | 0.54481 | 0.57857 | 0.62377 | 0.66833 | 0.69073 | Calibration Factor (Fc) | 0.0025221 | 0.0028194 | 0.003706 | 0.0039704 | 0.0040842 | 0.0040953
Standard Deviation (SD) Fc | Peak Area Test 1 P1: 0.013657 | Standard Deviation (SD) Fc | 0.0010938 | [5 empty] | Standard Deviation (SD) Fc | 0.069228 | [5 empty] | Standard Deviation (SD) Fc | 0.00068884
Legend | [6 empty] | Legend | [6 empty] | Legend | [6 empty] | Legend
For 4NP and BP, P1 = 10 ng L-1 | [6 empty] | For 4NP and BP, P1 = 10 ng L-1 | [6 empty] | For 4NP and BP, P1 = 10 ng L-1 | [6 empty] | For 4NP and BP, P1 = 10 ng L-1
For BPA and DEP, P1 = 50 ng L-1 | [6 empty] | For BPA and DEP, P1 = 50 ng L-1 | [6 empty] | For BPA and DEP, P1 = 50 ng L-1 | [6 empty] | For BPA and DEP, P1 = 50 ng L-1
P2 | Peak Area Test 1 P1: 100 ng L-1 | P2 | 100 ng L-1 | [5 empty] | P2 | 100 ng L-1 | [5 empty] | P2 | 100 ng L-1
P3 | Peak Area Test 1 P1: 200 ng L-1 | P3 | 200 ng L-1 | [5 empty] | P3 | 200 ng L-1 | [5 empty] | P3 | 200 ng L-1
P4 | Peak Area Test 1 P1: 250 ng L-1 | P4 | 250 ng L-1 | [5 empty] | P4 | 250 ng L-1 | [5 empty] | P4 | 250 ng L-1
P5 | Peak Area Test 1 P1: 300 ng L-1 | P5 | 300 ng L-1 | [5 empty] | P5 | 300 ng L-1 | [5 empty] | P5 | 300 ng L-1
P6 | Peak Area Test 1 P1: 500 ng L-1 | P6 | 500 ng L-1 | [5 empty] | P6 | 500 ng L-1 | [5 empty] | P6 | 500 ng L-1
Results of 4NP | [6 empty] | Results of BP | [6 empty] | Results of BPA | [6 empty] | Results of DEP
Regression Statistic | [6 empty] | Regression Statistic | [6 empty] | Regression Statistic | [6 empty] | Regression Statistic
Multiple R | Peak Area Test 1 P1: 0.99783 | Multiple R | 0.99616 | [5 empty] | Multiple R | 0.99592 | [5 empty] | Multiple R | 0.99674
R Square | Peak Area Test 1 P1: 0.99566 | R Square | 0.99233 | [5 empty] | R Square | 0.99185 | [5 empty] | R Square | 0.99349
Adjusted R Square | Peak Area Test 1 P1: 0.99554 | Adjusted R Square | 0.9921 | [5 empty] | Adjusted R Square | 0.9916 | [5 empty] | Adjusted R Square | 0.99325
Standard Error | Peak Area Test 1 P1: 67.7316 | Standard Error | 1094.0185 | [5 empty] | Standard Error | 42.7121 | [5 empty] | Standard Error | 2585.5395
ANOVA | [6 empty] | ANOVA | [6 empty] | ANOVA | [6 empty] | ANOVA
| df | SS | MS | F | Significance F |  |  | df | SS | MS | F | Significance F |  |  | df | SS | MS | F | Significance F |  |  | df | SS | MS | F | Significance F
Regression | 1 | 35820175.1419 | 35820175.1419 | 7808.0934 | 9.1981e-42 |  | Regression | 1 | 5264515790.6633 | 5264515790.6633 | 4398.5457 | 1.5018e-37 |  | Regression | 1 | 7106517.3178 | 7106517.3178 | 3895.424 | 5.3005e-35 |  | Regression | 1 | 27529963411.8414 | 27529963411.8414 | 4118.1605 | 4.6791e-31
Residual | Peak Area Test 1 P1: 23; Peak Area Test 2 P2: 155977.3797; Peak Area Test 3 P3: 4587.57 | Residual | 23 | 40693799.6802 | 1196876.4612 |  |  |  | Residual | 23 | 58378.383 | 1824.3245 |  |  |  | Residual | 23 | 180495396.4824 | 6685014.6845
Total | Peak Area Test 1 P1: 24; Peak Area Test 2 P2: 35976152.5216 | Total | 24 | 5305209590.3435 |  |  |  |  | Total | 24 | 7164895.7007 |  |  |  |  | Total | 24 | 27710458808.3238
| Coefficients | Standard Error | t Stat | P-Value | Lower 95% | Upper 95% |  | Coefficients | Standard Error | t Stat | P-Value | Lower 95% | Upper 95% |  | Coefficients | Standard Error | t Stat | P-Value | Lower 95% | Upper 95% |  | Coefficients | Standard Error | t Stat | P-Value | Lower 95% | Upper 95%
Intercept | 4.6323 | 17.671 | 0.26214 | 0.79479 | -31.2794 | 40.5441 | Intercept | 1433.2724 | 285.426 | 5.0215 | 1.6109e-05 | 853.2169 | 2013.3278 | Intercept | -98.9392 | 12.8907 | -7.6753 | 9.5091e-09 | -125.1967 | -72.6818 | Intercept | 9873.7565 | 906.4649 | 10.8926 | 2.1988e-11 | 8013.8442 | 11733.6688
10 | 65.8258 | 0.74494 | 88.3634 | 9.1981e-42 | 64.3119 | 67.3398 | 10 | 798.0164 | 12.0325 | 66.3215 | 1.5018e-37 | 773.5633 | 822.4695 | 50 | 32.7405 | 0.52457 | 62.4133 | 5.3005e-35 | 31.6719 | 33.809 | 50 | 2201.35 | 34.3034 | 64.1729 | 4.6791e-31 | 2130.9652 | 2271.7348

## Robustness - Flow
Robustness - Flow | [6 empty] | Robustness - Flow | [6 empty] | Robustness - Flow | [6 empty] | Robustness - Flow | [6 empty] | Comparative curves
Analyte | Peak Area | [5 empty] | Analyte | Peak Area | [5 empty] | Analyte | Peak Area | [5 empty] | Analyte | Peak Area | [5 empty] | analyte | Control |  | Flow |  | Calculated F | Critical F
| Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6 |  | Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6 |  | Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6 |  | Test 1 | Test 2 | Test 3 | Test 4 | Test 5 | Test 6 |  | SD | SD2 | SD | SD2
| P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 | 4NP | 0.01365 | 0.00018632 | 0.014778 | 0.0002184 | 1.1722 | 2.48
4NP | 74.4085 | 584.5302 | 1393.3949 | 1501.9767 | 1802.372 | 3156.4853 | BP | 979.4176 | 8831.0158 | 17662.0316 | 20743.322 | 24891.9864 | 38863.4513 | BPA | 96.3064 | 195.7057 | 347.1351 | 389.1533 | 435.8517 | 704.8968 | DEP | 18388.5615 | 33679.9423 | 51062.9996 | 58613.1469 | 67945.2851 | 121636.52 | BP | 0.00109 | 1.1881e-06 | 0.001133 | 1.2838e-06 | 1.0805
| 76.3584 | 574.0879 | 1317.2214 | 1491.7284 | 1790.0741 | 3009.3039 |  | 1105.9912 | 9039.5422 | 18079.0844 | 21591.5668 | 25909.8802 | 39827.4708 |  | 129.914 | 175.4711 | 324.6215 | 417.1086 | 467.1616 | 772.1963 |  | 18032.1015 | 32333.1027 | 49038.0806 | 58284.5478 | 69520.628 | 120595.04 | BPA | 0.06922 | 0.0047914 | 0.068918 | 0.0047496 | 1.0088
| 74.1498 | 570.6687 | 1282.3643 | 1604.829 | 1925.7948 | 3104.0242 |  | 1012.3088 | 8934.2653 | 17868.5307 | 20840.4856 | 25008.5827 | 39832.0468 |  | 84.9656 | 188.2935 | 348.343 | 401.0888 | 449.2195 | 745.4696 |  | 18743.4481 | 34016.9297 | 51514.4957 | 59678.5871 | 68985.5306 | 121252.47 | DEP | 0.000688 | 4.7334e-07 | 0.00069798 | 4.8717e-07 | 1.0292
| 75.0646 | 592.5791 | 1342.5288 | 1434.9388 | 1721.9265 | 3023.3567 |  | 1051.813 | 9162.5293 | 18325.0587 | 20135.0968 | 24162.1162 | 38647.5261 |  | 71.6369 | 196.8036 | 364.0868 | 405.6653 | 454.3452 | 713.4863 |  | 18970.3902 | 33435.3032 | 50286.7442 | 60174.4891 | 67395.3536 | 120486.98
| 76.1551 | 561.2401 | 1248.4166 | 1433.2366 | 1719.8839 | 3085.5801 |  | 1067.7903 | 9131.5062 | 18263.0124 | 21225.2467 | 25470.2961 | 36344.8772 |  | 103.9457 | 165.6049 | 351.9919 | 399.9316 | 447.9234 | 699.587 |  | 18695.8365 | 32618.368 | 50792.8288 | 58090.195 | 70102.7751 | 126478.69
Medium | 75.2273 | 576.6212 | 1316.7852 | 1493.3419 | 1792.0103 | 3075.75 | Medium | 1043.4642 | 9019.7718 | 18039.5436 | 20907.1436 | 25088.5723 | 38703.0744 | Medium | 97.3537 | 184.3758 | 347.2357 | 402.5895 | 450.9003 | 727.1272 | Medium | 18566.0675 | 33216.7292 | 50539.0298 | 58968.1932 | 68789.9145 | 122089.94
Calibration Factor (Fc) | 0.13293 | 0.17342 | 0.15189 | 0.16741 | 0.16741 | 0.16256 | Calibration Factor (Fc) | 0.0095835 | 0.011087 | 0.011087 | 0.011958 | 0.011958 | 0.012919 | Calibration Factor (Fc) | 0.51359 | 0.54237 | 0.57598 | 0.62098 | 0.66534 | 0.68764 | Calibration Factor (Fc) | 0.0026931 | 0.0030105 | 0.0039573 | 0.0042396 | 0.0043611 | 0.0040953
Standard Deviation (SD) Fc | Peak Area Test 1 P1: 0.014778 | Standard Deviation (SD) Fc | 0.001133 | [5 empty] | Standard Deviation (SD) Fc | 0.068918 | [5 empty] | Standard Deviation (SD) Fc | 0.00069798
Legend | [6 empty] | Legend | [6 empty] | Legend | [6 empty] | Legend
For 4NP and BP, P1 = 10 ng L-1 | [6 empty] | For 4NP and BP, P1 = 10 ng L-1 | [6 empty] | For 4NP and BP, P1 = 10 ng L-1 | [6 empty] | For 4NP and BP, P1 = 10 ng L-1
For BPA and DEP, P1 = 50 ng L-1 | [6 empty] | For BPA and DEP, P1 = 50 ng L-1 | [6 empty] | For BPA and DEP, P1 = 50 ng L-1 | [6 empty] | For BPA and DEP, P1 = 50 ng L-1
P2 | Peak Area Test 1 P1: 100 ng L-1 | P2 | 100 ng L-1 | [5 empty] | P2 | 100 ng L-1 | [5 empty] | P2 | 100 ng L-1
P3 | Peak Area Test 1 P1: 200 ng L-1 | P3 | 200 ng L-1 | [5 empty] | P3 | 200 ng L-1 | [5 empty] | P3 | 200 ng L-1
P4 | Peak Area Test 1 P1: 250 ng L-1 | P4 | 250 ng L-1 | [5 empty] | P4 | 250 ng L-1 | [5 empty] | P4 | 250 ng L-1
P5 | Peak Area Test 1 P1: 300 ng L-1 | P5 | 300 ng L-1 | [5 empty] | P5 | 300 ng L-1 | [5 empty] | P5 | 300 ng L-1
P6 | Peak Area Test 1 P1: 500 ng L-1 | P6 | 500 ng L-1 | [5 empty] | P6 | 500 ng L-1 | [5 empty] | P6 | 500 ng L-1