## GastXsecInSitu
Gastralia Cross Section with Matrix and Concretion |  |  |  |  | 20181211_Rib_CrossSection_5minCs2kV_Bi3_neg_LargeScan_4_3
Peak Identity | +/-(mu) | Mass | Dev. (ppm) | Counts/Shot | MinMass(m/z) | MaxMass(m/z) | Shift Direction | Deviation | Explained | AltIdentity1 | Deviation | Explained | m/z | AltIdentity2 | Deviation | Explained | m/z | AltIdentity3 | Deviation | Explained | m/z | Notes
Calibration Peaks
C- | 10 | 12.0005 | 247.3 | 0.13 | 11.99 | 12.021 | + | [14 empty] | Deleted OH- from calibration as it was 1.23 counts/shot, identified as unreliable by ionTOF
^18O- | 10 | 17.9997 | 82.9 | 0.02 | 17.982 | 18.029 | +
F- | 10 | 18.999 | 189.4 | 0.61 | 18.981 | 19.027 | narrow
Na- | 10 | 22.9903 | -109.3 | 0 | 22.967 | 23.011 | narrow
C2- | 10 | 24.0005 | 111.3 | 0.13 | 23.982 | 24.041 | +
Al- | 10 | 26.9821 | -390.4 | 0 | 26.952 | 26.988 | +
Si- | 5 | 27.9775 | -195.3 | 0.07 | 27.946 | 28.01 | narrow
P- | 5 | 30.9743 | -65.9 | 0.02 | 30.941 | 31.006 | +
Cl- | 5 | 34.9694 | 89.1 | 0.6 | 34.935 | 35.021 | narrow
^37Cl- | 5 | 36.9665 | 34.7 | 0.21 | 36.929 | 37 | + | [14 empty] | shoulder on + side, ionTOF does not recognize
PO- | 10 | 46.9692 | -31.3 | 0.03 | 46.928 | 47.031 | +
PO2- | 10 | 62.9641 | 86.3 | 0.36 | 62.922 | 63.046 | widen
PO3- | 10 | 78.9591 | 18.5 | 0.43 | 78.899 | 79.088 | +
Assigned Peaks
^10B- |  | 10.0135 | 85.1 |  | 10.006 | 10.027 | narrow | 85.1 | 78.8 | BeH- | -620.9 | 100 | 10.0206 | ^30Si-- | 2250 | 0.3 | 9.9918
B- |  | 11.0099 | -10.4 |  | 11.001 | 11.027 | narrow | -10.4 | 100 | ^10BH- | -1051 | 100 | 11.0213 | BeH2- | -1693.1 | 100 | 11.0284
CH- |  | 13.0084 | 311.7 |  | 12.991 | 13.066 | widen | 311.7 | 100 | ^13C- | 655.3 | 12.9 | 13.0039 | BH2- | -1004.8 | 100 | 13.0255
O- |  | 15.9955 | 455.4 |  | 15.985 | 16.023 | narrow | 455.4 | 100 | NH2- | -1032.4 | 100 | 16.0193 | ^13CH3- | -1539 | 0.1 | 16.0274 | CH4- | -1818.3 | 100 | 16.0318 | under dev threshold but substantiated by presence in EDS
OH- |  | 17.0033 | 348 |  | 16.988 | 17.03 | narrow | 348 | 100 | NH3- | -1051.8 | 100 | 17.0271 | ^13CH4- | -1528.3 | 100 | 17.0352
C2H- |  | 25.0084 | 162.3 |  | 24.988 | 25.045 | narrow | 162.3 | 100 | BN- | -19.8 | 100 | 25.0129 | ^LiF- | -65.6 | 43.1 | 25.0141 | BeO- | -191.4 | 100 | 25.0076 | presence of C2H- seemed better supported due to alignment with calibration peaks not assigned peaks
CN- |  | 26.0036 | 189.5 |  | 25.984 | 26.049 | + | 189.5 | 100 | ^10BO- | 5.8 | 1.6 | 26.0084 | C^13CH- | -122.1 | 29.6 | 26.0117 | LiF- | -246.2 | 100 | 26.015
CHN- |  | 27.0114 | 137.5 |  | 26.988 | 27.067 | none | 137.5 | 100 | ^10BOH- | -39.3 | 17.8 | 27.0162 | C^13CH2- | -162.5 | 58.2 | 27.0196 | BeH2O- | -301.1 | 100 | 27.0233 | shouldered peak, could not distinguish species
SiH- |  | 28.9853 | -139.2 |  | 28.946 | 29.032 | narrow | -139.2 | 100 | ^29Si- | 145.7 | 17.6 | 28.977 | AlH2- | -568.3 | 100 | 28.9977 | ^13CO- | -605.6 | 7.3 | 28.9988
SiH2- |  | 29.9931 | -96.1 |  | 29.942 | 30.052 | + | -96.1 | 100 | ^29SiH- | 179.3 | 14.2 | 29.9849 | NO- | -276.5 | 100 | 29.9985 | AlH3- | -510.8 | 100 | 30.0056 | shouldered peak, could not distinguish species
CH3O- |  | 31.0189 | 33.2 |  | 31.005 | 31.047 | - | 33.2 | 100 | LiC2- | 110.1 | 100 | 31.0166 | ^13CH2O- | 177.3 | 1 | 31.0145 | H4Al- | 212.3 | 100 | 31.0134
O2- |  | 31.9904 | -151.1 |  | 31.941 | 32.027 | narrow | -151.1 | 100 | PH- | 106.6 | 100 | 31.9821 | ^30SiH2- | -138.3 | 0.7 | 31.99 | S- | 404.1 | 47.9 | 31.9726 | slight shoulder, could represent PH- & O2-
PH2- |  | 32.99 | -2.6 |  | 32.948 | 33.041 | + | -2.6 | 100 | ^30SiH3- | -240 | 2.1 | 32.9978 | O2H- | -252.4 | 100 | 32.9982 | HS- | 285.9 | 100 | 32.9804
^34S- |  | 33.9684 | 107.1 |  | 33.934 | 34.04 | narrow | 107.1 | 100 | H2S- | -477.3 | 100 | 33.9883 | PH3- | -757.4 | 100 | 33.9978 | ^SiH4- | -988 | 100 | 34.0056 | slight shoulder, could represent ^34S- & H2S-
C3- |  | 36.0005 | 47.6 |  | 35.974 | 36.045 | narrow | 47.6 | 100 | OHF- | 15.8 | 100 | 36.0017 | CHNa- | 114.4 | 100 | 35.9981 | ^LiNO- | -316.6 | 37.9 | 36.0137
C2O- |  | 39.9955 | 11 |  | 39.946 | 40.059 | narrow | 11 | 100 | NaOH- | 71.2 | 100 | 39.9931 | LiHS- | -13.6 | 100 | 39.9964 | ^25MgNH- | -34.5 | 3.3 | 39.9973
C2HO- |  | 41.0033 | -19.8 |  | 40.946 | 41.073 | + | -19.8 | 100 | LiH2S- | -4.2 | 100 | 41.0043 | CH2Al- | 155.2 | 100 | 40.9977 | BeO2- | 37.6 | 100 | 41.0026
CNO- |  | 41.9985 | 107.2 |  | 41.963 | 42.078 | + | 107.2 | 100 | CH3Al- | -60.1 | 100 | 42.0056 | MgH20- | 163.9 | 42 | 41.9962 | ^10BO2- | -6.6 | 10.7 | 42.0033
AlO- |  | 42.977 | 65.5 |  | 42.933 | 43.068 | + | 65.5 | 100 | MgF- | -97.1 | 100 | 42.984 | CP- | 128.2 | 100 | 42.9743 | BS- | -49 | 100 | 42.9819 | shouldered, small peak slightly heavier
CO2- |  | 43.9904 | -4.2 |  | 43.93 | 44.071 | + | -4.2 | 100 | AlOH- | 121.9 | 100 | 43.9848 | BHS- | 10 | 100 | 43.9897 | CHP- | 183.1 | 100 | 43.9821 | possible lighter shoulder, very faint
CHO2- |  | 44.9982 | -2.1 |  | 44.946 | 45.063 | + | -2.1 | 100 | CNF- | -87 | 100 | 45.002 | AlH2O- | 121.3 | 100 | 44.9927 | CH2P- | 181.1 | 100 | 44.99
NO2- |  | 45.9935 | 3 |  | 45.951 | 46.055 | + | 3 | 100 | CH2S- | 115.7 | 100 | 45.9883 | PNH- | 182.2 | 100 | 45.9852 | SiH2O- | 120.7 | 100 | 45.988
SO- |  | 47.9675 | -51.1 |  | 47.923 | 47.982 | narrow | -51.1 | 100 | Mg2- | -115.7 | 19.2 | 47.9706 | ^34SN- | -133.5 | 1.6 | 47.9715 | ^46TiH2- | -78 | 0.6 | 47.9688
CHOF- |  | 48.0017 | -6.5 |  | 47.982 | 48.056 | - | -6.5 | 100 | CH4S- | -52.9 | 100 | 48.0039 | PNH3- | 10.9 | 100 | 48.0009 | C4- | 17.4 | 100 | 48.0005
CH2OF- |  | 49.0095 | 36.9 |  | 48.94 | 49.2 | widen | 36.9 | 100 | SiH5O- | -3.8 | 100 | 49.0115 | CNOLi- | -65.6 | 100 | 49.0145 | C4H- | 60.3 | 100 | 49.0084
^34SO- |  | 49.9633 | -184.3 |  | 49.93 | 49.97 | + | -184.3 | 87.4 | ^49TiH- | -42.5 | 4.5 | 49.9562 | ^50Ti | 175.8 | 70.3 | 49.9453 | ^50Cr- | 150.6 | 1.6 | 49.9466
H_4FAl- |  | 50.0118 | -40 |  | 49.97 | 50.42 | + | -40 | 100 | C3^13CH- | -38.7 | 9.3 | 50.0117 | C4H2- | -128.1 | 100 | 50.0162 | CH3OF- | -151 | 100 | 50.0173
ClO- |  | 50.9643 | -7.1 |  | 50.92 | 90.99 | none | -7.1 | 100 | CK- | -5.9 | 100 | 50.9643 | ^49TiH2 | -2.3 | 4 | 50.9641 | SF- | -138.7 | 100 | 50.971
^37ClO- |  | 52.9614 | -103.4 |  | 52.91 | 52.97 | none | -103.4 | 100 | VH2- | -80.7 | 100 | 52.9602 | C^41K- | -122.5 | 22.6 | 52.9624 | CrH- | 132.3 | 100 | 52.9486
H3SF- |  | 53.9945 | 20.3 |  | 53.93 | 54.13 | widen | 20.3 | 100 | NaNOH- | -10 | 100 | 53.9961 | C2NO- | -54.5 | 100 | 53.9985 | CHNAl- | 48.3 | 100 | 53.993 | messy, looks like 3-4 similar mass peaks stacked up, cut off clearest shoulder but program couldn't pick it up separately
SiAl- |  | 54.959 | 146.9 |  | 54.89 | 54.98 | none | 146.9 | 100 | NaS- | 85.5 | 100 | 54.9624 | CrH3- | 46.5 | 100 | 54.9645 | ^41KN- | 29.9 | 18.3 | 54.9654
CaO- |  | 55.9581 | 11 |  | 55.86 | 56.06 | none | 11 | 100 | MgS- | 18 | 100 | 55.9577 | C^44Ca- | 47.1 | 1 | 55.956 | ^54FeH2- | 51 | 9.9 | 55.9558 | small - shoulder, could be MgS-
CaOH- |  | 56.9659 | 56.4 |  | 56.87 | 57 | none | 56.4 | 100 | MgHS- | 63.4 | 100 | 56.9655 | ^29SiCO- | -50.2 | 10.5 | 56.972 | CH^44Ca- | 92 | 1.1 | 56.9639
SiHNO- |  | 58.9833 | 0.2 |  | 58.92 | 59.09 | none | 0.2 | 100 | CHSN- | -3.7 | 100 | 58.9835 | MgH3S- | 36.7 | 100 | 58.9811 | MgOF- | 74.5 | 100 | 58.9789
CaHF- |  | 59.9694 | 55.8 |  | 59.9 | 60.12 | widen | 55.8 | 100 | CHPO- | -72.2 | 100 | 59.977 | C2HCl- | -75.2 | 23.3 | 59.9772 | CSO- | 86.4 | 100 | 59.9675
PNO- |  | 60.9723 | 19.6 |  | 60.92 | 61.08 | widen | 19.6 | 100 | CNCl- | 16.7 | 100 | 60.9725 | SiHO2- | -26.8 | 100 | 60.9751 | CHSO- | -30.6 | 100 | 60.9754 | many fits
Mg2O- |  | 63.9655 | 20.1 |  | 63.89 | 64.14 | widen | 20.1 | 100 | ^34SNO- | 6.7 | 4.3 | 63.9664 | SO2- | 68.5 | 100 | 63.9624 | ^46TiH2O- | 48.3 | 5.4 | 63.9637
C3H3Al- |  | 66.0056 | 4.7 |  | 65.91 | 66.11 | none | 4.7 | 100 | C2H5^37Cl- | 4.5 | 65.2 | 66.0056 | CH2SN^6Li- | -9 | 2.5 | 66.0065 | CHSNLi- | 96.2 | 100 | 65.9995
C3H4Al- |  | 67.0134 | 0.3 |  | 66.9 | 67.12 | none | 0.3 | 100 | C^13CN3- | 4.3 | 10.8 | 67.0131 | CH3SN^6Li- | -13.1 | 100 | 67.0143 | C3^13CH2O- | -15.8 | 14.5 | 67.0145
C4HF- |  | 68.0068 | 1.5 |  | 67.89 | 68.17 | + | 1.5 | 100 | CH2OF2- | -15.3 | 100 | 68.0079 | BF3- | 26.7 | 100 | 68.0051 | SiC3H4- | -27.9 | 100 | 68.0088
SiC2H3N- |  | 69.004 | -26 |  | 68.95 | 69.1 | narrow | -26 | 100 | CH2SNBe- | -18.8 | 100 | 69.0035 | C^13CN2O- | -39.7 | 0.5 | 69.005 | CH2NO^25Mg- | 31.9 | 2.3 | 69 | - shoulder program doesn't pick up
Cl2- |  | 69.9383 | -38.3 |  | 69.87 | 69.97 | - | -38.3 | 100 | CNi- | -4.6 | 100 | 69.5359 | ^FeO- | 7.1 | 95.1 | 69.9351 | FeN- | -42.8 | 100 | 69.9386
C4H6O- |  | 70.0424 | 62.3 |  | 69.97 | 70.12 | - | 62.3 | 100 | C3H6N2- | -98 | 100 | 70.0536 | C2^13CH5N2- | -34.2 | 50.3 | 70.0492 | C2H4N3- | 81.5 | 100 | 70.0411
C3H3O2- |  | 71.0139 | 23.1 |  | 70.96 | 71.14 | none | 23.1 | 100 | SiC2H5N- | -58.9 | 100 | 71.0197 | ^30SiC3H5- | 28.8 | 5.1 | 71.0134 | CH3SN^10B- | 47.7 | 30.5 | 71.0121
FeO- |  | 71.9304 | 23.2 |  | 71.85 | 71.98 | none | 23.2 | 100 | C^60Ni- | 10.2 | 2.6 | 71.9313 | ^17GaH- | -14 | 4.4 | 71.9331 | CaS- | -43.6 | 100 | 71.9352
C2H2NO2- |  | 72.0091 | -3.7 |  | 71.98 | 72.12 | none | -3.7 | 100 | CH3SNB- | 5 | 100 | 72.0085 | ^30SiC2H4N- | 2 | 0.4 | 72.0087 | LiSNOH3- | -17.4 | 100 | 72.0101
FeOH- |  | 72.9382 | 29.5 |  | 72.87 | 72.97 | + | 29.5 | 100 | CH^60Ni- | 16.7 | 8.1 | 72.9392 | ^71GaH2- | -7.2 | 12.8 | 72.9409 | CoN- | 48.8 | 100 | 72.9368
C2H3NO2- |  | 73.0169 | -10.8 |  | 72.97 | 73.15 | none | -10.8 | 100 | ^30SiC2H5N- | -5.2 | 1.3 | 73.0165 | ^29SiCH4N2- | 22.5 | 2.8 | 73.0145 | SiCH5N2- | -90.6 | 100 | 73.0227
H2Al2F- |  | 74.9777 | 1.7 |  | 74.87 | 75.11 | none | 1.7 | 100 | SiHNO2- | -5.3 | 100 | 74.9782 | MgH3SO- | 23.4 | 100 | 74.9761 | ^30SiH3N- | 0.2 | 10.9 | 74.9778
CSO2- |  | 75.9624 | 29.5 |  | 75.9 | 76.06 | none | 29.5 | 100 | CH2O^46Ti- | 12.5 | 6.6 | 75.9637 | ScNOH- | 31.9 | 100 | 75.9623 | SiO3- | 32.6 | 100 | 75.9622
CNOCl- |  | 76.9674 | 15.6 |  | 76.9 | 77.07 | none | 15.6 | 100 | ^SiH2SN- | 9.8 | 12.8 | 76.9678 | AlH2SO- | 50.3 | 100 | 76.9647 | CH2PS- | 85.2 | 100 | 76.962
CH2S2- |  | 77.9603 | 11 |  | 77.9 | 78.08 | + | 11 | 100 | SiH2SO- | 13.9 | 100 | 77.9601 | CaF2- | 16 | 100 | 77.9599 | ^44CaH2O2 | -4 | 1.2 | 77.9615
PSOH- |  | 79.9491 | -14.2 |  | 79.87 | 80.03 | narrow | -14.2 | 100 | ZnNH2- | -5.4 | 30.9 | 79.9484 | CHOV- | 9.2 | 100 | 79.9473 | CHSCl- | -16.4 | 48.6 | 79.9493
PH2SO- |  | 80.9569 | 4 |  | 80.85 | 81.1 | + | 4 | 100 | CH2SCl- | 1.8 | 57.1 | 80.9571 | CO2^37Cl- | 12.2 | 100 | 80.9563 | Si2C2H- | -61.2 | 100 | 80.9622
AlH3- |  | 81.953 | 7.1 |  | 81.86 | 82.08 | + | 7.1 | 100 | TiH2O2- | -4.9 | 100 | 81.954 | C3^46Ti- | 4.8 | 9.1 | 81.9532 | SNCH- | 14.6 | 100 | 8.9524
H3SO3- |  | 82.9808 | -10 |  | 82.86 | 83.12 | narrow | -10 | 100 | CH2SNNa- | -13.3 | 100 | 82.9811 | O4F- | 16.8 | 100 | 82.9786 | C2H3OCa- | -18.4 | 100 | 82.9815
C3HO3- |  | 84.9931 | -4.5 |  | 84.87 | 85.13 | none | -4.5 | 100 | ^30SiC3H3O- | 0.3 | 2.2 | 84.9827 | Si2C2H5- | -9.3 | 100 | 84.9935 | SiHN4- | -57.2 | 100 | 84.9976
Cl2O- |  | 85.9332 | -113.7 |  | 85.86 | 85.97 | + | -113.7 | 100 | C^37Cl2- | -104.2 | 6.6 | 85.9324 | CGe- | 19.5 | 51.9 | 85.9217 | RbH- | 37.7 | 100 | 85.9202
KSO- |  | 86.9312 | -8.4 |  | 86.85 | 86.98 | none | -8.4 | 100 | CHGe- | 11 | 60.4 | 86.9296 | ^53H2S- | 18.3 | 10.6 | 86.9289 | COCo- | 21.2 | 100 | 86.9287
C2H3N2O2- |  | 87.02 | 20.7 |  | 86.98 | 87.14 | none | 20.7 | 100 | ^13CC3H3OF- | 12.7 | 3.3 | 87.0207 | ^30SiC2H5N2- | 25.4 | 3.8 | 87.0196 | C6^13CH2- | 25.8 | 5.7 | 87.0196
MnHS- |  | 87.9185 | -16.9 |  | 87.84 | 88.07 | none | -16.9 | 100 | ^87RbH- | -6.3 | 5.2 | 87.9176 | ^72GeO- | -6.1 | 9.2 | 87.9175 | ^87SrH- | -2.8 | 2.5 | 87.9173
MnH2S- |  | 88.9263 | -50.7 |  | 88.85 | 88.98 | none | -50.7 | 100 | AsN- | -38.3 | 100 | 88.9252 | ^72GeOH- | -39.9 | 35 | 88.9254 | ^57FeO2- | -44.6 | 9.4 | 88.9258
C2H6O2Al- |  | 89.0189 | -3.7 |  | 88.98 | 89.16 | none | -3.7 | 100 | C2H5SN2- | 7.2 | 100 | 89.0179 | SiCh5N2O- | 9.8 | 100 | 89.0177 | C2^13CH4O3- | -15.8 | 3.2 | 89.0199
CSNO2- |  | 89.9655 | 2.5 |  | 89.95 | 90.17 | none | 2.5 | 100 | SiNO3- | 5 | 100 | 89.9653 | ^30SiCH2SN- | 7 | 63.7 | 89.9651 | CH2NO^46Ti- | -11.9 | 11.2 | 89.9668 | 3 bumps on peak, possible overlap
CaH3SO- |  | 90.9536 | -16.3 |  | 90.82 | 91.14 | none | -16.3 | 100 | CHNOTi- | -24.1 | 100 | 90.9543 | CH3S^44Ca- | 6 | 2.4 | 90.9516 | Si2H3S- | 23.9 | 100 | 90.9499 | 3 bumps on peak, possible overlap
S2N2- |  | 91.9508 | 8.7 |  | 91.84 | 92.11 | none | 8.7 | 100 | CH3SSc- | -4 | 100 | 91.952 | ^41KH3SO- | -13 | 11.9 | 91.9528 | CH3O^61Ni- | 17.8 | 1.4 | 91.95 | shouldered +
SiHSO2- |  | 92.9472 | -15.4 |  | 92.83 | 92.98 | none | -15.4 | 100 | CHO2Ti- | -4.1 | 100 | 92.9461 | ScSNH2- | -16 | 100 | 92.9473 | CH2N^66Cu- | -14 | 60.7 | 92.9471
C3HN4- |  | 93.0207 | 1.5 |  | 92.98 | 93.14 | none | 1.5 | 100 | C5H3NO- | -12.9 | 100 | 93.022 | C2H5O4- | 15.9 | 100 | 93.0193 | C3H9Ti- | 20.3 | 100 | 93.0189
Na2SO- |  | 93.9471 | -0.1 |  | 93.82 | 94.13 | none | -0.1 | 100 | CoH3O2- | 0.1 | 100 | 93.9471 | ^77SeNH3- | 0.5 | 44.7 | 93.947 | CH3S^47Ti- | -8.5 | 18.3 | 93.9479 | shouldered +
Na2SOH- |  | 94.9549 | 7.3 |  | 94.84 | 95.14 | none | 7.3 | 100 | CH4OCu- | -8.1 | 100 | 94.9564 | ^29SiH2SO2- | 10.5 | 3.3 | 94.9546 | ^29SiSiC2N- | -15.3 | 7 | 94.957 | shouldered +
Si2C2O- |  | 95.9493 | -17.6 |  | 95.82 | 96.15 | none | -17.6 | 100 | CHNO^53Cr- | 6.4 | 7.7 | 95.947 | ScH3SO- | 7.4 | 100 | 95.9469 | CH3O^65Cu- | 9.4 | 14.9 | 95.9467
C3HSN2- |  | 96.9866 | 0.4 |  | 96.84 | 97.19 | none | 0.4 | 100 | SiC2HN2O- | 2.8 | 100 | 96.9864 | C2H4O2^37Cl- | -9.8 | 19.6 | 96.9876 | ^29SiSiC3H4- | 14 | 13.5 | 96.9853 | two peaks not distinguished by program
SiCl2- |  | 97.9152 | 70.1 |  | 97.83 | 97.95 | none | 70.1 | 100 | ^96MoH2- | 11.9 | 100 | 97.9209 | CHS^53Cr- | 9.7 | 17.8 | 97.9211 | CHRb- | 19.2 | 100 | 97.9202
C4H2O3 |  | 98.0009 | -5 |  | 97.95 | 98.17 | none | -5 | 100 | ^30SiC4H4O- | -0.8 | 4.5 | 98.0005 | Si2C3H6- | -9.2 | 100 | 98.0014 | ^30SiC2H2N3- | 12.9 | 4.2 | 97.9992
Si3CH3- |  | 98.9548 | -8.3 |  | 98.83 | 99.19 | none | -8.3 | 100 | CH2SNK- | -10.8 | 100 | 98.9551 | Si^30SiC2HO- | 0 | 14.5 | 98.954 | ^30SiC3HS- | -2.3 | 16 | 98.9542 | shouldered +
CHSOK- |  | 99.9391 | -25.4 |  | 99.84 | 100.1 | none | -25.4 | 100 | VO3H- | -5.6 | 100 | 99.9371 | CH3S^53Cr- | -2.2 | 5.6 | 99.9367 | CH3Rb- | 7.1 | 100 | 99.9358
Si2CHO2- |  | 100.9521 | 0.3 |  | 100.85 | 101.15 | none | 0.3 | 100 | CSNOAl- | -0.6 | 100 | 100.9521 | SN^37ClOH2- | -0.7 | 28.4 | 100.9522 | ^30SiSi2CH3- | 4.4 | 8.5 | 100.9516 | shouldered +
CaSNO- |  | 101.9332 | -8 |  | 101.83 | 102.11 | none | -8 | 100 | CHNAs- | -6.5 | 100 | 101.933 | CH2O^72Ge- | -7.9 | 100 | 101.9332 | CH3^87Si- | -5.1 | 36.1 | 101.9329
FeSNH- |  | 102.9185 | 41.5 |  | 102.84 | 103.09 | none | 41.5 | 100 | SINH- | 55.1 | 100 | 102.9171 | ^70GeO2H- | 2.8 | 9.5 | 102.9225 | CH2Y- | 6.7 | 100 | 102.922
FeSO- |  | 103.9025 | 35.4 |  | 103.81 | 104.07 | none | 35.4 | 100 | SiO- | 48.9 | 100 | 103.9011 | MnSOH- | -69.8 | 100 | 103.9134 | ^104Ru- | 1.7 | 21.3 | 103.906
FeSOH- |  | 104.9103 | 44 |  | 104.82 | 105.11 | none | 44 | 100 | CHS^60Ni- | 35.1 | 100 | 104.9112 | CH^92Mo- | -2.5 | 19.1 | 104.9152 | ^104RuH- | 10.6 | 92.4 | 104.9138
SiSN2- |  | 105.9247 | -19.6 |  | 105.81 | 106.16 | + | -19.6 | 100 | CH2^92Mo- | -3.7 | 60.4 | 105.923 | CSNTi- | -9.7 | 100 | 105.9236 | ZiNH2- | -12.9 | 100 | 105.924 | shouldered +
ZrOH- |  | 106.908 | 5.9 |  | 106.8 | 107.16 | none | 5.9 | 100 | CHS^62Ni- | -1.6 | 27.1 | 106.9088 | NbN- | -12.9 | 100 | 106.91 | ^61NiSN- | 17.5 | 3.1 | 106.9068 | shouldered +
Si2H6NO2- |  | 107.9943 | -8.6 |  | 107.95 | 108.16 | none | -8.6 | 100 | SiCH6SNO- | -10.8 | 100 | 107.9943 | ^30SiCH4NO3- | -1.1 | 1.4 | 107.9934 | C5H2SN- | 18.3 | 100 | 107.9913
CH3S2NO- |  | 108.9652 | 7.5 |  | 108.79 | 109.17 | none | 7.5 | 100 | ^29SiC4O2 | 0.9 | 10.5 | 108.9669 | Si2C2HN2- | -12.9 | 100 | 108.9684 | SiH23SNO2- | 9.6 | 100 | 108.9659 | wide - shoulder
CaCl2- |  | 109.9008 | -17.5 |  | 109.8 | 109.95 | none | -17.5 | 100 | CS^66Zn- | 2.4 | 88.2 | 109.8987 | Ti2N- | -5.5 | 100 | 109.8995 | ^77SeHS- | -13.1 | 14.7 | 109.9004
C4H2SN2- |  | 109.9944 | 6 |  | 109.95 | 110.17 | none | 6 | 100 | C3H5O2^37Cl- | -2.9 | 56.7 | 109.9954 | ^29SiCH5O4- | -6.8 | 11.6 | 109.9958 | SiC3H2N2O- | 8.1 | 100 | 109.9942
C6H4Cl- |  | 111.0007 | 1.2 |  | 110.94 | 111.19 | none | 1.2 | 100 | C5^13CF2- | 1.2 | 5.6 | 111.0007 | SiCHN5- | 1.5 | 100 | 111.0007 | CH5SNO3- | 11.5 | 100 | 110.9996
Fe2- |  | 111.8704 | 180.4 |  | 111.79 | 111.95 | none | 180.4 | 100 | Ti2O- | -6.6 | 100 | 111.8914 | ZnSO- | -54.1 | 100 | 111.8967 | SeS- | 13.2 | 100 | 111.8891
C5H4O3- |  | 112.0166 | -0.5 |  | 111.95 | 112.22 | none | -0.5 | 100 | Si2C4H8- | -4.2 | 100 | 112.017 | C3H2N3O2- | 11.5 | 100 | 112.0152 | ^30SiC5H6O- | 3.2 | 3.3 | 112.0162
SiC3HO3- |  | 112.97 | -5.5 |  | 112.81 | 113.19 | none | -5.5 | 100 | C4HO2- | -7.5 | 100 | 112.9703 | Si^30SiC3H3O- | -1.9 | 3.9 | 112.9696 | SiC2HSN2- | 52.3 | 100 | 112.9635 | small - shoulder
CSNFe- |  | 113.9106 | -21.5 |  | 113.8 | 113.96 | none | -21.5 | 100 | ^100RuN- | 3 | 100 | 113.9078 | CNSr- | -9.3 | 100 | 113.9092 | Ti2H2O- | 10.3 | 100 | 113.907
Ca2OF- |  | 114.919 | 7.1 |  | 114.8 | 114.98 | none | 7.1 | 100 | ZnH3SO- | -2.6 | 100 | 114.9202 | CrSNOH- | 8 | 100 | 114.9189 | CH2ORb- | -26.5 | 100 | 114.9229
C4H7SN2- |  | 115.0335 | 2.5 |  | 114.98 | 115.22 | none | 2.5 | 100 | SiC3H7N2O- | 4.5 | 100 | 115.0333 | C2^13CH4N3O2- | -3.6 | 2.5 | 115.0343 | ^13CC2H5OF3- | 5.9 | 1.9 | 115.0332
Si3O2- |  | 115.9212 | -4.9 |  | 115.81 | 116.09 | none | -4.9 | 100 | CH2Ru- | 0.4 | 24.6 | 115.9205 | Si2CSO- | -6.9 | 100 | 115.9214 | SiC2S2- | -8.8 | 100 | 115.9216
Si2HSN2- |  | 116.9404 | 10.9 |  | 116.83 | 117.12 | none | 10.9 | 100 | VH2O4- | 16.2 | 100 | 116.9398 | HOFAl3- | -39.2 | 100 | 116.9463 | CH3NO^72Ge- | -20.2 | 16.3 | 116.9441
C4Cl2- |  | 117.9383 | 7.3 |  | 117.83 | 118.13 | none | 7.3 | 100 | ^29SiSiHSN2- | -7.6 | 32 | 117.94 | SiC2H2S2- | 15.7 | 100 | 117.9373 | Si2CH2SO- | 17.6 | 100 | 117.937
SiCHS2N- |  | 118.9325 | 2.8 |  | 118.83 | 119.11 | none | 2.8 | 81.9 | ^54CrSNOH3- | -1.1 | 2.7 | 118.933 | Si2HSNO- | 4.7 | 87.2 | 118.9323 | CSNOSc- | 53.2 | 100 | 118.9265
Si2O4- |  | 119.9341 | -12.6 |  | 119.83 | 120.13 | + | -12.6 | 100 | RhNH3- | -0.5 | 100 | 119.9326 | CH3SNCo- | 1.5 | 100 | 119.9324 | MnSNOH3- | 3.4 | 100 | 119.9321
Si3C3H3- |  | 122.9548 | 1.9 |  | 122.8 | 123.18 | none | 1.9 | 100 | S2N3OH- | -13.1 | 100 | 122.9567 | ^29SiSiH4SNO- | -2.3 | 15.1 | 122.9553 | ^30SiC5HS- | 6.7 | 50.3 | 122.9542 | 2 peaks
Si3C2H2N- |  | 123.9501 | -1.3 |  | 123.79 | 124.14 | none | -1.3 | 100 | O2F2Al2- | -3 | 100 | 123.9503 | ^30SiC4SN- | 3.4 | 23.3 | 123.9495 | C3H2OCl2- | 8.6 | 100 | 123.9488
Si4CH- |  | 124.9161 | -28.8 |  | 124.79 | 124.96 | none | -28.8 | 100 | ^94ZrNOH- | -1.6 | 100 | 124.9127 | GeH3SO- | 2.4 | 100 | 124.9122 | CH2SOCu- | -2.4 | 100 | 124.9128
C5H5N2O2 |  | 125.0357 | 3.5 |  | 124.96 | 125.19 | none | 3.5 | 100 | ^13CC6H5OF- | -2.1 | 2.7 | 125.0363 | ^29SiSiH10N3O- | -2.2 | 3.9 | 125.0364 | ^30SiC5H7N2- | 6.8 | 2.7 | 125.0352
Si4CH2- |  | 125.9239 | -56.6 |  | 125.78 | 125.98 | none | -56.6 | 100 | Si^30SiC3S- | -51.9 | 12.5 | 124.9533 | CH2SN^66Zn- | -4.8 | 65 | 125.9174 | CHN^99Ru- | -4.9 | 48.6 | 125.9174
C5H6N2O2- |  | 126.0435 | 5 |  | 125.98 | 126.19 | none | 5 | 100 | ^29SiSiH11N3O- | -0.6 | 32.5 | 126.0442 | ^29SiCH11SN3- | -2.4 | 23.4 | 126.0444 | ^30SiC5H8N2- | 8.2 | 3.3 | 126.0431
C8H8Na- |  | 127.0529 | 7.5 |  | 126.98 | 127.21 | none | 7.5 | 100 | ^13CC3H8O2F2- | 5.8 | 0.7 | 127.0531 | C10H7- | -11.4 | 100 | 127.0553 | ^29SiSiH12N3O- | 14.7 | 1.8 | 127.052
KClF- |  | 127.9004 | -14.7 |  | 127.77 | 127.98 | none | -14.7 | 100 | S^81BrNH- | -10.4 | 100 | 127.8998 | ^96SrO2- | -1.4 | 20.9 | 127.8987 | ^112CdO- | 2 | 93.3 | 127.8982
C9H6N- |  | 128.0506 | 4.8 |  | 127.98 | 128.21 | none | 4.8 | 100 | SiC3H8N4- | 4.8 | 100 | 128.0524 | SiH10N3O3- | 11.7 | 100 | 128.0497 | SiC5H10NO- | -19.7 | 100 | 128.0537
Si3CHS- |  | 128.9112 | 24 |  | 128.79 | 128.99 | none | 24 | 100 | Si4HO- | 4.2 | 100 | 128.911 | ^98RuNOH- | -0.9 | 9.6 | 128.9116 | MoNOH- | -1.8 | 100 | 128.9118
C9H7N- |  | 129.0584 | 5.1 |  | 129 | 129.23 | none | 5.1 | 100 | SiC3H9N4- | -8.9 | 100 | 129.0602 | Si2C5H13- | 22.6 | 100 | 129.0561 | C6H9O3- | 25.8 | 100 | 129.0557
Si2SN3- |  | 129.9357 | -8 |  | 129.79 | 130.23 | none | -8 | 100 | CH3SNO^53Cr- | -0.6 | 23.3 | 129.9347 | CH3NORb- | 6.6 | 100 | 129.9338 | ^29SiSi3H3N- | 2.2 | 23.3 | 129.9347 | wide + shoulder
Si3HSN- |  | 130.9143 | 28.4 |  | 130.79 | 131.2 | none | 28.4 | 100 | CHN^104Pd- | 19.3 | 100 | 130.9155 | CH2O^101Ru- | 10.1 | 64.9 | 130.9167 | CHN^104Ru- | 8.7 | 48.4 | 130.9169 | + shoulder
SiS2N3- |  | 133.9308 | -5.1 |  | 133.778 | 134.188 | none | -5.1 | 100 | ^117SnNH3- | 0.8 | 92.7 | 133.9301 | ^29SiSi2H3SN- | 4.8 | 79.2 | 133.9395 | ^30SiSiCO4- | -5.6 | 24.6 | 133.9309
Si3H3SO- |  | 134.9218 | -6.5 |  | 134.797 | 135.165 | none | -6.5 | 100 | ^30SiC2HSO2- | -2.1 | 21.2 | 134.9212 | Si^30SiCHSO2- | -0.4 | 20 | 134.921 | SiCH3S2- | -8.2 | 100 | 134.922
Si2H2S2N- |  | 135.9173 | 12.7 |  | 135.8 | 136.129 | none | 12.7 | 100 | ^71GaSNOH3- | 1.5 | 7.8 | 135.9188 | ^104PdNOH2- | 5.7 | 3.3 | 135.9182 | C2H2^110Cd- | -1.6 | 3.4 | 135.9192
C2HO2Ca2- |  | 136.9234 | 6.2 |  | 136.808 | 137.124 | none | 6.2 | 100 | Si2H3S2N- | -6.2 | 100 | 136.9251 | ^30SiCHS2NO- | -0.3 | 2.9 | 136.9243 | ^30SiSiHSNO2- | 1.4 | 2.7 | 136.924
Si4C2H2- |  | 137.9239 | -0.9 |  | 137.806 | 138.145 | none | -0.9 | 100 | CH3OAg- | -1.8 | 27.9 | 137.924 | Si^30SiC4S- | 3.4 | 40 | 137.9233 | ^30SiSi2C3O- | 5 | 38.2 | 137.9231
Si4CHO- |  | 140.911 | -9.6 |  | 140.779 | 140.977 | none | -9.6 | 100 | ^124SnOH- | 7.6 | 91.4 | 140.9086 | ^110CdNOH- | 1.9 | 31.2 | 140.9094 | CH3SO^78Se- | 9.4 | 29.1 | 140.9083
H2O2Al4- |  | 141.9322 | 10.4 |  | 141.761 | 142.204 | none | 10.4 | 100 | Na2SO4- | 13 | 100 | 141.9318 | Si3^29SiCH3N- | -5 | 44.4 | 141.9344 | Si3N3O- | -12.7 | 100 | 141.9355 | + shoulder
Fe2O2- |  | 143.8603 | 58.6 |  | 143.739 | 143.933 | none | 58.6 | 100 | ^96MoSO- | -24.4 | 100 | 143.8722 | ^10AgCl- | -37.9 | 100 | 143.8742 | Zn2O- | 103.9 | 100 | 143.8538
SiC7H4N2- |  | 144.0149 | 3.8 |  | 143.936 | 144.276 | none | 3.8 | 100 | ^29SiC7H4N2- | 1.7 | 20.2 | 144.0152 | ^30SiC2H4N5O- | -3 | 3.9 | 144.0159 | ^13CC6H2F3- | 4.9 | 16.2 | 144.0148
Ca2HS2- |  | 144.8777 | -6.2 |  | 144.753 | 144.921 | none | -6.2 | 100 | ^113InS- | 0.8 | 13.6 | 144.8767 | CaCl3- | 49 | 100 | 144.8697 | ^113CdS- | -1.6 | 38.2 | 144.877
C7HN2O2- |  | 145.0044 | 5.4 |  | 144.925 | 145.279 | none | 5.4 | 100 | Si^29SiC2H6N3O- | 0.5 | 6.7 | 145.0051 | ^30SiC7H3N2- | 8.2 | 4.2 | 145.0039 | C6H6O2Cl- | -7.2 | 100 | 145.0062
Si4H2S- |  | 145.896 | -1.3 |  | 145.764 | 146.154 | none | -1.3 | 100 | CH2S^100Mo- | 0.3 | 11.4 | 145.8957 | Si^30SiC2S2- | 2.8 | 4.4 | 145.8954 | ^98RuSNH2- | -5.8 | 3.9 | 145.8966
Si3HS2- |  | 148.8833 | 6.6 |  | 148.765 | 149.109 | none | 6.6 | 100 | CHS^104Pd- | -1.4 | 4.1 | 148.8845 | ^116CdHS- | -6.2 | 4.1 | 148.8852 | ^100MoSOH- | 9.6 | 4.6 | 148.8828
Si3H2S2- |  | 149.8911 | 1.8 |  | 149.763 | 150.139 | none | 1.8 | 100 | ^118SnO2- | -3.9 | 22.9 | 149.892 | ^100MoH2SO- | 4.9 | 18 | 149.8907 | ^30SiCS2O- | 7.3 | 100 | 149.8903
Unassigned Peaks
|  | Mean Mass | [7 empty] | Potential Identity1 |  |  |  | Potential Identity 2 |  |  |  | Potential Identity 3
|  | 2.0178 | [7 empty] | H2 | 791.8 | 100 | 2.0162
|  | 7.02 | [7 empty] | Li- | 484.6 | 100 | 7.0166 | ^6LiH- | -504.5 | 0.4 | 7.0235 | N-- | 2545.4 | 100 | 7.0021
|  | 14.021 | [7 empty] | CH2- | 310.5 | 100 | 14.0162 | ^13ChH- | 629.3 | 15.4 | 14.0117 | BH3- | -911.4 | 100 | 14.0333
|  | 15.03 | [7 empty] | CH3- | 411.6 | 100 | 15.024 | ^13CH2- | 709 | 2.6 | 15.0196 | NH- | 1248.3 | 100 | 15.0114
|  | 38.013 | [7 empty] | CH3Na- | -11 | 100 | 38.0138 | B2O- | -18.4 | 100 | 38.0141 | C2^13CH- | 43.3 | 21.3 | 38.0117
|  | 39.02 | [7 empty] | C2^13CH2 | 25.6 | 6.9 | 39.0196 | CHO^10B- | 110.9 | 84.4 | 39.0162 | CH2OBe- | -70.3 | 100 | 39.0233
|  | 51.02 | [7 empty] | ^13CH3OF- | 16.6 | 4.6 | 51.0207 | C4H3- | -48.7 | 100 | 51.024 | NOH2F- | 175.4 | 100 | 51.0126
|  | 52.01 | [7 empty] | CNO^10B- | 3.5 | 23.5 | 52.0115 | CH2F2 | -25.9 | 100 | 52.013 | ^13CHF- | 60.1 | 2 | 52.0085
|  | 53 | [7 empty] | H2O2F- | 4.5 | 100 | 53.0044 | CH2SLi- | 7.5 | 100 | 53.0043 | C3HO- | 26.1 | 100 | 53.0033
|  | 55.02 | [7 empty] | C3H3O- | -31.1 | 100 | 55.0189 | C2^13CH2O- | 50.1 | 100 | 55.0189 | C2H4Al- | 69.8 | 100 | 55.0134
|  | 57.03 | [7 empty] | C3H5O- | -15.1 | 100 | 57.0346 | C2^13CH4O- | 57.0301 | 63.3 | 0.4 | C2H6Al- | 82.3 | 100 | 57.029
|  | 57.98 | [7 empty] | CHPN- | -10.4 | 100 | 57.9852 | ^25MgO2H- | 9.8 | 8.4 | 57.984 | NaH3S- | -21.7 | 100 | 57.9859
|  | 61.97 | [7 empty] | C2H^37Cl- | -15 | 100 | 61.9743 | ^29SiHO2- | -21.8 | 17.4 | 61.9747 | Na2O- | -26.7 | 100 | 61.975
|  | 65 | [7 empty] | H3OFAl- | 8.8 | 100 | 64.9989 | ^13CHO2F- | -7.8 | 4.8 | 65 | C3^13CO- | 9.8 | 11.6 | 64.9988
|  | 74 | [7 empty] | SiCH4NO- | -11.4 | 100 | 74.0068 | C2H4SN- | -14.5 | 100 | 74.007 | BeSNOH3- | -4.7 | 100 | 74.0063
|  | 83.99 | [7 empty] | CH3SNNa- | -9 | 100 | 83.9889 | SiN4- | -19 | 100 | 83.9898 | CH3NOK- | 29.3 | 100 | 83.9857
|  | 86 | [7 empty] | CH3SNOBe- | -5 | 100 | 86.0063 | SiC2H4NO- | -10.8 | 100 | 86.0068 | C3H4SN- | -13.5 | 100 | 86.007
|  | 107.91 | [7 empty] | CHSCu- | 2.8 | 100 | 107.91 | ^94ZrN- | 3.8 | 100 | 107.9099 | ^76GeO2- | -13.3 | 22.3 | 107.9118
|  | 110.92 | [7 empty] | ^77SeH2S- | 0.3 | 17.3 | 110.9082 | ^94MoOH- | -1.4 | 90.2 | 110.9084 | BrO2- | -4.5 | 100 | 110.9087
|  | 114 | [7 empty] | C2H4O3F2- | 2.4 | 100 | 114.0134 | ^30SiSiC4H8- | -1.6 | 10.9 | 114.0138 | SiC4H6O2 | -5.1 | 100 | 114.0143
|  | 120.91 | [7 empty] | C3O3^37Cl- | -10.9 | 100 | 120.9512 | ^30SiSiH3SN2- | -25.3 | 100 | 120.9529 | SiHSN2O2- | -28.7 | 100 | 120.9533
|  | 121.9 | [7 empty] | ^76GeSN- | -2 | 100 | 121.8971 | CSO^62Ni- | 7.9 | 25.9 | 121.8959 | Si^30SiS2- | 12 | 100 | 121.8954
|  | 121.99 | [7 empty] | C4H7O2Cl- | -1.4 | 99.7 | 122.014 | ^13CC3H3O2F2- | -1.5 | 18 | 122.014 | SiCh6N2O3- | -12.2 | 100 | 122.0153
|  | 126.88 | [7 empty] | NbH2S- | -77.1 | 100 | 126.8946 | ^94MoHS- | -5.3 | 3.3 | 126.8855 | ^SBrO- | -8 | 8.6 | 126.8859
|  | 131.88 | [7 empty] | ^98RuH2S- | -2.5 | 4.2 | 131.8936 | Si3SO- | -38.5 | 100 | 131.8983 | Si2CS2- | -40.3 | 100 | 131.8985
|  | 132.906 | [7 empty] | CSb- | 4.8 | 80.3 | 132.0944 | ^116SnOH- | -0.2 | 36 | 132.905 | Cs- | -7.4 | 100 | 132.906
|  | 138.906 | [7 empty] | ^123SbNH2- | 4.2 | 100 | 138.9235 | ^29SiSi3C2H2- | 4.3 | 20.2 | 138.9235 | PdNOH3- | -10.2 | 35.5 | 138.9255
|  | 139.898 | [7 empty] | YH3SO- | -0.2 | 100 | 139.8969 | CNOCuCl- | -1.1 | 100 | 139.897 | CSNO^66Zn- | 1.3 | 100 | 139.8966
|  | 140.01 | [7 empty] | ^30SiCH8N3O3- | 1.4 | 8.5 | 140.0309 | Si2H10N3O2- | -4.4 | 100 | 140.0317 | C4^13CH5N3O2- | 1.7 | 17.4 | 140.0308
|  | 141.012 | [7 empty] | Si2C5H11N- | 4.5 | 100 | 141.0436 | C6H7NO3- | 7.4 | 100 | 141.0431 | ^30SiSiH11N4O- | -2.4 | 9.3 | 141.0445
|  | 142.898 | [7 empty] | ^95MoSNH2- | 2.2 | 72.4 | 142.8972 | ^92MoH3SO- | -2.2 | 100 | 142.8978 | CuPO3H- | 7.1 | 100 | 142.8965
|  | 143.064 | [7 empty] | ^13CC4H9OF3- | -1.1 | 2.2 | 143.0645 | SiC5H11N2O- | -2.2 | 100 | 143.0646 | C6H11SN2- | -3.8 | 100 | 143.0648
|  | 146.891 | [7 empty] | CHNO^104Pd- | -0.6 | 41.7 | 146.9104 | Si2CHS2N- | 5.9 | 100 | 146.9094 | Si3HSNO- | 7.5 | 100 | 146.9092
|  | 147.863 | [7 empty] | ^99RuSOH- | 1.4 | 2.2 | 147.8813 | IrHS- | -19 | 100 | 147.8843 | CHSRh- | -30 | 100 | 147.8859