PowerSoil Extraction Protocol

Before starting

• Set the heat block at 65 oC

Preservative removal

If the samples are stored in a preservative, first remove it.

- Intestines and solid faeces in ethanol:

  - Clean plates with bleach and ethanol, let it dry.

  - Transfer the intestine to the plate and let it dry.

  - Using a sterile razor, cut the intestine.

  - Transfer to the corresponding PowerBead tube.

- Soft or dissolved faeces in ethanol:

  - Centrifuge at 13,000g for 2 minutes.

  - Discard the supernatant as much as possible and let it dry.

  - Transfer the pellet to the PowerBead tube with the help of a tip.

  - Add bead solution to the tube and pipette up and down resuspending the
 										
pellet.

  - Transfer the solution to the corresponding PowerBead tube.

Extraction protocol

- Add 60 ul of C1 solution to PowerBead tube and vortex thoroughly (15 sec)

- Heat the tubes for 15 min at 65 oC in the heat block. Meanwhile:
 								
• Add 250 ul C2 solution to empty 1.5 ml tubes and label them. • Add 200 ul C3 solution to empty 1.5 ml tubes and label them. • Label 1xN 2 ml tubes.
 • Label 2xN Collection Tubes (provided).
 								
• Label 1xN Spin Filters (provided).

- Tissuelyse the tubes 10 min at freq 20 on a Qiagen TissueLyser.

- Centrifuge the tubes 13,000xg for 3 min.
 								
[TIP]: If >12 samples, first centrifuge half of the samples, and the other half while performing the next step (8+8, 12+12, etc.). That way resuspension of the pellet is avoided. Do the same in the following centrifuge steps.

- Transfer the supernatant (500-600 ul) to the 1.5 ml tubes containing C2 solution and vortex briefly (5 sec).
 								
[TIP]: Better use P200 pipette and transfer the supernatant in 2-3 steps.

- Incubate for 10 min at 4 oC (fridge).

- Centrifuge the tubes 13,000xg for 1 min.

- Transfer the supernatant (600-700 ul) to the 1.5 ml tubes containing C3 solution and vortex briefly (5 sec).

[WARNING]: Avoid transferring the pellet! Better transfer less volume.

- Incubate for 10 min at 4 oC (fridge).

[MEANWHILE]: Shake the C4 solution and add 1200 ul (600+600) to 2 ml tubes.

- Centrifuge the 1.5 ml tubes 13,000xg for 1 min.

- Transfer the supernatant (up to 750 ul) to the 2 ml tubes containing C4 solution and vortex briefly (5 sec).

[WARNING]: Avoid transferring the pellet! Better transfer less volume.

- Load 650 ul onto a Spin Filter, centrifuge 8,000xg for 1 min and discard Collection Tube and place the Spin Filter in a clean Collection Tube.

- Repeat the previous step 2 more times.
 [TIP]: You can skip the previous steps using the Vacuum Manifold.

- Add 500 ul of C5 solution and centrifuge at 13,000xg for 1 min. Check if the liquid spun through.
 								
[WARNING]: Avoid splashing C5 solution onto the Spin Filter! Keep the pipette tip
 								
above the C5 solution bottle until one drop has fallen.

- Place the Spin Filter in a clean Collection Tube and centrifuge again at 13,000xg for 1 min.

- Place the Spin Filter in a clean Collection Tube and add 50 ul EB or TET buffer to the center of the Spin Filter.

- Incubate 15 min at 37-40oC.
 								
[MEANWHILE]: Label 5xN LoBind 1.5 ml tubes with definitive names.
 								
[TIP]: Better make aliquots to avoid contamination in the following steps.

- Centrifuge 13,000xg for 1 min .

- Discard the Spin Filter and transfer the extract to 1.5 low bind tubes.