## Table 1
Table 1 Typical calibration curves of lapatinib in rabbit plasma
Calibration curve | Linearity range (ng/ml) | Weighting coefficient | r
1.02805 * x + 1.26591 | 5~1000 | 1/x2 | 0.999
1.05515 * x + 2.14422 | 5~1000 | 1/x2 | 0.997
1.00165 * x + 1.25098 | 5~1000 | 1/x2 | 0.998

## Table 2
Table 2 Intra- and inter-day precision and accuracy of lapatinib in rabbit plasma
Batch | No. | Lapatinib concentration (ng/mL)
|  | 5 | 10 | 500 | 800
Batch 1 | 1 | 4.915 | 11.394 | 541.925 | 840.895
| 2 | 5.211 | 11.334 | 537.694 | 835.661
| 3 | 5.409 | 11.929 | 543.139 | 835.609
| 4 | 5.383 | 10.729 | 541.888 | 846.682
| 5 | 5.105 | 11.392 | 550.528 | 814.07
| Average | 5.2 | 11.36 | 543.03 | 834.58
| SD | 0.2 | 0.43 | 4.67 | 12.34
| Precision (%) | 3.93 | 3.75 | 0.86 | 1.48
| Accuracy (%) | 4.09 | 13.56 | 8.61 | 4.32
Batch 2 | 1 | 4.632 | 10.842 | 534.3 | 796.223
| 2 | 5.056 | 10.973 | 518.6 | 819.719
| 3 | 4.756 | 10.999 | 555.4 | 803.1
| 4 | 4.467 | 10.443 | 549.9 | 817.095
| 5 | 4.389 | 11.171 | 531.1 | 789.121
| Average | 4.66 | 10.89 | 537.86 | 805.05
| SD | 0.26 | 0.27 | 14.85 | 13.19
| Precision (%) | 5.65 | 2.51 | 2.76 | 1.64
| Accuracy (%) | -6.8 | 8.86 | 7.57 | 0.63
Batch 3 | 1 | 5.733 | 9.731 | 478.195 | 777.606
| 2 | 5.262 | 9.945 | 479.248 | 777.251
| 3 | 5.637 | 10.116 | 482.636 | 792.364
| 4 | 4.766 | 10.281 | 488.869 | 788.966
| 5 | 4.967 | 10.064 | 483.707 | 779.918
| Average | 5.27 | 10.03 | 482.53 | 783.22
| SD | 0.42 | 0.21 | 4.22 | 6.98
| Precision (%) | 7.9 | 2.04 | 0.87 | 0.89
| Accuracy (%) | 5.46 | 0.27 | -3.49 | -2.1
| n | 15 | 15 | 15 | 15
| Average | 5.05 | 10.76 | 521.14 | 807.62
| SD | 0.4 | 0.64 | 29.63 | 24.12
| Inter-day precision (%) | 7.98 | 5.95 | 5.68 | 2.99
| Inter-day accuracy (%) | 0.92 | 7.56 | 4.23 | 0.95

## Table 3
Table 3 Extraction recovery of lapatinib in rabbit plasma
Nominal concentration (ng/mL) | Lapatinib peak area of samples spiked before extraction | Lapatinib peak area of samples spiked after extraction | Extraction recovery (%) | IS-normalized extraction recovery (%)
10 | 2935.7 | 3483 | 84.23 | 97.93
| 2946.8 | 3463.7 | 84.55 | 98.3
| 2959.8 | 3614.9 | 84.92 | 98.74
| 3079.3 | 3451.6 | 88.35 | 102.72
| 2986 | 3413.2 | 85.67 | 99.61
500 | 125883.8 | 152703.1 | 90.35 | 101.45
| 127899.6 | 138239 | 91.8 | 103.07
| 125045.6 | 123550.6 | 89.75 | 100.77
| 118340.3 | 138608.6 | 84.94 | 95.37
| 123914.6 | 143536.8 | 88.94 | 99.86
800 | 208577.1 | 212307.4 | 98.86 | 102.15
| 211611.4 | 207702 | 100.3 | 103.64
| 207576.5 | 211297.1 | 98.39 | 101.66
| 209596.1 | 214513.5 | 99.35 | 102.65
| 218262.2 | 209065 | 103.45 | 106.9

## Table 4
Table 4 Matrix effect of lapatinib in rabbit plasma
Nominal concentration (ng/mL) | Lapatinib peak area |  | IS peak area |  | Lapatinib matrix factor (%) | IS matrix factor (%) | IS-normalized matrix factor (%)
| Sample spiked after extraction | Sample spiked in pure solution | Sample spiked after extraction | Sample spiked in pure solution
10 | 3483 | 2509 | 76125.3 | 53649 | 122.94 | 138.25 | 88.26
| 3463.7 | 2762 | 76912.7 | 56144.2 | 122.26 | 139.68 | 87.78
| 3614.9 | 2811.4 | 77257.7 | 56131.6 | 127.6 | 140.31 | 91.61
| 3451.6 | 3080.8 | 77676 | 54743.6 | 121.84 | 141.07 | 87.47
| 3413.2 | 2945.8 | 75931.1 | 55548.8 | 120.48 | 137.9 | 86.5
| 3247.8 | 2888.8 | 76272.8 | 54163.7 | 114.64 | 138.52 | 82.3
800 | 212307 | 179925 | 71282 | 52783 | 113.18 | 130.44 | 89.17
| 207702 | 186079 | 68640 | 53949 | 110.73 | 125.61 | 87.24
| 211297 | 183828 | 68369 | 53554 | 112.65 | 125.11 | 88.75
| 214514 | 190205 | 69914 | 55414 | 114.36 | 127.94 | 90.1
| 209065 | 197465 | 68736 | 57924 | 111.46 | 125.78 | 87.81
| 212179 | 187960 | 69233 | 54252 | 113.12 | 126.69 | 89.12

## Table 5
Table 5 Stability (%) of lapatinib in rabbit plasma under specific condition (ice bath for 3 h)
No. | Lapatinib concentration (ng/mL)
| 10 | 800
1 | 12.7 | 805.5
2 | 11.92 | 811.8
3 | 12.59 | 810.6

## Table 6
Table 6 Stability (%) of lapatinib in rabbit plasma under specific condition (ice bath for 3 h after sample preparation)
No. | Lapatinib concentration (ng/mL)
| 10 | 800
1 | 10.96 | 806.2
2 | 11.64 | 823.1
3 | 11.53 | 815.3

## Table 7
Table 7 Stability (%) of lapatinib in rabbit plasma under specific condition (autosampler room (10 °C) for 4 h after sample preparation)
No. | Lapatinib concentration (ng/mL)
| 10 | 800
1 | 10.999 | 813.078
2 | 10.726 | 814.383
3 | 10.932 | 820

## Table 8
Table 8 Stability (%) of lapatinib in rabbit plasma under specific condition (–80 °C refrigerator for 14 days)
No. | Lapatinib concentration (ng/mL)
| 10 | 800
1 | 9.2 | 811.6
2 | 10.11 | 820.6
3 | 9.85 | 817

## Table 9
Table 9 Stability (%) of lapatinib in rabbit plasma under specific condition (three freeze–thaw cycles)
No. | Lapatinib concentration (ng/mL)
| 10 | 800
1 | 9.56 | 798.9
2 | 10.25 | 824.9
3 | 10.3 | 824.5

## Table 10
Table 10 Detected plasma concentration of lapatinib after a single oral dose in rabbits without TPF-T
t | No1 | No2 | No3 | No4 | No5 | No6 | Mean | SD
0.25 | BLOQ | BLOQ | BLOQ | 13.888 | 9.221 | 31.808 | 18.306 | 11.924
0.5 | 8.861 | BLOQ | 170.263 | 33.115 | 21.85 | 52.445 | 57.307 | 65.139
1 | 152.24 | 10.878 | 165.723 | 57.447 | 31.641 | 61.102 | 79.839 | 64.108
1.5 | 206.313 | 13.151 | 90.072 | 55.751 | 52.65 | 90.121 | 84.676 | 66.079
2 | 278.78 | 20.586 | 88.728 | 62.04 | 139.207 | 169.015 | 126.393 | 91.605
3 | 247.579 | 40.643 | 134.387 | 69.64 | 142.894 | 340.098 | 162.54 | 112.629
4 | 289.349 | 137.039 | 127.381 | 63.484 | 111.023 | 245.166 | 162.24 | 86.324
6 | 241.42 | 420.957 | 421.999 | 51.523 | 129.506 | 595.149 | 310.092 | 205.064
8 | 277.711 | 415.331 | 419.534 | 1014.83 | 474.167 | 912.907 | 585.747 | 301.712
10 | 391.606 | 130.07 | 125.871 | 428.252 | 219.199 | 396.3 | 281.883 | 139.907
12 | 139.208 | 52.533 | 44.756 | 217.073 | 140.274 | 179.627 | 128.912 | 68.55
24 | 52.215 | 18.972 | 31.633 | 103.089 | 33.42 | 30.211 | 44.923 | 30.448
48 | BLOQ | BLOQ | BLOQ | BLOQ | BLOQ | 5.573 | 5.573
72 | BLOQ | BLOQ | BLOQ | BLOQ | BLOQ | BLOQ
BLOQ: below the limit of quantification.

## Table 11
Table 11 Non-compartmental model statistical moment parameters of lapatinib after a single oral dose in rabbits without TPF-T
parameter | units | No1 | No2 | No3 | No4 | No5 | No6 | Mean | SD
AUC(0-t) | ug/L*h | 4183.615 | 2690.654 | 3042.932 | 5411.14 | 3294.66 | 6614.614 | 4206.269 | 1531.916
AUC(0-∞) | ug/L*h | 4795.619 | 2690.851 | 3043.026 | 5416.484 | 3549.656 | 6660.118 | 4359.292 | 1534.51
AUMC(0-t) |  | 37515.039 | 22435.984 | 24102.128 | 59260.042 | 31483.832 | 63878.944 | 39779.328 | 17780.878
AUMC(0-∞) |  | 59627.961 | 23387.856 | 25560.147 | 66370.493 | 39695.607 | 66479.664 | 46853.621 | 19922.675
MRT(0-t) | h | 8.967 | 8.338 | 7.921 | 10.951 | 9.556 | 9.657 | 9.232 | 1.08
MRT(0-∞) | h | 12.434 | 8.692 | 8.4 | 12.253 | 11.183 | 9.982 | 10.491 | 1.745
VRT(0-t) | h^2 | 30.104 | 16.599 | 25.478 | 27.312 | 22.563 | 42.335 | 27.399 | 8.65
VRT(0-∞) | h^2 | 124.979 | 19.804 | 30.075 | 32.198 | 58.439 | 57.493 | 53.831 | 38.176
t1/2z | h | 8.193 | 1.341 | 1.239 | 1.797 | 5.365 | 5.745 | 3.947 | 2.899
Tmax | h | 10 | 6 | 6 | 8 | 8 | 8 | 7.667 | 1.506
CLz/F | L/h/kg | 12.511 | 22.298 | 19.717 | 11.077 | 16.903 | 9.009 | 15.253 | 5.22
Vz/F | L/kg | 147.913 | 43.137 | 35.242 | 28.73 | 130.85 | 74.686 | 76.76 | 51.291
Zeta |  | 0.085 | 0.517 | 0.559 | 0.386 | 0.129 | 0.121 | 0.3 | 0.214
Zeta回归尾点 |  | 125 | 234 | 234 | 234 | 123 | 145 | -- | --
Cz(尾点回归值) | ug/L | 51.767 | 0.102 | 0.053 | 2.061 | 32.94 | 5.489 | 15.402 | 21.799
Cmax | ug/L | 391.606 | 420.957 | 421.999 | 1014.83 | 474.167 | 912.907 | 606.078 | 280.277

## Table 12
Table 12 Detected plasma concentration of lapatinib after a single oral dose in rabbits with TPF-T
t | No1 | No2 | No3 | No4 | No5 | No6 | Mean | SD
0.25 | 9.513 | 26.556 | 54.314 | 257.802 | 87.046 | 89.38 | 87.435 | 89.335
0.5 | 238.082 | 178.198 | 33.25 | 442.175 | 335.219 | 705.583 | 322.085 | 233.602
1 | 39.392 | 381.239 | 71.136 | 446.242 | 320.118 | 316.744 | 262.479 | 167.642
1.5 | 66.039 | 473.041 | 92.334 | 470.538 | 356.463 | 355.82 | 302.373 | 180.643
2 | 82.405 | 470.757 | 99.27 | 402.169 | 346.257 | 470.744 | 311.934 | 177.581
3 | 78.497 | 353.338 | 185.385 | 429.627 | 360.522 | 306.775 | 285.691 | 129.868
4 | 100.428 | 284.522 | 281.964 | 367.415 | 363.39 | 308.293 | 284.335 | 97.523
6 | 140.404 | 251.027 | 209.389 | 219.155 | 283.329 | 241.015 | 224.053 | 48.508
8 | 238.864 | 283.281 | 176.191 | 367.105 | 494.952 | 502.964 | 343.893 | 135.27
10 | 271.047 | 179.601 | 140.192 | 370.648 | 214.861 | 259.992 | 239.39 | 80.836
12 | 283.505 | 145.147 | 98.016 | 341.921 | 110.248 | 139.934 | 186.462 | 101.082
24 | 48.308 | FBS | 126.547 | 69.567 | 59.531 | 33.609 | 67.512 | 35.606
48 | 6.232 | 122.197 | BLOQ | BLOQ | 22.494 | 50.308 | 62.787
72 | BLOQ | BLOQ | BLOQ | BLOQ | BLOQ | BLOQ
FBS: failure of blood sampling.

## Table 13
Table 13 Non-compartmental model statistical moment parameters of lapatinib after a single oral dose in rabbits with TPF-T
parameter | units | No1 | No2 | No3 | No4 | No5 | No6 | Mean | SD
AUC(0-t) | ug/L*h | 4664.81 | 8018.949 | 3287.504 | 6695.697 | 5770.706 | 4934.627 | 5562.049 | 1657.547
AUC(0-∞) | ug/L*h | 4731.042 | 8082.288 | 3450.669 | 7263.542 | 6276.717 | 4943.986 | 5791.374 | 1730.456
AUMC(0-t) |  | 60276.847 | 153862.318 | 37102.968 | 59427.181 | 67843.671 | 36772.915 | 69214.317 | 43419.84
AUMC(0-∞) |  | 64332.747 | 233890.83 | 68136.839 | 77398.068 | 104398.514 | 39623.423 | 97963.404 | 69806.6
MRT(0-t) | h | 12.922 | 19.187 | 11.286 | 8.875 | 11.757 | 7.452 | 11.913 | 4.086
MRT(0-∞) | h | 13.598 | 28.939 | 19.746 | 10.656 | 16.633 | 8.014 | 16.264 | 7.477
VRT(0-t) | h^2 | 59.688 | 326.113 | 58.386 | 31.248 | 120.087 | 26.163 | 103.614 | 114.007
VRT(0-∞) | h^2 | 90.945 | 457.005 | 89.364 | 72.203 | 416.966 | 33.157 | 193.273 | 190.345
t1/2z | h | 7.641 | 7.681 | 5.356 | 5.584 | 15.881 | 2.167 | 7.385 | 4.624
Tmax | h | 12 | 1.5 | 4 | 1.5 | 8 | 0.5 | 4.583 | 4.532
CLz/F | L/h/kg | 12.682 | 7.424 | 17.388 | 8.26 | 9.559 | 12.136 | 11.242 | 3.659
Vz/F | L/kg | 139.833 | 82.286 | 134.392 | 66.563 | 219.055 | 37.944 | 113.346 | 65.05
Zeta |  | 0.091 | 0.09 | 0.129 | 0.124 | 0.044 | 0.32 | 0.133 | 0.097
Zeta回归尾点 |  | 125 | 235 | 245 | 123 | 123 | 234 | -- | --
Cz(尾点回归值) | ug/L | 6.007 | 5.714 | 21.111 | 70.469 | 22.081 | 2.993 | 21.396 | 25.417
Cmax | ug/L | 283.505 | 473.041 | 281.964 | 470.538 | 494.952 | 705.583 | 451.597 | 157.631

## Table 14
Table 14 Detected plasma concentration of lapatinib after a single oral dose in rats without TPF-T
t | No1 | No2 | No3 | No4 | Mean | SD
0.25 | 1642.54 | 1374.93 | 1320.76 | 1023.75 | 1340.495 | 253.728
0.5 | 1386.29 | 1967.06 | 1875.03 | 1376.08 | 1651.115 | 313.972
1 | 3378.57 | 1689.55 | 2815.93 | 2408.62 | 2573.168 | 710.742
1.5 | 3682.89 | FBS | 3201.03 | 3211.07 | 3364.997 | 275.349
2 | 4785.62 | 3528.1 | 3310.56 | 3891.78 | 3879.015 | 650.225
2.5 | 4123.16 | 3840.92 | 3849.48 | 4608.2 | 4105.44 | 359.893
3 | 4080.96 | 3381.33 | FBS | FBS
4 | 4865.08 | 3888.59 | 3975.04 | 5651.22 | 4594.983 | 831.045
6 | 8922.45 | 8258.14 | 9757.74 | 10211.08 | 9287.353 | 869.285
8 | 11531.11 | 8742.79 | 11499.46 | 11061.4 | 10708.69 | 1328.013
10 | 12905.41 | 8410.25 | 11494.59 | 10679.91 | 10872.54 | 1881.443
24 | 4301.33 | 2835.91 | 4103.49 | 2777.01 | 3504.435 | 810.346
48 | 83.32 | 38.65 | 85.49 | 50.66 | 64.53 | 23.484
72 | 11.33 | 6.97 | 9.28 | 8.29 | 8.968 | 1.837

## Table 15
Table 15 Non-compartmental model statistical moment parameters of lapatinib after a single oral dose in rats without TPF-T
parameter | units | No1 | No2 | No3 | No4 | Mean | SD
AUC(0-t) | ug/L*h | 247285.264 | 171461.35 | 231103.436 | 202088.288 | 212984.585 | 33405.277
AUC(0-∞) | ug/L*h | 247388.162 | 171523.288 | 231185.882 | 202161.311 | 213064.661 | 33421.8
AUMC(0-t) |  | 3444306.451 | 2298278.912 | 3243347.673 | 2544653.032 | 2882646.517 | 548115.651
AUMC(0-∞) |  | 3452600.648 | 2303272.419 | 3249989.825 | 2550533.943 | 2889099.209 | 549422.538
MRT(0-t) | h | 13.928 | 13.404 | 14.034 | 12.592 | 13.49 | 0.659
MRT(0-∞) | h | 13.956 | 13.428 | 14.058 | 12.616 | 13.515 | 0.66
VRT(0-t) | h^2 | 68.857 | 66.387 | 70.154 | 62.159 | 66.889 | 3.519
VRT(0-∞) | h^2 | 70.725 | 68.029 | 71.743 | 63.838 | 68.584 | 3.531
t1/2z | h | 6.261 | 6.14 | 6.135 | 6.086 | 6.156 | 0.074
Tmax | h | 10 | 8 | 8 | 8 | 8.5 | 1
CLz/F | L/h/kg | 0.404 | 0.583 | 0.433 | 0.495 | 0.479 | 0.079
Vz/F | L/kg | 3.652 | 5.166 | 3.829 | 4.344 | 4.248 | 0.679
Zeta |  | 0.111 | 0.113 | 0.113 | 0.114 | 0.113 | 0.001
Zeta回归尾点 |  | 145 | 145 | 145 | 145 | -- | --
Cz(尾点回归值) | ug/L | 11.39 | 6.991 | 9.313 | 8.315 | 9.002 | 1.854
Cmax | ug/L | 12905.41 | 8742.79 | 11499.46 | 11061.4 | 11052.265 | 1728.958

## Table 16
Table 16 Detected plasma concentration of lapatinib after a single oral dose in rats with TPF-T
t | No1 | No2 | No3 | No4 | Mean | SD
0.25 | 1952.39 | 2080.5 | 639.58 | 3210.33 | 1970.7 | 1052.133
0.5 | 1733.51 | 2370.26 | 1019.02 | 3432.87 | 2138.915 | 1024.103
1 | 2287.63 | 3076.74 | 1642.38 | 6875.19 | 3470.485 | 2344.367
1.5 | 5275.8 | 3187.47 | 1918.88 | 8047.85 | 4607.5 | 2678.793
2 | 4286.77 | 4162.12 | 2013.53 | 8198.59 | 4665.253 | 2576.334
2.5 | 5258 | 4336.27 | FBS | 7557.16 | 5717.143 | 1658.808
3 | 6212.25 | FBS | FBS | 9003.83 | 7608.04 | 1973.945
4 | 5689.46 | 4552.03 | 4122.48 | 7700.69 | 5516.165 | 1599.385
6 | 10983.84 | 8506.15 | 8443.21 | 10154.1 | 9521.825 | 1255.955
8 | 13984.97 | 10425.68 | 9458.44 | 11169.94 | 11259.758 | 1947.244
10 | 12275.51 | 8693.27 | 9036.64 | 10463.2 | 10117.155 | 1630.256
24 | 3180.65 | 2930.3 | 2032.29 | 5837.1 | 3495.085 | 1637.341
48 | 52.8 | 29.02 | 22.87 | 111.9 | 54.148 | 40.607
72 | 12.18 | 8.61 | 5.2 | 14.92 | 10.228 | 4.232

## Table 17
Table 17 Non-compartmental model statistical moment parameters of lapatinib after a single oral dose in rats with TPF-T
parameter | units | No1 | No2 | No3 | No4 | Mean | SD
AUC(0-t) | ug/L*h | 232873.051 | 182809.78 | 160405.74 | 275856.431 | 212986.251 | 51715.484
AUC(0-∞) | ug/L*h | 232983.167 | 182887.24 | 160449.678 | 275999.561 | 213079.912 | 51757.643
AUMC(0-t) |  | 2923853.235 | 2392803.593 | 1973653.095 | 4035567.109 | 2831469.258 | 891938.445
AUMC(0-∞) |  | 2932762.74 | 2399073.046 | 1977176.055 | 4047215.798 | 2839056.91 | 895331.054
MRT(0-t) | h | 12.556 | 13.089 | 12.304 | 14.629 | 13.145 | 1.042
MRT(0-∞) | h | 12.588 | 13.118 | 12.323 | 14.664 | 13.173 | 1.047
VRT(0-t) | h^2 | 61.784 | 65.422 | 54.477 | 82.614 | 66.074 | 11.929
VRT(0-∞) | h^2 | 64.005 | 67.379 | 55.748 | 84.936 | 68.017 | 12.292
t1/2z | h | 6.256 | 6.231 | 5.838 | 6.633 | 6.24 | 0.325
Tmax | h | 8 | 8 | 8 | 8 | 8 | 0
CLz/F | L/h/kg | 0.429 | 0.547 | 0.623 | 0.362 | 0.49 | 0.117
Vz/F | L/kg | 3.875 | 4.916 | 5.25 | 3.468 | 4.377 | 0.843
Zeta |  | 0.111 | 0.111 | 0.119 | 0.104 | 0.111 | 0.006
Zeta回归尾点 |  | 145 | 145 | 145 | 145 | -- | --
Cz(尾点回归值) | ug/L | 12.198 | 8.616 | 5.216 | 14.954 | 10.246 | 4.24
Cmax | ug/L | 13984.97 | 10425.68 | 9458.44 | 11169.94 | 11259.758 | 1947.244