Dose-sparing effect of lapatinib co-administered with a high-fat enteral nutrition emulsion: preclinical pharmacokinetic study

Junfeng Zhu1,2, Gaoqi Xu1,2, Dihong Yang1,2, Yu Song1,2, Yinghui Tong1,2, Sisi Kong1,2, Haiying Ding1,2, Luo Fang1,2,*
1 Department of Pharmacy, Zhejiang Cancer Hospital, Hangzhou 310022, China

2 Hangzhou Institute of Medicine (HIM), Chinese Academy of Sciences, Hangzhou 310018, China

*Correspondence: Luo Fang, Department of Pharmacy, Zhejiang Cancer Hospital, Hangzhou 310022, China. Email: fangluo@zjcc.org.cn
Supporting Information

Table S1 Nutrient formulation of TPF-T
Table S2 Intra- and inter-day precision and accuracy of lapatinib in rabbit plasma

Table S3 Extraction recovery and matrix effect of lapatinib in rabbit plasma
Table S4 Stability (%) of lapatinib in rabbit plasma under different conditions
Figure S1 Calibration curve of lapatinib in rabbit plasma
Table S1 Nutrient formulation of TPF-T
	Nutrient
	Per 200ml

	Calories (kcal)
	260

	Protein (g)
	11.7

	Fat (g)
	14.4

	Carbohydrate (g)
	20.8

	Fiber (g)
	2.6

	Sodium (mg)
	160

	Potassium (mg)
	344

	Chlorine (mg)
	248

	Calcium (mg)
	100

	Phosphorus (mg)
	100

	Magnesium (mg)
	44

	Iron (mg)
	2.6

	Zinc (mg)
	2

	Copper (mg)
	0.26

	Manganese (mg)
	0.54

	Iodine (μg)
	26.6

	Fluorine (mg)
	0.26

	Chromium (μg)
	13.2

	Molybdenum (μg)
	20

	Selenium (μg)
	13.4

	Vitamin A (mg)
	0.4

	Vitamin D3 (μg)
	0.92

	Vitamin E (mg)
	5.4

	Vitamin K1 (μg)
	13.2

	Vitamin B1 (mg)
	0.26

	Vitamin B2 (mg)
	0.34

	Niacinamide (mg)
	2.4

	Vitamin B6 (mg)
	0.32

	Vitamin B12 (μg)
	0.52

	Pantothenic acid (mg)
	0.92

	Biotin (μg)
	26

	Folic acid (μg)
	26

	Vitamin C (mg)
	16

	Choline (μg)
	53.2


Table S2 Intra- and inter-day precision and accuracy of lapatinib in rabbit plasma

	Nominal concentration

(ng/mL)
	Intra-day (n = 5)
	Inter-day (n = 15)

	
	Mean ± SD

(ng/mL)
	Accuracy

(RE, %)
	Precision

(RSD, %)
	Mean ± SD

(ng/mL)
	Accuracy

(RE, %)
	Precision

(RSD, %)

	5
	5.27 ± 0.42
	5.46
	7.90
	5.05 ± 0.40
	0.92
	7.98

	10
	10.03 ± 0.21
	0.27
	2.04
	10.76 ± 0.64
	7.56
	5.95

	500
	482.53 ± 4.22
	–3.49
	0.87
	521.14 ± 29.63
	4.23
	5.68

	800
	783.22 ± 6.98
	–2.10
	0.89
	807.62 ± 24.12
	0.95
	2.99


Table S3 Extraction recovery and matrix effect of lapatinib in rabbit plasma

	Nominal concentration

(ng/mL)
	Extraction recovery (n = 5)
	Matrix effect (n = 6)

	
	Mean ± SD (%)
	RSD (%)
	Mean ± SD (%)
	RSD (%)

	10
	99.46 ± 1.93
	1.94
	88.32 ± 3.01
	3.45

	500
	100.11 ± 2.90
	2.90
	NE
	NE

	800
	103.40 ± 2.09
	2.02
	88.70 ± 1.03
	1.16


Abbreviation: NE, not evaluated.

Table S4 Stability (%) of lapatinib in rabbit plasma under different conditions

	Nominal concentration

(ng/mL)
	Short-Terma
	Long-Termb
	Freeze–thawc
	Post–Preparationd
	Autosamplere

	10
	124.03 ± 4.22
	97.20 ± 4.69
	100.37 ± 4.14
	113.77 ± 3.65
	108.86 ± 1.42

	800
	101.16 ± 0.42
	102.05 ± 0.57
	102.01 ± 1.86
	101.86 ± 1.06
	101.98 ± 0.46


Notes: aIce bath for 3 h; b–80 °C refrigerator for 14 days; cthree freeze–thaw cycles; dice bath for 3 h after sample preparation; eautosampler room (10 °C) for 4 h after sample preparation.

[image: image1.png]LCompound name: Lapatinib

Correlation coefficient: r = 0.999159, r*2 = 0.998319

Calibration curve: 1.02805 * x + 1.26591

Response type: Internal Std ( Ref 2 ), Area * (IS Conc. /IS Area )
Curve type: Linear, Origin: Exclude, Weighting: 1/x*2, Axis trans: None

x

1000 %
40 x
« 800
_ 20§ °
Ef 2 600
% 00 s
& ] x 8 00
204
200
40§ x
T T T o T 1 ng/mL. SO e T e ng/mb
0 200 400 600 800 1000 ) 200 400 600 800 1000




Figure S1 Calibration curve of lapatinib in rabbit plasma
