## Positive control design
Synthetic positive control design
GenBank acc: | U73162
Name | 5' position | 3' position | Sequence (5'3') | Length (bp)
Str positive control | 366 | 718 | TTTAGCATCAGAAAACTAAGTGCCGGTGCAGCATCAGTATTAGTTGCAACAAGTGTGTTGGGAGGGACAACTGTAAAAGCGAACTCTGAGGTTAGTCGTACGGCGACTCCAAGATTATCGCGTGATTTAAAAAATAGATTAAGCGATATAGCCATAAGTGGAGATGCCTCATCAGCCCAAAAAGTTCGAAATCTTCTAAAAGGCGCCTCTGTTGGGGATTTACAGGCATTATTGAGAGGTCTTGATTCAGCAAGGGCTGCGTATGGTAGAGATGATTATTACAATTTATTGATGCACCTTTCATCGATGTTAAATGATAAACCTGATGGGGATAGAAGACAATTAAGTTTGGC | 353

## Primer set selection
Primer set selection
Primer set 1
Primer | 5' pos | 3' pos | Sequence (5'-3') | Length (bp)
F3 | 376 | 395 | GAAAACTAAGTGCCGGTGCA | 20
B3 | 604 | 623 | AGCCCTTGCTGAATCAAGAC | 20
FIP |  |  | TCTTGGAGTCGCCGTACGACTAAAGTGTGTTGGGAGGGACAA | 42
F2 | 416 | 435 | AAGTGTGTTGGGAGGGACAA | 20
F1c | 458 | 479 | TCTTGGAGTCGCCGTACGACTA | 22
BIP |  |  | AAGTGGAGATGCCTCATCAGCCGCCTGTAAATCCCCAACAGA | 42
B2 | 573 | 592 | GCCTGTAAATCCCCAACAGA | 20
B1c | 521 | 542 | AAGTGGAGATGCCTCATCAGCC | 22
Primer set 2
Primer | 5' pos | 3' pos | Sequence (5'-3') | Length (bp)
F3 | 447 | 466 | AACTCTGAGGTTAGTCGTAC | 20
B3 | 622 | 641 | ATCATCTCTACCATACGCAG | 20
FIP |  |  | GGCATCTCCACTTATGGCTATATCCGACTCCAAGATTATCGCG | 43
F2 | 469 | 487 | CGACTCCAAGATTATCGCG | 19
F1c | 510 | 533 | GGCATCTCCACTTATGGCTATATC | 24
BIP |  |  | TCATCAGCCCAAAAAGTTCGAAAGCTGAATCAAGACCTCTCAA | 43
B2 | 597 | 616 | GCTGAATCAAGACCTCTCAA | 20
B1c | 534 | 556 | TCATCAGCCCAAAAAGTTCGAAA | 23
LB | 570 | 590 | GCCTCTGTTGGGGATTTACAG | 20
Primer set 3
Primer | 5' pos | 3' pos | Sequence (5'-3') | Length (bp)
F3 | 508 | 528 | GCGATATAGCCATAAGTGGAG | 21 | Primer set | Tp (mm:ss) (1 ng/µl) | Tp (mm:ss) 0.1 ng/µl)
B3 | 688 | 708 | ATTGTCTTCTATCCCCATCAG | 21 | Set 1 | 9:58 | 7:39
FIP |  |  | TGCCTGTAAATCCCCAACAGAGGGCCTCATCAGCCCAAAAAGTTC | 45 | Set 2 | 3:49 | 4:07
F2 | 532 | 552 | GCCTCATCAGCCCAAAAAGTTC | 22 | Set 3 | NO TIME RECORDED | 13:49
F1c | 571 | 593 | TGCCTGTAAATCCCCAACAGAGG | 23
BIP |  |  | AGAGGTCTTGATTCAGCAAGGGCACATCGATGAAAGGTGCATCA | 44
B2 | 655 | 675 | ACATCGATGAAAGGTGCATCA | 21
B1c | 600 | 622 | AGAGGTCTTGATTCAGCAAGGGC | 23

## Primer opt
Primer optimisation: Concentration
Primer | Concentration (µM) |  |  |  | Primer combination | Average Tp (mm:ss) | STDEV | STDEV (mm:ss) | Intra-CV (%)
| Concentration 1 | Concentration 2 | Concentration 3 |  | Combination 1 | 3:55 | 0.0086139 | 0:12 | 0.1406%
F3/B3 | 0.2 | 0.2 | 0.2 |  | Combination 2 | 6:17 | 0.0053039 | 0:08 | 0.139%
FIP/BIP | 0.8 | 1.6 | 0.8 |  | Combination 3 | 3:16 | 0.0088243 | 0:13 | 0.1199%
Loop B | 0.4 | 2 | 1
RT-LAMP results 1 |  |  |  |  | RT-LAMP results 2 |  |  |  |  | RT-LAMP results 3
Concentration | Tp (mm:ss) 1 | Tp (mm:ss) 2 | Tp (mm:ss) 3 |  | Concentration | Tp (mm:ss) 1 | Tp (mm:ss) 2 | Tp (mm:ss) 3 |  | Concentration | Tp (mm:ss) 1 | Tp (mm:ss) 2 | Tp (mm:ss) 3
1 | 3:53 | 3:53 | 3:51 |  | 1 | 4:01 | 4:09 | 4:00 |  | 1 | 3:58 | 4:05 | 3:26
2 | 6:09 | 6:24 | 6:19 |  | 3 | 3:21 | 3:33 | 3:26 |  | 3 | 3:03 | 3:04 | 3:07
Concentration 3 LOD
DNA concentration | Tp 1a | Tp 1b | Tp 1c | Mean
1 ng/µl | 0:05 | 0:05 | 0:05 | 0:05
1x10-1 ng/µl | 0:06 | 0:06 | 0:06 | 0:06
1x10-2 ng/µl | 0:08 | 0:09 | 0:09 | 0:09
1x10-3 ng/µl | 0:11 | 0:10 | 0:11 | 0:11
1x10-4 ng/µl | 0:12 | 0:14 | 0:12 | 0:13
1x10-5 ng/µl | 0:13 | 0:13 | 0:13 | 0:13
1x10-6 ng/µl | 0:15 | No amplification | No amplificaiton
1x10-7 ng/µl | No amplification | No amplification | No amplificaiton
1x10-8 ng/µl | No amplification | No amplification | No amplificaiton
1x10-9 ng/µl | No amplification | No amplification | No amplificaiton

## GuHCl opt
Guanidine hydrochloride (GuHCl) optimisation
Initial concentration screen
GuHCl concentration | Tp (mm:ss)
0 mM | 7:18
5 mM | 8:18
10 mM | 6:49
20 mM | 6:15
30 mM | 6:21
40 mM | 8:54
50 mM | 10:06
60 mM | 7:53
GuHCl concentration LOD challenge
Tp (mm:ss)
Sample concentration (ng/µl) | 0 mM GuHCl | 10 mM GuHCl | 20 mM GuHCl | 30 mM GuHCl
1x10-7 | 12:47 | 10:06 | 9:46 | 10:37
1x10-8 | 15:32 | 12:40 | 11:30 | 14:18
1x10-9 | 25:58 | 14:08 | 12:43 | 12:05

## LOD + CV- no GuHCl
LOD + CV - No GuHCl
CV Inter
[6 empty] | Mean tp | STD | STD (Time) | CV inter
[5 empty] | 1 ng/µl | 5:36 | 0.00067434 | 0:58 | 0.9398%
[5 empty] | 1x10-1 ng/µl | 6:52 | 0.00076515 | 1:06 | 1.311%
[5 empty] | 1x10-2 ng/µl | 8:15 | 0.00066933 | 0:58 | 1.385%
[5 empty] | 1x10-3 ng/µl | 10:16 | 0.001847 | 2:40 | 4.753% | 22.22%
[5 empty] | 1x10-4 ng/µl | 11:11 | 0.00016572 | 0:14 | 0.453% | 100%
[5 empty] | 1x10-5 ng/µl | 11:49 | 0.00065064 | 0:56 | 1.915%
[5 empty] | 1x10-6 ng/µl | 12:44 | 0.00049809 | 0:43 | 1.584% | 77.78%
[5 empty] | 1x10-7 ng/µl | 19:02 | 0.0033814 | 4:52 | 16.08%
[5 empty] | 1x10-8 ng/µl | 21:52 | 0.0022995 | 3:19 | 12.59%
Assay 1 |  |  |  |  | Assay 2 |  |  |  |  | Assay 2
| Tp 1a | Tp 1b | Tp 1c | Mean |  | Tp 2a | Tp 2b | Tp 2c | Mean |  | Tp 3a | Tp 3b | Tp 3c | Mean
1 ng/µl | 0:04 | 0:04 | 0:04 | 0:04 | 1 ng/µl | 0:06 | 0:06 | 0:06 | 0:06 | 1 ng/µl | 0:07 | 0:06 | 0:07 | 0:07
1x10-1 ng/µl | 0:05 | 0:06 | 0:06 | 0:05 | 1x10-1 ng/µl | 0:07 | 0:07 | 0:07 | 0:07 | 1x10-1 ng/µl | 0:08 | 0:08 | 0:08 | 0:08
1x10-2 ng/µl | 0:07 | 0:07 | 0:08 | 0:07 | 1x10-2 ng/µl | 0:08 | 0:08 | 0:08 | 0:08 | 1x10-2 ng/µl | 0:09 | 0:09 | 0:09 | 0:09
1x10-3 ng/µl | 0:08 | 0:17 | 0:09 | 0:11 | 1x10-3 ng/µl | 0:10 | 0:10 | 0:10 | 0:10 | 1x10-3 ng/µl | 0:11 | 0:09 | 0:09 | 0:10
1x10-4 ng/µl | 0:11 | 0:11 | 0:12 | 0:11 | 1x10-4 ng/µl | 0:11 | 0:11 | 0:11 | 0:11 | 1x10-4 ng/µl | 0:11 | 0:11 | 0:11 | 0:11
1x10-5 ng/µl | 0:13 | 0:13 | 0:13 | 0:13 | 1x10-5 ng/µl | 0:11 | 0:11 | 0:10 | 0:11 | 1x10-5 ng/µl | 0:12 | 0:12 | 0:12 | 0:12
1x10-6 ng/µl | 0:13 | 0:13 | 0:13 | 0:13 | 1x10-6 ng/µl | 0:12 | 0:12 | 0:12 | 0:12 | 1x10-6 ng/µl | 0:13 | 0:14 | 0:14 | 0:14
1x10-7 ng/µl | 0:17 | 0:15 | 0:15 | 0:16 | 1x10-7 ng/µl | 0:18 | 0:20 | 0:28 | 0:22 | 1x10-7 ng/µl | 0:16 | 0:16 | 0:26 | 0:19
1x10-8 ng/µl | 0:19 | 0:18 |  | 0:19 | 1x10-8 ng/µl | 0:22 |  |  | 0:22 | 1x10-8 ng/µl | 0:22 | 0:28 | 0:23 | 0:24

## LOD + CV- 20 mM GuHCl
LOD + CV - 20 mM GuHCl
CV Inter
[6 empty] | Mean tp | STD | STD (Time) | CV inter
[5 empty] | 1 ng/µl | 2:50 | 0.00065741 | 0:57 | 0.4673%
[5 empty] | 1x10-1 ng/µl | 3:48 | 0.00022469 | 0:19 | 0.2089%
[5 empty] | 1x10-2 ng/µl | 4:44 | 0.00041706 | 0:36 | 0.4931%
[5 empty] | 1x10-3 ng/µl | 6:17 | 0.00043515 | 0:38 | 0.6909%
[5 empty] | 1x10-4 ng/µl | 7:36 | 0.00051379 | 0:44 | 0.9676%
[5 empty] | 1x10-5 ng/µl | 8:17 | 7.6725e-05 | 0:07 | 0.1678%
[5 empty] | 1x10-6 ng/µl | 9:35 | 0.00013731 | 0:12 | 0.3328%
[5 empty] | 1x10-7 ng/µl | 10:58 | 0.00036131 | 0:31 | 0.9837%
[5 empty] | 1x10-8 ng/µl | 13:19 | 0.0011826 | 1:42 | 3.93%
[5 empty] | 1x10-9 ng/µl | INC | INC | INC | INC
Assay 1 |  |  |  |  | Assay 2 |  |  |  |  | Assay 2
| Tp 1a | Tp 1b | Tp 1c | Mean |  | Tp 2a | Tp 2b | Tp 2c | Mean |  | Tp 3a | Tp 3b | Tp 3c | Mean
1 ng/µl | 0:02 | 0:02 | 0:02 | 0:02 | 1 ng/µl | 0:02 | 0:02 | 0:03 | 0:02 | 1 ng/µl | 0:03 | 0:05 | 0:03 | 0:04
1x10-1 ng/µl | 0:03 | 0:04 | 0:04 | 0:03 | 1x10-1 ng/µl | 0:04 | 0:04 | 0:04 | 0:04 | 1x10-1 ng/µl | 0:04 | 0:04 | 0:04 | 0:04
1x10-2 ng/µl | 0:04 | 0:04 | 0:05 | 0:04 | 1x10-2 ng/µl | 0:05 | 0:05 | 0:05 | 0:05 | 1x10-2 ng/µl | 0:05 | 0:05 | 0:05 | 0:05
1x10-3 ng/µl | 0:06 | 0:06 | 0:06 | 0:06 | 1x10-3 ng/µl | 0:06 | 0:06 | 0:05 | 0:06 | 1x10-3 ng/µl | 0:07 | 0:07 | 0:07 | 0:07
1x10-4 ng/µl | 0:08 | 0:08 | 0:08 | 0:08 | 1x10-4 ng/µl | 0:07 | 0:07 | 0:06 | 0:07 | 1x10-4 ng/µl | 0:09 | 0:08 | 0:08 | 0:08
1x10-5 ng/µl | 0:08 | 0:08 | 0:08 | 0:08 | 1x10-5 ng/µl | 0:08 | 0:08 | 0:08 | 0:08 | 1x10-5 ng/µl | 0:08 | 0:08 | 0:09 | 0:08
1x10-6 ng/µl | 0:09 | 0:09 | 0:09 | 0:09 | 1x10-6 ng/µl | 0:10 | 0:10 | 0:10 | 0:10 | 1x10-6 ng/µl | 0:10 | 0:10 | 0:10 | 0:10
1x10-7 ng/µl | 0:10 | 0:11 | 0:11 | 0:10 | 1x10-7 ng/µl | 0:12 | 0:12 | 0:11 | 0:12 | 1x10-7 ng/µl | 0:11 | 0:11 | 0:11 | 0:11
1x10-8 ng/µl | 0:12 | 0:12 | 0:12 | 0:12 | 1x10-8 ng/µl | 0:16 | 0:16 | 0:13 | 0:15 | 1x10-8 ng/µl | 0:14 | 0:13 | 0:12 | 0:13
1x10-9 ng/µl | 0:13 | 0:16 | 0:15 | 0:15 | 1x10-9 ng/µl |  | 0:15 | 0:24 | 0:19 | 1x10-9 ng/µl | 0:13 |  | 0:14 | 0:14

## LOD comparison
Comparison of 0 mM GuHCl and 20 mM GuHCl LOD
| No GuHCl |  |  | 20 mM GuHCl |  |  | Comparison
DNA concentration (ng/µl) [copy no/µl] | Average Tp (mm:ss) | Average STD (mm:ss) | Inter-CV (%) | Average Tp (mm:ss) | Average STD (mm:ss) | Inter-CV (%) | Tp difference (mm:ss) | Tp difference (%) | Inter-CV difference (%)
1 ng/µl (5.3x10⁹) | 0:06 | 0:01 | 0.94% | 0:03 | 0:01 | 0.47% | -02:46 | 50.6% | -0.47%
1x10⁻¹ ng/µl (5.3x10⁸) | 0:07 | 0:01 | 1.31% | 0:04 | 0:00 | 0.21% | -03:04 | 55.34% | -1.1%
1x10⁻² ng/µl (5.3x10⁷) | 0:08 | 0:01 | 1.38% | 0:05 | 0:01 | 0.49% | -03:31 | 57.37% | -0.89%
1x10⁻³ ng/µl (5.3x10⁶) | 0:10 | 0:03 | 4.75% | 0:06 | 0:01 | 0.69% | -03:59 | 61.2% | -4.06%
1x10⁻⁴ ng/µl (5.3x105) | 0:11 | 0:00 | 0.45% | 0:08 | 0:01 | 0.97% | -03:35 | 67.96% | 0.52%
1x10⁻⁵ ng/µl (5.3x10⁴) | 0:12 | 0:01 | 1.91% | 0:08 | 0:00 | 0.17% | -03:32 | 70.1% | -1.74%
1x10⁻⁶ ng/µl (5.3x10³) | 0:13 | 0:01 | 1.58% | 0:10 | 0:00 | 0.33% | -03:09 | 75.26% | -1.25%
1x10⁻⁷ ng/µl (5.3x10²) | 0:19 | 0:05 | 16.08% | 0:11 | 0:01 | 0.98% | -08:04 | 57.62% | -15.1%
1x10⁻⁸ ng/µl (53) | 0:22 | 0:03 | 12.59% | 0:13 | 0:02 | 3.93% | -08:33 | 60.9% | -8.66%
Average decrease |  |  | 4.554% |  |  | 0.9156% | -04:30 | 61.82% | -3.639%
[7 empty] | 0:04 |  | 60.9% | 57.62%
±00:58
±00:57
±01:06
±00:19
±00:58
±00:36
±02:40
±00:38
±00:56
±00:07
±00:43
±00:12

## Clinical isolates PCR
Streptococcus equi subspecies equi clinical isolates PCR confirmation
Expected product size: 195

## Clinical isolates LAMP
Clinical isolates LAMP results
|  |  |  | Correct identification | 90.77% | Clinical specificity | 88.89% |  | Clinical sensitivity | 91.26%
SE = Streptococcus equi subspecies equi |  |  |  | Total correct identification | 118 | Total SZ correct identification | 24 |  | Total correct identification | 94
SZ = Streptococcus equi subspecies zooepidemicus |  |  |  | Total number of samples | 130 | Total SZ samples | 27 |  | Total number of samples | 103
NA = No amplification |  |  |  | Total number of isolates | 58 | Total SZ isolates | 11 |  | Total number of isolates | 47
Assay 1 | [8 empty] | Average Tp (mm:ss) | 0:13
Sample ID | Tp 1 (mm:ss) | Total correct ID | Total samples
SE1A | 0:14 | 10 | 12
SE1B | 0:14
SE1C | 0:14
SE2A | 0:14 | [7 empty] | 0.91262
SE2B | 0:26 | [6 empty] | 0.90769
SE2C | 0:22
SZ1A | NA
SZ1B | NA
SZ1C | NA
SZ2A | NA
SZ2B | NA
SZ2C | 0:25
Assay 2
Sample ID | Tp 1 (mm:ss) | Total correct ID | Total samples
SE3A | 0:10 | 9 | 9
SE3B | 0:10
SE3C | 0:10
SE4A | 0:11
SE4B | 0:12
SE4C | 0:12
SE5A | 0:11
SE5B | 0:11
SE5C | 0:11
+ve con 1 | 0:03
+ve con 2 | 0:03
Assay 3
Sample ID | Tp 1 (mm:ss) | Total correct ID | Total samples
SE6A | 0:14 | 13 | 13
SE6B | 0:16
SE7A | 0:14
SE7B | 0:14
SE8A | 0:13
SE8B | 0:13
SE9A | 0:14
SE9B | 0:13
SE10A | 0:10
SE10B | 0:10
SZ3A | NA
SZ3B | NA
SZ3C | NA
+ve con 1 | 0:04
+ve con 2 | 0:04
Assay 4
Sample ID | Tp 1 (mm:ss) | Total correct ID | Total samples
SE11A | 0:10 | 10 | 12
SE11B | 0:10
SE11C | 0:09
SZ4A | 0:18
SZ4B | NA
SZ4C | NA
SE12A | 0:09
SE12B | 0:09
SE12C | 0:10
SZ5A | 0:20
SZ5B | NA
SZ5C | NA
+ve con 1 | 0:04
+ve con 2 | 0:04
Assay 5
Sample ID | Tp 1 (mm:ss) | Total correct ID | Total samples
SE13A | 0:15 | 11 | 14
SE13B | 0:14
SE14A | 0:15
SE14B | NA
SE15A | 0:14
SE15B | 0:14
SE16A | 0:15
SE16B | 0:15
SE17A | 0:12
SE17B | NA
SE18A | 0:14
SE18B | 0:15
SZ6A | 0:16
SZ6B | NA
+ve con | 0:03
Assay 6
Sample ID | Tp 1 (mm:ss) | Total correct ID | Total samples
SE19A | NA | 12 | 14
SE19B | 0:29
SE20A | 0:13
SE20B | 0:14
SE21A | 0:14
SE21B | 0:15
SE22A | 0:19
SE22B | 0:19
SE23A | 0:15
SE23B | 0:19
SE24A | 0:13
SE24B | 0:12
SZ7A | NA
SZ7B | NA
+ve con | 0:03
Assay 7
Sample ID | Tp 1 (mm:ss) | Total correct ID | Total samples
SE25A | 0:11 | 14 | 14
SE25B | 0:11
SE26A | 0:13
SE26B | 0:13
SE27A | 0:12
SE27B | 0:12
SE28A | 0:12
SE28B | 0:12
SE29A | 0:13
SE29B | 0:13
SE30A | 0:12
SE30B | 0:12
SZ8A | NA
SZ8B | NA
+ve con | 0:03
Assay 8
Sample ID | Tp 1 (mm:ss) | Total correct ID | Total samples
SE31A | 0:14 | 13 | 14
SE31B | 0:14
SE32A | 0:16
SE32B | 0:15
SE33A | 0:13
SE33B | 0:12
SE34A | 0:21
SE34B | 0:15
SE35A | 0:15
SE35B | 0:16
SE36A | 0:13
SE36B | 0:19
SZ9A | NA
SZ9B | NA
+ve con | 0:03
Assay 9
Sample ID | Tp 1 (mm:ss) | Total correct ID | Total samples
SE37A | 0:11 | 13 | 14
SE37B | 0:11
SE38A | 0:14
SE38B | 0:14
SE39A | 0:13
SE39B | 0:13
SE40A | 0:20
SE40B | 0:18
SE41A | 0:19
SE41B | 0:16
SE42A | 0:14
SE42B | 0:13
SZ10A | 0:25
SZ10B | 0:22
+ve con | 0:03
Assay 10
Sample ID | Tp 1 (mm:ss) | Total correct ID | Total samples
SE42A | 0:11 | 13 | 14
SE42B | 0:12
SE43A | 0:13
SE43B | 0:13
SE44A | 0:13
SE44B | 0:14
SE45A | 0:13
SE45B | 0:13
SE46A | 0:20
SE46B | 0:23
SE47A | 0:13
SE47B | 0:13
SZ11A | NA
SZ11B | NA
+ve con | 0:03