Processing procedure

If frozen - how and how quickly? : By liquid nitrogen flash freezer

Sample

Sample storage conditions and duration：1 days at -80℃

Nucleic acid extraction

Nucleic acid quantification:

Instrument and method:We used NanoDrop 2000 to evaluate nucleic acid quantification

Purity (A260/A280): From 1.9 to 2.1

Reverse transcription

Complete reaction conditions

Amount of RNA and reaction volume

Priming oligonucleotide (if using GSP) and concentration

Reverse transcriptase and concentration

Step1. Genomic DNA removal

Prepare the following mixture in an RNase free centrifuge tube

| RNase-free ddH2O | to 16 μl |
| --- | --- |
| 4 × gDNA wiper Mix | 4 μl |
| Oligo (dT) 23 VN (50 μM) | 1 μl |
| Random hexamers (50 ng/μl) | 1 μl |
| Total RNA or Poly A+ RNA | 10 pg - 1 μg |

Step2. Prepare the first strand cDNA synthesis reaction solution

Prepare the following mixture in an RNase free centrifuge tube:

| Mix of Step1 |  |
| --- | --- |
| 10× RT Mix |  |
| HiScript II Enzyme Mix |  |

Temperature and time

| 50°C | 15min |
| --- | --- |
| 85°C | 2min |

Storage conditions of cDNA: At -20℃

qPCR TARGET INFORMATION

Location of amplicon

Amplicon length：107bp

qPCR oligonucleotides
Manufacturer of oligonucleotides：Sangon Biotech(Shanghai)Co.,Ltd

qPCR protocol

Manufacturer of plates/tubes and catalog number：LABSELECT	  MP-96-HS-0200 and LABSELECT SF-001-UC-25