## Raw Intensities
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Ag 107 (cps) | Y 89 (IS) (cps)
1 | wash |  | 8/27/2024 1:25:05 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\wash.847 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 131.6006 | 791154.7789
2 | wash |  | 8/27/2024 1:27:11 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\wash.848 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 83.4669 | 781695.1384
3 | wash |  | 8/27/2024 1:29:18 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\wash.849 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 77.2002 | 774717.5699
4 | Blank |  | 8/27/2024 1:31:28 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\Blank.850 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 72.6669 | 786811.27
5 | 50 |  | 8/27/2024 1:33:34 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\50.851 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 7316.9402 | 777629.2046
6 | 20 |  | 8/27/2024 1:35:41 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\20.852 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 19556.1766 | 773594.2186
7 | 5 |  | 8/27/2024 1:37:49 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\5.853 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 82396.9621 | 778295.7984
8 | 2 |  | 8/27/2024 1:39:55 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\2.854 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 217659.9618 | 779214.3435
9 | 1 |  | 8/27/2024 1:42:02 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\1.855 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 433210.466 | 780383.6752
10 | Calibration Curves |  | 8/27/2024 1:42:02 PM
11 | blank |  | 8/27/2024 1:44:09 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\blank.856 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 362.8046 | 774524.8548
12 | 0_10fold |  | 8/27/2024 1:46:57 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\0_10fold.857 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 221.2017 | 776577.2868
13 | 0_10fold |  | 8/27/2024 1:49:03 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\0_10fold.858 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 173.6011 | 775472.6561
14 | 2_10fold |  | 8/27/2024 1:51:10 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\2_10fold.859 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 788.4218 | 771228.4094
15 | 2_10fold |  | 8/27/2024 1:53:16 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\2_10fold.860 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 875.2268 | 775451.1727
16 | 4_10fold |  | 8/27/2024 1:55:22 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\4_10fold.861 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 1847.3195 | 766901.1398
17 | 4_10fold |  | 8/27/2024 1:57:29 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\4_10fold.862 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 1716.2365 | 770338.9772
18 | 20_10fold |  | 8/27/2024 1:59:35 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\20_10fold.863 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 7177.2694 | 765630.3964
19 | 20_10fold |  | 8/27/2024 2:01:40 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\20_10fold.864 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 8931.9918 | 778555.2574
20 | 40_10fold |  | 8/27/2024 2:03:46 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\40_10fold.865 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 14159.8145 | 779232.9145
21 | 40_10fold |  | 8/27/2024 2:05:52 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\40_10fold.866 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 14711.0383 | 775630.7844
22 | 100_10fold |  | 8/27/2024 2:07:58 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\100_10fold.867 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 34702.6349 | 770545.0062
23 | 100_10fold |  | 8/27/2024 2:10:03 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\100_10fold.868 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 34157.8584 | 769130.6866
24 | stock_100fold |  | 8/27/2024 2:12:10 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\stock_100fold.869 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 47721.5777 | 727251.3137

## Raw Intensities RSDs
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Ag 107 | Y 89 (IS)
1 | wash |  | 8/27/2024 1:25:05 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\wash.847 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 13.74% | 0.5297%
2 | wash |  | 8/27/2024 1:27:11 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\wash.848 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 7.197% | 0.4303%
3 | wash |  | 8/27/2024 1:29:18 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\wash.849 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 12.71% | 0.8694%
4 | Blank |  | 8/27/2024 1:31:28 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\Blank.850 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 11.03% | 0.8839%
5 | 50 |  | 8/27/2024 1:33:34 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\50.851 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 1.184% | 1.378%
6 | 20 |  | 8/27/2024 1:35:41 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\20.852 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.473% | 0.4467%
7 | 5 |  | 8/27/2024 1:37:49 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\5.853 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 1.063% | 0.5958%
8 | 2 |  | 8/27/2024 1:39:55 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\2.854 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.7682% | 0.4634%
9 | 1 |  | 8/27/2024 1:42:02 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\1.855 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.3905% | 0.2443%
11 | blank |  | 8/27/2024 1:44:09 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\blank.856 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 4.01% | 0.3852%
12 | 0_10fold |  | 8/27/2024 1:46:57 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\0_10fold.857 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 5.103% | 0.594%
13 | 0_10fold |  | 8/27/2024 1:49:03 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\0_10fold.858 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 5.828% | 0.2521%
14 | 2_10fold |  | 8/27/2024 1:51:10 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\2_10fold.859 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 4.822% | 0.2226%
15 | 2_10fold |  | 8/27/2024 1:53:16 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\2_10fold.860 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 3.786% | 0.7186%
16 | 4_10fold |  | 8/27/2024 1:55:22 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\4_10fold.861 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 1.811% | 0.432%
17 | 4_10fold |  | 8/27/2024 1:57:29 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\4_10fold.862 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 2.75% | 0.4836%
18 | 20_10fold |  | 8/27/2024 1:59:35 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\20_10fold.863 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 1.332% | 0.4094%
19 | 20_10fold |  | 8/27/2024 2:01:40 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\20_10fold.864 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 1.317% | 0.8878%
20 | 40_10fold |  | 8/27/2024 2:03:46 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\40_10fold.865 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.8929% | 0.3583%
21 | 40_10fold |  | 8/27/2024 2:05:52 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\40_10fold.866 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 1.319% | 0.3982%
22 | 100_10fold |  | 8/27/2024 2:07:58 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\100_10fold.867 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.963% | 0.3984%
23 | 100_10fold |  | 8/27/2024 2:10:03 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\100_10fold.868 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 1.099% | 0.3904%
24 | stock_100fold |  | 8/27/2024 2:12:10 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\stock_100fold.869 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.7287% | 0.5581%

## Net Intensities
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Ag 107 (cps) | Y 89 (IS) (cps)
1 | wash |  | 8/27/2024 1:25:05 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\wash.847 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.00016627 | 791154.7789
2 | wash |  | 8/27/2024 1:27:11 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\wash.848 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.00010677 | 781695.1384
3 | wash |  | 8/27/2024 1:29:18 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\wash.849 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 9.9708e-05 | 774717.5699
4 | Blank |  | 8/27/2024 1:31:28 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\Blank.850 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 9.2345e-05 | 786811.27
5 | 50 |  | 8/27/2024 1:33:34 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\50.851 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.0093172 | 777629.2046
6 | 20 |  | 8/27/2024 1:35:41 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\20.852 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.025188 | 773594.2186
7 | 5 |  | 8/27/2024 1:37:49 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\5.853 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.10578 | 778295.7984
8 | 2 |  | 8/27/2024 1:39:55 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\2.854 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.27924 | 779214.3435
9 | 1 |  | 8/27/2024 1:42:02 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\1.855 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.55504 | 780383.6752
10 | Calibration Curves |  | 8/27/2024 1:42:02 PM
11 | blank |  | 8/27/2024 1:44:09 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\blank.856 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.00037605 | 774524.8548
12 | 0_10fold |  | 8/27/2024 1:46:57 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\0_10fold.857 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.00019246 | 776577.2868
13 | 0_10fold |  | 8/27/2024 1:49:03 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\0_10fold.858 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.00013152 | 775472.6561
14 | 2_10fold |  | 8/27/2024 1:51:10 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\2_10fold.859 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.00092985 | 771228.4094
15 | 2_10fold |  | 8/27/2024 1:53:16 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\2_10fold.860 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.0010361 | 775451.1727
16 | 4_10fold |  | 8/27/2024 1:55:22 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\4_10fold.861 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.0023164 | 766901.1398
17 | 4_10fold |  | 8/27/2024 1:57:29 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\4_10fold.862 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.0021355 | 770338.9772
18 | 20_10fold |  | 8/27/2024 1:59:35 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\20_10fold.863 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.0092821 | 765630.3964
19 | 20_10fold |  | 8/27/2024 2:01:40 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\20_10fold.864 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.011381 | 778555.2574
20 | 40_10fold |  | 8/27/2024 2:03:46 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\40_10fold.865 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.018079 | 779232.9145
21 | 40_10fold |  | 8/27/2024 2:05:52 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\40_10fold.866 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.018874 | 775630.7844
22 | 100_10fold |  | 8/27/2024 2:07:58 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\100_10fold.867 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.044944 | 770545.0062
23 | 100_10fold |  | 8/27/2024 2:10:03 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\100_10fold.868 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.044319 | 769130.6866
24 | stock_100fold |  | 8/27/2024 2:12:10 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\stock_100fold.869 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.065528 | 727251.3137

## Net Intensities RSDs
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Ag 107 | Y 89 (IS)
1 | wash |  | 8/27/2024 1:25:05 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\wash.847 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 13.35% | 0.5297%
2 | wash |  | 8/27/2024 1:27:11 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\wash.848 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 7.048% | 0.4303%
3 | wash |  | 8/27/2024 1:29:18 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\wash.849 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 13.31% | 0.8694%
4 | Blank |  | 8/27/2024 1:31:28 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\Blank.850 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 10.95% | 0.8839%
5 | 50 |  | 8/27/2024 1:33:34 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\50.851 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.5125% | 1.378%
6 | 20 |  | 8/27/2024 1:35:41 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\20.852 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.7775% | 0.4467%
7 | 5 |  | 8/27/2024 1:37:49 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\5.853 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 1.252% | 0.5958%
8 | 2 |  | 8/27/2024 1:39:55 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\2.854 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.771% | 0.4634%
9 | 1 |  | 8/27/2024 1:42:02 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\1.855 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.6003% | 0.2443%
11 | blank |  | 8/27/2024 1:44:09 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\blank.856 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 4.866% | 0.3852%
12 | 0_10fold |  | 8/27/2024 1:46:57 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\0_10fold.857 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 7.112% | 0.594%
13 | 0_10fold |  | 8/27/2024 1:49:03 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\0_10fold.858 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 10.03% | 0.2521%
14 | 2_10fold |  | 8/27/2024 1:51:10 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\2_10fold.859 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 5.058% | 0.2226%
15 | 2_10fold |  | 8/27/2024 1:53:16 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\2_10fold.860 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 3.488% | 0.7186%
16 | 4_10fold |  | 8/27/2024 1:55:22 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\4_10fold.861 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 1.616% | 0.432%
17 | 4_10fold |  | 8/27/2024 1:57:29 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\4_10fold.862 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 2.775% | 0.4836%
18 | 20_10fold |  | 8/27/2024 1:59:35 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\20_10fold.863 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 1.397% | 0.4094%
19 | 20_10fold |  | 8/27/2024 2:01:40 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\20_10fold.864 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 1.57% | 0.8878%
20 | 40_10fold |  | 8/27/2024 2:03:46 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\40_10fold.865 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.7193% | 0.3583%
21 | 40_10fold |  | 8/27/2024 2:05:52 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\40_10fold.866 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 1.015% | 0.3982%
22 | 100_10fold |  | 8/27/2024 2:07:58 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\100_10fold.867 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.7676% | 0.3984%
23 | 100_10fold |  | 8/27/2024 2:10:03 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\100_10fold.868 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 1.106% | 0.3904%
24 | stock_100fold |  | 8/27/2024 2:12:10 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\stock_100fold.869 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.8451% | 0.5581%

## Concentrations
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Ag 107 (ppb) | Y 89 (IS)
1 | wash |  | 8/27/2024 1:25:05 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\wash.847 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth
2 | wash |  | 8/27/2024 1:27:11 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\wash.848 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth
3 | wash |  | 8/27/2024 1:29:18 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\wash.849 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth
4 | Blank |  | 8/27/2024 1:31:28 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\Blank.850 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth |  | 100%
5 | 50 |  | 8/27/2024 1:33:34 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\50.851 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.2 | 98.83%
6 | 20 |  | 8/27/2024 1:35:41 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\20.852 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.50524 | 98.32%
7 | 5 |  | 8/27/2024 1:37:49 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\5.853 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 2.0078 | 98.92%
8 | 2 |  | 8/27/2024 1:39:55 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\2.854 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 5.0418 | 99.03%
9 | 1 |  | 8/27/2024 1:42:02 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\1.855 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 10.0048 | 99.18%
10 | Calibration Curves |  | 8/27/2024 1:42:02 PM
11 | blank |  | 8/27/2024 1:44:09 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\blank.856 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.0067786 | 98.44%
12 | 0_10fold |  | 8/27/2024 1:46:57 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\0_10fold.857 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.0034691 | 98.7% | 0.0029199 | blank
13 | 0_10fold |  | 8/27/2024 1:49:03 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\0_10fold.858 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.0023706 | 98.56%
14 | 2_10fold |  | 8/27/2024 1:51:10 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\2_10fold.859 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.016761 | 98.02% | 0.017719
15 | 2_10fold |  | 8/27/2024 1:53:16 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\2_10fold.860 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.018677 | 98.56%
16 | 4_10fold |  | 8/27/2024 1:55:22 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\4_10fold.861 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.041754 | 97.47% | 0.040124
17 | 4_10fold |  | 8/27/2024 1:57:29 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\4_10fold.862 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.038494 | 97.91%
18 | 20_10fold |  | 8/27/2024 1:59:35 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\20_10fold.863 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.16731 | 97.31% | 0.18623
19 | 20_10fold |  | 8/27/2024 2:01:40 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\20_10fold.864 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.20515 | 98.95%
20 | 40_10fold |  | 8/27/2024 2:03:46 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\40_10fold.865 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.32588 | 99.04% | 0.33305
21 | 40_10fold |  | 8/27/2024 2:05:52 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\40_10fold.866 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.34021 | 98.58%
22 | 100_10fold |  | 8/27/2024 2:07:58 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\100_10fold.867 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.81013 | 97.93% | 0.8045
23 | 100_10fold |  | 8/27/2024 2:10:03 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\100_10fold.868 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.79887 | 97.75%
24 | stock_100fold |  | 8/27/2024 2:12:10 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\stock_100fold.869 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 1.1812 | 92.43%
|  |  | stock mg/ml | ppm | ppb | 10 fold diluted stock
|  |  | 0.02 | 20 | 20000 | 2000
|  |  | expected | diluted | sample volume ml | added digestion | dilution through digestion | total dilution factor | measured concetration | adjusted per dilution | yield extraction
|  |  | 100ppb | 100 | 0.4 | 0.75 | 2.875 | 28.75 | 0.8045 | 23.1295 | 23.1295
|  |  | 40ppb | 40 | 0.4 | 0.75 | 2.875 | 28.75 | 0.33305 | 9.5751 | 23.9377
|  |  | 20ppb | 20 | 0.4 | 0.75 | 2.875 | 28.75 | 0.18623 | 5.3541 | 26.7705
|  |  | 4ppb | 4 | 0.4 | 0.75 | 2.875 | 28.75 | 0.040124 | 1.1536 | 28.8391
|  |  | 2ppb | 2 | 0.4 | 0.75 | 2.875 | 28.75 | 0.017719 | 0.50942 | 25.4711
|  |  | diluted stock | concentration ppb
|  |  | 2000ppb | 2000 | 0.334 | 0.75 | 3.2455 | 324.5509 | 1.181 | 383.2946 | 19.1647

## Concentrations RSDs
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Ag 107 | Y 89 (IS)
1 | wash |  | 8/27/2024 1:25:05 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\wash.847 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth
2 | wash |  | 8/27/2024 1:27:11 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\wash.848 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth
3 | wash |  | 8/27/2024 1:29:18 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\wash.849 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth
4 | Blank |  | 8/27/2024 1:31:28 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\Blank.850 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth |  | 0.8839%
5 | 50 |  | 8/27/2024 1:33:34 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\50.851 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.5125% | 1.378%
6 | 20 |  | 8/27/2024 1:35:41 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\20.852 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.7775% | 0.4467%
7 | 5 |  | 8/27/2024 1:37:49 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\5.853 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 1.252% | 0.5958%
8 | 2 |  | 8/27/2024 1:39:55 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\2.854 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.771% | 0.4634%
9 | 1 |  | 8/27/2024 1:42:02 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\1.855 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.6003% | 0.2443%
11 | blank |  | 8/27/2024 1:44:09 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\blank.856 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 4.866% | 0.3852%
12 | 0_10fold |  | 8/27/2024 1:46:57 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\0_10fold.857 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 7.112% | 0.594%
13 | 0_10fold |  | 8/27/2024 1:49:03 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\0_10fold.858 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 10.03% | 0.2521%
14 | 2_10fold |  | 8/27/2024 1:51:10 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\2_10fold.859 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 5.058% | 0.2226%
15 | 2_10fold |  | 8/27/2024 1:53:16 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\2_10fold.860 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 3.488% | 0.7186%
16 | 4_10fold |  | 8/27/2024 1:55:22 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\4_10fold.861 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 1.616% | 0.432%
17 | 4_10fold |  | 8/27/2024 1:57:29 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\4_10fold.862 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 2.775% | 0.4836%
18 | 20_10fold |  | 8/27/2024 1:59:35 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\20_10fold.863 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 1.397% | 0.4094%
19 | 20_10fold |  | 8/27/2024 2:01:40 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\20_10fold.864 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 1.57% | 0.8878%
20 | 40_10fold |  | 8/27/2024 2:03:46 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\40_10fold.865 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.7193% | 0.3583%
21 | 40_10fold |  | 8/27/2024 2:05:52 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\40_10fold.866 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 1.015% | 0.3982%
22 | 100_10fold |  | 8/27/2024 2:07:58 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\100_10fold.867 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.7676% | 0.3984%
23 | 100_10fold |  | 8/27/2024 2:10:03 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\100_10fold.868 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 1.106% | 0.3904%
24 | stock_100fold |  | 8/27/2024 2:12:10 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\stock_100fold.869 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.8451% | 0.5581%

## Unfactored Concentrations
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Ag 107 (ppb) | Y 89 (IS)
1 | wash |  | 8/27/2024 1:25:05 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\wash.847 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth
2 | wash |  | 8/27/2024 1:27:11 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\wash.848 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth
3 | wash |  | 8/27/2024 1:29:18 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\wash.849 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth
4 | Blank |  | 8/27/2024 1:31:28 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\Blank.850 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth
5 | 50 |  | 8/27/2024 1:33:34 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\50.851 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.2
6 | 20 |  | 8/27/2024 1:35:41 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\20.852 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.50524
7 | 5 |  | 8/27/2024 1:37:49 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\5.853 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 2.0078
8 | 2 |  | 8/27/2024 1:39:55 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\2.854 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 5.0418
9 | 1 |  | 8/27/2024 1:42:02 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\1.855 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 10.0048
10 | Calibration Curves |  | 8/27/2024 1:42:02 PM
11 | blank |  | 8/27/2024 1:44:09 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\blank.856 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.0067786
12 | 0_10fold |  | 8/27/2024 1:46:57 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\0_10fold.857 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.0034691
13 | 0_10fold |  | 8/27/2024 1:49:03 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\0_10fold.858 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.0023706
14 | 2_10fold |  | 8/27/2024 1:51:10 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\2_10fold.859 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.016761
15 | 2_10fold |  | 8/27/2024 1:53:16 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\2_10fold.860 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.018677
16 | 4_10fold |  | 8/27/2024 1:55:22 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\4_10fold.861 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.041754
17 | 4_10fold |  | 8/27/2024 1:57:29 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\4_10fold.862 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.038494
18 | 20_10fold |  | 8/27/2024 1:59:35 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\20_10fold.863 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.16731
19 | 20_10fold |  | 8/27/2024 2:01:40 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\20_10fold.864 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.20515
20 | 40_10fold |  | 8/27/2024 2:03:46 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\40_10fold.865 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.32588
21 | 40_10fold |  | 8/27/2024 2:05:52 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\40_10fold.866 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.34021
22 | 100_10fold |  | 8/27/2024 2:07:58 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\100_10fold.867 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.81013
23 | 100_10fold |  | 8/27/2024 2:10:03 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\100_10fold.868 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 0.79887
24 | stock_100fold |  | 8/27/2024 2:12:10 PM |  | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\April2024\stock_100fold.869 | C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\ag10.mth | 1.1812

## Internal Standards
Row Index Number | Y 89
1
2
3
4 | 100%
5 | 98.83%
6 | 98.32%
7 | 98.92%
8 | 99.03%
9 | 99.18%
11 | 98.44%
12 | 98.7%
13 | 98.56%
14 | 98.02%
15 | 98.56%
16 | 97.47%
17 | 97.91%
18 | 97.31%
19 | 98.95%
20 | 99.04%
21 | 98.58%
22 | 97.93%
23 | 97.75%
24 | 92.43%