Appendix 2  Specifics about sample preparation for capillary electrophoresis

| Reagent | Volume (μL) |
| --- | --- |
| Fluorescent PCR product | 1.0 |
| GeneScan™500 LIZ | 0.5 |
| Hi-Di™ Formamide | 8.5 |
| Total | 10.0 |

- The system and procedure of M13 linker method

# System:

# Mix                  5 µl

# PrimerF(10 pm)       0.1 µl

# PrimerR(10 pm)       0.4 µl

# PrimerM13(10 pm)       0.4 µl

# ddH2O                Add until 9 µl

# DNA template         1 µl

# Procedure:

# Initial denaturation at 96 ℃ for 5 min   → (denaturation at 96 ℃ for 30 sec → anneal at 62-52℃ for 30 sec → extension at 72℃ for 30 sec）X 10 cycles→(denaturation at 96 ℃ for 30 sec → anneal at 52℃ for 30 sec → extension at 72℃ for 30 sec)X 20cycles → 72℃20min  → 4℃ forever.

Note: For annealing at 62-52°C, start from 62°C and temperature drops by 1℃ in every subsequent cycle until reaching 52°C.