## Fluorescence Spectrum
Detection Results
New Program.skax
2022/5/7 15:28:52
Fluorescence Spectrum 1
Em 520-620 nm，Ex 488 nm
Plate 1
| 1um+ | 1um+ | 1um+ | 1um- | 200nm+ | 200nm+ | 200nm+ | 200nm- | 10nm+ | 10nm+ | 10nm+ | 10nm-
Wavelength | Blank1 (A05) | Blank1 (A06) | Blank1 (A07) | Blank1 (A08) | Blank1 (B05) | Blank1 (B06) | Blank1 (B07) | Blank1 (B08) | Blank1 (C05) | Blank1 (C06) | Blank1 (C07) | Blank1 (C08)
520 | 0.2802 | 0.2394 | 0.2379 | 0.2194 | 0.1791 | 0.1282 | 0.1154 | 0.1443 | 0.1234 | 0.1654 | 0.153 | 0.1201
521 | 0.2416 | 0.2408 | 0.2641 | 0.195 | 0.16 | 0.1153 | 0.1458 | 0.1352 | 0.09669 | 0.1391 | 0.1623 | 0.1451
522 | 0.2145 | 0.2618 | 0.2667 | 0.267 | 0.1385 | 0.1453 | 0.1758 | 0.08758 | 0.1851 | 0.13 | 0.1795 | 0.1687
523 | 0.3234 | 0.2683 | 0.3023 | 0.2641 | 0.1801 | 0.1728 | 0.1542 | 0.1573 | 0.1507 | 0.1783 | 0.1422 | 0.1036
524 | 0.2608 | 0.2578 | 0.2771 | 0.2638 | 0.1663 | 0.145 | 0.1788 | 0.1153 | 0.1581 | 0.1759 | 0.1735 | 0.1455
525 | 0.3551 | 0.2268 | 0.2828 | 0.2754 | 0.1564 | 0.1415 | 0.1746 | 0.2034 | 0.1497 | 0.1915 | 0.1836 | 0.1428
526 | 0.2739 | 0.2517 | 0.2914 | 0.3272 | 0.1965 | 0.1676 | 0.1876 | 0.1156 | 0.1816 | 0.1722 | 0.242 | 0.1744
527 | 0.3243 | 0.342 | 0.2637 | 0.3313 | 0.2285 | 0.1541 | 0.1754 | 0.169 | 0.1989 | 0.1668 | 0.1844 | 0.1898
528 | 0.4266 | 0.3242 | 0.2944 | 0.277 | 0.22 | 0.189 | 0.171 | 0.1757 | 0.2418 | 0.2132 | 0.2719 | 0.187
529 | 0.4511 | 0.4093 | 0.4237 | 0.3139 | 0.175 | 0.1594 | 0.255 | 0.1576 | 0.2285 | 0.313 | 0.2278 | 0.2059
530 | 0.3115 | 0.3521 | 0.358 | 0.3649 | 0.2518 | 0.1521 | 0.173 | 0.1581 | 0.271 | 0.242 | 0.303 | 0.163
531 | 0.3678 | 0.3377 | 0.3297 | 0.2723 | 0.199 | 0.1955 | 0.1626 | 0.2206 | 0.2401 | 0.2645 | 0.2985 | 0.2037
532 | 0.5001 | 0.3542 | 0.3677 | 0.3384 | 0.242 | 0.2476 | 0.2024 | 0.2154 | 0.2439 | 0.2469 | 0.2787 | 0.2812
533 | 0.3836 | 0.3855 | 0.3547 | 0.3659 | 0.3023 | 0.2234 | 0.2066 | 0.2104 | 0.2474 | 0.2485 | 0.3728 | 0.1616
534 | 0.4946 | 0.4737 | 0.2557 | 0.2811 | 0.3014 | 0.2245 | 0.1422 | 0.1697 | 0.3189 | 0.3171 | 0.423 | 0.1749
535 | 0.5313 | 0.4617 | 0.4292 | 0.3301 | 0.3945 | 0.2286 | 0.1875 | 0.1624 | 0.3707 | 0.4148 | 0.4665 | 0.1998
536 | 0.5926 | 0.4796 | 0.419 | 0.3714 | 0.4185 | 0.2883 | 0.2039 | 0.1655 | 0.4697 | 0.4169 | 0.4509 | 0.1891
537 | 0.6084 | 0.4421 | 0.3805 | 0.2806 | 0.4471 | 0.2772 | 0.2524 | 0.121 | 0.3728 | 0.4906 | 0.5614 | 0.2101
538 | 0.6861 | 0.4627 | 0.3975 | 0.3099 | 0.6082 | 0.2811 | 0.2481 | 0.1566 | 0.4394 | 0.6109 | 0.6597 | 0.2163
539 | 0.688 | 0.604 | 0.536 | 0.3203 | 0.6213 | 0.3906 | 0.213 | 0.1572 | 0.5964 | 0.7047 | 0.7831 | 0.1976
540 | 0.9442 | 0.6341 | 0.5953 | 0.3577 | 0.6909 | 0.3718 | 0.2839 | 0.177 | 0.7773 | 0.697 | 0.9716 | 0.1627
541 | 0.9709 | 0.6098 | 0.5558 | 0.3602 | 0.83 | 0.4803 | 0.2706 | 0.145 | 0.917 | 0.9151 | 1.117 | 0.1829
542 | 1.122 | 0.7592 | 0.6675 | 0.3105 | 1.043 | 0.5407 | 0.3447 | 0.1852 | 0.9863 | 1.262 | 1.549 | 0.2051
543 | 1.431 | 0.8738 | 0.7376 | 0.2994 | 1.199 | 0.7071 | 0.3827 | 0.1266 | 1.443 | 1.435 | 1.473 | 0.17
544 | 1.719 | 1.044 | 0.7565 | 0.3472 | 1.297 | 0.7471 | 0.4316 | 0.1544 | 1.426 | 1.581 | 2.004 | 0.2308
545 | 2.027 | 1.116 | 0.9727 | 0.3132 | 1.689 | 0.7602 | 0.4692 | 0.1906 | 1.746 | 2.002 | 2.121 | 0.228
546 | 2.491 | 1.415 | 1.078 | 0.351 | 1.995 | 1.055 | 0.6283 | 0.1623 | 2.035 | 2.212 | 2.81 | 0.1729
547 | 2.753 | 1.498 | 1.198 | 0.3865 | 2.321 | 1.152 | 0.6266 | 0.1436 | 2.578 | 2.804 | 3.155 | 0.3411
548 | 3.166 | 1.622 | 1.393 | 0.3547 | 2.961 | 1.332 | 0.91 | 0.1308 | 3.063 | 3.189 | 4.005 | 0.2769
549 | 3.789 | 2.375 | 1.548 | 0.3908 | 3.354 | 1.552 | 0.9064 | 0.1566 | 3.509 | 3.781 | 4.379 | 0.3075
550 | 4.147 | 2.445 | 1.828 | 0.4648 | 3.914 | 1.593 | 1.069 | 0.2283 | 4.062 | 4.377 | 5.422 | 0.2964
551 | 4.62 | 2.537 | 1.962 | 0.5046 | 4.392 | 2.02 | 1.084 | 0.1952 | 4.687 | 5.029 | 5.976 | 0.3493
552 | 5.729 | 3.202 | 2.469 | 0.5119 | 5.506 | 2.358 | 1.361 | 0.2394 | 5.807 | 5.697 | 7.421 | 0.44
553 | 6.153 | 3.449 | 2.566 | 0.4484 | 5.954 | 2.654 | 1.555 | 0.2414 | 6.08 | 6.785 | 8.224 | 0.4784
554 | 6.988 | 3.755 | 3.103 | 0.4894 | 7.009 | 3.083 | 1.709 | 0.1757 | 7.231 | 7.252 | 9.608 | 0.5311
555 | 7.775 | 4.715 | 3.468 | 0.5272 | 8.097 | 3.33 | 2.008 | 0.2224 | 8.433 | 9.072 | 10.69 | 0.5578
556 | 8.984 | 5.016 | 3.728 | 0.4764 | 9.176 | 3.911 | 2.042 | 0.23 | 9.1 | 9.633 | 12.19 | 0.6287
557 | 9.82 | 5.093 | 4.47 | 0.5419 | 9.643 | 4.166 | 2.298 | 0.2094 | 10.28 | 10.48 | 13 | 0.7003
558 | 10.89 | 5.884 | 4.719 | 0.5043 | 11.11 | 4.809 | 2.487 | 0.3212 | 10.87 | 12.11 | 14.87 | 0.6595
559 | 11.77 | 6.218 | 5.144 | 0.5716 | 11.72 | 4.848 | 2.813 | 0.3522 | 12.38 | 13.65 | 15.98 | 0.8556
560 | 12.85 | 7.278 | 5.389 | 0.723 | 12.78 | 5.646 | 3.279 | 0.2872 | 12.86 | 14.47 | 16.86 | 0.7821
561 | 14.15 | 7.302 | 5.559 | 0.6186 | 13.76 | 5.587 | 3.464 | 0.2811 | 14.53 | 15.19 | 18.54 | 0.8558
562 | 15.01 | 8.039 | 5.918 | 0.6729 | 14.64 | 6.141 | 3.425 | 0.3077 | 15.16 | 16.05 | 20.19 | 0.8615
563 | 15.46 | 8.66 | 6.312 | 0.6493 | 15.45 | 6.759 | 3.804 | 0.2797 | 15.67 | 17.42 | 20.94 | 1.04
564 | 16.16 | 8.632 | 6.723 | 0.6905 | 16.72 | 6.833 | 3.995 | 0.3052 | 16.94 | 18.8 | 22.67 | 1.011
565 | 17.55 | 8.902 | 7.019 | 0.7384 | 17.65 | 7.505 | 3.986 | 0.418 | 17.26 | 19.34 | 23.34 | 1.071
566 | 17.96 | 9.502 | 7.327 | 0.753 | 17.92 | 7.518 | 4.312 | 0.3866 | 18.28 | 19.31 | 24.38 | 1.055
567 | 18.45 | 10.27 | 7.284 | 0.8197 | 18.6 | 7.707 | 4.385 | 0.4504 | 18.85 | 20.68 | 24.4 | 1.138
568 | 18.93 | 10.16 | 7.88 | 0.7184 | 19.44 | 7.619 | 4.641 | 0.4627 | 19.46 | 21.19 | 25.19 | 1.189
569 | 19.51 | 9.921 | 7.86 | 0.8406 | 19.39 | 8.042 | 4.64 | 0.4681 | 19.58 | 21.04 | 26.47 | 1.238
570 | 19.2 | 10.47 | 7.958 | 0.7862 | 19.77 | 7.928 | 4.673 | 0.4637 | 20.31 | 22.02 | 26.24 | 1.16
571 | 18.98 | 9.995 | 7.941 | 0.8714 | 19.74 | 8.173 | 4.484 | 0.3716 | 19.72 | 21.86 | 26.44 | 1.243
572 | 19.53 | 10.24 | 7.861 | 0.6542 | 19.33 | 7.902 | 4.714 | 0.4299 | 19.27 | 21.52 | 26.06 | 1.155
573 | 19.19 | 9.67 | 7.913 | 0.8374 | 19.44 | 8.365 | 4.682 | 0.4522 | 20.03 | 21.92 | 25.91 | 1.234
574 | 18.93 | 10.05 | 7.529 | 0.6641 | 18.99 | 8.041 | 4.615 | 0.35 | 19.46 | 21.37 | 24.87 | 1.134
575 | 18.25 | 9.758 | 7.932 | 0.676 | 19.02 | 8.226 | 4.225 | 0.4224 | 18.91 | 21.15 | 24.82 | 1.207
576 | 17.81 | 10.11 | 7.471 | 0.8807 | 18.45 | 7.67 | 4.534 | 0.3345 | 18.66 | 20.32 | 25.14 | 1.188
577 | 17.18 | 9.519 | 7.228 | 0.7932 | 17.85 | 7.505 | 4.307 | 0.4545 | 17.92 | 19.32 | 23.63 | 1.049
578 | 17.6 | 8.818 | 6.974 | 0.6451 | 17.68 | 7.441 | 4.143 | 0.425 | 17.85 | 18.7 | 22.47 | 1.199
579 | 16.25 | 8.772 | 6.721 | 0.7084 | 17.2 | 7.289 | 3.81 | 0.4803 | 16.38 | 18.44 | 22.28 | 1.318
580 | 15.97 | 8.699 | 6.826 | 0.7369 | 16.88 | 6.891 | 3.576 | 0.3656 | 16.46 | 17.77 | 21.38 | 1.185
581 | 15.27 | 7.836 | 6.262 | 0.7643 | 15.42 | 6.372 | 3.638 | 0.4233 | 15.51 | 16.96 | 20.42 | 1.051
582 | 14.55 | 7.812 | 6.157 | 0.732 | 15.24 | 6.467 | 3.494 | 0.397 | 15.12 | 15.96 | 19.76 | 0.968
583 | 13.71 | 7.853 | 6.17 | 0.6623 | 14.6 | 6.078 | 3.601 | 0.3435 | 14.14 | 15.8 | 18.7 | 0.9796
584 | 13.65 | 7.711 | 5.275 | 0.6836 | 13.76 | 5.925 | 3.35 | 0.3881 | 14.02 | 15.07 | 18.06 | 1.004
585 | 13.25 | 7.018 | 5.412 | 0.7321 | 13.05 | 5.51 | 3.111 | 0.3788 | 12.79 | 14.31 | 17.3 | 0.9739
586 | 11.9 | 6.685 | 5.171 | 0.8923 | 12.8 | 5.227 | 2.921 | 0.2608 | 12.57 | 13.48 | 16.61 | 0.8841
587 | 11.64 | 6.292 | 5.12 | 0.4741 | 12.06 | 4.956 | 2.943 | 0.3384 | 11.93 | 12.88 | 15.85 | 0.7834
588 | 10.71 | 6.236 | 4.52 | 0.6857 | 11.93 | 4.592 | 3.028 | 0.3624 | 11.6 | 12.39 | 14.9 | 0.7242
589 | 10.67 | 6.183 | 4.651 | 0.6093 | 11.23 | 4.51 | 2.416 | 0.2668 | 11.17 | 12.05 | 14.13 | 0.8765
590 | 9.833 | 5.661 | 4.276 | 0.5898 | 10.4 | 4.517 | 2.685 | 0.2824 | 10.54 | 11.08 | 13.36 | 0.6639
591 | 9.32 | 5.33 | 4.046 | 0.527 | 9.315 | 4.073 | 2.227 | 0.289 | 10.24 | 10.39 | 13 | 0.6739
592 | 9.183 | 5.065 | 3.684 | 0.5129 | 9.463 | 3.731 | 2.252 | 0.3075 | 9.632 | 10.3 | 12.56 | 0.7388
593 | 8.833 | 4.946 | 3.579 | 0.4948 | 9.313 | 3.762 | 2.096 | 0.2455 | 8.835 | 9.4 | 11.96 | 0.6854
594 | 8.665 | 4.458 | 3.622 | 0.5779 | 8.666 | 3.612 | 2.221 | 0.1933 | 8.486 | 9.051 | 11.09 | 0.6815
595 | 7.865 | 4.405 | 3.316 | 0.5036 | 8.669 | 3.325 | 2.014 | 0.2422 | 7.969 | 8.977 | 10.96 | 0.6314
596 | 7.729 | 4.098 | 3.232 | 0.4248 | 7.824 | 3.206 | 1.931 | 0.2044 | 8.03 | 8.704 | 10.32 | 0.5693
597 | 7.392 | 3.909 | 3.084 | 0.5955 | 7.896 | 3.237 | 1.928 | 0.2189 | 7.468 | 8.109 | 9.83 | 0.4527
598 | 7.036 | 3.942 | 3.03 | 0.473 | 7.195 | 3.158 | 1.773 | 0.1699 | 6.882 | 7.789 | 9.508 | 0.4839
599 | 6.671 | 3.764 | 2.915 | 0.397 | 6.8 | 2.857 | 1.671 | 0.1546 | 6.75 | 7.429 | 9.227 | 0.4901
600 | 6.455 | 3.431 | 2.742 | 0.4651 | 6.722 | 2.582 | 1.591 | 0.2418 | 6.505 | 7.094 | 8.541 | 0.3824
601 | 6.752 | 3.472 | 2.619 | 0.4368 | 6.207 | 2.533 | 1.595 | 0.2111 | 6.786 | 6.686 | 8.422 | 0.5035
602 | 6.083 | 3.237 | 2.746 | 0.3938 | 6.296 | 2.483 | 1.45 | 0.1919 | 6.011 | 6.576 | 8.171 | 0.3931
603 | 5.923 | 3.223 | 2.413 | 0.3435 | 6.054 | 2.443 | 1.503 | 0.1823 | 5.836 | 6.079 | 7.64 | 0.3868
604 | 5.675 | 3.227 | 2.664 | 0.402 | 5.824 | 2.531 | 1.588 | 0.1787 | 5.997 | 6.152 | 7.254 | 0.312
605 | 5.566 | 3.101 | 2.459 | 0.4512 | 5.815 | 2.344 | 1.32 | 0.1877 | 5.744 | 6.14 | 7.622 | 0.32
606 | 5.483 | 2.864 | 2.369 | 0.3997 | 5.446 | 2.412 | 1.158 | 0.1785 | 5.386 | 6.339 | 7.069 | 0.3474
607 | 5.141 | 2.913 | 2.213 | 0.3374 | 5.657 | 2.22 | 1.413 | 0.1569 | 5.617 | 5.72 | 7.543 | 0.3751
608 | 5.112 | 3.079 | 2.105 | 0.4033 | 5.352 | 2.18 | 1.175 | 0.1351 | 5.263 | 5.784 | 6.956 | 0.3792
609 | 5.062 | 2.902 | 2.26 | 0.3936 | 5.092 | 2.124 | 1.222 | 0.1441 | 5.274 | 5.566 | 6.753 | 0.3515
610 | 4.941 | 3.044 | 2.084 | 0.4267 | 5.5 | 2.171 | 1.211 | 0.1159 | 5.22 | 5.345 | 6.629 | 0.3502
611 | 4.798 | 2.763 | 2.022 | 0.403 | 5.331 | 2.161 | 1.214 | 0.1054 | 4.907 | 5.366 | 6.598 | 0.2718
612 | 4.548 | 2.831 | 2.043 | 0.4223 | 5.08 | 1.789 | 1.345 | 0.1192 | 4.966 | 5.32 | 6.483 | 0.2965
613 | 4.983 | 2.518 | 2.129 | 0.4753 | 4.974 | 1.966 | 1.161 | 0.1007 | 4.964 | 5.192 | 6.711 | 0.2887
614 | 4.762 | 2.778 | 1.945 | 0.3809 | 5.33 | 1.984 | 1.184 | 0.1246 | 4.661 | 5.001 | 6.23 | 0.2843
615 | 4.67 | 2.732 | 1.973 | 0.3911 | 4.864 | 2.036 | 1.109 | 0.1185 | 4.522 | 5.087 | 5.919 | 0.3833
616 | 4.672 | 2.687 | 2.124 | 0.4333 | 4.905 | 1.947 | 1.306 | 0.1879 | 4.607 | 4.953 | 5.763 | 0.311
617 | 4.443 | 2.782 | 1.836 | 0.3716 | 4.792 | 1.768 | 1.166 | 0.1017 | 4.704 | 5.051 | 6.191 | 0.2591
618 | 4.712 | 2.521 | 1.917 | 0.5134 | 4.793 | 1.854 | 1.029 | 0.1244 | 4.581 | 4.88 | 6.121 | 0.394
619 | 4.368 | 2.382 | 1.969 | 0.4393 | 4.148 | 1.95 | 1.005 | 0.109 | 4.777 | 4.521 | 6.075 | 0.3147
620 | 4.368 | 2.343 | 1.885 | 0.3553 | 4.604 | 1.763 | 0.997 | 0.1088 | 4.158 | 4.629 | 5.994 | 0.338
Auto Load Range A1 - M113

## Result Summary
Result Overview
No Summary

## Basic Information
Basic Information
| Software Version | SkanIt Software 6.1 RE for Microplate Readers RE, ver. 6.1.0.51

## Program Information
Program Information
| Program Name | New Program.skax
Session Comments
| Software Version | SkanIt Software RE for Microplate Readers RE, ver. 6.1.0.51
| Execution Time | 2022/5/7 15:28:52
| User | DESKTOP-BK9BVR7\JYK

## Instrument Information
Instrument Information
| Name |  | Varioskan LUX
| ESW Version |  | 1.00.38
| Optical Response Compensation |  | yes
| Serial Number |  | 3020-81063
Instrument Module/Component
Filter
|  | Name of Optical Component | New filter
|  | Position of Optical Component | 1
|  | Wavelength | 620
|  | Bandwidth | 10
|  | Definition Date and Time | 2021/9/8 16:05:00
Filter
|  | Name of Optical Component | New filter
|  | Position of Optical Component | 2
|  | Wavelength | 655
|  | Bandwidth | 10
|  | Definition Date and Time | 2021/9/8 16:05:00
|  | Module Name | LAT Module
|  | Module Serial Number | LL2106802
|  | Module Name | TRF Module
|  | Module Serial Number | LT210602
|  | Adapter Name for Plate | 96-well adapter for plate without lid
|  | Adapter Number for Plate | 2
|  | Incubator | yes
|  | Gas Control | no
|  | Top Optical Component | yes
|  | Bottom Optical Component | yes
|  | Pipette / Liquid Handler | yes

## Program Settings
Program Settings
| Measurement Sequence |  | 3
| Start-up Stabilization Delay |  | yes
| Temperature Check at Start [°C] |  | no
Fluorescence Spectrum 1
| Type |  | Emission Spectrum
Wavelength Range
|  | Start [nm] | 520
|  | End [nm] | 620
|  | Step [nm] | 1
| Fitting Wavelength |  | 488
| Light Path |  | Top Read
| Excitation Bandwidth [nm] |  | 5
| Dynamic Range |  | Automatic
| Measurement Time [ms] |  | 100

## Run Log
Run Log
| Time | Event | Message
| 2022/5/7 15:28:52 | Program New Program.skax Started
| 2022/5/7 15:28:52 | Temperature | 25.3°C
| 2022/5/7 15:28:52 | Step Fluorescence Spectrum 1 Started
| 2022/5/7 15:28:57 | Calibration | 1.04738 18885
| 2022/5/7 15:29:30 | Temperature | 25.3°C
| 2022/5/7 15:30:30 | Temperature | 25.4°C
| 2022/5/7 15:31:30 | Temperature | 25.4°C
| 2022/5/7 15:31:47 | Step Fluorescence Spectrum 1 Ended
| 2022/5/7 15:31:47 | Step Oscillation 1 has started
| 2022/5/7 15:31:52 | Step Oscillation 1 has ended
| 2022/5/7 15:31:52 | Temperature | 25.4°C
| 2022/5/7 15:32:03 | Program New Program.skax Ended

## Plate and Sample
Name | Plate 1
Plate Template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A |  |  |  |  | Blank1 | Blank1 | Blank1 | Blank1
[5 empty] | Group 1 | Group 1 | Group 1 | Group 1
B |  |  |  |  | Blank1 | Blank1 | Blank1 | Blank1
[5 empty] | Group 1 | Group 1 | Group 1 | Group 1
C |  |  |  |  | Blank1 | Blank1 | Blank1 | Blank1
[5 empty] | Group 1 | Group 1 | Group 1 | Group 1
D
E
F
G
H