## Fluorescence Spectrum
Detection Results
New Program.skax
2022/3/17 19:48:14
Fluorescence Spectrum 1
Em 557-600 nm，Ex 556 nm
Plate 1
| Negative | splintR 1.5h | splintR 2h
Wavelength | Blank1 (D01) | Blank1 (D02) | Blank1 (D03)
557 | 143000 | 17210 | 29320
558 | 156600 | 17010 | 31750
559 | 165000 | 16420 | 33080
560 | 169000 | 15450 | 33850
561 | 163500 | 13590 | 33780
562 | 150800 | 11730 | 31970
563 | 132000 | 9665 | 28160
564 | 101000 | 7004 | 22160
565 | 76210 | 5109 | 17070
566 | 50840 | 3421 | 11970
567 | 26170 | 1931 | 6259
568 | 12950 | 1135 | 2972
569 | 4107 | 536.3 | 890.4
570 | 1205 | 288.1 | 346.1
571 | 366.7 | 162.7 | 178.6
572 | 190 | 99.31 | 107.8
573 | 158.8 | 82.42 | 86.15
574 | 142.8 | 74.55 | 76.65
575 | 138.1 | 70.42 | 73.95
576 | 136.1 | 71.19 | 73.16
577 | 132.2 | 67.24 | 73.48
578 | 125.8 | 65.69 | 66.1
579 | 121.5 | 61.24 | 65.45
580 | 117.3 | 60.36 | 63.02
581 | 113 | 58.54 | 62.45
582 | 107.7 | 56.82 | 59.51
583 | 104.6 | 53.53 | 55.07
584 | 100.5 | 51.48 | 53.87
585 | 98.07 | 48.22 | 49.68
586 | 91.12 | 48.76 | 51.06
587 | 86.48 | 44.27 | 47.5
588 | 82.05 | 41.9 | 44.21
589 | 80.93 | 41.64 | 44.24
590 | 73.37 | 39.45 | 40.93
591 | 70.96 | 37.59 | 40.1
592 | 69.66 | 34.63 | 36.65
593 | 64.47 | 34.02 | 33.69
594 | 62.83 | 32.79 | 34.01
595 | 57.72 | 32.43 | 32.03
596 | 58.06 | 29.63 | 30.6
597 | 54.64 | 28.55 | 30.04
598 | 51.93 | 27.25 | 28.67
599 | 49.14 | 24.11 | 26.7
600 | 48.88 | 25.32 | 26.73
| 169000 | 17210 | 33850
Auto Load Range A1 - D56

## Result Summary
Result Overview
No Summary

## Basic Information
Basic Information
| Software Version | SkanIt Software 6.1 RE for Microplate Readers RE, ver. 6.1.0.51

## Program Information
Program Information
| Program Name | New Program.skax
Session Comments
| Software Version | SkanIt Software RE for Microplate Readers RE, ver. 6.1.0.51
| Execution Time | 2022/3/17 19:48:14
| User | DESKTOP-BK9BVR7\JYK

## Instrument Information
Instrument Information
| Name |  | Varioskan LUX
| ESW Version |  | 1.00.38
| Optical Response Compensation |  | yes
| Serial Number |  | 3020-81063
Instrument Module/Component
Filter
|  | Name of Optical Component | New filter
|  | Position of Optical Component | 1
|  | Wavelength | 620
|  | Bandwidth | 10
|  | Definition Date and Time | 2021/9/8 16:05:00
Filter
|  | Name of Optical Component | New filter
|  | Position of Optical Component | 2
|  | Wavelength | 655
|  | Bandwidth | 10
|  | Definition Date and Time | 2021/9/8 16:05:00
|  | Module Name | LAT Module
|  | Module Serial Number | LL2106802
|  | Module Name | TRF Module
|  | Module Serial Number | LT210602
|  | Adapter Name for Plate | 96-well adapter for plate without lid
|  | Adapter Number for Plate | 2
|  | Incubator | yes
|  | Gas Control | no
|  | Top Optical Component | yes
|  | Bottom Optical Component | yes
|  | Pipette / Liquid Handler | yes

## Program Settings
Program Settings
| Measurement Sequence |  | 3
| Start-up Stabilization Delay |  | yes
| Temperature Check at Start [°C] |  | no
Fluorescence Spectrum 1
| Type |  | Emission Spectrum
Wavelength Range
|  | Start [nm] | 557
|  | End [nm] | 600
|  | Step [nm] | 1
| Fitting Wavelength |  | 556
| Light Path |  | Top Read
| Excitation Bandwidth [nm] |  | 5
| Dynamic Range |  | Automatic
| Measurement Time [ms] |  | 100

## Run Log
Run Log
| Time | Event | Message
| 2022/3/17 19:48:14 | Program New Program.skax Started
| 2022/3/17 19:48:14 | Temperature | 23.8°C
| 2022/3/17 19:48:15 | Step Fluorescence Spectrum 1 Started
| 2022/3/17 19:48:38 | Step Fluorescence Spectrum 1 Ended
| 2022/3/17 19:48:38 | Temperature | 23.8°C
| 2022/3/17 19:48:48 | Program New Program.skax Ended

## Plate and Sample
Name | Plate 1
Plate Template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1
E
F
G
H