## Fluorescence Spectrum
Detection Results
New Program.skax
2022/3/16 21:06:54
Fluorescence Spectrum 1
Em 470-600 nm，Ex 450 nm
Plate 1
| 0.5 | 1 | 1.5 | 2 | 4 | Blank | 0.5 | 1 | 1.5 | 2 | 4 | 0.5 | 1 | 1.5 | 2 | 4
Wavelength | Blank1 (A01) | Blank1 (A02) | Blank1 (A03) | Blank1 (A04) | Blank1 (A05) | Blank1 (A06) | Blank1 (B01) | Blank1 (B02) | Blank1 (B03) | Blank1 (B04) | Blank1 (B05) | Blank1 (C01) | Blank1 (C02) | Blank1 (C03) | Blank1 (C04) | Blank1 (C05)
470 | 0.7218 | 0.5471 | 0.496 | 0.5574 | 0.8057 | 0.4323 | 0.8253 | 0.6242 | 0.4579 | 0.4034 | 0.9628 | 0.9234 | 0.3664 | 0.4033 | 0.3204 | 0.4543
471 | 0.5024 | 0.4174 | 0.4481 | 0.378 | 0.5124 | 0.3907 | 0.4693 | 0.6185 | 0.4934 | 0.2914 | 0.5039 | 0.4506 | 0.3002 | 0.3604 | 0.2917 | 0.4801
472 | 0.4491 | 0.4541 | 0.3917 | 0.3754 | 0.3984 | 0.3315 | 0.4357 | 0.4545 | 0.4067 | 0.4107 | 0.353 | 0.4033 | 0.2494 | 0.362 | 0.3152 | 0.4402
473 | 0.4546 | 0.4887 | 0.3234 | 0.4114 | 0.4496 | 0.3617 | 0.3928 | 0.4457 | 0.3947 | 0.3534 | 0.4633 | 0.3773 | 0.3425 | 0.3202 | 0.3403 | 0.4116
474 | 0.3956 | 0.4608 | 0.3798 | 0.4157 | 0.3704 | 0.3264 | 0.4529 | 0.4598 | 0.3788 | 0.3753 | 0.4138 | 0.4113 | 0.3992 | 0.3576 | 0.3863 | 0.3875
475 | 0.4267 | 0.4675 | 0.3734 | 0.3721 | 0.4949 | 0.3936 | 0.3642 | 0.3945 | 0.3758 | 0.4093 | 0.4273 | 0.4299 | 0.3072 | 0.3525 | 0.3675 | 0.3266
476 | 0.462 | 0.4162 | 0.4554 | 0.4261 | 0.3931 | 0.3802 | 0.3083 | 0.4527 | 0.3684 | 0.4465 | 0.4226 | 0.3655 | 0.3907 | 0.3903 | 0.4295 | 0.341
477 | 0.4917 | 0.4055 | 0.3409 | 0.4225 | 0.4586 | 0.4197 | 0.4017 | 0.4882 | 0.4121 | 0.3492 | 0.3649 | 0.4324 | 0.2682 | 0.3328 | 0.3622 | 0.4008
478 | 0.4183 | 0.5197 | 0.4165 | 0.496 | 0.4281 | 0.4142 | 0.4375 | 0.4461 | 0.4209 | 0.3331 | 0.5112 | 0.4325 | 0.4141 | 0.3483 | 0.3553 | 0.3505
479 | 0.3987 | 0.4797 | 0.3769 | 0.3932 | 0.5304 | 0.4014 | 0.4424 | 0.4447 | 0.4723 | 0.4046 | 0.4319 | 0.4524 | 0.3519 | 0.432 | 0.3668 | 0.4436
480 | 0.4344 | 0.4452 | 0.4301 | 0.4598 | 0.4802 | 0.3735 | 0.5123 | 0.4958 | 0.3978 | 0.3959 | 0.4255 | 0.3841 | 0.4966 | 0.3926 | 0.3909 | 0.4259
481 | 0.4801 | 0.3427 | 0.393 | 0.3665 | 0.4288 | 0.4541 | 0.451 | 0.4169 | 0.4372 | 0.4221 | 0.5184 | 0.4337 | 0.4046 | 0.3562 | 0.4192 | 0.3701
482 | 0.536 | 0.4442 | 0.3722 | 0.4116 | 0.48 | 0.3493 | 0.4305 | 0.5784 | 0.4591 | 0.4296 | 0.4889 | 0.4386 | 0.3707 | 0.4042 | 0.4361 | 0.4572
483 | 0.4858 | 0.4328 | 0.4251 | 0.4561 | 0.3913 | 0.4695 | 0.4039 | 0.437 | 0.4668 | 0.4273 | 0.3777 | 0.4496 | 0.3597 | 0.3992 | 0.3766 | 0.4313
484 | 0.4568 | 0.4553 | 0.3875 | 0.4873 | 0.4801 | 0.426 | 0.4459 | 0.5472 | 0.455 | 0.3814 | 0.4478 | 0.4334 | 0.5091 | 0.3572 | 0.3999 | 0.4498
485 | 0.4026 | 0.4148 | 0.5267 | 0.5806 | 0.4699 | 0.5455 | 0.5035 | 0.4859 | 0.4624 | 0.3854 | 0.4431 | 0.4778 | 0.458 | 0.3458 | 0.4196 | 0.4346
486 | 0.4576 | 0.4477 | 0.5039 | 0.4386 | 0.4088 | 0.4617 | 0.5322 | 0.4325 | 0.4666 | 0.4682 | 0.527 | 0.4342 | 0.3855 | 0.4608 | 0.4073 | 0.4344
487 | 0.4793 | 0.4794 | 0.4899 | 0.5237 | 0.4495 | 0.5389 | 0.4736 | 0.4334 | 0.4213 | 0.4094 | 0.5085 | 0.4798 | 0.4679 | 0.3638 | 0.4444 | 0.5064
488 | 0.4897 | 0.4397 | 0.4204 | 0.3976 | 0.4715 | 0.4847 | 0.4608 | 0.4513 | 0.4987 | 0.5335 | 0.4584 | 0.4443 | 0.4486 | 0.4505 | 0.4083 | 0.4337
489 | 0.5 | 0.4005 | 0.4323 | 0.5128 | 0.4615 | 0.4581 | 0.5122 | 0.4994 | 0.4602 | 0.4994 | 0.4441 | 0.5353 | 0.3881 | 0.4801 | 0.4767 | 0.5784
490 | 0.5404 | 0.4646 | 0.4381 | 0.4811 | 0.5162 | 0.5006 | 0.4677 | 0.4192 | 0.5449 | 0.4707 | 0.4418 | 0.4315 | 0.4753 | 0.451 | 0.4258 | 0.363
491 | 0.5181 | 0.4778 | 0.4274 | 0.4553 | 0.3959 | 0.4864 | 0.4646 | 0.3751 | 0.4463 | 0.4269 | 0.503 | 0.4602 | 0.4536 | 0.457 | 0.4199 | 0.454
492 | 0.444 | 0.5255 | 0.4688 | 0.5459 | 0.482 | 0.5108 | 0.4526 | 0.5275 | 0.4146 | 0.461 | 0.4473 | 0.4753 | 0.4861 | 0.5061 | 0.4435 | 0.4954
493 | 0.4705 | 0.4816 | 0.4713 | 0.4729 | 0.4752 | 0.4751 | 0.5017 | 0.5055 | 0.467 | 0.4183 | 0.5315 | 0.4647 | 0.4064 | 0.4468 | 0.5051 | 0.4673
494 | 0.4654 | 0.5214 | 0.4589 | 0.4967 | 0.4483 | 0.4448 | 0.441 | 0.4755 | 0.448 | 0.4454 | 0.5613 | 0.4101 | 0.4615 | 0.4749 | 0.4921 | 0.4878
495 | 0.4488 | 0.5556 | 0.4595 | 0.524 | 0.4983 | 0.4438 | 0.442 | 0.4468 | 0.4457 | 0.498 | 0.5223 | 0.4238 | 0.5442 | 0.5022 | 0.4727 | 0.4601
496 | 0.4659 | 0.4411 | 0.4541 | 0.4726 | 0.4848 | 0.4868 | 0.4807 | 0.4274 | 0.4968 | 0.5026 | 0.4664 | 0.4352 | 0.451 | 0.4941 | 0.4625 | 0.5194
497 | 0.5307 | 0.4218 | 0.4364 | 0.4915 | 0.4152 | 0.4234 | 0.409 | 0.4519 | 0.5252 | 0.4268 | 0.437 | 0.5114 | 0.3653 | 0.428 | 0.5198 | 0.5102
498 | 0.5773 | 0.4974 | 0.4737 | 0.4931 | 0.4892 | 0.4102 | 0.4516 | 0.4478 | 0.4639 | 0.3915 | 0.4826 | 0.5096 | 0.4328 | 0.4623 | 0.4205 | 0.4104
499 | 0.4767 | 0.5075 | 0.4109 | 0.4092 | 0.4007 | 0.4452 | 0.4761 | 0.5148 | 0.5142 | 0.4895 | 0.482 | 0.4377 | 0.4736 | 0.3641 | 0.4276 | 0.3884
500 | 0.4014 | 0.402 | 0.4968 | 0.4371 | 0.4913 | 0.4727 | 0.4798 | 0.4856 | 0.4967 | 0.4064 | 0.4224 | 0.5514 | 0.5003 | 0.4388 | 0.473 | 0.4143
501 | 0.4781 | 0.406 | 0.5461 | 0.554 | 0.4603 | 0.4801 | 0.5071 | 0.5145 | 0.4353 | 0.4923 | 0.5507 | 0.4594 | 0.4579 | 0.4106 | 0.4123 | 0.3506
502 | 0.4879 | 0.4371 | 0.4773 | 0.4486 | 0.4216 | 0.4655 | 0.4316 | 0.424 | 0.4767 | 0.4276 | 0.3981 | 0.3714 | 0.4072 | 0.4625 | 0.4749 | 0.4547
503 | 0.4057 | 0.4177 | 0.5046 | 0.4359 | 0.467 | 0.4153 | 0.4016 | 0.4314 | 0.4533 | 0.437 | 0.441 | 0.3937 | 0.4447 | 0.3751 | 0.4781 | 0.4818
504 | 0.4825 | 0.4842 | 0.3835 | 0.5376 | 0.5207 | 0.4553 | 0.4405 | 0.5193 | 0.4372 | 0.4217 | 0.4001 | 0.4178 | 0.357 | 0.4694 | 0.3714 | 0.5202
505 | 0.5373 | 0.4372 | 0.466 | 0.415 | 0.4047 | 0.4851 | 0.4152 | 0.4677 | 0.4755 | 0.4921 | 0.3951 | 0.4099 | 0.3904 | 0.436 | 0.4291 | 0.4716
506 | 0.4764 | 0.3749 | 0.4237 | 0.4962 | 0.3793 | 0.4594 | 0.4619 | 0.4242 | 0.4186 | 0.5442 | 0.437 | 0.3943 | 0.446 | 0.4635 | 0.3952 | 0.4375
507 | 0.4446 | 0.4392 | 0.4609 | 0.4458 | 0.4399 | 0.39 | 0.4525 | 0.434 | 0.4877 | 0.4651 | 0.4485 | 0.4529 | 0.3767 | 0.3818 | 0.4349 | 0.4563
508 | 0.4494 | 0.4635 | 0.4081 | 0.4456 | 0.4003 | 0.4702 | 0.5214 | 0.3763 | 0.3711 | 0.4866 | 0.434 | 0.3492 | 0.3769 | 0.4707 | 0.3932 | 0.4306
509 | 0.4449 | 0.4049 | 0.3858 | 0.3956 | 0.4639 | 0.4412 | 0.4373 | 0.3894 | 0.4027 | 0.3924 | 0.4298 | 0.3744 | 0.3945 | 0.4461 | 0.3707 | 0.4456
510 | 0.4634 | 0.4801 | 0.4018 | 0.4126 | 0.4235 | 0.3857 | 0.4149 | 0.4531 | 0.4404 | 0.4062 | 0.4347 | 0.3973 | 0.4365 | 0.3394 | 0.4352 | 0.3902
511 | 0.4183 | 0.4571 | 0.4701 | 0.408 | 0.3869 | 0.4115 | 0.3812 | 0.435 | 0.4456 | 0.4765 | 0.3958 | 0.3725 | 0.4706 | 0.411 | 0.4085 | 0.402
512 | 0.3818 | 0.343 | 0.4328 | 0.4151 | 0.4289 | 0.4358 | 0.4083 | 0.4522 | 0.4611 | 0.4347 | 0.4624 | 0.4348 | 0.3823 | 0.3506 | 0.4458 | 0.4008
513 | 0.4314 | 0.3553 | 0.401 | 0.3815 | 0.3617 | 0.4291 | 0.4061 | 0.4725 | 0.426 | 0.4155 | 0.4529 | 0.3632 | 0.4167 | 0.3546 | 0.4467 | 0.3741
514 | 0.4464 | 0.4341 | 0.3666 | 0.381 | 0.5053 | 0.3082 | 0.3813 | 0.4186 | 0.4136 | 0.4013 | 0.3749 | 0.3563 | 0.4463 | 0.3717 | 0.3731 | 0.4122
515 | 0.4159 | 0.4053 | 0.4638 | 0.4358 | 0.434 | 0.3879 | 0.3671 | 0.4484 | 0.4389 | 0.4023 | 0.4767 | 0.3887 | 0.4305 | 0.4083 | 0.4158 | 0.4362
516 | 0.3637 | 0.4284 | 0.4092 | 0.4752 | 0.4062 | 0.4697 | 0.4424 | 0.4296 | 0.4928 | 0.4726 | 0.4801 | 0.417 | 0.4089 | 0.4233 | 0.3611 | 0.4705
517 | 0.3696 | 0.4371 | 0.382 | 0.3534 | 0.3519 | 0.4562 | 0.4815 | 0.3947 | 0.36 | 0.4131 | 0.4032 | 0.3826 | 0.4175 | 0.3531 | 0.437 | 0.4249
518 | 0.4183 | 0.3905 | 0.4108 | 0.4102 | 0.3741 | 0.3835 | 0.3988 | 0.4179 | 0.3724 | 0.4176 | 0.4422 | 0.3307 | 0.362 | 0.4064 | 0.3725 | 0.4015
519 | 0.4248 | 0.5155 | 0.4386 | 0.3917 | 0.4254 | 0.4023 | 0.4107 | 0.4147 | 0.3792 | 0.3633 | 0.4149 | 0.3311 | 0.3605 | 0.3989 | 0.3778 | 0.3586
520 | 0.3689 | 0.4405 | 0.4152 | 0.3626 | 0.3716 | 0.3915 | 0.4613 | 0.3928 | 0.4026 | 0.41 | 0.4621 | 0.3811 | 0.3606 | 0.4221 | 0.3799 | 0.344
521 | 0.4002 | 0.4207 | 0.3762 | 0.4011 | 0.3855 | 0.3317 | 0.4457 | 0.4224 | 0.4046 | 0.3515 | 0.3795 | 0.4331 | 0.3769 | 0.3589 | 0.3788 | 0.4067
522 | 0.419 | 0.4373 | 0.3801 | 0.4565 | 0.3552 | 0.3993 | 0.3841 | 0.3708 | 0.3841 | 0.3907 | 0.353 | 0.4233 | 0.4059 | 0.3925 | 0.3924 | 0.3477
523 | 0.341 | 0.4058 | 0.389 | 0.4141 | 0.3358 | 0.3409 | 0.3983 | 0.4402 | 0.4601 | 0.3732 | 0.3509 | 0.357 | 0.3988 | 0.3827 | 0.3584 | 0.4255
524 | 0.4439 | 0.406 | 0.3488 | 0.3832 | 0.4013 | 0.4213 | 0.4589 | 0.3532 | 0.4686 | 0.3353 | 0.467 | 0.3724 | 0.3529 | 0.4286 | 0.4022 | 0.3522
525 | 0.4145 | 0.3843 | 0.4528 | 0.3325 | 0.4378 | 0.3617 | 0.4312 | 0.4378 | 0.409 | 0.3958 | 0.3993 | 0.4251 | 0.4322 | 0.3522 | 0.4218 | 0.3474
526 | 0.4303 | 0.3598 | 0.3993 | 0.4012 | 0.4052 | 0.4236 | 0.4162 | 0.3884 | 0.3608 | 0.3383 | 0.3819 | 0.3296 | 0.335 | 0.3861 | 0.3749 | 0.3699
527 | 0.4483 | 0.4024 | 0.3934 | 0.4141 | 0.4398 | 0.3677 | 0.3645 | 0.3899 | 0.3148 | 0.3637 | 0.4122 | 0.3336 | 0.4307 | 0.377 | 0.3824 | 0.4371
528 | 0.3667 | 0.4193 | 0.3623 | 0.4307 | 0.3941 | 0.3703 | 0.3489 | 0.3407 | 0.408 | 0.3578 | 0.4385 | 0.3164 | 0.3291 | 0.4175 | 0.3503 | 0.3438
529 | 0.4268 | 0.3763 | 0.3782 | 0.3787 | 0.3743 | 0.3696 | 0.3921 | 0.3525 | 0.3467 | 0.4197 | 0.4604 | 0.4119 | 0.4265 | 0.3726 | 0.3517 | 0.3674
530 | 0.412 | 0.3681 | 0.388 | 0.3442 | 0.3878 | 0.3286 | 0.4017 | 0.4204 | 0.3864 | 0.3517 | 0.4347 | 0.3202 | 0.41 | 0.3388 | 0.3097 | 0.3778
531 | 0.3945 | 0.3903 | 0.3303 | 0.4796 | 0.4121 | 0.348 | 0.3507 | 0.3103 | 0.3346 | 0.3355 | 0.4155 | 0.3666 | 0.4109 | 0.2938 | 0.3685 | 0.3298
532 | 0.3378 | 0.327 | 0.306 | 0.3805 | 0.3863 | 0.3711 | 0.3643 | 0.3295 | 0.3664 | 0.4039 | 0.3574 | 0.3267 | 0.3301 | 0.3645 | 0.3789 | 0.3415
533 | 0.3532 | 0.3892 | 0.3354 | 0.3234 | 0.3602 | 0.376 | 0.3229 | 0.4598 | 0.3794 | 0.3407 | 0.3698 | 0.3082 | 0.3265 | 0.3566 | 0.3706 | 0.3162
534 | 0.3826 | 0.3369 | 0.371 | 0.3394 | 0.2994 | 0.3581 | 0.2801 | 0.4021 | 0.3358 | 0.3855 | 0.2875 | 0.3397 | 0.3832 | 0.3797 | 0.3209 | 0.342
535 | 0.3964 | 0.3797 | 0.2822 | 0.3482 | 0.3755 | 0.3619 | 0.3375 | 0.2956 | 0.3061 | 0.4025 | 0.3695 | 0.3138 | 0.3704 | 0.3385 | 0.3298 | 0.2781
536 | 0.2869 | 0.3787 | 0.3158 | 0.319 | 0.3403 | 0.3145 | 0.3934 | 0.351 | 0.3486 | 0.3175 | 0.3475 | 0.413 | 0.3951 | 0.3222 | 0.2677 | 0.357
537 | 0.3557 | 0.3727 | 0.3619 | 0.3569 | 0.3471 | 0.3149 | 0.4274 | 0.3397 | 0.3687 | 0.2716 | 0.3673 | 0.328 | 0.4074 | 0.3596 | 0.319 | 0.3132
538 | 0.3364 | 0.3806 | 0.3513 | 0.3217 | 0.3409 | 0.3694 | 0.2854 | 0.3273 | 0.4065 | 0.3547 | 0.3011 | 0.3195 | 0.3824 | 0.307 | 0.3977 | 0.3575
539 | 0.3969 | 0.3717 | 0.3918 | 0.3506 | 0.3406 | 0.3571 | 0.3017 | 0.2971 | 0.4 | 0.321 | 0.2918 | 0.3127 | 0.3884 | 0.3822 | 0.3441 | 0.2563
540 | 0.3694 | 0.361 | 0.3581 | 0.2966 | 0.3649 | 0.3183 | 0.3457 | 0.3281 | 0.3523 | 0.2844 | 0.3404 | 0.3103 | 0.4312 | 0.2736 | 0.245 | 0.3178
541 | 0.3065 | 0.3071 | 0.3538 | 0.2934 | 0.2922 | 0.2832 | 0.315 | 0.3032 | 0.3703 | 0.3417 | 0.3185 | 0.3073 | 0.339 | 0.3001 | 0.324 | 0.3227
542 | 0.3509 | 0.3901 | 0.3046 | 0.2941 | 0.3106 | 0.3217 | 0.3131 | 0.288 | 0.3531 | 0.2368 | 0.2932 | 0.301 | 0.4037 | 0.238 | 0.2804 | 0.3078
543 | 0.3376 | 0.3132 | 0.3452 | 0.2687 | 0.2988 | 0.3435 | 0.3336 | 0.3202 | 0.3194 | 0.2638 | 0.3039 | 0.3195 | 0.5224 | 0.236 | 0.2828 | 0.3322
544 | 0.3705 | 0.2752 | 0.2761 | 0.2914 | 0.3741 | 0.3064 | 0.2258 | 0.3624 | 0.2848 | 0.3377 | 0.2683 | 0.386 | 0.4864 | 0.2756 | 0.2722 | 0.3621
545 | 0.3224 | 0.3127 | 0.2675 | 0.3094 | 0.2804 | 0.3132 | 0.2687 | 0.2492 | 0.2793 | 0.3241 | 0.2768 | 0.353 | 0.4973 | 0.2377 | 0.2691 | 0.2251
546 | 0.286 | 0.2823 | 0.3114 | 0.3002 | 0.3493 | 0.377 | 0.2688 | 0.259 | 0.2903 | 0.3384 | 0.3233 | 0.2936 | 0.5466 | 0.3532 | 0.2448 | 0.2561
547 | 0.2971 | 0.2964 | 0.2738 | 0.2846 | 0.2962 | 0.2749 | 0.3427 | 0.2603 | 0.286 | 0.2684 | 0.3076 | 0.2874 | 0.6258 | 0.2598 | 0.252 | 0.2585
548 | 0.3189 | 0.366 | 0.2343 | 0.292 | 0.2767 | 0.3504 | 0.2899 | 0.3156 | 0.3333 | 0.2009 | 0.3025 | 0.2297 | 0.7067 | 0.2582 | 0.3148 | 0.2499
549 | 0.3305 | 0.2786 | 0.2839 | 0.3137 | 0.2777 | 0.2797 | 0.2872 | 0.2738 | 0.287 | 0.2546 | 0.3114 | 0.3071 | 0.7394 | 0.3141 | 0.2581 | 0.3208
550 | 0.3569 | 0.2472 | 0.2378 | 0.2845 | 0.2662 | 0.3045 | 0.2297 | 0.266 | 0.329 | 0.2855 | 0.2664 | 0.2406 | 0.8077 | 0.2552 | 0.2565 | 0.2456
551 | 0.2657 | 0.294 | 0.2762 | 0.3269 | 0.2756 | 0.3589 | 0.2728 | 0.3173 | 0.2622 | 0.3 | 0.2702 | 0.2482 | 0.9228 | 0.2208 | 0.2469 | 0.2706
552 | 0.3236 | 0.267 | 0.2373 | 0.3147 | 0.206 | 0.3588 | 0.2916 | 0.2941 | 0.2984 | 0.3173 | 0.2668 | 0.1801 | 1.007 | 0.2597 | 0.2473 | 0.2477
553 | 0.2307 | 0.2902 | 0.2568 | 0.2792 | 0.2437 | 0.3364 | 0.2492 | 0.2868 | 0.2777 | 0.2402 | 0.3094 | 0.2828 | 1.088 | 0.2626 | 0.2489 | 0.2392
554 | 0.3254 | 0.2916 | 0.2666 | 0.2611 | 0.28 | 0.264 | 0.2284 | 0.2834 | 0.2271 | 0.2309 | 0.2221 | 0.2395 | 1.165 | 0.3279 | 0.216 | 0.2194
555 | 0.2549 | 0.2986 | 0.2598 | 0.2381 | 0.2303 | 0.344 | 0.2533 | 0.2865 | 0.2654 | 0.2219 | 0.2799 | 0.1881 | 1.28 | 0.2798 | 0.2537 | 0.244
556 | 0.295 | 0.2391 | 0.1734 | 0.2483 | 0.2606 | 0.404 | 0.2463 | 0.2212 | 0.3588 | 0.2233 | 0.264 | 0.2468 | 1.297 | 0.2451 | 0.2114 | 0.2525
557 | 0.2188 | 0.2485 | 0.2097 | 0.2708 | 0.2527 | 0.4119 | 0.2386 | 0.3308 | 0.2448 | 0.2027 | 0.2354 | 0.2435 | 1.72 | 0.2036 | 0.2464 | 0.1905
558 | 0.243 | 0.2425 | 0.2055 | 0.2526 | 0.2524 | 0.3585 | 0.2371 | 0.2482 | 0.2548 | 0.274 | 0.2581 | 0.2562 | 1.644 | 0.2353 | 0.2494 | 0.2511
559 | 0.2947 | 0.2292 | 0.253 | 0.2631 | 0.1927 | 0.3606 | 0.2112 | 0.3009 | 0.2453 | 0.2345 | 0.2124 | 0.2476 | 1.956 | 0.2229 | 0.2815 | 0.2024
560 | 0.2216 | 0.2481 | 0.2588 | 0.2599 | 0.2767 | 0.28 | 0.2358 | 0.2192 | 0.249 | 0.2515 | 0.229 | 0.2924 | 1.942 | 0.2444 | 0.2093 | 0.2116
561 | 0.2466 | 0.2015 | 0.2156 | 0.2224 | 0.2337 | 0.3295 | 0.1978 | 0.2049 | 0.2591 | 0.1989 | 0.2407 | 0.2997 | 1.984 | 0.2356 | 0.1769 | 0.2339
562 | 0.2112 | 0.1764 | 0.2815 | 0.2196 | 0.2596 | 0.3949 | 0.2815 | 0.2549 | 0.3016 | 0.2029 | 0.2471 | 0.2261 | 2.275 | 0.2198 | 0.2362 | 0.2449
563 | 0.234 | 0.2321 | 0.2198 | 0.2257 | 0.2096 | 0.3037 | 0.232 | 0.192 | 0.2835 | 0.2354 | 0.251 | 0.2215 | 2.243 | 0.2787 | 0.2316 | 0.2053
564 | 0.305 | 0.1841 | 0.228 | 0.2529 | 0.2336 | 0.3984 | 0.2577 | 0.1992 | 0.3387 | 0.2411 | 0.2118 | 0.177 | 2.332 | 0.2143 | 0.2465 | 0.2137
565 | 0.1908 | 0.2431 | 0.2409 | 0.2474 | 0.2374 | 0.4048 | 0.1723 | 0.2295 | 0.2461 | 0.2402 | 0.225 | 0.1677 | 2.448 | 0.2078 | 0.2004 | 0.2292
566 | 0.1837 | 0.2134 | 0.2192 | 0.2402 | 0.2306 | 0.3824 | 0.2046 | 0.2532 | 0.3322 | 0.2368 | 0.2203 | 0.2226 | 2.383 | 0.2688 | 0.1967 | 0.2389
567 | 0.2371 | 0.2046 | 0.2597 | 0.2438 | 0.2588 | 0.3902 | 0.2486 | 0.2216 | 0.2571 | 0.2254 | 0.2163 | 0.2113 | 2.446 | 0.2056 | 0.1954 | 0.1962
568 | 0.2095 | 0.2892 | 0.2099 | 0.2383 | 0.2553 | 0.3562 | 0.2023 | 0.2331 | 0.2355 | 0.2116 | 0.146 | 0.2696 | 2.648 | 0.2078 | 0.187 | 0.177
569 | 0.253 | 0.2192 | 0.2445 | 0.1911 | 0.1952 | 0.3535 | 0.2248 | 0.1961 | 0.2438 | 0.1967 | 0.2401 | 0.2451 | 2.782 | 0.2211 | 0.1956 | 0.2352
570 | 0.1816 | 0.1502 | 0.153 | 0.1951 | 0.2413 | 0.3823 | 0.2541 | 0.1848 | 0.2898 | 0.1926 | 0.1839 | 0.2459 | 2.674 | 0.1926 | 0.1957 | 0.2331
571 | 0.1642 | 0.1353 | 0.2065 | 0.1702 | 0.2731 | 0.3173 | 0.1503 | 0.224 | 0.2264 | 0.217 | 0.1233 | 0.195 | 2.708 | 0.1948 | 0.173 | 0.2155
572 | 0.1692 | 0.1956 | 0.1939 | 0.2107 | 0.1767 | 0.4103 | 0.1836 | 0.2326 | 0.2405 | 0.1596 | 0.1561 | 0.1883 | 2.867 | 0.1933 | 0.172 | 0.2018
573 | 0.1845 | 0.2058 | 0.1887 | 0.1809 | 0.1787 | 0.2994 | 0.1335 | 0.2021 | 0.2331 | 0.2077 | 0.1941 | 0.2014 | 2.495 | 0.1721 | 0.1863 | 0.1809
574 | 0.2037 | 0.2261 | 0.1932 | 0.1963 | 0.2097 | 0.4437 | 0.1706 | 0.198 | 0.1972 | 0.2156 | 0.2097 | 0.1772 | 2.527 | 0.1377 | 0.1964 | 0.1274
575 | 0.1695 | 0.1504 | 0.2133 | 0.1976 | 0.1647 | 0.3331 | 0.2165 | 0.1596 | 0.2425 | 0.1937 | 0.2203 | 0.2315 | 2.518 | 0.1903 | 0.1709 | 0.2074
576 | 0.2118 | 0.1574 | 0.1404 | 0.1667 | 0.174 | 0.3526 | 0.1777 | 0.1468 | 0.187 | 0.14 | 0.2338 | 0.173 | 2.343 | 0.1966 | 0.1723 | 0.1687
577 | 0.1939 | 0.1405 | 0.1473 | 0.2096 | 0.1382 | 0.3686 | 0.1494 | 0.2076 | 0.2248 | 0.164 | 0.167 | 0.1863 | 2.424 | 0.1054 | 0.1651 | 0.1439
578 | 0.1355 | 0.1743 | 0.1793 | 0.2002 | 0.1337 | 0.3282 | 0.1992 | 0.2138 | 0.2683 | 0.1776 | 0.1132 | 0.1899 | 2.353 | 0.2106 | 0.1551 | 0.1666
579 | 0.1877 | 0.2096 | 0.1852 | 0.1844 | 0.1337 | 0.3809 | 0.1085 | 0.1993 | 0.1976 | 0.1511 | 0.1296 | 0.1662 | 2.337 | 0.1112 | 0.1617 | 0.1922
580 | 0.1516 | 0.1335 | 0.1619 | 0.1807 | 0.1455 | 0.3371 | 0.176 | 0.1676 | 0.174 | 0.1573 | 0.1196 | 0.1782 | 2.213 | 0.1511 | 0.1997 | 0.1368
581 | 0.1783 | 0.2121 | 0.1275 | 0.1971 | 0.1292 | 0.2839 | 0.1699 | 0.1594 | 0.1782 | 0.1047 | 0.2177 | 0.153 | 2.073 | 0.1342 | 0.1438 | 0.1779
582 | 0.1618 | 0.1688 | 0.1501 | 0.1305 | 0.1377 | 0.298 | 0.1295 | 0.1837 | 0.2238 | 0.1759 | 0.1466 | 0.151 | 1.984 | 0.1597 | 0.1588 | 0.1433
583 | 0.1841 | 0.1633 | 0.1608 | 0.1909 | 0.1483 | 0.2482 | 0.1606 | 0.1956 | 0.1963 | 0.1657 | 0.206 | 0.208 | 2.056 | 0.1676 | 0.1877 | 0.1473
584 | 0.1467 | 0.1338 | 0.131 | 0.1388 | 0.1106 | 0.2284 | 0.1826 | 0.1321 | 0.1302 | 0.1667 | 0.1753 | 0.1331 | 1.799 | 0.1552 | 0.147 | 0.1567
585 | 0.1462 | 0.1334 | 0.1076 | 0.2283 | 0.1471 | 0.2417 | 0.156 | 0.1846 | 0.1495 | 0.1485 | 0.1481 | 0.1858 | 1.703 | 0.1347 | 0.1101 | 0.1375
586 | 0.1458 | 0.1721 | 0.1032 | 0.1455 | 0.1491 | 0.2771 | 0.1851 | 0.1122 | 0.1124 | 0.1326 | 0.1556 | 0.1347 | 1.787 | 0.1521 | 0.1241 | 0.1407
587 | 0.1248 | 0.1175 | 0.1306 | 0.1575 | 0.1121 | 0.3445 | 0.1401 | 0.1432 | 0.1439 | 0.2055 | 0.1063 | 0.1461 | 1.418 | 0.1797 | 0.1401 | 0.1345
588 | 0.1276 | 0.09785 | 0.07747 | 0.1599 | 0.1302 | 0.2964 | 0.1095 | 0.1614 | 0.1281 | 0.1354 | 0.1397 | 0.1146 | 1.495 | 0.1355 | 0.1318 | 0.1672
589 | 0.139 | 0.1425 | 0.1619 | 0.1951 | 0.1381 | 0.1968 | 0.1608 | 0.1366 | 0.1721 | 0.0917 | 0.07771 | 0.1714 | 1.444 | 0.1045 | 0.1099 | 0.1494
590 | 0.1475 | 0.1467 | 0.09036 | 0.2066 | 0.1215 | 0.2649 | 0.08247 | 0.1661 | 0.1606 | 0.09906 | 0.1375 | 0.1336 | 1.443 | 0.121 | 0.1274 | 0.1137
591 | 0.1571 | 0.1489 | 0.09952 | 0.1422 | 0.09521 | 0.1991 | 0.104 | 0.08917 | 0.1368 | 0.1113 | 0.1022 | 0.09783 | 1.273 | 0.08773 | 0.1279 | 0.122
592 | 0.09321 | 0.1313 | 0.09571 | 0.09455 | 0.09488 | 0.1702 | 0.08202 | 0.108 | 0.1057 | 0.1172 | 0.08478 | 0.1254 | 1.253 | 0.1236 | 0.1133 | 0.1491
593 | 0.1316 | 0.09776 | 0.09674 | 0.1118 | 0.08919 | 0.1876 | 0.1312 | 0.1387 | 0.1302 | 0.13 | 0.1004 | 0.1986 | 1.22 | 0.1528 | 0.1009 | 0.1086
594 | 0.0933 | 0.09552 | 0.1397 | 0.1194 | 0.1308 | 0.1808 | 0.1236 | 0.1595 | 0.1315 | 0.1323 | 0.1401 | 0.09698 | 1.121 | 0.1525 | 0.1045 | 0.1266
595 | 0.157 | 0.1221 | 0.1252 | 0.1398 | 0.1237 | 0.2319 | 0.1177 | 0.1098 | 0.136 | 0.1496 | 0.1536 | 0.1678 | 1.001 | 0.09925 | 0.1246 | 0.09565
596 | 0.1063 | 0.07615 | 0.07685 | 0.1189 | 0.1219 | 0.1724 | 0.1004 | 0.09728 | 0.1519 | 0.1015 | 0.09421 | 0.1281 | 1.023 | 0.1553 | 0.1075 | 0.07782
597 | 0.1103 | 0.09563 | 0.118 | 0.1274 | 0.09014 | 0.1158 | 0.1582 | 0.1351 | 0.1355 | 0.09249 | 0.1332 | 0.1297 | 0.9548 | 0.1066 | 0.1242 | 0.1348
598 | 0.1348 | 0.1106 | 0.08108 | 0.1239 | 0.154 | 0.168 | 0.1226 | 0.1163 | 0.1207 | 0.1208 | 0.1082 | 0.1102 | 0.9366 | 0.08328 | 0.07061 | 0.06714
599 | 0.1289 | 0.1113 | 0.119 | 0.1109 | 0.09101 | 0.1469 | 0.08932 | 0.07761 | 0.1122 | 0.08379 | 0.1307 | 0.1266 | 0.914 | 0.1208 | 0.08569 | 0.06603
600 | 0.1259 | 0.09361 | 0.09608 | 0.1131 | 0.09837 | 0.1714 | 0.1126 | 0.1526 | 0.1062 | 0.09411 | 0.0982 | 0.09341 | 0.8884 | 0.08772 | 0.0999 | 0.1368
| 0.7218 | 0.5556 | 0.5461 | 0.5806 | 0.8057 | 0.5455 | 0.8253 | 0.6242 | 0.5449 | 0.5442 | 0.9628 | 0.9234 | 2.867 | 0.5061 | 0.5198 | 0.5784
Auto Load Range A1 - Q143

## Result Summary
Result Overview
No Summary

## Basic Information
Basic Information
| Software Version | SkanIt Software 6.1 RE for Microplate Readers RE, ver. 6.1.0.51

## Program Information
Program Information
| Program Name | New Program.skax
Session Comments
| Software Version | SkanIt Software RE for Microplate Readers RE, ver. 6.1.0.51
| Execution Time | 2022/3/16 21:06:54
| User | DESKTOP-BK9BVR7\JYK

## Instrument Information
Instrument Information
| Name |  | Varioskan LUX
| ESW Version |  | 1.00.38
| Optical Response Compensation |  | yes
| Serial Number |  | 3020-81063
Instrument Module/Component
Filter
|  | Name of Optical Component | New filter
|  | Position of Optical Component | 1
|  | Wavelength | 620
|  | Bandwidth | 10
|  | Definition Date and Time | 2021/9/8 16:05:00
Filter
|  | Name of Optical Component | New filter
|  | Position of Optical Component | 2
|  | Wavelength | 655
|  | Bandwidth | 10
|  | Definition Date and Time | 2021/9/8 16:05:00
|  | Module Name | LAT Module
|  | Module Serial Number | LL2106802
|  | Module Name | TRF Module
|  | Module Serial Number | LT210602
|  | Adapter Name for Plate | 96-well adapter for plate without lid
|  | Adapter Number for Plate | 2
|  | Incubator | yes
|  | Gas Control | no
|  | Top Optical Component | yes
|  | Bottom Optical Component | yes
|  | Pipette / Liquid Handler | yes

## Program Settings
Program Settings
| Measurement Sequence |  | 3
| Start-up Stabilization Delay |  | yes
| Temperature Check at Start [°C] |  | no
Fluorescence Spectrum 1
| Type |  | Emission Spectrum
Wavelength Range
|  | Start [nm] | 470
|  | End [nm] | 600
|  | Step [nm] | 1
| Fitting Wavelength |  | 450
| Light Path |  | Top Read
| Excitation Bandwidth [nm] |  | 5
| Dynamic Range |  | Automatic
| Measurement Time [ms] |  | 100

## Run Log
Run Log
| Time | Event | Message
| 2022/3/16 21:06:54 | Program New Program.skax Started
| 2022/3/16 21:06:54 | Temperature | 22.3°C
| 2022/3/16 21:06:54 | Step Fluorescence Spectrum 1 Started
| 2022/3/16 21:06:59 | Calibration | 1.03912 17850
| 2022/3/16 21:07:10 | Temperature | 22.4°C
| 2022/3/16 21:08:10 | Temperature | 22.3°C
| 2022/3/16 21:09:10 | Temperature | 22.3°C
| 2022/3/16 21:10:10 | Temperature | 22.3°C
| 2022/3/16 21:11:10 | Temperature | 22.3°C
| 2022/3/16 21:11:45 | Step Fluorescence Spectrum 1 Ended
| 2022/3/16 21:11:45 | Temperature | 22.3°C
| 2022/3/16 21:11:55 | Program New Program.skax Ended

## Plate and Sample
Name | Plate 1
Plate Template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
B | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1
C | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1
D
E
F
G
H