## Fluorescence Spectrum
Detection Results
New Program.skax
2022/3/17 19:49:44
Fluorescence Spectrum 1
Ex 500-560 nm，Em 488 nm
Plate 1
Wavelength | splintR 1h | splintR 0.5h | splintR 3h
500 | 420 | 3230 | 361.9
501 | 212.2 | 662.4 | 187.3
502 | 77.63 | 116.6 | 70.76
503 | 31.39 | 45.8 | 30.16
504 | 11.74 | 16.88 | 11.39
505 | 3.644 | 5.735 | 3.284
506 | 0.638 | 1.188 | 0.5441
507 | 0.296 | 0.4054 | 0.1941
508 | 0.1909 | 0.2746 | 0.173
509 | 0.2185 | 0.1067 | 0.2213
510 | 0.2273 | 0.2132 | 0.1483
511 | 0.2109 | 0.1616 | 0.1088
512 | 0.1784 | 0.08279 | 0.1306
513 | 0.1095 | 0.1973 | 0.06004
514 | 0.1425 | 0.1183 | 0.0841
515 | 0.1464 | 0.04681 | 0.1313
516 | 0.06677 | 0.1523 | 0.1025
517 | 0.1596 | 0.06674 | 0.1708
518 | 0.09472 | 0.1111 | 0.06324
519 | 0.06614 | 0.1472 | 0.09396
520 | 0.07094 | 0.1021 | 0.1423
521 | 0.07396 | 0.1063 | 0.1136
522 | 0.1121 | 0.06789 | 0.1168
523 | 0.1404 | 0.09756 | 0.0668
524 | 0.05998 | 0.08933 | 0.07669
525 | 0.07914 | 0.054 | 0.04994
526 | 0.04126 | 0.03322 | 0.06542
527 | 0.06429 | 0.1021 | 0.07502
528 | 0.04785 | 0.07725 | 0.04381
529 | 0.1209 | 0.1276 | 0.06881
530 | 0.1012 | 0.06645 | 0.07859
531 | 0.06877 | 0.03836 | 0.03922
532 | 0.1007 | 0.04255 | 0.04322
533 | 0.03865 | 0.04465 | 0.05215
534 | 0.08279 | 0.07486 | 0.07389
535 | 0.08536 | 0.09161 | 0.09156
536 | 0.05871 | 0.1015 | 0.08743
537 | 0.06866 | 0.0878 | 0.1314
538 | 0.08039 | 0.067 | 0.07594
539 | 0.04433 | 0.05861 | 0.06317
540 | 0.07728 | 0.1032 | 0.05979
541 | 0.08237 | 0.05457 | 0.04084
542 | 0.03109 | 0.1571 | 0.01036
543 | 0.06904 | 0.08908 | 0.03474
544 | 0.07604 | 0.06304 | 0.02932
545 | 0.05163 | 0.0754 | 0.08232
546 | 0.04724 | 0.0598 | 0.02008
547 | 0.02528 | 0.0829 | 0.002722
548 | 0.03866 | 0.05494 | 0.01233
549 | 0.03847 | 0.05117 | 0.05935
550 | 0.01386 | 0.1062 | 0.03529
551 | 0.02367 | 0.02168 | 0.04435
552 | 0.01533 | 0.03597 | 0.01894
553 | 0.02634 | 0.05821 | 0.02272
554 | 0.02086 | 0.04792 | 0.001355
555 | -0.000126 | 0.07719 | 0.03124
556 | 0.01027 | 0.04991 | 0.04195
557 | 0.01584 | 0.02525 | 0.02301
558 | -0.02228 | 0.03896 | 0.01217
559 | 0.02475 | 0.02733 | 0.01736
560 | 0.01491 | 0.0515 | 0.03287
Auto Load Range A1 - D73

## Result Summary
Result Overview
No Summary

## Basic Information
Basic Information
| Software Version | SkanIt Software 6.1 RE for Microplate Readers RE, ver. 6.1.0.51

## Program Information
Program Information
| Program Name | New Program2.skax
Session Comments
| Software Version | SkanIt Software RE for Microplate Readers RE, ver. 6.1.0.51
| Execution Time | 2022/3/17 19:49:44
| User | DESKTOP-BK9BVR7\JYK

## Instrument Information
Instrument Information
| Name |  | Varioskan LUX
| ESW Version |  | 1.00.38
| Optical Response Compensation |  | yes
| Serial Number |  | 3020-81063
Instrument Module/Component
Filter
|  | Name of Optical Component | New filter
|  | Position of Optical Component | 1
|  | Wavelength | 620
|  | Bandwidth | 10
|  | Definition Date and Time | 2021/9/8 16:05:00
Filter
|  | Name of Optical Component | New filter
|  | Position of Optical Component | 2
|  | Wavelength | 655
|  | Bandwidth | 10
|  | Definition Date and Time | 2021/9/8 16:05:00
|  | Module Name | LAT Module
|  | Module Serial Number | LL2106802
|  | Module Name | TRF Module
|  | Module Serial Number | LT210602
|  | Adapter Name for Plate | 96-well adapter for plate without lid
|  | Adapter Number for Plate | 2
|  | Incubator | yes
|  | Gas Control | no
|  | Top Optical Component | yes
|  | Bottom Optical Component | yes
|  | Pipette / Liquid Handler | yes

## Program Settings
Program Settings
| Measurement Sequence |  | 3
| Start-up Stabilization Delay |  | yes
| Temperature Check at Start [°C] |  | no
Fluorescence Spectrum 1
| Type |  | Emission Spectrum
Wavelength Range
|  | Start [nm] | 500
|  | End [nm] | 560
|  | Step [nm] | 1
| Fitting Wavelength |  | 488
| Light Path |  | Top Read
| Excitation Bandwidth [nm] |  | 5
| Dynamic Range |  | Automatic
| Measurement Time [ms] |  | 100

## Run Log
Run Log
| Time | Event | Message
| 2022/3/17 19:49:44 | Program New Program.skax Started
| 2022/3/17 19:49:44 | Temperature | 23.8°C
| 2022/3/17 19:49:45 | Step Fluorescence Spectrum 1 Started
| 2022/3/17 19:49:51 | Temperature | 23.8°C
| 2022/3/17 19:50:13 | Step Fluorescence Spectrum 1 Ended
| 2022/3/17 19:50:13 | Temperature | 23.8°C
| 2022/3/17 19:50:23 | Program New Program.skax Ended

## Plate and Sample
Name | Plate 1
Plate Template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D |  |  |  | Blank1 | Blank1 | Blank1
|  |  |  | Group 1 | Group 1 | Group 1
E
F
G
H