## Sheet1
ITEM TO CHECK | IMPORTANCE | CHECKLIST
EXPERIMENTAL DESIGN
Definition of experimental and control groups | E | Present in materials and methods
Number within each group | E | Present in materials and methods
Assay carried out by core lab or investigator's lab? | D | Investigator’s laboratory
Acknowledgement of authors' contributions | D | Present in Contributions
SAMPLE
Description | E | Present in materials and methods
Volume/mass of sample processed | D | NA
Microdissection or macrodissection | E | NA
Processing procedure | E | Present in materials and methods
If frozen - how and how quickly? | E | Present in materials and methods
If fixed - with what, how quickly? | E | NA
Sample storage conditions and duration (especially for FFPE samples) | E | Present in materials and methods
NUCLEIC ACID EXTRACTION
Procedure and/or instrumentation | E | Present in materials and methods
Name of kit and details of any modifications | E | Present in materials and methods
Source of additional reagents used | D | NA
Details of DNase or RNAse treatment | E | Present in materials and methods
Contamination assessment (DNA or RNA) | E | Present in materials and methods
Nucleic acid quantification | E | Present in materials and methods
Instrument and method | E | Present in materials and methods
Purity (A260/A280) | D | NA
Yield | D | Present in Table S3
RNA integrity method/instrument | E | Present in materials and methods
RIN/RQI or Cq of 3' and 5' transcripts | E | Present in Table S3
Electrophoresis traces | D | NA
Inhibition testing (Cq dilutions, spike or other) | E | NA
REVERSE TRANSCRIPTION
Complete reaction conditions | E | Present in materials and methods
Amount of RNA and reaction volume | E | Present in materials and methods
Priming oligonucleotide (if using GSP) and concentration | E | Present in materials and methods
Reverse transcriptase and concentration | E | Present in materials and methods
Temperature and time | E | Present in materials and methods
Manufacturer of reagents and catalogue numbers | D | NA
Cqs with and without RT | D* | NA
Storage conditions of cDNA | D | NA
qPCR TARGET INFORMATION
If multiplex, efficiency and LOD of each assay. | E | Present in Table S1
Sequence accession number | E | Present in Table S1
Location of amplicon | D | NA
Amplicon length | E | Present in Table S1
In silico specificity screen (BLAST, etc) | E | Present in Table S1
Pseudogenes, retropseudogenes or other homologs? | D | NA
Sequence alignment | D | NA
Secondary structure analysis of amplicon | D | NA
Location of each primer by exon or intron (if applicable) | E | NA
What splice variants are targeted? | E | NA
qPCR OLIGONUCLEOTIDES
Primer sequences | E | Present in Table S2
RTPrimerDB Identification Number | D | NA
Probe sequences | D** | NA
Location and identity of any modifications | E | NA
Manufacturer of oligonucleotides | D | Present in materials and methods
Purification method | D | NA
qPCR PROTOCOL
Complete reaction conditions | E | Present in materials and methods
Reaction volume and amount of cDNA/DNA | E | Present in materials and methods
Primer, (probe), Mg++ and dNTP concentrations | E | Present in materials and methods
Polymerase identity and concentration | E | Present in materials and methods
Buffer/kit identity and manufacturer | E | Present in materials and methods
Exact chemical constitution of the buffer | D | NA
Additives (SYBR Green I, DMSO, etc.) | E | Present in materials and methods
Manufacturer of plates/tubes and catalog number | D | NA
Complete thermocycling parameters | E | Present in materials and methods
Reaction setup (manual/robotic) | D | NA
Manufacturer of qPCR instrument | E | Present in materials and methods
qPCR VALIDATION
Evidence of optimisation (from gradients) | D | NA
Specificity (gel, sequence, melt, or digest) | E | Melting curve analysis had a single peak
For SYBR Green I, Cq of the NTC | E | NA
Standard curves with slope and y-intercept | E | NA
PCR efficiency calculated from slope | E | PCR efficiency ranged from 92%-98%
Confidence interval for PCR efficiency or standard error | D | NA
r2 of standard curve | E | NA
Linear dynamic range | E | NA
Cq variation at lower limit | E | NA
Confidence intervals throughout range | D | NA
Evidence for limit of detection | E | NA
If multiplex, efficiency and LOD of each assay. | E | NA
DATA ANALYSIS
qPCR analysis program (source, version) | E | Present in materials and methods
Cq method determination | E | Present in materials and methods
Outlier identification and disposition | E | No outliers were identified
Results of NTCs | E | No available Cq value for all NTCs
Justification of number and choice of reference genes | E | Present in materials and methods
Description of normalisation method | E | Present in materials and methods
Number and concordance of biological replicates | D | NA
Number and stage (RT or qPCR) of technical replicates | E | Present in materials and methods
Repeatability (intra-assay variation) | E | Present in Table S3
Reproducibility (inter-assay variation, %CV) | D | NA
Power analysis | D | NA
Statistical methods for result significance | E | NA
Software (source, version) | E | NA
Cq or raw data submission using RDML | D | NA