## dMIQE2020
ITEM TO CHECK | PROVIDED | COMMENT
Column1 | Y/N | Column2 | Y | Y | raw data uploaded to online repository with ID:
1. SPECIMEN |  |  | N | N | raw data included as supplemental files:
Detailed description of specimen type and numbers | Y | Methods of Main Text, lines 142-159 page 5 |  | NA | raw data available on request:
Sampling procedure (including time to storage) | Y | Methods of Main Text, lines 161-163, page 5 |  |  | raw data not available:
Sample aliquotation, storage conditions and duration | Y | Methods of Main Text, lines 165-169, page 5
2. NUCLEIC ACID EXTRACTION
Description of extraction method including amount of sample processed | Y | Methods of Main Text and References in Methods, lines 171-173, and in Data Descriptor reference Boehm et al. 2024
Volume of solvent used to elute/resuspend extract | Y | Methods of Main Text and References in Methods. lines 171-173, and in Data Descriptor reference Boehm et al. 2024
Number of extraction replicates | Y | Methods of Main Text, lines 175-177, page 5
Extraction blanks included? | Y | Methods of Main Text, line 199-200, page 6
3. NUCLEIC ACID ASSESSMENT AND STORAGE
Method to evaluate quality of nucleic acids | N | NA
Method to evaluate quantity of nucleic acids (including molecular weight and calculations when using mass) | N | NA
Storage conditions: temperature, concentration, duration, buffer, aliquots | Y | Methods of Main Text, line 177-180 page 5
Clear description of dilution steps used to prepare working DNA solution | Y | Methods of Main Text, line 209-210, page 6
4. NUCLEIC ACID MODIFICATION
Template modification (digestion, sonication, pre-amplification, bisulphite etc.) | N | NA
Details of repurification following modification if performed | N | NA
5. REVERSE TRANSCRIPTION
cDNA priming method and concentration | N | NA
One or two step protocol (include reaction details for two step) | Y | Methods of Main Text, line 205, page 6
Amount of RNA added per reaction | N | None done
Detailed reaction components and conditions | Y | Methods of Main Text, lines 204-211, page 6
Estimated copies measured with and without addition of RT* | N | Not Done
Manufacturer of reagents used with catalogue and lot numbers | N | In methids and in References in Methods for data Descriptor (Boehm et al. 2024), also line 206, page 6
Storage of cDNA: temperature, concentration, duration, buffer and aliquots | N | NA
6. dPCR OLIGONUCLEOTIDES DESIGN AND TARGET INFORMATION
Sequence accession number or official gene symbol | Y | Methods of Main Text, see reference for original assay, line 123, page 4
Method (software) used for design and in silico verification | Y | We did not design the assay, methods for in silico verification on lines 131-135, page 4
Location of amplicon | Y | Methods of Main Text, see reference for original assay, line 123, page 4
Amplicon length | N | In reference for assay, we did not design the assay
Primer and probe sequences (or amplicon context sequence)** | Y | Table 1
Location and identity of any modifications | N | NA
Manufacturer of oligonucleotides | Y | Methods in Main Text, line 208-209 page 6
7. dPCR PROTOCOL
Manufacturer of dPCR instrument and instrument model | Y | Methods of Main Text and References in Methods, lines 213-223, page 6
Buffer/kit manufacturer with catalogue and lot number | Y | Methods of Main Text and References in Methods, line 206, page 6
Primer and probe concentration | Y | Methods of Main Text, lines 204-210, page 6
Pre-reaction volume and composition (incl. amount of template and if restriction enzyme added) | Y | Methods of Main Text, lines 204-210, page 6
Template treatment (initial heating or chemical denaturation) | N | NA
Polymerase identity and concentration, Mg++ and dNTP concentrations*** | N | Included in Kit Manuals
Complete thermocycling parameters | Y | Methods of Main Text, lines 215-220, page 6
8. ASSAY VALIDATION
Details of optimisation performed | N | Commercial Kit
Analytical specificity (vs. related sequences) and limit of blank (LOB) | N | Provided in assay reference, also methods lines 131-135, page 4
Analytical sensitivity/LoD and how this was evaluated | Y | Methods of Main Text and References in Methods, lines 227-228, page 7
Testing for inhibitors (from biological matrix/extraction) | Y | Methods of Main Text and References in Methods (Boehm et al data descriptor) lines 172-175, page 5 |  |  | v
9. DATA ANALYSIS
Description of dPCR experimental design | Y | Methods of Main Text
Comprehensive details negative and positive of controls (whether applied for QC or for estimation of error) | Y | Methods of Main Text, lines 274-275, page 8
Partition classification method (thresholding) | Y | Methods of Main Text, lines 225-228, page 7
Examples of positive and negative experimental results (including fluorescence plots in supplemental material) | Y | Supporting Information, provided in digital repository , https://purl.stanford.edu/pp102gy1970
Description of technical replication | Y | Methods of Main Text, lines 194-196, page 6
Repeatability (intra-experiment variation) | Y | Errors on replicates reported in Main Text, lines 231-233, page 7
Reproducibility (inter-experiment/user/lab etc. variation ) | N | Assays were only completed within one laboratory
Number of partitions measured (average and standard deviation ) | Y | Supporting Information, provided in digital repository, https://purl.stanford.edu/pp102gy1970
Partition volume | Y | Supporting Information, provided in digital repository, https://purl.stanford.edu/pp102gy1970
Copies per partition (λ or equivalent ) (average and standard deviation) | Y | Supporting Information, provided in digital repository, https://purl.stanford.edu/pp102gy1970
dPCR analysis program (source, version) | Y | Methods of Main Text, lines 225-228, page 7
Description of normalisation method | N | NA
Statistical methods used for analysis | Y | Methods of Main Text, lines 25-0-262, page 7
Data transparency | raw data uploaded to online repository with ID: | https://purl.stanford.edu/pp102gy1970