## data
Rutin
Data# | data name | sample name | sample type | Level number | retention time | area | concentration (ng/ml) | normal concentration | calibrated point | Sample bottle number | S/N | noise
1 | Mixed standard substance001.lcd | Mixed standard substance001 | Standard | 1 | 5.495 | 517 | 0.247 | 0.25 | 1 | 1 | (INF) | 0
2 | Mixed standard substance002.lcd | Mixed standard substance002 | Standard | 2 | 5.507 | 971 | 0.433 | 0.5 | 1 | 2 | (INF) | 0
3 | Mixed standard substance003.lcd | Mixed standard substance003 | Standard | 3 | 5.481 | 2645 | 1.119 | 1 | 1 | 3 | (INF) | 0
4 | Mixed standard substance004.lcd | Mixed standard substance004 | Standard | 4 | 5.484 | 4824 | 2.012 | 2 | 1 | 4 | 624.47 | 1.35
5 | Mixed standard substance005.lcd | Mixed standard substance005 | Standard | 5 | 5.5 | 10127 | 4.184 | 4 | 1 | 5 | (INF) | 0
6 | Mixed standard substance006.lcd | Mixed standard substance006 | Standard | 6 | 5.503 | 19188 | 7.897 | 8 | 1 | 6 | (INF) | 0
7 | Mixed standard substance007.lcd | Mixed standard substance007 | Standard | 7 | 5.507 | 38115 | 15.652 | 16 | 1 | 7 | 2369.67 | 2.81
8 | Mixed standard substance008.lcd | Mixed standard substance008 | Standard | 8 | 5.504 | 74682 | 30.635 | 32 | 1 | 8 | 13775.33 | 0.92
9 | Mixed standard substance009.lcd | Mixed standard substance009 | Standard | 9 | 5.499 | 140559 | 57.628 | 64 | 1 | 9 | 3189.42 | 7.37
10 | Mixed standard substance010.lcd | Mixed standard substance010 | Standard | 10 | 5.489 | 285800 | 117.139 | 128 | 1 | 10 | 5558.14 | 9.04
11 | Mixed standard substance011.lcd | Mixed standard substance011 | Standard | 11 | 5.496 | 707840 | 290.065 | 256 | 0 | 11 | 9860.57 | 14.07
12 | Mixed standard substance012.lcd | Mixed standard substance012 | Standard | 12 | 5.491 | 1799797 | 737.484 | 512 | 0 | 12 | 12638.17 | 26.94
13 | Mixed standard substance013.lcd | Mixed standard substance013 | Standard | 13 | 5.491 | 3715611 | 1522.469 | 1024 | 0 | 13 | 17556.42 | 37.18
16 | soil-based cultivation001.lcd | soil-based cultivation001 | unknown | 0 | 5.501 | 6991 | 2.9 | ----- | ----- | 14 | 46.21 | 27.21
17 | soil-based cultivation002.lcd | soil-based cultivation002 | unknown | 0 | 5.492 | 6814 | 2.827 | ----- | ----- | 15 | 63.81 | 19.49
24 | soil-based cultivation003.lcd | soil-based cultivation003 | unknown | 0 | 5.502 | 12951 | 5.342 | ----- | ----- | 16 | 75.94 | 31.96
20 | hydroponics001.lcd | hydroponics001 | unknown | 0 | 5.479 | 683 | 0.315 | ----- | ----- | 17 | 43.02 | 3.18
21 | hydroponics002.lcd | hydroponics002 | unknown | 0 | 5.517 | 1001 | 0.445 | ----- | ----- | 18 | 185.78 | 1.24
28 | hydroponics003.lcd | hydroponics003 | unknown | 0 | 5.488 | 1301 | 0.568 | ----- | ----- | 19 | 54.06 | 3.85
Narcissin
Data# | data name | sample name | sample type | Level number | retention time | area | concentration (ng/ml) | normal concentration | calibrated point | Sample bottle number | S/N | noise
1 | Mixed standard substance001.lcd | Mixed standard substance001 | Standard | 1 | 5.709 | 416 | 0.252 | 0.25 | 1 | 1 | 123.53 | 0.88
2 | Mixed standard substance002.lcd | Mixed standard substance002 | Standard | 2 | 5.741 | 972 | 0.478 | 0.5 | 1 | 2 | 532.3 | 0.41
3 | Mixed standard substance003.lcd | Mixed standard substance003 | Standard | 3 | 5.721 | 2010 | 0.898 | 1 | 1 | 3 | 987.81 | 0.44
4 | Mixed standard substance004.lcd | Mixed standard substance004 | Standard | 4 | 5.743 | 4463 | 1.893 | 2 | 1 | 4 | (INF) | 0
5 | Mixed standard substance005.lcd | Mixed standard substance005 | Standard | 5 | 5.732 | 9459 | 3.918 | 4 | 1 | 5 | 2432.59 | 0.7
6 | Mixed standard substance006.lcd | Mixed standard substance006 | Standard | 6 | 5.74 | 18298 | 7.5 | 8 | 1 | 6 | 1702.69 | 1.88
7 | Mixed standard substance007.lcd | Mixed standard substance007 | Standard | 7 | 5.746 | 41849 | 17.046 | 16 | 1 | 7 | 9948.29 | 0.69
8 | Mixed standard substance008.lcd | Mixed standard substance008 | Standard | 8 | 5.738 | 80425 | 32.682 | 32 | 1 | 8 | 3465.85 | 4.05
9 | Mixed standard substance009.lcd | Mixed standard substance009 | Standard | 9 | 5.726 | 156213 | 63.4 | 64 | 1 | 9 | 3762.18 | 6.96
10 | Mixed standard substance010.lcd | Mixed standard substance010 | Standard | 10 | 5.718 | 302790 | 122.81 | 128 | 1 | 10 | 5393.35 | 9.39
11 | Mixed standard substance011.lcd | Mixed standard substance011 | Standard | 11 | 5.724 | 592331 | 240.167 | 256 | 0 | 11 | 4553.13 | 22.08
12 | Mixed standard substance012.lcd | Mixed standard substance012 | Standard | 12 | 5.727 | 1372842 | 556.524 | 512 | 0 | 12 | 12014.74 | 19.36
13 | Mixed standard substance013.lcd | Mixed standard substance013 | Standard | 13 | 5.729 | 3156346 | 1279.413 | 1024 | 0 | 13 | 11812.89 | 46.33
16 | soil-based cultivation001.lcd | soil-based cultivation001 | unknown | 0 | 5.728 | 33725 | 13.753 | ----- | ----- | 14 | 18.16 | 324.83
17 | soil-based cultivation002.lcd | soil-based cultivation002 | unknown | 0 | 5.726 | 35554 | 14.495 | ----- | ----- | 15 | 20.02 | 306.42
24 | soil-based cultivation003.lcd | soil-based cultivation003 | unknown | 0 | 5.741 | 37728 | 15.375 | ----- | ----- | 18 | 18.15 | 355.62
20 | hydroponics001.lcd | hydroponics001 | unknown | 0 | 5.728 | 9514 | 3.94 | ----- | ----- | 16 | 27.29 | 54.63
21 | hydroponics002.lcd | hydroponics002 | unknown | 0 | 5.726 | 8897 | 3.69 | ----- | ----- | 17 | 27.67 | 63.99
28 | hydroponics003.lcd | hydroponics003 | unknown | 0 | 5.733 | 12127 | 4.999 | ----- | ----- | 19 | 33.84 | 65.21
Quercetin
Data# | data name | sample name | sample type | Level number | retention time | area | concentration (ng/ml) | normal concentration | calibrated point | Sample bottle number | S/N | noise
1 | Mixed standard substance001.lcd | Mixed standard substance001 | Standard | 1 | 6.021 | 1306 | 0.233 | 0.25 | 1 | 1 | 53.14 | 6.65
2 | Mixed standard substance002.lcd | Mixed standard substance002 | Standard | 2 | 6.032 | 3581 | 0.495 | 0.5 | 1 | 2 | 54.4 | 11.6
3 | Mixed standard substance003.lcd | Mixed standard substance003 | Standard | 3 | 6.048 | 9448 | 1.17 | 1 | 1 | 3 | 543.52 | 2.6
4 | Mixed standard substance004.lcd | Mixed standard substance004 | Standard | 4 | 6.032 | 15877 | 1.909 | 2 | 1 | 4 | 601.09 | 4.66
5 | Mixed standard substance005.lcd | Mixed standard substance005 | Standard | 5 | 6.039 | 29318 | 3.455 | 4 | 1 | 5 | 1035.38 | 5.02
6 | Mixed standard substance006.lcd | Mixed standard substance006 | Standard | 6 | 6.038 | 65829 | 7.654 | 8 | 1 | 6 | 1177.55 | 9.61
7 | Mixed standard substance007.lcd | Mixed standard substance007 | Standard | 7 | 6.049 | 122582 | 14.182 | 16 | 1 | 7 | 1506.17 | 14.14
8 | Mixed standard substance008.lcd | Mixed standard substance008 | Standard | 8 | 6.041 | 270972 | 31.249 | 32 | 1 | 8 | 2351.41 | 19.64
9 | Mixed standard substance009.lcd | Mixed standard substance009 | Standard | 9 | 6.033 | 564382 | 64.996 | 64 | 1 | 9 | 5254.65 | 18.25
10 | Mixed standard substance010.lcd | Mixed standard substance010 | Standard | 10 | 6.024 | 1131670 | 130.243 | 128 | 1 | 10 | 5720.18 | 32.94
11 | Mixed standard substance011.lcd | Mixed standard substance011 | Standard | 11 | 6.028 | 2192325 | 252.236 | 256 | 0 | 11 | 12258.84 | 29.85
12 | Mixed standard substance012.lcd | Mixed standard substance012 | Standard | 12 | 6.028 | 3836564 | 441.35 | 512 | 0 | 12 | 7309.43 | 79.57
13 | Mixed standard substance013.lcd | Mixed standard substance013 | Standard | 13 | 6.032 | 6684260 | 768.881 | 1024 | 0 | 13 | 6176.07 | 160.63
16 | soil-based cultivation001.lcd | soil-based cultivation001 | unknown | 0 | 6.039 | 110290 | 12.768 | ----- | ----- | 14 | 162.94 | 117.12
17 | soil-based cultivation002.lcd | soil-based cultivation002 | unknown | 0 | 6.031 | 117101 | 13.551 | ----- | ----- | 15 | 165.18 | 117.2
24 | soil-based cultivation003.lcd | soil-based cultivation003 | unknown | 0 | 6.043 | 119115 | 13.783 | ----- | ----- | 18 | 311.42 | 64.66
20 | hydroponics001.lcd | hydroponics001 | unknown | 0 | 6.105 | 3766 | 0.516 | ----- | ----- | 16 | 27.42 | 17.21
21 | hydroponics002.lcd | hydroponics002 | unknown | 0 | 6.111 | 4010 | 0.544 | ----- | ----- | 17 | 55 | 9.19
28 | hydroponics003.lcd | hydroponics003 | unknown | 0 | 6.107 | 3302 | 0.463 | ----- | ----- | 19 | 28.13 | 20.08
Kaempferol
Data# | data name | sample name | sample type | Level number | retention time | area | concentration (ng/ml) | normal concentration | calibrated point | Sample bottle number | S/N | noise
1 | Mixed standard substance001.lcd | Mixed standard substance001 | Standard | 1 | 6.296 | 306 | 0.228 | 0.25 | 1 | 1 | (INF) | 0
2 | Mixed standard substance002.lcd | Mixed standard substance002 | Standard | 2 | 6.295 | 777 | 0.565 | 0.5 | 1 | 2 | (INF) | 0
3 | Mixed standard substance003.lcd | Mixed standard substance003 | Standard | 3 | 6.29 | 1319 | 0.953 | 1 | 1 | 3 | 437.24 | 0.67
4 | Mixed standard substance004.lcd | Mixed standard substance004 | Standard | 4 | 6.287 | 2379 | 1.712 | 2 | 1 | 4 | 469.64 | 1.05
5 | Mixed standard substance005.lcd | Mixed standard substance005 | Standard | 5 | 6.296 | 5961 | 4.275 | 4 | 1 | 5 | 644.54 | 1.55
6 | Mixed standard substance006.lcd | Mixed standard substance006 | Standard | 6 | 6.292 | 11235 | 8.049 | 8 | 1 | 6 | 1680.53 | 1.16
7 | Mixed standard substance007.lcd | Mixed standard substance007 | Standard | 7 | 6.305 | 19505 | 13.968 | 16 | 1 | 7 | 766.33 | 4.25
8 | Mixed standard substance008.lcd | Mixed standard substance008 | Standard | 8 | 6.304 | 45026 | 32.232 | 32 | 1 | 8 | 4621.03 | 1.61
9 | Mixed standard substance009.lcd | Mixed standard substance009 | Standard | 9 | 6.294 | 87550 | 62.664 | 64 | 1 | 9 | 6447.92 | 2.32
10 | Mixed standard substance010.lcd | Mixed standard substance010 | Standard | 10 | 6.288 | 174178 | 124.659 | 128 | 1 | 10 | 6141.44 | 4.82
11 | Mixed standard substance011.lcd | Mixed standard substance011 | Standard | 11 | 6.287 | 313802 | 224.58 | 256 | 0 | 11 | 4732.1 | 10.66
12 | Mixed standard substance012.lcd | Mixed standard substance012 | Standard | 12 | 6.288 | 548621 | 392.628 | 512 | 0 | 12 | 5944.76 | 14.44
13 | Mixed standard substance013.lcd | Mixed standard substance013 | Standard | 13 | 6.292 | 965174 | 690.731 | 1024 | 0 | 13 | 6967.55 | 20.55
16 | soil-based cultivation001.lcd | soil-based cultivation001 | unknown | 0 | 6.302 | 52159 | 37.337 | ----- | ----- | 14 | 589.17 | 15.74
17 | soil-based cultivation002.lcd | soil-based cultivation002 | unknown | 0 | 6.291 | 54230 | 38.819 | ----- | ----- | 15 | 459.84 | 20.22
24 | soil-based cultivation003.lcd | soil-based cultivation003 | unknown | 0 | 6.305 | 79012 | 56.554 | ----- | ----- | 18 | 546.46 | 24.51
20 | hydroponics001.lcd | hydroponics001 | unknown | 0 | 6.146 | 94 | 0.077 | ----- | ----- | 16 | 2.66 | 16.57
21 | hydroponics002.lcd | hydroponics002 | unknown | 0 | 6.27 | 278 | 0.208 | ----- | ----- | 17 | 4.31 | 13.46
28 | hydroponics003.lcd | hydroponics003 | unknown | 0 | 6.398 | 1083 | 0.784 | ----- | ----- | 19 | 14.85 | 14.95
Isorhamnetin
Data# | data name | sample name | sample type | Level number | retention time | area | concentration (ng/ml) | normal concentration | calibrated point | Sample bottle number | S/N | noise
1 | Mixed standard substance001.lcd | Mixed standard substance001 | Standard | 1 | 5.553 | 94 | -0.099 | 0.25 | 0 | 1 | 75.27 | 0.58
2 | Mixed standard substance002.lcd | Mixed standard substance002 | Standard | 2 | 5.549 | 1485 | 0.508 | 0.5 | 1 | 2 | (INF) | 0
3 | Mixed standard substance003.lcd | Mixed standard substance003 | Standard | 3 | 5.53 | 2428 | 0.919 | 1 | 1 | 3 | (INF) | 0
4 | Mixed standard substance004.lcd | Mixed standard substance004 | Standard | 4 | 5.518 | 4595 | 1.865 | 2 | 1 | 4 | 669.19 | 1.25
5 | Mixed standard substance005.lcd | Mixed standard substance005 | Standard | 5 | 5.524 | 9140 | 3.847 | 4 | 1 | 5 | (INF) | 0
6 | Mixed standard substance006.lcd | Mixed standard substance006 | Standard | 6 | 5.533 | 17578 | 7.527 | 8 | 1 | 6 | 3353.16 | 1.02
7 | Mixed standard substance007.lcd | Mixed standard substance007 | Standard | 7 | 5.546 | 39044 | 16.889 | 16 | 1 | 7 | 1559.91 | 4.35
8 | Mixed standard substance008.lcd | Mixed standard substance008 | Standard | 8 | 5.54 | 76101 | 33.051 | 32 | 1 | 8 | 2405.68 | 5.7
9 | Mixed standard substance009.lcd | Mixed standard substance009 | Standard | 9 | 5.534 | 141414 | 61.537 | 64 | 1 | 9 | 1841.84 | 13.54
10 | Mixed standard substance010.lcd | Mixed standard substance010 | Standard | 10 | 5.522 | 271176 | 118.132 | 128 | 1 | 10 | 3082.77 | 14.59
11 | Mixed standard substance011.lcd | Mixed standard substance011 | Standard | 11 | 5.522 | 598964 | 261.095 | 256 | 1 | 11 | 4216.84 | 25.17
12 | Mixed standard substance012.lcd | Mixed standard substance012 | Standard | 12 | 5.524 | 1316555 | 574.068 | 512 | 0 | 12 | 6854.14 | 35.29
13 | Mixed standard substance013.lcd | Mixed standard substance013 | Standard | 13 | 5.525 | 2582112 | 1126.034 | 1024 | 0 | 13 | 8850.62 | 47.84
16 | soil-based cultivation001.lcd | soil-based cultivation001 | unknown | 0 | 5.532 | 275633 | 120.076 | ----- | ----- | 14 | 5285.66 | 9.33
17 | soil-based cultivation002.lcd | soil-based cultivation002 | unknown | 0 | 5.522 | 281494 | 122.632 | ----- | ----- | 15 | 3884.07 | 12.91
24 | soil-based cultivation003.lcd | soil-based cultivation003 | unknown | 0 | 5.534 | 386879 | 168.596 | ----- | ----- | 18 | 4246.46 | 15.98
20 | hydroponics001.lcd | hydroponics001 | unknown | 0 | 5.529 | 3767 | 1.503 | ----- | ----- | 16 | 138.83 | 4.77
21 | hydroponics002.lcd | hydroponics002 | unknown | 0 | 5.534 | 4781 | 1.945 | ----- | ----- | 17 | 102.28 | 7.04
28 | hydroponics003.lcd | hydroponics003 | unknown | 0 | 5.521 | 5066 | 2.07 | ----- | ----- | 19 | 149.43 | 6.6
Isorhamnetin
Data# | data name | sample name | sample type | Level number | retention time | area | concentration (ng/ml) | normal concentration | calibrated point | Sample bottle number | S/N | noise
1 | Mixed standard substance001.lcd | Mixed standard substance001 | Standard | 1 | 6.335 | 707 | -0.337 | 0.025 | 0 | 1 | (INF) | 0
2 | Mixed standard substance002.lcd | Mixed standard substance002 | Standard | 2 | 6.366 | 1768 | -0.296 | 0.05 | 0 | 2 | (INF) | 0
3 | Mixed standard substance003.lcd | Mixed standard substance003 | Standard | 3 | 6.335 | 3088 | -0.246 | 0.1 | 0 | 3 | 87.45 | 5.34
4 | Mixed standard substance004.lcd | Mixed standard substance004 | Standard | 4 | 6.333 | 6689 | -0.109 | 0.2 | 1 | 4 | 1651.95 | 0.67
5 | Mixed standard substance005.lcd | Mixed standard substance005 | Standard | 5 | 6.352 | 13877 | 0.165 | 0.4 | 1 | 5 | 258.09 | 8.75
6 | Mixed standard substance006.lcd | Mixed standard substance006 | Standard | 6 | 6.335 | 20968 | 0.436 | 0.8 | 1 | 6 | 971.2 | 3.71
7 | Mixed standard substance007.lcd | Mixed standard substance007 | Standard | 7 | 6.356 | 44693 | 1.341 | 1.6 | 1 | 7 | 2218.28 | 3.32
8 | Mixed standard substance008.lcd | Mixed standard substance008 | Standard | 8 | 6.35 | 91860 | 3.14 | 3.2 | 1 | 8 | 23626.26 | 0.67
9 | Mixed standard substance009.lcd | Mixed standard substance009 | Standard | 9 | 6.343 | 197149 | 7.157 | 6.4 | 1 | 9 | 3577.38 | 9.64
10 | Mixed standard substance010.lcd | Mixed standard substance010 | Standard | 10 | 6.338 | 356508 | 13.235 | 12.8 | 1 | 10 | 7135.4 | 8.36
11 | Mixed standard substance011.lcd | Mixed standard substance011 | Standard | 11 | 6.343 | 650084 | 24.434 | 25.6 | 1 | 11 | 7095.74 | 16.04
12 | Mixed standard substance012.lcd | Mixed standard substance012 | Standard | 12 | 6.348 | 1172691 | 44.369 | 51.2 | 0 | 12 | 10022.61 | 18.85
13 | Mixed standard substance013.lcd | Mixed standard substance013 | Standard | 13 | 6.348 | 2209066 | 83.902 | 102.4 | 0 | 13 | 26617.43 | 12.81
16 | soil-based cultivation001.lcd | soil-based cultivation001 | unknown | 0 | 6.339 | 407623 | 15.185 | ----- | ----- | 14 | 1249.48 | 51.67
17 | soil-based cultivation002.lcd | soil-based cultivation002 | unknown | 0 | 6.326 | 413085 | 15.394 | ----- | ----- | 15 | 1102.64 | 58.08
24 | soil-based cultivation003.lcd | soil-based cultivation003 | unknown | 0 | 6.336 | 614494 | 23.076 | ----- | ----- | 18 | 1008.65 | 102.5
20 | hydroponics001.lcd | hydroponics001 | unknown | 0 | 6.322 | 78996 | 2.649 | ----- | ----- | 16 | 775.84 | 14.96
21 | hydroponics002.lcd | hydroponics002 | unknown | 0 | 6.323 | 82472 | 2.782 | ----- | ----- | 17 | 849.11 | 14.99
28 | hydroponics003.lcd | hydroponics003 | unknown | 0 | 6.321 | 122646 | 4.315 | ----- | ----- | 19 | 1123.21 | 17.35

## statistics
ARENVs were diluted 4 times with PBS, and then 50 ul was added to 200 ul of methanol for precipitation. After centrifugation twice, the sample was then tested.
| soil-based cultivation | [5 empty] | hydroponics
measured concentration（ng/ml) | Rutin | Narcissin | Quercetin | Kaempferol | Isorhamnetin | Isorhamnetin | Rutin | Narcissin | Quercetin | Kaempferol | Isorhamnetin | Isorhamnetin
| 2.9 | 13.753 | 12.768 | 37.337 | 120.076 | 15.185 | 0.315 | 3.94 | 0.516 | 0.077 | 1.503 | 2.649
| 2.827 | 14.495 | 13.551 | 38.819 | 122.632 | 15.394 | 0.445 | 3.69 | 0.544 | 0.208 | 1.945 | 2.782
| 5.342 | 15.375 | 13.783 | 56.554 | 168.596 | 23.076 | 0.568 | 4.999 | 0.463 | 0.784 | 2.07 | 4.315
concentration(ng/100g A. roxburghii) | Rutin | Narcissin | Quercetin | Kaempferol | Isorhamnetin | Isorhamnetin | Rutin | Narcissin | Quercetin | Kaempferol | Isorhamnetin | Isorhamnetin
| 23.2 | 110.024 | 102.144 | 298.696 | 960.608 | 121.48 | 2.52 | 31.52 | 4.128 | 0.616 | 12.024 | 21.192
| 22.616 | 115.96 | 108.408 | 310.552 | 981.056 | 123.152 | 3.56 | 29.52 | 4.352 | 1.664 | 15.56 | 22.256
| 42.736 | 123 | 110.264 | 452.432 | 1348.768 | 184.608 | 4.544 | 39.992 | 3.704 | 6.272 | 16.56 | 34.52