
QPCR Experiment Report

1 Reagents
	PCR-related Reagents
	Manufacturer

	Water-free Ethanol
	Chengdu Kelong Chemical Products Co., Ltd.

	TRizol
	Ambion

	Primer
	Qingke Biology

	chloroform
	Chengdu Gurda Adhesive Industry Co., LTD

	RNase-free water
	Saiweier

	Isopropyl alcohol
	Chengdu Kelong Chemical Products Co., Ltd.


2 Instruments  

	PCR -related Instruments
	Manufacturer

	S1000™ Thermal Cycler Ordinary PCR instrument
	BIO-RAD

	CFX ConnectReal-time quantitative fluorescence PCR instrument
	BIO-RAD

	96-well quantitative PCR plate
	Saiweier

	PCR plate sealing film
	LABSELECT

	Chemiluminescence imaging system ChemiScope6100
	Shanghai Qinxiang Scientific Instrument Co., LTD

	H1 16KR Benchtop refrigerated high-speed centrifuge
	Kecheng Instrument Company

	SC-3610 Low-speed centrifuge
	Anhui Zhongke Zhongjia Scientific Instrument Co., LTD

	Vortex oscillator SCL-VS
	SCLLOGEX

	Electrophoresis apparatus（164-5050）
	BIO-RAD

	10μl 、20μl、200ul、1000ul Pipette tip
	Beijing Lanjieke Technology Co., LTD

	Micropipette
	thermo scientific

	Grinding instrument
	Saiweier


3 Methods
3.1 Extraction of total RNA
For 5 pairs of frozen whole blood samples, samples 1-5 belong to the Control group, and samples 6-10 belong to the NESE group. For each sample, 600 µL of whole blood is mixed with 1 mL of TRIzol reagent and homogenized thoroughly. The mixture is then left on ice for 10 minutes to fully lyse the cells. Next, 300 µL of chloroform is added, and the mixture is shaken vigorously for 30 seconds. Afterward, it is left at room temperature for 10 minutes to allow the phases to separate. The sample is then centrifuged at 12,000 g and 4°C for 15 minutes, resulting in a clear separation into three phases. The RNA is retained in the upper aqueous phase, which is colorless.

Carefully transfer the upper aqueous phase into a new EP tube, taking care not to include the middle and lower phases (if accidental contamination occurs, gently expel the unwanted layers). Then, add an equal volume of ice-cold isopropanol, invert the tube to mix, and leave it at room temperature for 10 minutes. (For small sample volumes, the mixture may be stored at -20°C overnight to improve RNA yield.) Afterward, centrifuge at 12,000 g and 4°C for 10 minutes. A white RNA pellet should be visible at the bottom of the tube (for smaller sample volumes, the pellet may not be visible, which does not affect the procedure). Gently tilt the tube to discard the supernatant, being careful not to discard the pellet. Use absorbent paper to remove moisture from the tube's opening.

Add 1 mL of 75% ethanol to the pellet, invert the tube a few times to resuspend the pellet, and let it sit for 2 minutes. Then, centrifuge the sample at 7,500 g and 4°C for 5 minutes to re-pellet the RNA. Repeat this wash step twice. Discard the supernatant, and carefully invert the tube on absorbent paper. Use a 10 µL pipette tip to carefully remove any remaining liquid, taking care not to disturb the pellet. Allow the pellet to air dry for 20 minutes, or dry it under a laminar flow hood to evaporate the ethanol and water. The RNA pellet should be transparent, but avoid over-drying, as this may affect subsequent RNA resuspension.

Finally, add 20-50 µL of RNase-free water to the dried RNA pellet and let it sit for 15 minutes to ensure complete dissolution. Take 1 µL of the dissolved RNA for concentration measurement using a NanoDrop, and record the RNA purity and concentration to calculate the appropriate amount for the reverse transcription step. The remaining RNA can be immediately used for reverse transcription or stored at -80°C for future use. 
3.1.1 RNA detection
RNA Concentration Measurement:
   Take 1 µL of RNA and measure its concentration using the NanoPhotometer N50.
Concentration detection result:
	Sample Number
	Sample Name
	Group
	Concentration (ng/uL)
	A260/A280
	A260/A230

	1
	李瑞洪
	Control
	2502.600 
	1.850 
	1.961 

	2
	王佳蓉之子
	Control
	1908.700 
	2.020 
	1.869 

	3
	发权
	Control
	1225.900 
	1.872 
	2.082 

	4
	陈香之子
	Control
	1582.200 
	1.941 
	1.600 

	5
	苏多珍之子
	Control
	1307.700 
	1.954 
	2.040 

	6
	叶冷
	NESE
	1763.800 
	1.669 
	1.148 

	7
	何甜甜之子
	NESE
	2315.800 
	2.024 
	1.218 

	8
	陈海然
	NESE
	1152.100 
	1.835 
	1.479 

	9
	王金香
	NESE
	1107.900 
	1.821 
	1.662 

	10
	张海霞之子
	NESE
	1347.300 
	1.868 
	1.635 


3.2 Reverse Transcription
The reverse transcription was performed using the SweScript First Strand cDNA Synthesis Kit from Sewei'er Company. Specifically, the components of the reverse transcription kit were taken out, thawed at room temperature, briefly centrifuged, and placed on ice. On ice, the following reagents and solutions were added in the order listed below:
	Component
	Volume

	5x Reaction Buffer
	4ul

	Primer
	1ul

	SweScript RT I Enzyme Mix
	1ul

	Total RNA
	0.1ng-5ug

	NucleNESEe-Free Water
	Add to 20ul


After brief centrifugation, reverse transcription was performed on a standard PCR machine under the following conditions:

	Temperature
	Time

	25℃
	5min

	50℃
	15min

	85℃
	5s

	4℃
	hold


3.3 Machine-based Detection 

First, dilute the cDNA obtained from the above reverse transcription product 5-20 times with ddH2O (RNase/DNase free). Then, perform the qPCR reaction according to the following reaction system:
	Component
	Volume

	cDNA
	3ul

	2xUniversal Blue SYBR Green qPCR MNESEter Mix
	5ul

	Forward primer (10µM)
	1ul

	Reverse primer (10µM)
	1ul


During the sample loading procedure, each time a liquid is aspirated, check the pipette tip for air bubbles. After dispensing the liquid into the well, also check the pipette tip for any remaining liquid. If there is any residual liquid, it should be expelled into the corresponding well. The loading operation must be completed in one continuous motion, without performing any other experimental tasks or unrelated activities during the process, in order to ensure the consistency of the duplicate wells.

After brief centrifugation, perform 40 cycles of reaction on the CFX96 Real-Time Quantitative PCR System under the following conditions. Amplification curves and melting curves should be generated, and the Ct values should be read.

The amplification conditions are as follows:
	
	Temperature
	Time

	Pre-denaturation
	95℃
	1min

	Denaturation
	95℃
	20s

	Annealing
	55℃
	20s

	Extension
	72℃
	30s


The relevant primer sequences are as follows:
	primers
	sequences

	MTHFD2  F
	GAACTGGCATTCCAACCCTA

	MTHFD2  R
	CCCATCTGTGTGCAGTAACA

	PDSS1  F
	GACCAATTATTGTGGCGCTAATG

	PDSS1  R
	AGACTAGCAGTGTGGATCATTTC

	TSPO  F
	CCTACCTGGTCTGGAAAGAG

	TSPO  R
	TCGGGCACCAAAGAAGATG

	ALDH5A1  F
	TGTACTGTCGTGGTGAAGCC

	ALDH5A1  R
	ACACCTGAAGGAATCCCAGC

	ALAS1  F
	GGTTGTGTTGGAGGGTACAT

	ALAS1  R
	CAGAGAGGTGGTGAAGATGAAG

	ACSL1  F
	AAAGACAGATGGGAGGAGACC

	ACSL1  R
	GTTGGTCGGAAGAGTACGCA

	GAPDH  F
	CGAAGGTGGAGTCAACGGATTT

	GAPDH  R
	ATGGGTGGAATCATATTGGAAC


3.4 Result Analysis
First, examine the melting curve. If the curve is a smooth single peak, it can be determined that the primer specificity is good. If the curve is not smooth but has only one large peak, it indicates that the primer specificity is moderate, and the data can still be used. If the curve shows two or more peaks, the primer specificity is poor, and the primers need to be redesigned for repeated experiments.

The relative expression of the gene is calculated using the 2–△△Ct method, as follows:

Step 1: Calculate △Ct = Ct (target gene) - Ct (reference gene);

Step 2: Calculate △△Ct = △Ct (experimental group) - △Ct (control group);

Finally, calculate 2-△△Ct value and perform statistical analysis using GraphPad Prism 5 to calculate the p-value. 
1

