EXPERIMENTAL DESIGN

Definition of experimental and control groups

Sao-2 cells were divided into two groups: control, NPS-2143.; Additionally, MG63 cells were divided into two groups: control, NPS-2143. To investigate the impact of NPS-2143 on human osteosarcoma cells, the cells in the NPS-2143 group were treated with 5 µM NPS-2143 for 24 hours, following established protocols. After another 24-hour culture period, the cells were collected for subsequent experiments.

Number within each group

The biological replicates were 3 for each group.

SAMPLE

Description

Sao-2 and MG63 cells were inoculated with a density of 2×105/ml and cultured with 6-well plates, and RNA was extracted after experimental intervention.

Processing procedure

If frozen - how and how quickly?

No frozen.

If fixed - with what, how quickly?

No fixed.

Sample storage conditions and duration (especially for FFPE samples)

Total RNA was extracted by TRIzol method immediately after the intervention.

NUCLEIC ACID EXTRACTION

Procedure and/or instrumentation

Name of kit and details of any modifications

RNA was obtained from Sao-2 and MG63 samples using TRIzol® reagent. Specific operations are as follows

​  After the culture solution was sucked out, 1ml of Trizol was added to each hole of the 6-well culture plate, and the solution of Trizol cells was blown up and sucked into a 1.5ml dynamic EP tube.

Absorb Trizol into 1.5ml dynamic EP tube (apply dynamic gun tip)

Let stand at room temperature for 5 minutes;

Add 0.3ml of chloroform, cover tightly and mix manually for 15 seconds;

2 - 3 minutes for the temperature;

Low temperature centrifuge 4℃, 12000g centrifuge for 15 minutes;

Approximately 0.4ml of the supernatant is transferred to a 1.5ml dynamic EP tube;

Add 0.5ml of isopropyl alcohol, mix well and let stand at room temperature for 10 minutes;

Low temperature centrifuges, 10,000 g centrifuges for 10 minutes;

Discard the supernatant, add 1ml 75% ethanol (prepared with DEPC treated water) and mix well;

Low temperature centrifuge 4℃, 7000g centrifuge for 5 minutes;

Discard the supernatant and dry at room temperature for 5 minutes;

DEPC treated water is dissolved in 20ul and stored at -80℃

The total RNA concentration of the sample was detected using an ultraviolet spectrophotometer;

Details of DNase or RNAse treatment

RNA was obtained from Sao-2 and MG63 samples using TRIzol® reagent and reverse-transcribed with the PrimeScript™ RT reagent Kit with gDNA Eraser (Perfect Real Time RR047A) (Takara). All experimental procedures were performed as specified in the kit instructions. The kit contains the gDNA Eraser, which removes genomic DNA in exactly 2 minutes. Among them, the reagent PrimeScript RT Enzyme Mix I has an RNase inhibitor.

Contamination assessment (DNA or RNA)

OD260/280 values of RNA samples were detected by ultraviolet spectrophotometer (Thermo), and OD260/280 values of all samples were greater than 1.8 and less than 2.

Nucleic acid quantification

Instrument and method

The RNA to be measured was dropped into the detection area, and the RNA concentration of the sample was detected by ultraviolet spectrophotometer.

RNA integrity method/instrument

RNA integrity was monitored by agarose gel electrophoresis, and the 28S/18S of each sample were between 1.7 and 2.1.

Inhibition testing (Cq dilutions, spike or other)

The target gene dissolution curves of all samples were unimodal.

REVERSE TRANSCRIPTION

Complete reaction conditions

Amount of RNA and reaction volume

Step 1

5×gDNA Eraser Buffer       2.0 μl

gDNA Eraser               1.0 μl

Total RNA                 1.0 ng

RNase Free dH2O       up to 10 μl

42℃ 2 min

4℃

Step 2

The reaction liquid of Step 1              10.0 μl

PrimeScript RT Enzyme Mix I              1.0 μl

RT Primer Mix                          1.0 μl

5×PrimeScript Buffer 2                   4.0 μl

RNase Free dH2O                       4.0 μl

Total                                  20 μl

37℃ 15 min

85℃ 5 sec

4℃

Priming oligonucleotide (if using GSP) and concentration

RNA was reverse-transcribed with the PrimeScript™ RT reagent Kit with gDNA Eraser (Perfect Real Time RR047A) (Takara) in this experiment. The kit includes reagent PrimeScript Buffer, which contains dNTP Mixture.

Reverse transcriptase and concentration

RNA was reverse-transcribed with the PrimeScript™ RT reagent Kit with gDNA Eraser (Perfect Real Time RR047A) (Takara). The kit includes reagent PrimeScript RT Enzyme Mix I, which contains Reverse transcriptase and RNase Inhibitor.

Temperature and time

37℃ 15 min

85℃ 5 sec

4℃

Manufacturer of reagents and catalogue numbers

PrimeScript™ RT reagent Kit with gDNA Eraser (Perfect Real Time RR047A) (Takara)

qPCR TARGET INFORMATION、PROTOCOL 、OLIGONUCLEOTIDES and VALIDATION

The primer sequence used in this study is from https://pga.mgh.harvard.edu/ primerbank/, which has been validated and used. TB Green Premix Ex Taq II（Tli RNaseH Plus）(Code No. RR820A) was selected for this study. All experimental procedures were conducted as specified in the kit instructions.

Probe sequence

SQLE

Gene Descriptions:

NCBI GeneID	6713

GenBank Accession	NM_003129

NCBI Protein Accession	NP_003120

Species	Human

Coding DNA Length	1725

Gene Description	Homo sapiens squalene epoxidase (SQLE), mRNA.

PrimerBank ID	62865634c1

Amplicon Size	202

Sequence (5' -> 3')	Length	Tm	Location

Forward Primer	GGCATTGCCACTTTCACCTAT   	   21	60.6	16-36

Reverse Primer	GGCCTGAGAGAATATCCGAGAAG	23	61.6	217-195

LSS

NCBI GeneID	4047

GenBank Accession	NM_001001438

NCBI Protein Accession	NP_001001438

Species	Human

Coding DNA Length	2199

Gene Description	Homo sapiens lanosterol synthase (2,3-oxidosqualene-lanosterol cyclase) (LSS), transcript variant 2, mRNA.

PrimerBank ID	221139912c1

Amplicon Size	104

Sequence (5' -> 3')	Length	Tm	Location

Forward Primer	GCACTGGACGGGTGATTATGG	21	62.8	276-296

Reverse Primer	TCTCTTCTCTGTATCCGGCTG	   21	60.4	379-359

EBP

NCBI GeneID	10682

GenBank Accession	NM_006579

NCBI Protein Accession	NP_006570

Species	Human

Coding DNA Length	693

Gene Description	Homo sapiens emopamil binding protein (sterol isomerase) (EBP), mRNA.

PrimerBank ID	169808388c1

Amplicon Size	94

Sequence (5' -> 3')	Length	Tm	Location

Forward Primer	CTCAGCACCTAAGACTGGACA	21	60.9	38-58

Reverse Primer	ACGACTAAGACCCCTGTGACA	21	62.3	131-111

DHCR24

NCBI GeneID	1718

GenBank Accession	NM_014762

NCBI Protein Accession	NP_055577

Species	Human

Coding DNA Length	1551

Gene Description	Homo sapiens 24-dehydrocholesterol reductase (DHCR24), mRNA.

PrimerBank ID	114155130c1

Amplicon Size	144

Sequence (5' -> 3')	Length	Tm	Location

Forward Primer	GCCGCTCTCGCTTATCTTCG	20	63.0	120-139

Reverse Primer	GTCTTGCTACCCTGCTCCTT	20	61.3	263-244

CYP51A1

NCBI GeneID	1595

GenBank Accession	NM_000786

NCBI Protein Accession	NP_000777

Species	Human

Coding DNA Length	1530

Gene Description	Homo sapiens cytochrome P450, family 51, subfamily A, polypeptide 1 (CYP51A1), transcript variant 1, mRNA.

PrimerBank ID	168693652c1

Amplicon Size	76

Sequence (5' -> 3')	Length	Tm	Location

Forward Primer	GAAACGCAGACAGTCTCAAGA	21	60.0	825-845

Reverse Primer	ACGCCCATCCTTGTATGTAGC	21	61.9	900-880

FDFT1

NCBI GeneID	2222

GenBank Accession	NM_004462

NCBI Protein Accession	NP_004453

Species	Human

Coding DNA Length	1254

Gene Description	Homo sapiens farnesyl-diphosphate farnesyltransferase 1 (FDFT1), mRNA.

PrimerBank ID	67089146c1

Amplicon Size	134

Sequence (5' -> 3')	Length	Tm	Location

Forward Primer	CCACCCCGAAGAGTTCTACAA	21	61.1	24-44

Reverse Primer	TGCGACTGGTCTGATTGAGATA	22	60.6	157-136

MSMO1

NCBI GeneID	6307

GenBank Accession	NM_001017369

NCBI Protein Accession	NP_001017369

Species	Human

Coding DNA Length	489

Gene Description	Homo sapiens methylsterol monooxygenase 1 (MSMO1), transcript variant 2, mRNA.

PrimerBank ID	345525411c1

Amplicon Size	143

Sequence (5' -> 3')	Length	Tm	Location

Forward Primer	TGCTTTGGTTGTGCAGTCATT  	21	61.0	31-51

Reverse Primer	GGATGTGCATATTCAGCTTCCA	22	60.4	173-152

DATA ANALYSIS

qPCR analysis program (source, version)

Roche Group LightCycler96.

Cq method determination

Cq method=15.

Outlier identification and disposition

No outliers appear in this experiment.

Results of NTCs

No specific peak of NTC appeared.

Justification of number and choice of reference genes

The relative expression was calculated using the 2−△△Ct method and estimated relative to GAPDH.

Description of normalisation method

All data were normalized by dividing by the mean of the control group before statistical analysis.

Number and stage (RT or qPCR) of technical replicates

​During the experimental sample addition process, each sample was repeated with 2 Wells.

Repeatability (intra-assay variation)

In this experiment, the difference of CT values between the two holes was less than 0.1.

Statistical methods for result significance

For qRT-PCR analysis, the differences among the three groups were evaluated using a one-way analysis of variance (ANOVA) followed by a post hoc test to determine the least significant difference. A significance level of P < 0.05 was considered statistically significant.

Software (source, version)

IBM SPSS Statistics 29